## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jul'18
Period: |  | 1st Jun'18 to 30th Jun'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 445
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1221 | 59 | 77160 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 32 | 29640 | 2000003841
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 62 | 120180 | 2000003845
4 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2299 | 81 | 178320 | 2000003848
5 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1493 | 51 | 79140 | 2000014951
6 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 72 | 812640 | 2000014959
7 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1200 | 44 | 48060 | 2000014960
8 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 332 | 36 | 31380 | 2000014961
9 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 125 | 64 | 118920 | 2000015334
10 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 466 | 41 | 36780 | 2000006627
11 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1223 | 58 | 82680 | 2000003854
12 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3152 | 19 | 52860 | 2000001004
13 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 241 | 6 | 31140 | 2000001005
14 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 20 | 163260 | 2000001006
15 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 298 | 79 | 295260 | 2000001008
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 383 | 9 | 32520 | 2000001011
17 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 28 | 41760 | 2000001013
18 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 36 | 812880 | 2000014962
19 | BHATAPARA TOWN | 11KV COLONY FEEDER | 33 | 9 | 32460 | 2000004255
20 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 399 | 19 | 46020 | 2000006377
21 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1427 | 21 | 49800 | 2000006376
22 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 637 | 24 | 24480 | 2000006347
23 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1567 | 60 | 36960 | 2000004912
24 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1803 | 23 | 16200 | 2000004913
25 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2368 | 18 | 12480 | 2000004914
26 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2020 | 44 | 36780 | 2000004917
27 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1342 | 16 | 9780 | 2000004919
28 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 52 | 38220 | 2000004923
29 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3845 | 60 | 32640 | 2000004926
30 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 762 | 40 | 26700 | 2000016311
31 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 718 | 39 | 45000 | 2000016310
32 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 767 | 28 | 47820 | 2000018761
33 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1006 | 22 | 16080 | 2000018403
34 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 76 | 65400 | 2000017781
35 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 318 | 55 | 41880 | 2000017780
36 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 1 | 38 | 55680 | 2000017776
37 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 170 | 44 | 60120 | 2000017505
38 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 216 | 39 | 269880 | 2000017226
39 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1664 | 25 | 52860 | 2000018762
40 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 427 | 29 | 30780 | 2000018763
41 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 381 | 34 | 26700 | 2000020488
42 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1212 | 41 | 30240 | 2000020489
43 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 919 | 34 | 37020 | 2000020582
44 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 961 | 17 | 51540 | 2000020583
45 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 338 | 38 | 45840 | 2000023801
46 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 274 | 24 | 23520 | 2000023802
47 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1274 | 31 | 64860 | 2000017225
48 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 592 | 17 | 14040 | 2000004892
49 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 25 | 21900 | 2000004891
50 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2516 | 64 | 117540 | 2000004889
51 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1956 | 30 | 65940 | 2000004888
52 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1681 | 32 | 36540 | 2000004884
53 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1250 | 24 | 24420 | 2000004883
54 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2836 | 32 | 46380 | 2000004882
55 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 442 | 50 | 177000 | 2000004879
56 | BILASPUR TOWN | 11KV DHUMA FEEDER | 683 | 9 | 16260 | 2000004878
57 | BILASPUR TOWN | 11KV DHEKA FEEDER | 282 | 52 | 138780 | 2000004877
58 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1809 | 13 | 12600 | 2000004874
59 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1573 | 30 | 28380 | 2000004871
60 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1482 | 60 | 29820 | 2000004868
61 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1074 | 20 | 22800 | 2000004911
62 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3192 | 48 | 51540 | 2000004909
63 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 736 | 18 | 16860 | 2000004908
64 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2316 | 31 | 38460 | 2000004904
65 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 15 | 12180 | 2000004903
66 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 27 | 27060 | 2000004901
67 | BILASPUR TOWN | 11 KV NEW MOPKA | 837 | 52 | 43680 | 2000017224
68 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2709 | 32 | 30240 | 2000004893
69 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2055 | 27 | 31860 | 2000004896
70 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1123 | 43 | 66840 | 2000004900
71 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 860 | 38 | 322740 | 2000004898
72 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 118 | 264000 | 2000004897
73 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1983 | 39 | 139740 | 2000003196
74 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 45 | 25140 | 2000003195
75 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5526 | 51 | 40020 | 2000003197
76 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 180 | 9 | 24480 | 2000006348
77 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2549 | 23 | 24540 | 2000002579
78 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 402 | 22 | 20340 | 2000002578
79 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3807 | 33 | 40800 | 2000002576
80 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 977 | 23 | 10080 | 2000002574
81 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 17 | 17940 | 2000002573
82 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3764 | 13 | 5580 | 2000002570
83 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1519 | 20 | 7080 | 2000002569
84 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 2235 | 11 | 877920 | 2000002568
85 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 64 | 582480 | 2000002567
86 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 26 | 278580 | 2000002566
87 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 1 | 360 | 2000001299
88 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2434 | 5 | 2100 | 2000001302
89 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3315 | 17 | 9660 | 2000007696
90 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1760 | 13 | 56460 | 2000007694
91 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1036 | 16 | 172620 | 2000007689
92 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 113 | 24 | 24480 | 2000007688
93 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 656 | 60 | 157380 | 2000007687
94 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2195 | 19 | 21480 | 2000007686
95 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 713 | 10 | 8460 | 2000007685
96 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 735 | 50 | 24720 | 2000007739
97 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1657 | 84 | 163440 | 2000029193
98 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 336 | 35 | 86820 | 2000025794
99 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2034 | 92 | 70440 | 2000023773
100 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1175 | 24 | 72240 | 2000021264
101 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2591 | 34 | 52140 | 2000016998
102 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1546 | 15 | 16140 | 2000017001
103 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 25 | 26460 | 2000017044
104 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 14 | 10800 | 2000017045
105 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2030 | 104 | 617160 | 2000017052
106 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1200 | 41 | 48240 | 2000017054
107 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 949 | 87 | 178500 | 2000017055
108 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 936 | 35 | 102000 | 2000017056
109 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 2985 | 9 | 33660 | 2000021263
110 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 385 | 32 | 22080 | 2000017057
111 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 996 | 43 | 40080 | 2000017058
112 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 953 | 22 | 23400 | 2000020519
113 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 223 | 30 | 24360 | 2000019819
114 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 929 | 8 | 15540 | 2000007697
115 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1324 | 41 | 171780 | 2000007714
116 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 988 | 46 | 105240 | 2000007715
117 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 661 | 36 | 62700 | 2000007716
118 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 629 | 56 | 108660 | 2000007717
119 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1447 | 21 | 14820 | 2000007718
120 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1844 | 19 | 47520 | 2000007719
121 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 834 | 23 | 31860 | 2000007720
122 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3193 | 10 | 9360 | 2000007721
123 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1853 | 36 | 63540 | 2000007723
124 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1149 | 73 | 130380 | 2000007728
125 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 604 | 32 | 30300 | 2000007729
126 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 494 | 43 | 101040 | 2000007731
127 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 529 | 20 | 28560 | 2000007733
128 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 452 | 39 | 31620 | 2000007735
129 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1238 | 28 | 79740 | 2000007738
130 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 612 | 21 | 86400 | 2000007713
131 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 26 | 45360 | 2000007712
132 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1854 | 27 | 29280 | 2000007711
133 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1528 | 44 | 72540 | 2000007709
134 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 955 | 37 | 76740 | 2000007708
135 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2048 | 56 | 96600 | 2000007705
136 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1008 | 15 | 12900 | 2000007703
137 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 992 | 20 | 20880 | 2000007702
138 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2923 | 25 | 30780 | 2000007701
139 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 29 | 46 | 78300 | 2000018987
140 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1271 | 91 | 111960 | 2000007762
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 18 | 16800 | 2000007763
142 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 508 | 23 | 13740 | 2000007749
143 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1076 | 22 | 34800 | 2000007748
144 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 19 | 23820 | 2000007764
145 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2320 | 29 | 85200 | 2000007747
146 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1081 | 31 | 20520 | 2000007744
147 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1148 | 48 | 79500 | 2000007743
148 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 20 | 15060 | 2000007765
149 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1473 | 28 | 67980 | 2000007782
150 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1777 | 27 | 56520 | 2000007781
151 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 851 | 20 | 27780 | 2000007740
152 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1475 | 13 | 18180 | 2000007741
153 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1223 | 12 | 13260 | 2000007780
154 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 772 | 23 | 24780 | 2000007779
155 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 363 | 28 | 34740 | 2000007778
156 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1245 | 31 | 34140 | 2000007777
157 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 14 | 11160 | 2000007766
158 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 604 | 15 | 12540 | 2000007767
159 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1244 | 15 | 12120 | 2000007768
160 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2182 | 23 | 110400 | 2000007769
161 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1299 | 37 | 28080 | 2000007776
162 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 941 | 31 | 30540 | 2000007773
163 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1172 | 54 | 103200 | 2000007771
164 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1791 | 41 | 41700 | 2000007770
165 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 35 | 88980 | 2000007751
166 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 2329 | 56 | 121200 | 2000018707
167 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1714 | 37 | 114720 | 2000018706
168 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1305 | 38 | 103560 | 2000018705
169 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 282 | 49 | 585180 | 2000018704
170 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 697 | 65 | 171120 | 2000018574
171 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1699 | 34 | 36060 | 2000017059
172 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 543 | 24 | 19860 | 2000017060
173 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 892 | 20 | 32940 | 2000017061
174 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 570 | 46 | 145380 | 2000017062
175 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1716 | 15 | 31680 | 2000017063
176 | DURG BHILAI CHARODA TOWN | 11KV BORSI FEEDER | 1698 | 50 | 114660 | 2000017064
177 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1031 | 63 | 100800 | 2000017065
178 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1067 | 65 | 118140 | 2000017066
179 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 395 | 45 | 52920 | 2000017069
180 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 7 | 62 | 62160 | 2000017071
181 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 332 | 22 | 33600 | 2000017076
182 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 240 | 48 | 74040 | 2000007783
183 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2496 | 23 | 50580 | 2000007760
184 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4386 | 35 | 54600 | 2000007759
185 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1063 | 21 | 23340 | 2000007758
186 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1469 | 37 | 23940 | 2000007757
187 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2722 | 34 | 26400 | 2000007756
188 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 246 | 37 | 36420 | 2000007755
189 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1815 | 49 | 89820 | 2000007754
190 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3157 | 18 | 31680 | 2000007752
191 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 14 | 9480 | 2000004331
192 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1546 | 30 | 49560 | 2000004330
193 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1764 | 17 | 27060 | 2000004332
194 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 850 | 26 | 25080 | 2000004334
195 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1949 | 17 | 17520 | 2000017872
196 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1271 | 23 | 33780 | 2000004335
197 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1372 | 9 | 30480 | 2000004336
198 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1538 | 16 | 10920 | 2000004337
199 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2177 | 27 | 24660 | 2000004338
200 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1044 | 36 | 74460 | 2000004339
201 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1550 | 27 | 24420 | 2000004344
202 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 259 | 19 | 18720 | 2000004347
203 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1207 | 15 | 10620 | 2000004349
204 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1116 | 32 | 50760 | 2000015850
205 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2907 | 32 | 36300 | 2000002910
206 | KANKER TOWN | 11KV PATOD FEEDER | 555 | 46 | 67620 | 2000002909
207 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 23 | 26880 | 2000002907
208 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 418 | 72 | 189660 | 2000001047
209 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1034 | 21 | 55560 | 2000001051
210 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2980 | 31 | 39720 | 2000001055
211 | KORBA TOWN | 11KV TOWN-1 FEEDER | 786 | 7 | 31860 | 2000015220
212 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 701 | 68 | 396600 | 2000006787
213 | KORBA TOWN | 11KV PARSABADA FEEDER | 1402 | 72 | 153900 | 2000006789
214 | KORBA TOWN | 11KV RURAL FEEDER | 2299 | 60 | 310980 | 2000006792
215 | KORBA TOWN | 11KV RAMPUR FEEDER | 812 | 25 | 1013040 | 2000006791
216 | KORBA TOWN | 11KV SARMANGLA FEEDER | 749 | 42 | 151200 | 2000006794
217 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 804 | 298 | 447240 | 2000006796
218 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1248 | 24 | 621240 | 2000006786
219 | KORBA TOWN | 11KV NIHARIKA FEEDER | 711 | 22 | 67320 | 2000006784
220 | KORBA TOWN | 11KV RP NAGAR FEEDER | 812 | 27 | 51900 | 2000016912
221 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 294 | 25 | 52260 | 2000006790
222 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1164 | 67 | 1007400 | 2000006798
223 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1301 | 21 | 30960 | 2000006783
224 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 768 | 33 | 89340 | 2000006782
225 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2807 | 34 | 64080 | 2000006778
226 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 775 | 137 | 531120 | 2000006773
227 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 147 | 341700 | 2000006770
228 | KORBA TOWN | 11KV BULGI FEEDER | 942 | 122 | 224580 | 2000006764
229 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 769 | 97 | 223320 | 2000006762
230 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 52 | 66720 | 2000006759
231 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1116 | 77 | 151980 | 2000020122
232 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1041 | 37 | 450120 | 2000020065
233 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 375 | 74 | 1483200 | 2000017805
234 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 70 | 44 | 85980 | 2000017790
235 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 23 | 35340 | 2000001423
236 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 22 | 26460 | 2000001424
237 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2101 | 20 | 36480 | 2000001430
238 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1025 | 16 | 21120 | 2000002463
239 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1389 | 12 | 11460 | 2000006458
240 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1030 | 15 | 23880 | 2000003322
241 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2049 | 20 | 44400 | 2000003315
242 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 588 | 69 | 63000 | 2000016050
243 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1021 | 68 | 78900 | 2000016051
244 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 838 | 60 | 91020 | 2000016052
245 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 796 | 46 | 71520 | 2000016053
246 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 49 | 69300 | 2000016054
247 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1558 | 71 | 68820 | 2000003314
248 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 978 | 37 | 152520 | 2000016055
249 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 81 | 77 | 88860 | 2000016056
250 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1658 | 69 | 105780 | 2000016185
251 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 13 | 13920 | 2000003312
252 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1247 | 12 | 13680 | 2000003311
253 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1291 | 67 | 70320 | 2000003301
254 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 789 | 66 | 56220 | 2000003302
255 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1032 | 37 | 53580 | 2000003306
256 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 29 | 36480 | 2000020754
257 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 900 | 30 | 65460 | 2000020755
258 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 622 | 31 | 38340 | 2000020756
259 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 677 | 24 | 35040 | 2000021639
260 | RAIGARH TOWN | 11 KV SHRIRAM FEEDER | 817 | 4 | 3480 | 2000022940
261 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 593 | 50 | 57720 | 2000022941
262 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1057 | 40 | 55680 | 2000003307
263 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1589 | 29 | 62160 | 2000017958
264 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 376 | 27 | 30420 | 2000017956
265 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 718 | 61 | 76860 | 2000003309
266 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 349 | 22 | 30000 | 2000010583
267 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1070 | 16 | 8100 | 2000010585
268 | RAIPUR TOWN | 11KV CITY FEEDER | 2426 | 25 | 15600 | 2000010587
269 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1372 | 14 | 12960 | 2000010588
270 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 942 | 10 | 4260 | 2000010589
271 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 7 | 3960 | 2000010591
272 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 323 | 16 | 13140 | 2000010592
273 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 15 | 290460 | 2000010595
274 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 16 | 8100 | 2000010596
275 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 773 | 7 | 4620 | 2000010598
276 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 842 | 19 | 14280 | 2000010601
277 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1049 | 15 | 12300 | 2000010603
278 | RAIPUR TOWN | 11KV ATARI FEEDER | 821 | 66 | 101820 | 2000010604
279 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 278 | 15 | 13080 | 2000010605
280 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 740 | 9 | 4860 | 2000010606
281 | RAIPUR TOWN | 11KV BANJARI FEEDER | 942 | 13 | 9120 | 2000010608
282 | RAIPUR TOWN | 11KV BASTAL FEEDER | 604 | 24 | 9120 | 2000010610
283 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1568 | 18 | 7380 | 2000010611
284 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 839 | 7 | 17820 | 2000010613
285 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 135 | 16 | 29340 | 2000010615
286 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 6 | 11520 | 2000010616
287 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1843 | 12 | 11700 | 2000010618
288 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1616 | 19 | 259140 | 2000010622
289 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 862 | 19 | 345960 | 2000010624
290 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 88 | 10 | 7200 | 2000010625
291 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1682 | 40 | 36540 | 2000010628
292 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2302 | 22 | 15780 | 2000010631
293 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1931 | 29 | 67740 | 2000010632
294 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1660 | 21 | 27660 | 2000010634
295 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 752 | 32 | 19200 | 2000010638
296 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 18 | 10980 | 2000010641
297 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 734 | 24 | 23640 | 2000010642
298 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 485 | 20 | 9840 | 2000010647
299 | RAIPUR TOWN | 11KV KHARUN FEEDER | 989 | 34 | 23760 | 2000010649
300 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1471 | 13 | 10560 | 2000010650
301 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1194 | 19 | 7440 | 2000010653
302 | RAIPUR TOWN | 11KV MAHALAXMI | 562 | 19 | 9720 | 2000010655
303 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1998 | 8 | 6240 | 2000010656
304 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 447 | 19 | 12000 | 2000010657
305 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 531 | 8 | 10020 | 2000010658
306 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 47 | 33 | 19140 | 2000010660
307 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 777 | 23 | 19740 | 2000010666
308 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1741 | 10 | 8340 | 2000010668
309 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 534 | 18 | 17640 | 2000010670
310 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 903 | 15 | 13260 | 2000010671
311 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1248 | 23 | 15480 | 2000010672
312 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5376 | 11 | 12720 | 2000010674
313 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4142 | 28 | 51300 | 2000010675
314 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 11 | 9840 | 2000010676
315 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 546 | 18 | 32940 | 2000010677
316 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2094 | 23 | 46380 | 2000010680
317 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 401 | 27 | 22380 | 2000010686
318 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 207 | 8 | 16080 | 2000010688
319 | RAIPUR TOWN | 11KV RDA FEEDER | 843 | 5 | 3180 | 2000010689
320 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 365 | 16 | 6000 | 2000010690
321 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 10 | 3960 | 2000010694
322 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1589 | 24 | 40200 | 2000010695
323 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1822 | 15 | 21840 | 2000010696
324 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1337 | 12 | 10980 | 2000010699
325 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2555 | 11 | 8880 | 2000010700
326 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 810 | 33 | 25980 | 2000010701
327 | RAIPUR TOWN | 11KV SAMTA FEEDER | 552 | 6 | 28560 | 2000010704
328 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 388 | 2 | 360 | 2000010706
329 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 487 | 15 | 5100 | 2000010707
330 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 899 | 9 | 7740 | 2000010708
331 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2404 | 33 | 47940 | 2000010709
332 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2331 | 37 | 68640 | 2000010711
333 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 912 | 44 | 111960 | 2000010712
334 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 295 | 9 | 15840 | 2000010713
335 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 998 | 48 | 27420 | 2000010714
336 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1423 | 33 | 16620 | 2000010717
337 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2646 | 19 | 37200 | 2000010722
338 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 709 | 21 | 14700 | 2000010725
339 | RAIPUR TOWN | 11KV TV FEEDER | 2912 | 25 | 38700 | 2000010728
340 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1166 | 21 | 17460 | 2000010729
341 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 430 | 11 | 9060 | 2000010732
342 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 20 | 14 | 4020 | 2000010733
343 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 508 | 15 | 14580 | 2000010739
344 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2124 | 22 | 11580 | 2000010741
345 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 17 | 11880 | 2000010742
346 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 19 | 11640 | 2000010743
347 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2100 | 19 | 38580 | 2000017238
348 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 899 | 15 | 8040 | 2000017256
349 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2208 | 19 | 9840 | 2000017261
350 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1055 | 28 | 69240 | 2000017508
351 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2418 | 23 | 9420 | 2000017567
352 | RAIPUR TOWN | 11KV WHITE HOUSE | 559 | 6 | 6480 | 2000017568
353 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 590 | 8 | 8520 | 2000017569
354 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 982 | 9 | 5340 | 2000017576
355 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1952 | 27 | 33720 | 2000017600
356 | RAIPUR TOWN | 11 KV JAINAM VIHAR FEEDER | 2390 | 1 | 480 | 2000017602
357 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 12 | 13 | 28620 | 2000017607
358 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1721 | 37 | 19860 | 2000017608
359 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1500 | 14 | 7500 | 2000017611
360 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 56 | 4 | 4560 | 2000017613
361 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 324 | 12 | 13380 | 2000017617
362 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1832 | 20 | 12540 | 2000017621
363 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 635 | 25 | 729000 | 2000017623
364 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 610 | 28 | 57600 | 2000017624
365 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 867 | 14 | 21180 | 2000017628
366 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 666 | 29 | 26040 | 2000017671
367 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 194 | 27 | 24240 | 2000017673
368 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1124 | 24 | 23820 | 2000017690
369 | RAIPUR TOWN | 11KV ROMAN SQUARE | 504 | 28 | 44340 | 2000017691
370 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 176 | 23 | 31200 | 2000017692
371 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 996 | 21 | 55380 | 2000017771
372 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1302 | 19 | 72240 | 2000017772
373 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2846 | 36 | 33840 | 2000017808
374 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 618 | 5 | 2820 | 2000017817
375 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 841 | 20 | 97260 | 2000017867
376 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 6 | 27780 | 2000017869
377 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1378 | 10 | 55320 | 2000017870
378 | RAIPUR TOWN | 11KV NAVEEN MARKET | 863 | 16 | 63480 | 2000017953
379 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2648 | 10 | 26460 | 2000017954
380 | RAIPUR TOWN | 11KV MG ROAD | 1592 | 15 | 79500 | 2000017955
381 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 935 | 14 | 17220 | 2000017962
382 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 294 | 40 | 22500 | 2000018004
383 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 60 | 50040 | 2000018005
384 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1233 | 59 | 57840 | 2000018006
385 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 11 | 16320 | 2000018359
386 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 15 | 95460 | 2000018378
387 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 958 | 24 | 11040 | 2000018394
388 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 598 | 15 | 9960 | 2000018396
389 | RAIPUR TOWN | 11KV IGVP | 362 | 24 | 17340 | 2000018397
390 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 345 | 1 | 420 | 2000018398
391 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 333 | 13 | 19680 | 2000018416
392 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2514 | 22 | 21540 | 2000018949
393 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 437 | 81 | 157800 | 2000019179
394 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3097 | 29 | 44160 | 2000019180
395 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 479 | 38 | 51780 | 2000019185
396 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1874 | 42 | 41700 | 2000019186
397 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2027 | 44 | 34680 | 2000019334
398 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 417 | 36 | 20040 | 2000019340
399 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 902 | 19 | 7380 | 2000019485
400 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1150 | 67 | 122400 | 2000019530
401 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 651 | 13 | 19800 | 2000019697
402 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 174 | 8 | 5880 | 2000019852
403 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1696 | 19 | 21840 | 2000019857
404 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1929 | 23 | 16680 | 2000020009
405 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2661 | 59 | 123060 | 2000020119
406 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 321 | 13 | 24600 | 2000020130
407 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 98 | 28 | 259260 | 2000020131
408 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 351 | 25 | 58860 | 2000020193
409 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 982 | 42 | 55200 | 2000020194
410 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2447 | 25 | 45480 | 2000020581
411 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1591 | 24 | 23280 | 2000021219
412 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1323 | 17 | 11400 | 2000021220
413 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1534 | 23 | 16920 | 2000021221
414 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 650 | 43 | 22380 | 2000021286
415 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1145 | 46 | 34800 | 2000021287
416 | RAIPUR TOWN | 11KV BORIYA FEEDER | 846 | 25 | 22440 | 2000021424
417 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1320 | 28 | 33000 | 2000021615
418 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1346 | 5 | 2040 | 2000022077
419 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 790 | 4 | 8160 | 2000022078
420 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1316 | 3 | 1500 | 2000022079
421 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1396 | 43 | 52920 | 2000023680
422 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1406 | 5 | 7440 | 2000023735
423 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 125 | 8 | 4440 | 2000023736
424 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1558 | 15 | 23040 | 2000023772
425 | RAIPUR TOWN | 11KV SBI FEEDER | 1231 | 13 | 796320 | 2000023790
426 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 436 | 11 | 18420 | 2000023848
427 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1524 | 4 | 3420 | 2000026582
428 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 936 | 2 | 1740 | 2000026583
429 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 992 | 11 | 26580 | 2000026584
430 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 254 | 14 | 14700 | 2000026586
431 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 680 | 45 | 84960 | 2000034423
432 | RAIPUR TOWN | 11KV PRIDE FEEDER | 75 | 4 | 2100 | 2000039215
433 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3398 | 30 | 23880 | 2000006488
434 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4289 | 59 | 83700 | 2000001956
435 | RAJNANDGAON TOWN | 11 KV KAMLA COLLEGE | 1479 | 19 | 142920 | 2000015449
436 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 25 | 32 | 20940 | 2000001960
437 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 799 | 25 | 20160 | 2000001962
438 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2719 | 57 | 86280 | 2000001963
439 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 216 | 77 | 83040 | 2000001965
440 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2626 | 13 | 21960 | 2000001967
441 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 1 | 37 | 87900 | 2000014955
442 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 995 | 7 | 2280 | 2000001968
443 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 934 | 10 | 4020 | 2000001978
444 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2273 | 37 | 23580 | 2000001979
445 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 701 | 13 | 133860 | 2000015448