## Final D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Aug'17
Period: |  | 1st Jul'17 to 31th Jul'17
Number of Towns: |  | 20
Total nos. of Feeders: |  | 156
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP Number
1 | AMBIKAPUR TOWN | 11 KV DC Road | 1521 | 48 | 63660 | 2000014951
2 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 135 | 57 | 154500 | 2000015334
3 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 423 | 64 | 161820 | 2000003852
4 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 964 | 23 | 898680 | 2000003850
5 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 418 | 25 | 64200 | 2000003844
6 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1914 | 1 | 3120 | 2000003843
7 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 158 | 12 | 25140 | 2000003841
8 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 113 | 1 | 8400 | 2000001007
9 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1544 | 3 | 4500 | 2000004871
10 | BILASPUR TOWN | 11KV DHUMA FEEDER | 714 | 21 | 47880 | 2000004878
11 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 450 | 16 | 60720 | 2000004879
12 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1227 | 17 | 22560 | 2000004883
13 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2580 | 20 | 19800 | 2000004889
14 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 7 | 44 | 81840 | 2000004897
15 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1143 | 25 | 95700 | 2000004900
16 | BILASPUR TOWN | 11KV RULER FEEDER | 1621 | 25 | 62700 | 2000004916
17 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 276 | 14 | 39960 | 2000023802
18 | BILASPUR TOWN | 11KV Birkona Feeder | 88 | 29 | 38220 | 2000016311
19 | BILASPUR TOWN | 11KV Lodhipara Feeder | 356 | 19 | 886140 | 2000016314
20 | BILASPUR TOWN | 11KV Katiyapara Feeder | 421 | 19 | 29160 | 2000018763
21 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 273 | 33 | 46200 | 2000017781
22 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 304 | 25 | 38280 | 2000017780
23 | BILASPUR TOWN | 11KV Lingyadih Feeder | 174 | 14 | 47280 | 2000017505
24 | BILASPUR TOWN | 11 KV Shivam City | 1313 | 20 | 36720 | 2000017225
25 | BILASPUR TOWN | 11KV Jail Road Feeder | 390 | 16 | 255900 | 2000020488
26 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1279 | 16 | 490740 | 2000020489
27 | BILASPUR TOWN | 11KV Telephone Exchange Feeder | 1129 | 19 | 34620 | 2000020490
28 | BILASPUR TOWN | 11KV Agrasen Chowk Feeder | 953 | 15 | 42120 | 2000020583
29 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 289 | 14 | 29820 | 2000023801
30 | BILASPUR TOWN | 11 KV New Mopka | 857 | 17 | 32640 | 2000017224
31 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1898 | 11 | 13020 | 2000003196
32 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 2247 | 7 | 203880 | 2000002568
33 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 50 | 3 | 1260 | 2000002573
34 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1280 | 18 | 23820 | 2000018705
35 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 273 | 12 | 12600 | 2000018704
36 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 682 | 14 | 22680 | 2000018574
37 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 709 | 3 | 18540 | 2000007685
38 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 656 | 14 | 17580 | 2000007687
39 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3311 | 1 | 900 | 2000007696
40 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 532 | 1 | 1620 | 2000007733
41 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2420 | 17 | 27960 | 2000007742
42 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1789 | 5 | 2580 | 2000007754
43 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4350 | 1 | 960 | 2000007759
44 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1459 | 18 | 21480 | 2000007762
45 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1310 | 13 | 33960 | 2000007776
46 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1673 | 21 | 31200 | 2000029193
47 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 13 | 21840 | 2000025794
48 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1822 | 18 | 27900 | 2000023773
49 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1669 | 13 | 160380 | 2000018706
50 | DURG BHILAI CHARODA TOWN | 11KV Khandelwal Feeder | 1005 | 6 | 51240 | 2000021357
51 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 2906 | 8 | 5220 | 2000021263
52 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1931 | 11 | 49980 | 2000017052
53 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1174 | 13 | 27840 | 2000017054
54 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 952 | 8 | 9120 | 2000017055
55 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 941 | 10 | 16680 | 2000017056
56 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 1003 | 4 | 4560 | 2000017058
57 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 566 | 9 | 37920 | 2000017062
58 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1644 | 13 | 10560 | 2000017064
59 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1014 | 9 | 26040 | 2000017065
60 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1045 | 15 | 29340 | 2000017066
61 | DURG BHILAI CHARODA TOWN | 11KV Potiya Feeder | 1486 | 19 | 30300 | 2000017068
62 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 370 | 6 | 3660 | 2000017069
63 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 8 | 13 | 53520 | 2000017071
64 | DURG BHILAI CHARODA TOWN | 11 KV Surya Vihar | 192 | 13 | 24780 | 2000017072
65 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 249 | 10 | 127620 | 2000019819
66 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2291 | 13 | 15300 | 2000018707
67 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1377 | 12 | 13980 | 2000004336
68 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 97 | 13 | 20160 | 2000004343
69 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 5 | 9060 | 2000004331
70 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3527 | 9 | 4860 | 2000004348
71 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 2406 | 15 | 6720 | 2000004346
72 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 716 | 12 | 16200 | 2000015850
73 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 3309 | 2 | 63480 | 2000001048
74 | KORBA TOWN | 11KV Ratakhar Mission Road Feeder | 1068 | 55 | 546720 | 2000021425
75 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1105 | 30 | 968220 | 2000020122
76 | KORBA TOWN | 11KV Mudapar Feeder | 1045 | 4 | 22560 | 2000020065
77 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1174 | 23 | 1072920 | 2000006798
78 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 834 | 57 | 231240 | 2000006796
79 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 807 | 149 | 792780 | 2000006773
80 | KORBA TOWN | 11KV DUMARDIH FEEDER | 19 | 60 | 103800 | 2000006770
81 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2383 | 83 | 535500 | 2000006761
82 | KORBA TOWN | 11KV BAIKUND NAGAR FEEDER | 377 | 23 | 44460 | 2000017805
83 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1326 | 13 | 51660 | 2000001427
84 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1000 | 6 | 219900 | 2000002463
85 | RAIGARH TOWN | 11KV Baba Dham Feeder | 844 | 32 | 90660 | 2000016052
86 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 972 | 23 | 724440 | 2000016055
87 | RAIGARH TOWN | 11kv Collectred Feeder | 87 | 14 | 1342800 | 2000016056
88 | RAIGARH TOWN | 11 KV Gowardhanpur feeder | 362 | 27 | 39120 | 2000016184
89 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 1935 | 8 | 35220 | 2000003315
90 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 595 | 10 | 539520 | 2000003310
91 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1378 | 6 | 372360 | 2000003304
92 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1483 | 6 | 372420 | 2000003303
93 | RAIGARH TOWN | 11 KV Stadium feeder | 592 | 11 | 27540 | 2000022941
94 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 680 | 19 | 20940 | 2000021639
95 | RAIPUR TOWN | 11KV Roman Square | 422 | 10 | 7140 | 2000017691
96 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 452 | 5 | 3840 | 2000017817
97 | RAIPUR TOWN | 11 KV Station Road Feeder | 828 | 4 | 93060 | 2000017867
98 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1895 | 3 | 34980 | 2000017868
99 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 191 | 6 | 63600 | 2000017869
100 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1368 | 4 | 59940 | 2000017870
101 | RAIPUR TOWN | 11 KV Acre PlotFeeder | 251 | 6 | 13380 | 2000017871
102 | RAIPUR TOWN | 11KV NAVEEN MARKET | 857 | 5 | 9360 | 2000017953
103 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2650 | 5 | 34620 | 2000017954
104 | RAIPUR TOWN | 11KV MG ROAD | 1564 | 10 | 55740 | 2000017955
105 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 284 | 8 | 5100 | 2000018004
106 | RAIPUR TOWN | 11KV Saddu Feeder | 278 | 9 | 6180 | 2000018005
107 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1108 | 13 | 12600 | 2000018006
108 | RAIPUR TOWN | 11KV HOSPITAL FEEDER | 337 | 2 | 11640 | 2000018416
109 | RAIPUR TOWN | 11KV Suraj Nagar | 1067 | 13 | 13200 | 2000017690
110 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 854 | 10 | 83580 | 2000017628
111 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1728 | 16 | 29520 | 2000017621
112 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 5 | 3840 | 2000017613
113 | RAIPUR TOWN | 11KV M.P.Dhaba (New Feeder) | 1053 | 8 | 37560 | 2000017609
114 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1062 | 14 | 26160 | 2000017608
115 | RAIPUR TOWN | 11KV Gondwara Feeder | 406 | 27 | 52740 | 2000019179
116 | RAIPUR TOWN | 11KV Gogaon Feeder | 2786 | 17 | 38340 | 2000019180
117 | RAIPUR TOWN | 11KV Lakdi Mill Feeder | 532 | 16 | 36120 | 2000019181
118 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1597 | 16 | 138960 | 2000019334
119 | RAIPUR TOWN | 11Kv Professor Colony feeder | 889 | 8 | 83640 | 2000019530
120 | RAIPUR TOWN | 11KV Ashiyana Feeder | 604 | 2 | 7440 | 2000019697
121 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 780 | 6 | 8580 | 2000017569
122 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 42 | 5 | 9300 | 2000019852
123 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1853 | 4 | 9600 | 2000020009
124 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2245 | 9 | 13800 | 2000017567
125 | RAIPUR TOWN | 11KV Krishak Nagar | 174 | 8 | 5820 | 2000017692
126 | RAIPUR TOWN | 11KV Station Road Feeder | 334 | 18 | 25920 | 2000020130
127 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 96 | 13 | 68700 | 2000020131
128 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 354 | 14 | 503460 | 2000020193
129 | RAIPUR TOWN | 11KV Medishine Feeder | 963 | 16 | 147060 | 2000020194
130 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1082 | 5 | 3900 | 2000021220
131 | RAIPUR TOWN | 11KV Parsuram Feeder | 1287 | 8 | 25560 | 2000021221
132 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 606 | 7 | 4920 | 2000021286
133 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1083 | 13 | 16080 | 2000021287
134 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 2720 | 14 | 32280 | 2000010712
135 | RAIPUR TOWN | 11KV OM Complex Feeder | 1353 | 6 | 41340 | 2000021615
136 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 474 | 6 | 3720 | 2000010707
137 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 2050 | 9 | 24660 | 2000022077
138 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 743 | 10 | 19140 | 2000022078
139 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1297 | 9 | 14760 | 2000022079
140 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 565 | 5 | 1980 | 2000010660
141 | RAIPUR TOWN | 11KV Naharpara Feeder | 1375 | 13 | 453660 | 2000023680
142 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1318 | 17 | 270900 | 2000023735
143 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1509 | 9 | 545160 | 2000023772
144 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 459 | 1 | 3300 | 2000010658
145 | RAIPUR TOWN | 11KV SBI FEEDER | 1233 | 4 | 2520 | 2000023790
146 | RAIPUR TOWN | 11KV KALIBADI FEEDER | 1975 | 5 | 48240 | 2000010652
147 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1602 | 1 | 3300 | 2000010634
148 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2221 | 8 | 9900 | 2000010631
149 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1366 | 9 | 21420 | 2000026582
150 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 914 | 3 | 3060 | 2000026583
151 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 967 | 4 | 18120 | 2000026584
152 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 37 | 1 | 1080 | 2000010596
153 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2579 | 8 | 9000 | 2000020119
154 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1279 | 5 | 11400 | 2000017772
155 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 867 | 13 | 34740 | 2000017771
156 | RAJNANDGAON TOWN | 11 KV DHABA (RURAL) FEEDER | 53 | 1 | 2580 | 2000001959