## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: |  | D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Apr'21
Period: |  | 1st Mar'21 to 31st Mar'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 722
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1041 | 23 | 39480 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 310 | 16 | 32640 | 2000003841
3 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 677 | 12 | 22980 | 2000076563
4 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 639 | 25 | 114900 | 2000076478
5 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1574 | 14 | 34200 | 2000003842
6 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 1574 | 7 | 18780 | 2000003855
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1574 | 28 | 43140 | 2000003854
8 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1574 | 12 | 39420 | 2000003853
9 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 1574 | 31 | 23400 | 2000071574
10 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1574 | 29 | 21900 | 2000071573
11 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1574 | 29 | 22800 | 2000071572
12 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1574 | 18 | 45060 | 2000003843
13 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 1574 | 8 | 22080 | 2000003844
14 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1574 | 26 | 47880 | 2000003845
15 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1574 | 8 | 22080 | 2000003852
16 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1574 | 23 | 38520 | 2000003851
17 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1574 | 21 | 61620 | 2000003850
18 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 1574 | 23 | 47880 | 2000003849
19 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 1574 | 18 | 33540 | 2000003848
20 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 1574 | 22 | 46020 | 2000003847
21 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1574 | 12 | 23040 | 2000003846
22 | AMBIKAPUR TOWN | 11KV DCROAD | 1574 | 12 | 25260 | 2000014951
23 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 1574 | 13 | 25680 | 2000014952
24 | AMBIKAPUR TOWN | 11KV SONPUR | 1574 | 13 | 25500 | 2000014954
25 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 1574 | 25 | 45840 | 2000014957
26 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 1574 | 17 | 31860 | 2000014959
27 | AMBIKAPUR TOWN | 11KV TV FEEDER | 1574 | 9 | 19800 | 2000014963
28 | BHATAPARA TOWN | 11KV Rest House Fedeer | 1574 | 20 | 17580 | 2000075846
29 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1574 | 8 | 8340 | 2000001010
30 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 1574 | 14 | 22440 | 2000001007
31 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 1574 | 8 | 4620 | 2000001005
32 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 1574 | 14 | 13080 | 2000006347
33 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 1574 | 17 | 32040 | 2000004867
34 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1574 | 11 | 12960 | 2000004868
35 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1574 | 16 | 12300 | 2000004869
36 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1574 | 11 | 12360 | 2000004870
37 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1574 | 14 | 10800 | 2000004871
38 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 1574 | 16 | 11820 | 2000004873
39 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 1574 | 11 | 8880 | 2000004876
40 | BILASPUR TOWN | 11KV DHEKA FEEDER | 1574 | 12 | 19680 | 2000004877
41 | BILASPUR TOWN | 11KV DHUMA FEEDER | 1574 | 5 | 14880 | 2000004878
42 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 1574 | 14 | 21960 | 2000004879
43 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1574 | 5 | 3540 | 2000004881
44 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 1574 | 7 | 4920 | 2000004882
45 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1574 | 12 | 9120 | 2000004883
46 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1574 | 23 | 14940 | 2000004884
47 | BILASPUR TOWN | 11KV HARDIFEEDER | 1574 | 5 | 14880 | 2000004885
48 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1574 | 11 | 7980 | 2000004886
49 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1574 | 12 | 14700 | 2000004888
50 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 1574 | 17 | 26520 | 2000004889
51 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 1574 | 16 | 12240 | 2000004890
52 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1574 | 22 | 24720 | 2000004891
53 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 1574 | 9 | 8040 | 2000004892
54 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 1574 | 20 | 11400 | 2000004893
55 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1574 | 6 | 4500 | 2000004894
56 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1574 | 14 | 10800 | 2000004896
57 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 1574 | 11 | 14940 | 2000004897
58 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1574 | 5 | 14880 | 2000004898
59 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1574 | 24 | 14640 | 2000004899
60 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1574 | 6 | 7680 | 2000004900
61 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 1574 | 13 | 8520 | 2000004901
62 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1574 | 9 | 8880 | 2000004902
63 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 1574 | 3 | 4080 | 2000004903
64 | BILASPUR TOWN | 11KV MOPKA FEEDER | 1574 | 21 | 16440 | 2000004904
65 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 1574 | 16 | 12180 | 2000004906
66 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 1574 | 28 | 108420 | 2000004907
67 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 1574 | 18 | 21540 | 2000004908
68 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 1574 | 24 | 38460 | 2000004909
69 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 1574 | 1 | 480 | 2000004910
70 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1574 | 28 | 108240 | 2000004911
71 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1574 | 11 | 12420 | 2000004912
72 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1574 | 17 | 26880 | 2000004913
73 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 1574 | 11 | 8100 | 2000004914
74 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 1574 | 6 | 4500 | 2000004915
75 | BILASPUR TOWN | 11KV RULER FEEDER | 1574 | 7 | 4980 | 2000004916
76 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 1574 | 19 | 22560 | 2000004917
77 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 1574 | 11 | 8040 | 2000004919
78 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 1574 | 9 | 8160 | 2000004920
79 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 1574 | 11 | 8100 | 2000004921
80 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1574 | 12 | 14700 | 2000004922
81 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 1574 | 9 | 8940 | 2000004923
82 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 1574 | 9 | 8880 | 2000004924
83 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1574 | 18 | 35880 | 2000004925
84 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1574 | 13 | 23040 | 2000004926
85 | BILASPUR TOWN | 11KV KONI FEEDER | 1574 | 24 | 22680 | 2000006494
86 | BILASPUR TOWN | 11KV UNIVERSITY FEEDER | 1574 | 21 | 19200 | 2000006495
87 | BILASPUR TOWN | 11KV TV FEEDER | 1574 | 17 | 12480 | 2000016309
88 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1574 | 9 | 8880 | 2000016310
89 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1574 | 9 | 12720 | 2000016311
90 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 1574 | 8 | 10200 | 2000016312
91 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1574 | 8 | 7200 | 2000016314
92 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1574 | 20 | 19140 | 2000016315
93 | BILASPUR TOWN | 11KV NEW MOPKA | 1574 | 12 | 18540 | 2000017224
94 | BILASPUR TOWN | 11KV SHIVAM CITY | 1574 | 18 | 24900 | 2000017225
95 | BILASPUR TOWN | 11KV MAHAVEER CITY | 1574 | 8 | 5580 | 2000017226
96 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1574 | 5 | 3480 | 2000017502
97 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 1574 | 6 | 6120 | 2000017504
98 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 1574 | 10 | 10920 | 2000017505
99 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1574 | 10 | 12060 | 2000017776
100 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 1574 | 10 | 12000 | 2000017777
101 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 1574 | 10 | 12180 | 2000017778
102 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 1574 | 9 | 8700 | 2000017780
103 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 1574 | 8 | 7680 | 2000017781
104 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 1574 | 8 | 7680 | 2000017782
105 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1574 | 7 | 10080 | 2000018403
106 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1574 | 3 | 1860 | 2000018404
107 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1574 | 7 | 7380 | 2000018405
108 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 1574 | 11 | 13080 | 2000018761
109 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1574 | 11 | 10860 | 2000018762
110 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 1574 | 11 | 12840 | 2000018763
111 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 1574 | 5 | 3360 | 2000020488
112 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1574 | 6 | 7140 | 2000020489
113 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1574 | 11 | 15360 | 2000020490
114 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1574 | 8 | 9480 | 2000020582
115 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1574 | 8 | 7020 | 2000020583
116 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 1574 | 5 | 3420 | 2000020584
117 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 1574 | 18 | 35760 | 2000022056
118 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1574 | 5 | 15000 | 2000022059
119 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1574 | 16 | 33180 | 2000022060
120 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1574 | 19 | 23220 | 2000022061
121 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 1574 | 13 | 13920 | 2000022075
122 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1574 | 10 | 13440 | 2000023801
123 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1574 | 10 | 8700 | 2000023802
124 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1574 | 11 | 10500 | 2000023803
125 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 1574 | 4 | 4380 | 2000024037
126 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 1574 | 6 | 4920 | 2000024038
127 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 1574 | 6 | 4920 | 2000024039
128 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1574 | 11 | 9000 | 2000027413
129 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 1574 | 12 | 23460 | 2000076558
130 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 1574 | 12 | 23220 | 2000076559
131 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 1574 | 12 | 23400 | 2000076560
132 | BILASPUR TOWN | 11KV JABDAPARA FEEDER | 1574 | 22 | 36420 | 2000076885
133 | BILASPUR TOWN | 11KV AUDITORIUM FEEDER | 1574 | 9 | 12960 | 2000076886
134 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 1574 | 10 | 23340 | 2000076887
135 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 1574 | 5 | 14820 | 2000077336
136 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1574 | 6 | 4380 | 2000077337
137 | BILASPUR TOWN | 11KV Maa Harshiddhi Feeder | 1574 | 14 | 19740 | 2000077612
138 | CHAMPA TOWN | 11KV OM City Feeder | 1574 | 5 | 4260 | 2000077502
139 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 1574 | 26 | 63660 | 2000015492
140 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 1574 | 44 | 55380 | 2000001804
141 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 1574 | 9 | 8100 | 2000001806
142 | CHAMPA TOWN | 11KV KURDAFEEDER | 1574 | 40 | 40620 | 2000001807
143 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 1574 | 68 | 43860 | 2000001808
144 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1574 | 19 | 23160 | 2000001809
145 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 1574 | 23 | 40260 | 2000001812
146 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1574 | 25 | 43740 | 2000001813
147 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 1574 | 34 | 30000 | 2000001814
148 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1574 | 28 | 56160 | 2000015251
149 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 1574 | 19 | 45000 | 2000015252
150 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 1574 | 16 | 28320 | 2000003144
151 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 1574 | 29 | 53640 | 2000006348
152 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 1574 | 19 | 34140 | 2000003197
153 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 1574 | 42 | 402360 | 2000003193
154 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1574 | 18 | 37380 | 2000003194
155 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1574 | 11 | 35160 | 2000003195
156 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1574 | 7 | 25860 | 2000003196
157 | DHAMTARI TOWN | 11KV TOWN FEEDER | 1574 | 6 | 43200 | 2000002579
158 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 1574 | 13 | 332880 | 2000002578
159 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 1574 | 9 | 12600 | 2000002577
160 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1574 | 12 | 168480 | 2000002576
161 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 1574 | 17 | 12840 | 2000002575
162 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1574 | 6 | 18180 | 2000002574
163 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 1574 | 7 | 19080 | 2000002572
164 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 1574 | 4 | 6300 | 2000002571
165 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1574 | 12 | 5760 | 2000002567
166 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 1574 | 7 | 18600 | 2000002566
167 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 1574 | 8 | 5340 | 2000004308
168 | DHAMTARI TOWN | 11KV CHITOD1 | 1574 | 11 | 7740 | 2000004307
169 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 1574 | 1 | 360 | 2000001302
170 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1574 | 18 | 75540 | 2000007686
171 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1574 | 7 | 26220 | 2000007687
172 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 1574 | 38 | 660420 | 2000007688
173 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1574 | 31 | 10200 | 2000007689
174 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 1574 | 10 | 15360 | 2000007696
175 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1574 | 10 | 12600 | 2000007702
176 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1574 | 14 | 31500 | 2000007703
177 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 1574 | 31 | 14760 | 2000007705
178 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1574 | 7 | 4680 | 2000007706
179 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1574 | 9 | 32940 | 2000007707
180 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 1574 | 3 | 10440 | 2000007712
181 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1574 | 24 | 16740 | 2000007715
182 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1574 | 14 | 3660 | 2000007718
183 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1574 | 31 | 10260 | 2000007720
184 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1574 | 7 | 6000 | 2000007721
185 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1574 | 6 | 2460 | 2000007723
186 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1574 | 28 | 14400 | 2000007724
187 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1574 | 10 | 2280 | 2000007725
188 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 1574 | 10 | 6000 | 2000007726
189 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 1574 | 8 | 4140 | 2000007729
190 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 1574 | 3 | 3360 | 2000007731
191 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 1574 | 13 | 21240 | 2000007733
192 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1574 | 3 | 1980 | 2000007735
193 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1574 | 23 | 30960 | 2000007737
194 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 1574 | 26 | 59580 | 2000007742
195 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 1574 | 26 | 18780 | 2000007744
196 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 1574 | 11 | 52980 | 2000007747
197 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1574 | 19 | 6120 | 2000007750
198 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1574 | 6 | 7380 | 2000007754
199 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1574 | 13 | 12060 | 2000007756
200 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1574 | 7 | 3240 | 2000007757
201 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1574 | 25 | 15060 | 2000007758
202 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 1574 | 17 | 27180 | 2000007759
203 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1574 | 8 | 3780 | 2000007761
204 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1574 | 7 | 4800 | 2000007762
205 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 1574 | 22 | 26580 | 2000007769
206 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1574 | 16 | 12240 | 2000007773
207 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1574 | 12 | 3540 | 2000007774
208 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1574 | 18 | 5160 | 2000007775
209 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1574 | 5 | 3000 | 2000007776
210 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1574 | 17 | 4440 | 2000007779
211 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 1574 | 12 | 8220 | 2000016889
212 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1574 | 25 | 22200 | 2000017000
213 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 1574 | 17 | 14340 | 2000017052
214 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1574 | 14 | 12840 | 2000017054
215 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1574 | 4 | 3120 | 2000017055
216 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1574 | 3 | 1920 | 2000017056
217 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 1574 | 2 | 840 | 2000017057
218 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 1574 | 7 | 3780 | 2000017058
219 | DURG BHILAI CHARODA TOWN | 11KV KATUL BOAD | 1574 | 7 | 3960 | 2000017059
220 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 1574 | 7 | 3780 | 2000017060
221 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1574 | 7 | 9900 | 2000017061
222 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 1574 | 3 | 1860 | 2000017062
223 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1574 | 3 | 5820 | 2000017063
224 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1574 | 2 | 780 | 2000017064
225 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1574 | 16 | 38700 | 2000017065
226 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1574 | 3 | 2700 | 2000017066
227 | DURG BHILAI CHARODA TOWN | 11KV HANODA RURAL FEEDER | 1574 | 5 | 3840 | 2000017067
228 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1574 | 11 | 33660 | 2000017068
229 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 1574 | 18 | 23820 | 2000017069
230 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 1574 | 16 | 38700 | 2000017071
231 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 1574 | 19 | 17340 | 2000017072
232 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 1574 | 11 | 10380 | 2000017080
233 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 1574 | 9 | 8340 | 2000018574
234 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 1574 | 9 | 6060 | 2000018704
235 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1574 | 9 | 6000 | 2000018705
236 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1574 | 9 | 6780 | 2000018706
237 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 1574 | 11 | 15240 | 2000018707
238 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1574 | 15 | 28980 | 2000018723
239 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 1574 | 5 | 3120 | 2000019819
240 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1574 | 35 | 108420 | 2000019876
241 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1574 | 9 | 84120 | 2000020519
242 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1574 | 14 | 13140 | 2000021263
243 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1574 | 20 | 17760 | 2000021264
244 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1574 | 7 | 6420 | 2000021357
245 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1574 | 9 | 193320 | 2000023773
246 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 1574 | 3 | 16440 | 2000025794
247 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1574 | 1 | 720 | 2000027337
248 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1574 | 17 | 13800 | 2000029190
249 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1574 | 17 | 19860 | 2000029191
250 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 1574 | 17 | 13860 | 2000029192
251 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1574 | 17 | 14760 | 2000029193
252 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1574 | 5 | 11400 | 2000049757
253 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 1574 | 7 | 5160 | 2000049820
254 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1574 | 3 | 1980 | 2000067876
255 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 1574 | 3 | 1980 | 2000067877
256 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1574 | 3 | 1920 | 2000067878
257 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 1574 | 3 | 2520 | 2000068108
258 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 1574 | 3 | 2580 | 2000068109
259 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 1574 | 3 | 2580 | 2000068110
260 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1574 | 4 | 2160 | 2000075513
261 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 1574 | 2 | 720 | 2000075565
262 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 1574 | 5 | 12780 | 2000075566
263 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1574 | 44 | 44880 | 2000075806
264 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1574 | 39 | 39360 | 2000075812
265 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 1574 | 1 | 540 | 2000075949
266 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 1574 | 22 | 13740 | 2000075970
267 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1574 | 3 | 2100 | 2000075971
268 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 1574 | 28 | 21120 | 2000076270
269 | DURG BHILAI CHARODA TOWN | 11KV Gol Market Feeder | 1574 | 3 | 10620 | 2000077904
270 | DURG BHILAI CHARODA TOWN | 11 KV Bhim Nagar Feeder | 1574 | 23 | 66300 | 2000078040
271 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1574 | 8 | 6720 | 2000004329
272 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1574 | 2 | 3180 | 2000004330
273 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1574 | 4 | 1800 | 2000004332
274 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 1574 | 8 | 6240 | 2000004333
275 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 1574 | 3 | 24780 | 2000078041
276 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 1574 | 4 | 8100 | 2000075799
277 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 1574 | 7 | 4980 | 2000075216
278 | JAGDALPUR TOWN | 11KV Green City Feeder | 1574 | 8 | 5880 | 2000075215
279 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1574 | 9 | 7140 | 2000004349
280 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 1574 | 4 | 1560 | 2000004347
281 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1574 | 17 | 40020 | 2000004341
282 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 1574 | 2 | 960 | 2000004340
283 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1574 | 8 | 4800 | 2000004339
284 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 1574 | 11 | 13020 | 2000004338
285 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1574 | 13 | 10740 | 2000004337
286 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1574 | 7 | 2580 | 2000004335
287 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 1574 | 4 | 1500 | 2000004334
288 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1574 | 13 | 27480 | 2000004344
289 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1574 | 14 | 20040 | 2000015850
290 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 1574 | 4 | 3420 | 2000001054
291 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1574 | 6 | 12060 | 2000001047
292 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1574 | 2 | 1200 | 2000001045
293 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1574 | 6 | 206400 | 2000001048
294 | KAWARDHA TOWN | 11KV VIP FEEDER | 1574 | 5 | 350580 | 2000001052
295 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1574 | 12 | 78840 | 2000001055
296 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 1574 | 10 | 90900 | 2000001051
297 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 1574 | 4 | 3060 | 2000075551
298 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 1574 | 4 | 3060 | 2000075552
299 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1574 | 4 | 3060 | 2000075553
300 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 1574 | 8 | 9240 | 2000006490
301 | KORBA TOWN | 11KV ABC FEEDER | 1574 | 9 | 8220 | 2000006759
302 | KORBA TOWN | 11KV AB TYPE COLONY FEEDER | 1574 | 11 | 26280 | 2000006760
303 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 1574 | 93 | 362520 | 2000006761
304 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 1574 | 14 | 35220 | 2000006762
305 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1574 | 5 | 10440 | 2000006763
306 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1574 | 30 | 59580 | 2000006764
307 | KORBA TOWN | 11KV DARRI FEEDER | 1574 | 5 | 8760 | 2000006767
308 | KORBA TOWN | 11KV DADAR FEEDER | 1574 | 21 | 40980 | 2000006768
309 | KORBA TOWN | 11KV DEFR FEEDER | 1574 | 9 | 8160 | 2000006769
310 | KORBA TOWN | 11KV DUMARDIHFEEDER | 1574 | 21 | 42180 | 2000006770
311 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 1574 | 12 | 13260 | 2000006771
312 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 1574 | 12 | 18480 | 2000006773
313 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 1574 | 21 | 31440 | 2000006775
314 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 1574 | 24 | 35760 | 2000006776
315 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 1574 | 15 | 42000 | 2000006778
316 | KORBA TOWN | 11KV KOSABADI FEEDER | 1574 | 3 | 2520 | 2000006780
317 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1574 | 11 | 26340 | 2000006782
318 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1574 | 11 | 6420 | 2000006783
319 | KORBA TOWN | 11KV NIHARIKA FEEDER | 1574 | 17 | 16680 | 2000006784
320 | KORBA TOWN | 11KV P.HROAD FEEDER | 1574 | 16 | 27780 | 2000006785
321 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1574 | 11 | 26340 | 2000006787
322 | KORBA TOWN | 11KV POWERCITY FEEDER | 1574 | 5 | 8820 | 2000006788
323 | KORBA TOWN | 11KV PARSABADA FEEDER | 1574 | 26 | 32760 | 2000006789
324 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 1574 | 19 | 58920 | 2000006790
325 | KORBA TOWN | 11KV RAMPUR FEEDER | 1574 | 3 | 2580 | 2000006791
326 | KORBA TOWN | 11KV RURAL FEEDER | 1574 | 5 | 5820 | 2000006792
327 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1574 | 19 | 25380 | 2000006794
328 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 1574 | 17 | 15240 | 2000006795
329 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 1574 | 17 | 15360 | 2000006796
330 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 1574 | 3 | 2580 | 2000006797
331 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1574 | 19 | 24480 | 2000006798
332 | KORBA TOWN | 11KV BUDHWARI FEEDER | 1574 | 10 | 4440 | 2000015220
333 | KORBA TOWN | 11KV SEMIPALI | 1574 | 9 | 11460 | 2000015240
334 | KORBA TOWN | 11KV DONDRO FEEDER | 1574 | 11 | 13020 | 2000016028
335 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 1574 | 12 | 14220 | 2000016201
336 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 1574 | 5 | 8760 | 2000016255
337 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1574 | 12 | 8640 | 2000016912
338 | KORBA TOWN | 11KV DINDAYAL AWAS | 1574 | 2 | 2940 | 2000017789
339 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 1574 | 11 | 13260 | 2000017790
340 | KORBA TOWN | 11KV OM SAI APPARTMENT | 1574 | 1 | 1500 | 2000017791
341 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 1574 | 23 | 39180 | 2000017804
342 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 1574 | 9 | 21900 | 2000017805
343 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 1574 | 8 | 13020 | 2000018988
344 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1574 | 11 | 10020 | 2000020065
345 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 1574 | 4 | 4740 | 2000020121
346 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1574 | 5 | 8160 | 2000020122
347 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 1574 | 7 | 10020 | 2000021288
348 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 1574 | 6 | 9420 | 2000021289
349 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1574 | 13 | 9420 | 2000021425
350 | KORBA TOWN | 11KV KOTWALI | 1574 | 7 | 11160 | 2000071531
351 | KORBA TOWN | 11KV SANJAY NAGAR | 1574 | 17 | 25440 | 2000071532
352 | KORBA TOWN | 11KV POLYTECHNIC | 1574 | 34 | 33720 | 2000071855
353 | KORBA TOWN | 11KV KOHADIYA | 1574 | 11 | 7440 | 2000071856
354 | KORBA TOWN | 11KV TINADAFAI FEEDER | 1574 | 12 | 7860 | 2000075797
355 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 1574 | 17 | 65580 | 2000075847
356 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1574 | 14 | 25860 | 2000075848
357 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 1574 | 27 | 47640 | 2000075849
358 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 1574 | 19 | 14820 | 2000075850
359 | KORBA TOWN | 11KV ITI FEEDER | 1574 | 15 | 8040 | 2000075851
360 | KORBA TOWN | 11KV SUMEDHA FEEDER | 1574 | 3 | 8820 | 2000077493
361 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1574 | 3 | 8760 | 2000077495
362 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 1574 | 19 | 14100 | 2000069914
363 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1574 | 28 | 29760 | 2000069913
364 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 1574 | 11 | 11340 | 2000069912
365 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1574 | 20 | 15480 | 2000069911
366 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 1574 | 14 | 18540 | 2000001425
367 | MAHASAMUND TOWN | 11KV Trimurti Feeder | 1574 | 11 | 11400 | 2000077409
368 | MAHASAMUND TOWN | 11KV Nehru Chowk Feeder | 1574 | 18 | 12660 | 2000077410
369 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1574 | 12 | 13920 | 2000001427
370 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 1574 | 11 | 20520 | 2000003057
371 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1574 | 12 | 17700 | 2000003055
372 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 1574 | 16 | 20520 | 2000002464
373 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1574 | 18 | 19500 | 2000002463
374 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 1574 | 24 | 18300 | 2000002462
375 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 1574 | 17 | 21900 | 2000002458
376 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 1574 | 3 | 2100 | 2000006458
377 | MUNGELI TOWN | 11KV COLECTER FEEDER | 1574 | 9 | 9960 | 2000006460
378 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 1574 | 16 | 20580 | 2000015467
379 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1574 | 14 | 14100 | 2000055675
380 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 1574 | 13 | 19860 | 2000068276
381 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 1574 | 26 | 35580 | 2000077488
382 | NAILA JANJGIR TOWN | 11KV VIP-2 Feeder | 1574 | 8 | 8880 | 2000077487
383 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 1574 | 23 | 11460 | 2000001637
384 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1574 | 11 | 41100 | 2000001636
385 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 1574 | 34 | 26880 | 2000001635
386 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 1574 | 18 | 20160 | 2000001634
387 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 1574 | 37 | 24720 | 2000001633
388 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1574 | 33 | 22140 | 2000001628
389 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 1574 | 13 | 26520 | 2000001626
390 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 1574 | 12 | 7920 | 2000001625
391 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER | 1574 | 10 | 6600 | 2000001624
392 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 1574 | 23 | 55440 | 2000076054
393 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 1574 | 19 | 50880 | 2000076053
394 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 1574 | 16 | 13260 | 2000076052
395 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 1574 | 13 | 23160 | 2000076051
396 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1574 | 14 | 8700 | 2000076050
397 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1574 | 25 | 19380 | 2000001622
398 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 1574 | 33 | 45060 | 2000001623
399 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 1574 | 6 | 5880 | 2000018959
400 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER2 | 1574 | 12 | 7500 | 2000017311
401 | RAIGARH TOWN | 11KV KHAIRPUR | 1574 | 14 | 56760 | 2000073193
402 | RAIGARH TOWN | 11KV PATRAPALI | 1574 | 11 | 43920 | 2000073192
403 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 1574 | 18 | 31920 | 2000029091
404 | RAIGARH TOWN | 11KV STADIUM FEEDER | 1574 | 7 | 37440 | 2000022941
405 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1574 | 10 | 36900 | 2000021639
406 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 1574 | 29 | 100320 | 2000017712
407 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1574 | 19 | 43080 | 2000016185
408 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 1574 | 15 | 34260 | 2000016184
409 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 1574 | 15 | 39720 | 2000016057
410 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 1574 | 7 | 31380 | 2000016056
411 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1574 | 9 | 42720 | 2000016055
412 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 1574 | 18 | 89460 | 2000016054
413 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1574 | 14 | 87120 | 2000016053
414 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1574 | 15 | 56580 | 2000016052
415 | RAIGARH TOWN | 11KV DHANGARDIPA FEEDER | 1574 | 15 | 96180 | 2000003313
416 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 1574 | 20 | 40980 | 2000003320
417 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1574 | 4 | 1260 | 2000003321
418 | RAIGARH TOWN | 11KV STADIUM FEEDER | 1574 | 12 | 21720 | 2000003323
419 | RAIGARH TOWN | 11KV STATION FEEDER | 1574 | 27 | 45600 | 2000003324
420 | RAIGARH TOWN | 11KV TELAGAFEEDER | 1574 | 50 | 145740 | 2000003325
421 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1574 | 21 | 34920 | 2000073195
422 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1574 | 19 | 36060 | 2000073196
423 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 1574 | 3 | 15780 | 2000010598
424 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 1574 | 3 | 3060 | 2000010599
425 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 1574 | 5 | 14340 | 2000010596
426 | RAIPUR TOWN | 11KV MLA FEEDER | 1574 | 1 | 1020 | 2000010595
427 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1574 | 3 | 2280 | 2000010600
428 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1574 | 2 | 1800 | 2000010601
429 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1574 | 7 | 21780 | 2000010602
430 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1574 | 6 | 17460 | 2000010603
431 | RAIPUR TOWN | 11KV ATARI FEEDER | 1574 | 10 | 33960 | 2000010604
432 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1574 | 15 | 13380 | 2000010592
433 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 1574 | 7 | 3900 | 2000010591
434 | RAIPUR TOWN | 11KV GAD FEEDER | 1574 | 11 | 18000 | 2000010590
435 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 1574 | 7 | 4080 | 2000010589
436 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1574 | 7 | 5160 | 2000010588
437 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 1574 | 4 | 8580 | 2000010587
438 | RAIPUR TOWN | 11KV KARBALA TALAB | 1574 | 4 | 14100 | 2000010585
439 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 1574 | 4 | 3900 | 2000010583
440 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1574 | 8 | 25080 | 2000010582
441 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 1574 | 4 | 4740 | 2000010605
442 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 1574 | 1 | 420 | 2000010606
443 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 1574 | 2 | 14760 | 2000010607
444 | RAIPUR TOWN | 11KV BANJARI FEEDER | 1574 | 6 | 17640 | 2000010608
445 | RAIPUR TOWN | 11KV BASTAL FEEDER | 1574 | 5 | 16920 | 2000010610
446 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1574 | 6 | 14880 | 2000010611
447 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 1574 | 3 | 16080 | 2000010613
448 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1574 | 1 | 300 | 2000010614
449 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 1574 | 6 | 23460 | 2000010615
450 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 1574 | 3 | 11400 | 2000010617
451 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1574 | 11 | 17520 | 2000010618
452 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1574 | 3 | 12420 | 2000010621
453 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1574 | 2 | 16080 | 2000010622
454 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 1574 | 4 | 23700 | 2000010624
455 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 1574 | 4 | 24780 | 2000010625
456 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 1574 | 7 | 14280 | 2000010626
457 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1574 | 4 | 16800 | 2000010628
458 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1574 | 4 | 4740 | 2000010630
459 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 1574 | 2 | 11340 | 2000010631
460 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1574 | 2 | 11340 | 2000010632
461 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 1574 | 2 | 9540 | 2000010633
462 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1574 | 2 | 3120 | 2000010634
463 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 1574 | 10 | 6120 | 2000010635
464 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1574 | 7 | 4920 | 2000010636
465 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1574 | 2 | 1800 | 2000010637
466 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1574 | 4 | 12720 | 2000010638
467 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 1574 | 4 | 45480 | 2000010639
468 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 1574 | 1 | 1500 | 2000010641
469 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 1574 | 5 | 3420 | 2000010642
470 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1574 | 1 | 2760 | 2000010643
471 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 1574 | 2 | 13860 | 2000010645
472 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 1574 | 4 | 3900 | 2000010647
473 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1574 | 11 | 30840 | 2000010649
474 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1574 | 9 | 19800 | 2000010650
475 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 1574 | 4 | 4260 | 2000010651
476 | RAIPUR TOWN | 11KV SAILANI NAGAR | 1574 | 2 | 23160 | 2000010652
477 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1574 | 4 | 2400 | 2000010653
478 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1574 | 6 | 4860 | 2000010654
479 | RAIPUR TOWN | 11KV MAHALAXMI | 1574 | 1 | 1080 | 2000010655
480 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1574 | 4 | 27600 | 2000010656
481 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 1574 | 5 | 2340 | 2000010657
482 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 1574 | 10 | 35820 | 2000010658
483 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1574 | 2 | 900 | 2000010659
484 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 1574 | 2 | 840 | 2000010660
485 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1574 | 1 | 300 | 2000010661
486 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 1574 | 2 | 960 | 2000010662
487 | RAIPUR TOWN | 11KV LIC FEEDER | 1574 | 5 | 12900 | 2000010663
488 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 1574 | 5 | 2700 | 2000010664
489 | RAIPUR TOWN | 11KV LALBAG FEEDER | 1574 | 4 | 15840 | 2000010665
490 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 1574 | 8 | 8280 | 2000010666
491 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1574 | 11 | 17220 | 2000010667
492 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1574 | 1 | 8400 | 2000010668
493 | RAIPUR TOWN | 11KV MINING FEEDER | 1574 | 2 | 3960 | 2000010669
494 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 1574 | 4 | 7440 | 2000010670
495 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 1574 | 6 | 4980 | 2000010671
496 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1574 | 5 | 10680 | 2000010672
497 | RAIPUR TOWN | 11KV MARUTI FEEDER | 1574 | 3 | 20280 | 2000010674
498 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1574 | 3 | 1560 | 2000010675
499 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 1574 | 6 | 14340 | 2000010676
500 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 1574 | 5 | 11160 | 2000010677
501 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 1574 | 2 | 900 | 2000010679
502 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1574 | 5 | 18300 | 2000010680
503 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1574 | 4 | 2100 | 2000010681
504 | RAIPUR TOWN | 11KV KBT FEEDER | 1574 | 4 | 15900 | 2000010682
505 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1574 | 4 | 11580 | 2000010683
506 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 1574 | 1 | 300 | 2000010686
507 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 1574 | 8 | 18840 | 2000010687
508 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 1574 | 1 | 9180 | 2000010688
509 | RAIPUR TOWN | 11KV RDA FEEDER | 1574 | 5 | 13620 | 2000010689
510 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 1574 | 1 | 300 | 2000010690
511 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1574 | 2 | 3060 | 2000010691
512 | RAIPUR TOWN | 11KV RING 3 FEEDER | 1574 | 3 | 21720 | 2000010692
513 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 1574 | 4 | 1800 | 2000010694
514 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1574 | 2 | 12060 | 2000010695
515 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1574 | 1 | 1500 | 2000010696
516 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1574 | 2 | 21660 | 2000010699
517 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 1574 | 2 | 1800 | 2000010700
518 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1574 | 4 | 19380 | 2000010701
519 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 1574 | 3 | 1560 | 2000010702
520 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 1574 | 3 | 3420 | 2000010704
521 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 1574 | 4 | 3960 | 2000010705
522 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1574 | 1 | 7320 | 2000010706
523 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 1574 | 5 | 26160 | 2000010707
524 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 1574 | 2 | 6420 | 2000010708
525 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 1574 | 3 | 18000 | 2000010709
526 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1574 | 9 | 5820 | 2000010711
527 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1574 | 11 | 8520 | 2000010712
528 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 1574 | 6 | 27300 | 2000010713
529 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1574 | 4 | 3360 | 2000010714
530 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1574 | 1 | 14040 | 2000010715
531 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1574 | 5 | 2460 | 2000010716
532 | RAIPUR TOWN | 11KV RDA FEEDER | 1574 | 4 | 9300 | 2000010717
533 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1574 | 9 | 15420 | 2000010718
534 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 1574 | 6 | 9120 | 2000010719
535 | RAIPUR TOWN | 11KV SARORA FEEDER | 1574 | 5 | 3960 | 2000010720
536 | RAIPUR TOWN | 11KV SECTOR -5 | 1574 | 5 | 23760 | 2000010721
537 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 1574 | 9 | 16680 | 2000010722
538 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 1574 | 10 | 7740 | 2000010723
539 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 1574 | 4 | 23400 | 2000010724
540 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1574 | 2 | 12300 | 2000010725
541 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1574 | 4 | 2940 | 2000010726
542 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 1574 | 5 | 17400 | 2000010727
543 | RAIPUR TOWN | 11KV TV FEEDER | 1574 | 4 | 3960 | 2000010728
544 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1574 | 5 | 16620 | 2000010729
545 | RAIPUR TOWN | 11KV TOWN FEEDER | 1574 | 6 | 351720 | 2000010730
546 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1574 | 5 | 16440 | 2000010731
547 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 1574 | 2 | 1740 | 2000010732
548 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 1574 | 1 | 300 | 2000010733
549 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 1574 | 5 | 19860 | 2000010735
550 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 1574 | 4 | 12840 | 2000010736
551 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 1574 | 4 | 11460 | 2000010737
552 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 1574 | 4 | 30540 | 2000010738
553 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 1574 | 4 | 4740 | 2000010739
554 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 1574 | 6 | 32460 | 2000010740
555 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1574 | 4 | 9840 | 2000010741
556 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 1574 | 8 | 10200 | 2000010742
557 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 1574 | 8 | 10140 | 2000010743
558 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 1574 | 9 | 25200 | 2000010744
559 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1574 | 4 | 8400 | 2000017238
560 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1574 | 4 | 1860 | 2000017256
561 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1574 | 15 | 32940 | 2000017508
562 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1574 | 1 | 4020 | 2000017567
563 | RAIPUR TOWN | 11KV WHITE HOUSE | 1574 | 2 | 2100 | 2000017568
564 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 1574 | 3 | 13620 | 2000017569
565 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 1574 | 8 | 21000 | 2000017576
566 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 1574 | 3 | 8820 | 2000017590
567 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1574 | 4 | 15300 | 2000017597
568 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 1574 | 1 | 300 | 2000017599
569 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1574 | 3 | 1140 | 2000017602
570 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 1574 | 4 | 3180 | 2000017607
571 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1574 | 8 | 7680 | 2000017608
572 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 1574 | 5 | 4020 | 2000017609
573 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1574 | 4 | 10980 | 2000017611
574 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 1574 | 11 | 32880 | 2000017612
575 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 1574 | 1 | 8880 | 2000017613
576 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 1574 | 1 | 600 | 2000017615
577 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 1574 | 3 | 8100 | 2000017617
578 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1574 | 9 | 6540 | 2000017621
579 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 1574 | 11 | 102480 | 2000017623
580 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 1574 | 4 | 2820 | 2000017624
581 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 1574 | 5 | 2460 | 2000017626
582 | RAIPUR TOWN | 11KV MIG FEEDER | 1574 | 1 | 720 | 2000017671
583 | RAIPUR TOWN | 11KV G+10 FEEDER | 1574 | 1 | 720 | 2000017673
584 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 1574 | 6 | 3600 | 2000017674
585 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1574 | 3 | 20280 | 2000017690
586 | RAIPUR TOWN | 11KV ROMAN SQUARE | 1574 | 2 | 25620 | 2000017691
587 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 1574 | 2 | 22560 | 2000017692
588 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 1574 | 6 | 10740 | 2000017721
589 | RAIPUR TOWN | 11KV MOVA ESTATE FEEDER | 1574 | 4 | 9660 | 2000017722
590 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1574 | 8 | 19320 | 2000017755
591 | RAIPUR TOWN | 11KV MOTHER TERESA | 1574 | 9 | 18060 | 2000017756
592 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 1574 | 9 | 19560 | 2000017757
593 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1574 | 6 | 36660 | 2000017768
594 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1574 | 8 | 12300 | 2000017771
595 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1574 | 7 | 16980 | 2000017772
596 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 1574 | 9 | 20940 | 2000017773
597 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 1574 | 4 | 6780 | 2000017808
598 | RAIPUR TOWN | 11KV PURANI BASTI | 1574 | 1 | 13380 | 2000017817
599 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1574 | 5 | 24780 | 2000017819
600 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1574 | 5 | 30240 | 2000017867
601 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1574 | 4 | 15960 | 2000017868
602 | RAIPUR TOWN | 11KV GANESH MANDIR | 1574 | 5 | 17160 | 2000017869
603 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1574 | 4 | 15780 | 2000017870
604 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 1574 | 4 | 15840 | 2000017871
605 | RAIPUR TOWN | 11KV NAVEEN MARKET | 1574 | 6 | 30540 | 2000017953
606 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 1574 | 5 | 15480 | 2000017954
607 | RAIPUR TOWN | 11KV MG ROAD | 1574 | 7 | 18660 | 2000017955
608 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 1574 | 5 | 8280 | 2000018398
609 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 1574 | 14 | 31500 | 2000018406
610 | RAIPUR TOWN | 11KV IGVP | 1574 | 6 | 32160 | 2000018397
611 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 1574 | 3 | 3600 | 2000018396
612 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 1574 | 13 | 44220 | 2000018595
613 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 1574 | 1 | 420 | 2000018783
614 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 1574 | 4 | 16320 | 2000018949
615 | RAIPUR TOWN | 11KV HEERA FEEDER | 1574 | 13 | 40020 | 2000019180
616 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 1574 | 9 | 17340 | 2000019181
617 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1574 | 6 | 21840 | 2000018394
618 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 1574 | 4 | 4320 | 2000018378
619 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1574 | 5 | 3960 | 2000018361
620 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 1574 | 1 | 420 | 2000018359
621 | RAIPUR TOWN | 11KV MANDI | 1574 | 4 | 30960 | 2000018020
622 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1574 | 1 | 15000 | 2000018006
623 | RAIPUR TOWN | 11KV SADDU FEEDER | 1574 | 10 | 28020 | 2000018005
624 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 1574 | 5 | 3960 | 2000018004
625 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1574 | 18 | 36060 | 2000017962
626 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1574 | 7 | 22440 | 2000019184
627 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 1574 | 9 | 21000 | 2000019185
628 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1574 | 9 | 27060 | 2000019186
629 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1574 | 3 | 12840 | 2000019334
630 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1574 | 6 | 14700 | 2000019340
631 | RAIPUR TOWN | 11KV BSUP FEEDER | 1574 | 3 | 19140 | 2000019341
632 | RAIPUR TOWN | 11KV CTI FEEDER | 1574 | 4 | 20580 | 2000019342
633 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1574 | 5 | 3060 | 2000019485
634 | RAIPUR TOWN | 11KV PS CITY | 1574 | 7 | 15420 | 2000019530
635 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1574 | 4 | 4680 | 2000019697
636 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 1574 | 3 | 3240 | 2000019850
637 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 1574 | 3 | 3240 | 2000019851
638 | RAIPUR TOWN | 11KV BLOCK NO 1 2 3 4 FEEDER | 1574 | 2 | 2640 | 2000019853
639 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1574 | 5 | 3900 | 2000019858
640 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1574 | 2 | 1080 | 2000020009
641 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1574 | 5 | 20220 | 2000020119
642 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1574 | 4 | 3120 | 2000020120
643 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 1574 | 10 | 22020 | 2000020123
644 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 1574 | 8 | 23520 | 2000020130
645 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 1574 | 6 | 19500 | 2000020131
646 | RAIPUR TOWN | 11KV SCADA FEEDER | 1574 | 5 | 18780 | 2000020132
647 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1574 | 8 | 20460 | 2000020153
648 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 1574 | 2 | 8940 | 2000020193
649 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1574 | 3 | 13740 | 2000020194
650 | RAIPUR TOWN | 11KV PADAW FEEDER | 1574 | 8 | 20760 | 2000020227
651 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 1574 | 5 | 13860 | 2000020581
652 | RAIPUR TOWN | 11KV MOTIBAGH | 1574 | 8 | 17820 | 2000021115
653 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1574 | 5 | 15240 | 2000021219
654 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1574 | 5 | 15240 | 2000021220
655 | RAIPUR TOWN | 11KV TARUN NAGAR | 1574 | 5 | 4440 | 2000021221
656 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1574 | 7 | 21540 | 2000021286
657 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1574 | 11 | 20820 | 2000021287
658 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 1574 | 8 | 4500 | 2000021421
659 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1574 | 16 | 39600 | 2000021424
660 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1574 | 3 | 2760 | 2000021615
661 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1574 | 3 | 6480 | 2000022077
662 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 1574 | 3 | 6480 | 2000022078
663 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1574 | 4 | 13020 | 2000022079
664 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1574 | 7 | 9840 | 2000023680
665 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1574 | 5 | 4620 | 2000023735
666 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 1574 | 1 | 12180 | 2000023736
667 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1574 | 1 | 1320 | 2000023772
668 | RAIPUR TOWN | 11KV SBI FEEDER | 1574 | 3 | 5580 | 2000023790
669 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 1574 | 7 | 37620 | 2000023848
670 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1574 | 4 | 2340 | 2000024395
671 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 1574 | 3 | 4680 | 2000026462
672 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 1574 | 8 | 7380 | 2000026575
673 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1574 | 2 | 22800 | 2000026582
674 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1574 | 1 | 11340 | 2000026583
675 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1574 | 2 | 35400 | 2000026584
676 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1574 | 3 | 1800 | 2000026586
677 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 1574 | 5 | 20040 | 2000029195
678 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 1574 | 6 | 19920 | 2000029196
679 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1574 | 12 | 24780 | 2000034421
680 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 1574 | 14 | 26640 | 2000034422
681 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 1574 | 10 | 18240 | 2000034423
682 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 1574 | 3 | 3240 | 2000034760
683 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1574 | 2 | 2880 | 2000034761
684 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1574 | 2 | 2880 | 2000034762
685 | RAIPUR TOWN | 11KV PRIDE FEEDER | 1574 | 5 | 13620 | 2000039215
686 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 1574 | 11 | 7200 | 2000046448
687 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 1574 | 6 | 25620 | 2000046477
688 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 1574 | 8 | 4500 | 2000064021
689 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1574 | 1 | 6780 | 2000068159
690 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 1574 | 4 | 4740 | 2000069376
691 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 1574 | 7 | 17640 | 2000070080
692 | RAIPUR TOWN | 11KV C&F FEEDER | 1574 | 3 | 1140 | 2000070702
693 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 1574 | 3 | 1140 | 2000070703
694 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1574 | 2 | 780 | 2000070747
695 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 1574 | 2 | 720 | 2000070748
696 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1574 | 4 | 20820 | 2000070749
697 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 1574 | 4 | 4620 | 2000071570
698 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 1574 | 6 | 20460 | 2000071639
699 | RAIPUR TOWN | 11KV Shaphire Green Feeder | 1574 | 5 | 11700 | 2000071754
700 | RAIPUR TOWN | 11KV Feeder I Feeder | 1574 | 3 | 5100 | 2000071756
701 | RAIPUR TOWN | 11KV Om Feeder | 1574 | 6 | 11940 | 2000071757
702 | RAIPUR TOWN | 11KV Feeder II Feeder | 1574 | 2 | 4860 | 2000071758
703 | RAIPUR TOWN | 11KV Feeder SWARNABHOOMI III Feeder | 1574 | 2 | 4680 | 2000071760
704 | RAIPUR TOWN | 11KV Oak Villa Feeder | 1574 | 7 | 12600 | 2000071761
705 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 1574 | 2 | 1680 | 2000072091
706 | RAIPUR TOWN | 11KV Simran City Feeder | 1574 | 4 | 18600 | 2000074141
707 | RAIPUR TOWN | 11KV Park Side Feeder | 1574 | 2 | 1440 | 2000075451
708 | RAIPUR TOWN | 11KV Sumet Feeder | 1574 | 2 | 1380 | 2000075452
709 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1574 | 11 | 23280 | 2000075643
710 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 1574 | 2 | 1620 | 2000075796
711 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 1574 | 3 | 1560 | 2000075800
712 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 1574 | 3 | 3840 | 2000075801
713 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 1574 | 1 | 660 | 2000075802
714 | RAIPUR TOWN | 11KV VILLA (MARUTI LIFESTYLE)​ FEEDER | 1574 | 3 | 9960 | 2000075947
715 | RAIPUR TOWN | 11KV CM House Feeder | 1574 | 5 | 2220 | 2000076123
716 | RAIPUR TOWN | 11kV Jagriti School Feeder | 1574 | 5 | 24540 | 2000077965
717 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 1574 | 3 | 12900 | 2000078241
718 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 1574 | 3 | 2700 | 2000076011
719 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 1574 | 4 | 3540 | 2000076217
720 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1574 | 7 | 3720 | 2000006488
721 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1574 | 1 | 360 | 2000069844
722 | RAJNANDGAON TOWN | 11 KV Mahamaya Feeder | 1574 | 2 | 1680 | 2000073902