## D5 report
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Oct'19
Period: |  | 1st Sept'19 to 30th Sept'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 292
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 706 | 12 | 380640 | 2000003848
2 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1907 | 49 | 1084740 | 2000003850
3 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 289 | 7 | 5640 | 2000003841
4 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 31 | 30 | 64440 | 2000014959
5 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 779 | 26 | 20820 | 2000006347
6 | BILASPUR TOWN | 11KV NEW MOPKA | 1442 | 8 | 18420 | 2000017224
7 | BILASPUR TOWN | 11KV SHIVAM CITY | 1547 | 14 | 27900 | 2000017225
8 | BILASPUR TOWN | 11KV MAHAVEER CITY | 307 | 11 | 36060 | 2000017226
9 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 19 | 66120 | 2000017502
10 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2384 | 21 | 35940 | 2000017505
11 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 4 | 15 | 17400 | 2000017776
12 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY2 | 26 | 32 | 41520 | 2000017777
13 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 372 | 31 | 40200 | 2000017780
14 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1190 | 21 | 51660 | 2000016310
15 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1188 | 43 | 308220 | 2000016311
16 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1136 | 39 | 127260 | 2000016314
17 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 320 | 18 | 19500 | 2000023802
18 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 412 | 9 | 30780 | 2000023801
19 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 409 | 10 | 28560 | 2000022061
20 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1016 | 10 | 152220 | 2000020583
21 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1254 | 14 | 14160 | 2000020490
22 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 940 | 20 | 34560 | 2000020582
23 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 320 | 38 | 59640 | 2000017781
24 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2077 | 10 | 10500 | 2000018405
25 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 371 | 6 | 15900 | 2000004923
26 | BILASPUR TOWN | 11KV RULER FEEDER | 1813 | 2 | 3780 | 2000004916
27 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4358 | 17 | 36060 | 2000004909
28 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1236 | 17 | 82920 | 2000004900
29 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 3 | 55 | 174660 | 2000004897
30 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 591 | 18 | 47160 | 2000004892
31 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 8 | 6240 | 2000004890
32 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3389 | 24 | 48000 | 2000004882
33 | BILASPUR TOWN | 11KV DHEKA FEEDER | 335 | 21 | 90000 | 2000004877
34 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1944 | 11 | 8580 | 2000004869
35 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 801 | 11 | 25320 | 2000018761
36 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1852 | 17 | 39540 | 2000018762
37 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 470 | 11 | 25200 | 2000018763
38 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 377 | 9 | 933000 | 2000020488
39 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1256 | 14 | 269820 | 2000020489
40 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1244 | 22 | 28500 | 2000001813
41 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3681 | 20 | 28140 | 2000001812
42 | CHAMPA TOWN | 11KV RAJAPARA FEEDER | 1554 | 18 | 60720 | 2000001810
43 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1708 | 20 | 69780 | 2000001809
44 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2379 | 14 | 24060 | 2000001808
45 | CHAMPA TOWN | 11KV KURDAFEEDER | 1554 | 27 | 3077760 | 2000001807
46 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 505 | 22 | 30840 | 2000001806
47 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 263 | 13 | 40200 | 2000001804
48 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 134 | 18 | 16020 | 2000015492
49 | CHIRMIRI TOWN | 11KV LOHARI | 8 | 1 | 7800 | 2000026866
50 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1664 | 2 | 215580 | 2000003194
51 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2054 | 16 | 18900 | 2000003196
52 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 40 | 412620 | 2000002567
53 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 1005 | 3 | 56520 | 2000002568
54 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 11 | 11820 | 2000002573
55 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 10 | 11 | 17160 | 2000015505
56 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1875 | 1 | 45060 | 2000001295
57 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 846 | 11 | 69720 | 2000007687
58 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2452 | 19 | 21240 | 2000018574
59 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 299 | 18 | 25560 | 2000018704
60 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1382 | 24 | 128700 | 2000018705
61 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1795 | 19 | 21180 | 2000018706
62 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 634 | 15 | 18660 | 2000018707
63 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 354 | 10 | 124500 | 2000025794
64 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3066 | 24 | 22980 | 2000023773
65 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1106 | 3 | 2820 | 2000021357
66 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1532 | 75 | 2047320 | 2000018723
67 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3108 | 16 | 38160 | 2000021263
68 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 768 | 8 | 36780 | 2000019819
69 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1063 | 16 | 37680 | 2000020519
70 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 27 | 4 | 4620 | 2000068109
71 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 2994 | 16 | 480780 | 2000007692
72 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1759 | 17 | 56280 | 2000007714
73 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1650 | 13 | 13380 | 2000007725
74 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 648 | 32 | 61620 | 2000007731
75 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 744 | 20 | 63720 | 2000007735
76 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2407 | 15 | 23160 | 2000007742
77 | DURG BHILAI CHARODA TOWN | 11KV PETROLPUMP FEEDER | 1223 | 11 | 20340 | 2000007746
78 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1943 | 11 | 14100 | 2000007754
79 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1401 | 15 | 70680 | 2000007762
80 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 3902 | 1 | 2940 | 2000007772
81 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1480 | 4 | 4380 | 2000007776
82 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 1 | 300 | 2000027337
83 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1955 | 16 | 20880 | 2000029190
84 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1157 | 15 | 18300 | 2000029191
85 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 686 | 17 | 1911480 | 2000029192
86 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1630 | 10 | 7740 | 2000029193
87 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 67 | 15 | 26640 | 2000049820
88 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1674 | 1 | 660 | 2000067878
89 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 465 | 6 | 41520 | 2000017076
90 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3478 | 1 | 660 | 2000067877
91 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR | 261 | 44 | 528540 | 2000017072
92 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1366 | 1 | 660 | 2000067876
93 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1994 | 17 | 10980 | 2000017071
94 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 849 | 2 | 960 | 2000017069
95 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2170 | 6 | 19260 | 2000017068
96 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 579 | 1 | 540 | 2000017067
97 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1189 | 11 | 9360 | 2000017066
98 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1327 | 17 | 10860 | 2000017065
99 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2298 | 1 | 300 | 2000017064
100 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1748 | 20 | 24240 | 2000017063
101 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 590 | 15 | 36000 | 2000017062
102 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1101 | 12 | 141660 | 2000017061
103 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 519 | 8 | 76200 | 2000017060
104 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 13 | 4 | 4620 | 2000068108
105 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2032 | 7 | 64140 | 2000017059
106 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 928 | 15 | 70440 | 2000017058
107 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 760 | 8 | 68760 | 2000017057
108 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 2840 | 2 | 9180 | 2000017001
109 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 13 | 4 | 4620 | 2000068110
110 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1062 | 11 | 15120 | 2000017056
111 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1132 | 5 | 7560 | 2000017055
112 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1268 | 59 | 723480 | 2000017054
113 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2369 | 42 | 494160 | 2000017052
114 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FE | 75 | 23 | 31320 | 2000017045
115 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 790 | 1 | 1620 | 2000004331
116 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1669 | 7 | 28680 | 2000004336
117 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3356 | 10 | 30180 | 2000004345
118 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 2831 | 6 | 27060 | 2000004346
119 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3804 | 10 | 24960 | 2000004348
120 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1582 | 18 | 57000 | 2000015850
121 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 661 | 15 | 195900 | 2000001051
122 | KAWARDHA TOWN | 11KV BARBASPUR (RURAL) FEEDER | 13 | 9 | 1934640 | 2000001045
123 | KORBA TOWN | 11KV SEMIPALI | 256 | 24 | 41700 | 2000015240
124 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1835 | 29 | 33240 | 2000016201
125 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1017 | 25 | 29400 | 2000020065
126 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1093 | 52 | 509700 | 2000020122
127 | KORBA TOWN | 11KV DADAR FEEDER | 594 | 29 | 47220 | 2000006768
128 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 881 | 18 | 36240 | 2000006775
129 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 680 | 20 | 40320 | 2000006787
130 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1169 | 21 | 40380 | 2000006798
131 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 585 | 39 | 97020 | 2000017804
132 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 414 | 98 | 1230600 | 2000017805
133 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 99 | 86 | 494940 | 2000021289
134 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1029 | 64 | 1339440 | 2000021425
135 | MAHASAMUND TOWN | 11KV TOWN-1 FEEDER | 3426 | 15 | 12960 | 2000001428
136 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1371 | 12 | 48540 | 2000001427
137 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 772 | 16 | 52620 | 2000001426
138 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 35 | 74040 | 2000001425
139 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2404 | 14 | 54840 | 2000001424
140 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2107 | 15 | 23820 | 2000001423
141 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 894 | 6 | 4560 | 2000068276
142 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1847 | 23 | 22320 | 2000055675
143 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 729 | 31 | 87720 | 2000002458
144 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 155 | 24 | 284760 | 2000015467
145 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 663 | 12 | 15660 | 2000018959
146 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1858 | 20 | 92580 | 2000001622
147 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 114 | 42 | 144120 | 2000001623
148 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 198 | 16 | 247980 | 2000001625
149 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1534 | 12 | 11700 | 2000001628
150 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 12 | 10500 | 2000001629
151 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 2058 | 9 | 12420 | 2000001630
152 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 1477 | 2 | 15480 | 2000001631
153 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3269 | 17 | 174420 | 2000001635
154 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 3909 | 17 | 65520 | 2000001636
155 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 226 | 22 | 207900 | 2000001637
156 | RAIGARH TOWN | 11KV STADIUM FEEDER | 679 | 28 | 62220 | 2000022941
157 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1111 | 34 | 44160 | 2000016055
158 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 611 | 29 | 41040 | 2000016057
159 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 563 | 27 | 32160 | 2000016184
160 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1603 | 3 | 1560 | 2000003303
161 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1442 | 3 | 1560 | 2000003304
162 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1043 | 3 | 1740 | 2000003310
163 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1110 | 18 | 60060 | 2000016052
164 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 779 | 8 | 4020 | 2000010651
165 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 61 | 5 | 28320 | 2000010660
166 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 3039 | 17 | 81300 | 2000010662
167 | RAIPUR TOWN | 11KV LALBAG FEEDER | 939 | 7 | 2524500 | 2000010665
168 | RAIPUR TOWN | 11KV NIT FEEDER FEEDER | 167 | 1 | 419880 | 2000010679
169 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1182 | 1 | 44880 | 2000010681
170 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 713 | 1 | 44880 | 2000010685
171 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3298 | 9 | 32640 | 2000010702
172 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 500 | 7 | 26760 | 2000010707
173 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 962 | 20 | 22200 | 2000010712
174 | RAIPUR TOWN | 11KV SECTOR -5 | 751 | 4 | 14160 | 2000010721
175 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2739 | 1 | 49860 | 2000010722
176 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1319 | 18 | 87120 | 2000010726
177 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 626 | 9 | 16020 | 2000019181
178 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1098 | 3 | 1380 | 2000010637
179 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 905 | 9 | 23040 | 2000010635
180 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2239 | 12 | 36000 | 2000010632
181 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 984 | 5 | 3540 | 2000017256
182 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2633 | 13 | 34620 | 2000010631
183 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 790 | 2 | 1103280 | 2000010613
184 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2515 | 4 | 28260 | 2000017567
185 | RAIPUR TOWN | 11KV WHITE HOUSE | 796 | 4 | 28380 | 2000017568
186 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 607 | 4 | 7560 | 2000017569
187 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1544 | 6 | 26460 | 2000017597
188 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1819 | 12 | 26640 | 2000017608
189 | RAIPUR TOWN | 11KV M.P.DHABA (NEW FEEDER) | 787 | 7 | 5940 | 2000017609
190 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 69 | 3 | 1680 | 2000017613
191 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 848 | 1 | 1560 | 2000017615
192 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 340 | 35 | 4489500 | 2000017617
193 | RAIPUR TOWN | 11KV HEERA FEEDER | 3402 | 7 | 39540 | 2000019180
194 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1422 | 17 | 30600 | 2000017772
195 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 653 | 17 | 33960 | 2000017773
196 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1565 | 9 | 13380 | 2000010611
197 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1043 | 4 | 72000 | 2000010603
198 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 45 | 1 | 30360 | 2000010596
199 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 809 | 1 | 1301100 | 2000010591
200 | RAIPUR TOWN | 11KV SARATHI CHOWK FEEDER | 721 | 8 | 9960 | 2000017817
201 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1163 | 17 | 61020 | 2000017867
202 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1949 | 11 | 32940 | 2000017868
203 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 215 | 10 | 31980 | 2000017869
204 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1400 | 18 | 899520 | 2000017870
205 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 257 | 13 | 884460 | 2000017871
206 | RAIPUR TOWN | 11KV NAVEEN MARKET | 882 | 12 | 77280 | 2000017953
207 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2709 | 10 | 65340 | 2000017954
208 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1277 | 7 | 9360 | 2000019530
209 | RAIPUR TOWN | 11KV MG ROAD | 1620 | 14 | 40860 | 2000017955
210 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 339 | 3 | 5280 | 2000018004
211 | RAIPUR TOWN | 11KV SADDU FEEDER | 305 | 8 | 6240 | 2000018005
212 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 455 | 5 | 2400 | 2000019340
213 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2867 | 10 | 24000 | 2000019334
214 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1355 | 4 | 5220 | 2000019186
215 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1524 | 10 | 9420 | 2000019184
216 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1410 | 5 | 15120 | 2000018006
217 | RAIPUR TOWN | 11KV MANDI | 643 | 3 | 1083000 | 2000018020
218 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 372 | 3 | 1080 | 2000018359
219 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 993 | 10 | 23460 | 2000018394
220 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1290 | 2 | 1723680 | 2000010585
221 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 466 | 6 | 18660 | 2000018416
222 | RAIPUR TOWN | 11KV VARUN FEEDER | 672 | 7 | 16140 | 2000019179
223 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 746 | 16 | 26100 | 2000034422
224 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 740 | 19 | 39900 | 2000034423
225 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2547 | 5 | 8820 | 2000034760
226 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 323 | 4 | 3960 | 2000034761
227 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1725 | 4 | 3480 | 2000034762
228 | RAIPUR TOWN | 11KV KABIR NAGAR-5 FEEDER | 20 | 1 | 6960 | 2000046448
229 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 899 | 4 | 147420 | 2000046477
230 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 38 | 1 | 3600 | 2000064021
231 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 192 | 13 | 34680 | 2000070080
232 | RAIPUR TOWN | 11KV C&F FEEDER | 24 | 11 | 16260 | 2000070702
233 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 11 | 16380 | 2000070703
234 | RAIPUR TOWN | 11KV KARA FEEDER | 399 | 15 | 28260 | 2000071634
235 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 721 | 5 | 22800 | 2000019697
236 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 544 | 7 | 33240 | 2000020130
237 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 104 | 7 | 11640 | 2000020131
238 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 7 | 11100 | 2000020132
239 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 23 | 483600 | 2000020123
240 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 179 | 2 | 1440 | 2000019852
241 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3519 | 12 | 54780 | 2000020153
242 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2810 | 15 | 334080 | 2000020119
243 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 356 | 1 | 420 | 2000020193
244 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1021 | 12 | 24300 | 2000020194
245 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1711 | 7 | 12180 | 2000021219
246 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1533 | 5 | 7380 | 2000019858
247 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2084 | 8 | 319860 | 2000020009
248 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1371 | 19 | 15300 | 2000021287
249 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 766 | 21 | 23580 | 2000021286
250 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1765 | 2 | 1860 | 2000021221
251 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1384 | 5 | 54420 | 2000021220
252 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1305 | 19 | 94920 | 2000034421
253 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2016 | 8 | 23280 | 2000017621
254 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 853 | 5 | 9660 | 2000017628
255 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 793 | 18 | 38280 | 2000017671
256 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 240 | 17 | 34140 | 2000017673
257 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1576 | 11 | 16080 | 2000017690
258 | RAIPUR TOWN | 11KV ROMAN SQUARE | 586 | 16 | 26580 | 2000017691
259 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 178 | 7 | 6300 | 2000017692
260 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1074 | 3 | 1620 | 2000017755
261 | RAIPUR TOWN | 11KV MOTHER TERESA | 819 | 4 | 2040 | 2000017756
262 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 512 | 3 | 1560 | 2000017757
263 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1164 | 7 | 1105200 | 2000017768
264 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1124 | 29 | 75300 | 2000017771
265 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1469 | 5 | 3420 | 2000021615
266 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1381 | 2 | 2160 | 2000022077
267 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 814 | 2 | 2700 | 2000022078
268 | RAIPUR TOWN | 11KV FEEDER2 | 140 | 10 | 47100 | 2000029195
269 | RAIPUR TOWN | 11KV FEEDER3 | 455 | 7 | 26760 | 2000029194
270 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 275 | 4 | 2040 | 2000026586
271 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 633 | 3 | 5400 | 2000026585
272 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 982 | 1 | 420 | 2000026583
273 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2313 | 6 | 6480 | 2000026575
274 | RAIPUR TOWN | 11KV KACHNA FEEDER | 136 | 4 | 16380 | 2000026462
275 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1106 | 8 | 42120 | 2000024395
276 | RAIPUR TOWN | 11KV SBI FEEDER | 1308 | 10 | 348720 | 2000023790
277 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1638 | 10 | 11760 | 2000023772
278 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 131 | 4 | 4980 | 2000023736
279 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1558 | 14 | 38820 | 2000023735
280 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1421 | 14 | 21900 | 2000023680
281 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1360 | 2 | 117300 | 2000022079
282 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2372 | 1 | 1500 | 2000001975
283 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 882 | 6 | 7680 | 2000069535
284 | RAJNANDGAON TOWN | 11KV R K NAGAR | 789 | 2 | 4260 | 2000015478
285 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 855 | 7 | 7080 | 2000001974
286 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 2484 | 1 | 600 | 2000001970
287 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3343 | 7 | 6900 | 2000001969
288 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1439 | 1 | 162900 | 2000001968
289 | RAJNANDGAON TOWN | 11KV GATULA(RURAL)FEEDER | 14 | 8 | 2633400 | 2000001961
290 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 885 | 5 | 9660 | 2000001959
291 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2081 | 5 | 2100 | 2000001958
292 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3224 | 15 | 10560 | 2000001956