## ANNEXURE-4
LIST OF FABRICATED ITEMS FOR SoR OF 2018-19
Annexure - 4
Amt. in Rs.
Sl. No. | PARTICULARS OF MATERIALS / ITEMS | Unit | New Bin Code | Approx. weight in Kg | Previous Ex-Works Rate + Freight charges in Revised SoR 2017 - 18 | Rate for 2018-19 |  |  | GST %
[6 empty] | New Ex-works Rate including Freight charges | Amount of GST | Total rate including GST for purpose of estimation and for drawal from Area Store
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | L.T. 3 Pin Cross Arm 50x50x6 mm | No. | 7130810413 | 7.27 | 435.86 | 528.6982 | 95.1657 | 623.8639 | 18%
2 | L.T. 4 Pin Cross Arm 50x50x6 mm | No. | 7130810441 | 8.65 | 519.09 | 629.6562 | 113.3381 | 742.9943 | 18%
3 | L.T. 5 Pin Cross Arm 50x50x6 mm | No. | 7130810461 | 10.03 | 602.31 | 730.602 | 131.5084 | 862.1104 | 18%
4 | L.T. 2 Pin Cross Arm 50x50x5 mm | No. |  | 6.4 | 299.04 | 362.7355 | 65.2924 | 428.0279 | 18%
5 | L.T. 3 Pin Cross Arm 50x50x5 mm | No. |  | 7 | 365.34 | 443.1574 | 79.7683 | 522.9258 | 18%
6 | L.T. 4 Pin Cross Arm 50x50x5 mm | No. |  | 8.28 | 432.34 | 524.4284 | 94.3971 | 618.8255 | 18%
7 | L.T. 5 Pin Cross Arm 50x50x5 mm | No. |  | 9.65 | 498.63 | 604.8382 | 108.8709 | 713.7091 | 18%
8 | L.T. 3 Pin Cross Arm 65x65x5 mm | No. |  | 7.37 | 457.02 | 554.3653 | 99.7857 | 654.151 | 18%
9 | L.T. 5 Pin Cross Arm 50x50x5 mm | No. |  | 9.65 | 639.69 | 775.944 | 139.6699 | 915.6139 | 18%
10 | L.T. 5 Pin Cross Arm for tangent location | No. |  | 16 | 718.68 | 871.7588 | 156.9166 | 1028.6754 | 18%
11 | 11 kV Cross Arm angle type 65x65x6 mm | No. |  | 11.48 | 735.61 | 892.2949 | 160.6131 | 1052.908 | 18%
12 | 11 kV "V" Cross Arm Channel type 75x40 mm | No. |  | 14.6 | 905.58 | 1098.4685 | 197.7243 | 1296.1929 | 18%
13 | 11 kV Cross Arm Cleat type | No. | 7130810495 | 14.16 | 739.13 | 896.5647 | 161.3816 | 1057.9463 | 18%
14 | 11 kV Top Clamp Angle type 65x65x6 mm | No. | 7130810679 | 3.08 | 207.35 | 251.5156 | 45.2728 | 296.7883 | 18%
15 | 11 kV Top Clamp Channel type 75x40 mm | No. |  | 3.5 | 248.96 | 301.9885 | 54.3579 | 356.3464 | 18%
16 | 11 kV Top Clamp Cleat type | No. |  | 3.54 | 183.37 | 222.4278 | 40.037 | 262.4648 | 18%
17 | 33 kV Cross Arm 75x75x6 mm | No. | 7130810595 | 25.7 | 1644.71 | 1995.0332 | 359.106 | 2354.1392 | 18%
18 | 33 kV Top Channel 75x75x6 mm | No. | 7130810676 | 4.08 | 273.65 | 331.9375 | 59.7487 | 391.6862 | 18%
19 | D.C.Cross Arm 5.2 Mtr. Channel | No. | 7130810684 | 49.56 | 5964.55 | 7234.9992 | 1302.2998 | 8537.299 | 18%
20 | D.C.Cross Arm 4.8 Mtr. Channel 100x50 mm | Set |  | 98 | 6020.27 | 7302.5875 | 1314.4658 | 8617.0533 | 18%
21 | D.C.Cross Arm 3.8 Mtr. Channel 100x50 mm | Set | 7130810006 | 79 | 4801.55 | 5824.2802 | 1048.3704 | 6872.6506 | 18%
22 | Lightning Arrestor Structure | No. | 7130810509 | 143 | 5532.92 | DELETE |  | DELETE
23 | 11 kV Bridling Cross Arm 65x65x6 mm | No. |  | 19 | 1096.71 | 1330.3092 | 239.4557 | 1569.7649 | 18%
24 | 11 kV Bridling Top Clamps 65x65x6 mm | No. |  | 6 | 390.73 | 473.9555 | 85.312 | 559.2675 | 18%
25 | 33 kV Bridling Cross Arm 75x75x6 mm | No. |  | 19.3 | 1283.61 | 1557.0189 | 280.2634 | 1837.2823 | 18%
26 | 33 kV Bridling Top Clamps 75x75x6 mm | No. |  | 6.18 | 270.12 | 327.6556 | 58.978 | 386.6336 | 18%
27 | L.T. "U" Clamp 50x6 mm Flat | No. | 7130810060 | 0.65 | 57.88 | 66.099 | 11.8978 | 77.9968 | 18%
28 | Fencing Post 4 Feet Centre 75x75x6 mm | No. |  | 6.17 | 444.33 | 538.9723 | 97.015 | 635.9873 | 18%
29 | Fencing Post 8 Feet Centre 75x75x6 mm | No. |  | 12.34 | 889.36 | 1078.7937 | 194.1829 | 1272.9765 | 18%
30 | Fencing Post 10 Feet Centre 75x75x6 mm | No. |  | 18.52 | 1092.48 | 1325.1782 | 238.5321 | 1563.7103 | 18%
31 | 11 kV Bird Guard Stool | No. |  | 2.7 | 141.76 | 171.9549 | 30.9519 | 202.9068 | 18%
32 | 33 kV Bird Guard Stool | No. |  | 3.1 | 162.21 | 196.7607 | 35.4169 | 232.1777 | 18%
33 | D.O.Mounting Channel 75x40 mm | No. | 7130810509 | 19.37 | 1171.47 | 1420.9931 | 255.7788 | 1676.7719 | 18%
34 | D.O.Mounting Angle 75x75x6 mm | No. |  | 19.2 | 1115.4 | 1352.9802 | 243.5364 | 1596.5166 | 18%
35 | Earthing Rod 25 mm 1.2 Mtr. | No. | 7130870030 | 4.56 | 275.1 | 303.7104 | 54.6679 | 358.3783 | 18%
36 | Back Clamp for FRC type Cross Arm | No. |  | 1.6 | 100.27 | 114.5083 | 20.6115 | 135.1198 | 18%
37 | Back Clamp for Rail Pole Plate 65x8 mm 1 No. | No. |  | 3 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
38 | D.C.Cross arm 4' Centre 100x50 mm Channel 2 Nos. | Set | 7130810512 | 46 | 2778.8 | 3370.6844 | 606.7232 | 3977.4076 | 18%
39 | D.C.Cross arm 4' Centre 75x40 mm Channel | Set | 7130810512 | 39.13 | 2018.51 | 2448.4526 | 440.7215 | 2889.1741 | 18%
40 | D.C.Cross arm 4' Centre Angle 100x100x6 mm | Set | 7130810512 | 38.03 | 2836.64 | 3440.8443 | 619.352 | 4060.1963 | 18%
41 | D.C.Cross arm 5' Centre 100x50 mm M.S.Channel | Set | 7130810608 | 62 | 3792.29 | 4600.0478 | 828.0086 | 5428.0564 | 18%
42 | D.C.Cross arm 5' Centre Angle type 100x100x8 mm | Set |  | 69 | 5444.76 | 6604.4939 | 1188.8089 | 7793.3028 | 18%
43 | D.C.Cross arm 8' Centre 100x50 mm Channel | Set | 7130810517 | 53 | 3206.91 | 3889.9818 | 700.1967 | 4590.1786 | 18%
44 | D.C.Cross arm 8' Centre 75x40 mm Channel | Set |  | 41.3 | 2338 | 2835.994 | 510.4789 | 3346.4729 | 18%
45 | D.C.Cross arm 8' Centre Angle type 100x100x6 mm | Set |  | 47.5 | 3248.52 | 3940.4548 | 709.2819 | 4649.7366 | 18%
46 | D Transformer Mounting 100x50 mm Channel | Set | 7130850201 | 52.63 | 3206.91 | 3889.9818 | 700.1967 | 4590.1786 | 18%
47 | Transformer Mounting 75x40 mm Channel | Set |  | 38.75 | 2338 | 2835.994 | 510.4789 | 3346.4729 | 18%
48 | Bracing Set 4' Centre D.P. | Set |  | 45.02 | 2596.14 | 3149.1178 | 566.8412 | 3715.959 | 18%
49 | Bracing Set 5' Centre D.P. | Set |  | 51.67 | 3464.34 | 4202.2444 | 756.404 | 4958.6484 | 18%
50 | Bracing Set 8' Centre D.P. | Set |  | 64.29 | 3189.98 | 3869.4457 | 696.5002 | 4565.946 | 18%
51 | Bracing Cross Arm for 4 Pole Structures | Set |  | 381.7 | 6911.74 | 8383.9406 | 1509.1093 | 9893.0499 | 18%
52 | 11 kV Guarding Channel 100x50 mm | Set | 7130810511 | 39.22 | 1752.62 | 2125.9281 | 382.6671 | 2508.5951 | 18%
53 | 11 kV Guarding Angle 100x100x6 mm | Set |  | 7.48 | 1648.94 | 2000.1642 | 360.0296 | 2360.1938 | 18%
54 | Upper & Lower Cross Arm for special structures | Set |  | 154.23 | 7488.66 | 9083.7446 | 1635.074 | 10718.8186 | 18%
55 | 33 kV Guarding Channel 100x50 mm | Set | 7130897759 | 52.77 | 2338 | 2835.994 | 510.4789 | 3346.4729 | 18%
56 | Railway Cross Structures | Set |  | 233.92 | 12415.04 | 15059.4435 | 2710.6998 | 17770.1434 | 18%
57 | D.C.Cross arm 4' Centre for special structures | Set |  | 132.9 | 2816.18 | 3416.0263 | 614.8847 | 4030.9111 | 18%
58 | Railway Pole Jointing Channel | Set |  | 22.4 | 1187.69 | 1440.668 | 259.3202 | 1699.9882 | 18%
59 | Single Pole Cut Point Fitting 100x50 mm | Set | 7130810681 | 28.18 | 2275.94 | 2760.7152 | 496.9287 | 3257.644 | 18%
60 | Single Pole Cut Point Fitting 75x40 mm | Set |  | 24.62 | 1166.53 | 1415.0009 | 254.7002 | 1669.7011 | 18%
61 | Side Cross Arm for 11 kV 50x50x6 mm | No. |  | 35.36 | 1378.82 | 1672.5087 | 301.0516 | 1973.5602 | 18%
62 | --do-- 75x40 Channel | No. |  | 41.96 | 1636.95 | 1985.6204 | 357.4117 | 2343.032 | 18%
63 | L.T. Side Bracket 4 Pin 50x50x6 mm | No. |  | 22.12 | 515.56 | 625.3743 | 112.5674 | 737.9417 | 18%
64 | L.T. Side Bracket 5 Pin 50x50x6 mm | No. |  | 23.72 | 2159.57 | 2619.5584 | 471.5205 | 3091.0789 | 18%
65 | Through Bolt - 12 mm | No. | 7130810005 | 0.32 | 70.94 | 73.9904 | 13.3183 | 87.3087 | 18%
66 | Bolt Big size | No. | 7130620013 | 0.86 | 100.85 | 105.1865 | 18.9336 | 124.1201 | 18%
67 | I-Bolt - 16 mm | No. | 7130860017 | 0.65 | 85.47 | 89.1452 | 16.0461 | 105.1913 | 18%
68 | Stay Clamp for 140 kg PCC Pole | Pair | 7130810026 | 1.54 | 115.76 | 132.1979 | 23.7956 | 155.9935 | 18%
69 | Stay Clamp H.T. Per Pair | Pair | 7130810026 | 3 | 216.04 | 246.7177 | 44.4092 | 291.1269 | 18%
70 | Stay Clamp for 280 kG. PCC Pole | Pair | 7130810193 | 3.12 | 216.04 | 246.7177 | 44.4092 | 291.1269 | 18%
71 | Stay Clamp for R.S.Joist "A" type | Pair | 7130810216 | 3 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
72 | Stay Clamp for R.S.Joist "B" type | Pair |  | 3.04 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
73 | Stay Clamp Rail "A" type | Pair | 7130810201 | 3.04 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
74 | Stay Clamp Rail "B" type | Pair | 7130810251 | 3.04 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
75 | Stay Clamp Rail for H-Beam | Pair | 7130810692 | 3.28 | 239.68 | 273.7146 | 49.2686 | 322.9832 | 18%
76 | Stay Clamp L.T. Rail for H-Beam | Pair |  | 1.98 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
77 | Back Clamp Rail for H-Beam | Pair | 7130810361 | 1.98 | 229.9 | 262.5458 | 47.2582 | 309.804 | 18%
78 | Transformer Mounting with Belting for Addl. X-Arm | No. | 7130850201 | 31 | 3098.3 | 3758.2379 | 676.4828 | 4434.7207 | 18%
79 | L.T. Robust Fuse Unit | No. | 7131900005 | 9.6 | 2002.29 | DELETE |  | DELETE
80 | Rack 50x50x6 mm Angle | No. |  | 37.03 | 2484 | 3013.092 | 542.3566 | 3555.4486 | 18%
81 | Foundation bolt 25x12 mm | No. | 7130621892 | 4.56 | 337.6 | 352.1168 | 63.381 | 415.4978 | 18%
82 | Strain Plate | Set | 7130810624 | 0.65 | 80.34 | DELETE |  | DELETE