## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Aug'19
Period: |  | 1st Jul'19 to 31st Jul'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 155
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 31 | 26 | 39540 | 2000014959
2 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1624 | 43 | 291000 | 2000003850
3 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 3200 | 26 | 1044480 | 2000003848
4 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 259 | 11 | 11820 | 2000003841
5 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1196 | 5 | 1320 | 2000001009
6 | BILASPUR TOWN | 11KV DHEKA FEEDER | 333 | 17 | 49680 | 2000004877
7 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 547 | 27 | 777540 | 2000004879
8 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3294 | 29 | 52560 | 2000004882
9 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1288 | 11 | 12180 | 2000004883
10 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 575 | 14 | 15000 | 2000004892
11 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 46 | 71580 | 2000004897
12 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1213 | 13 | 42480 | 2000004898
13 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1211 | 24 | 69480 | 2000004900
14 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3905 | 13 | 11880 | 2000004909
15 | BILASPUR TOWN | 11KV RULER FEEDER | 1739 | 27 | 53340 | 2000004916
16 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 726 | 28 | 31200 | 2000016310
17 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 811 | 30 | 24840 | 2000016311
18 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1003 | 61 | 1933860 | 2000016314
19 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2294 | 5 | 6000 | 2000017505
20 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 2 | 40 | 38760 | 2000017776
21 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 12 | 18420 | 2000017777
22 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 320 | 25 | 28140 | 2000017780
23 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 45 | 40140 | 2000017781
24 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1682 | 12 | 10020 | 2000018762
25 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 927 | 7 | 11820 | 2000020582
26 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 976 | 1 | 360 | 2000020583
27 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 200 | 14 | 21780 | 2000022060
28 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 318 | 14 | 10500 | 2000022061
29 | CHIRMIRI TOWN | 11KV SALKA | 1 | 60 | 69060 | 2000026867
30 | CHIRMIRI TOWN | 11KV LOHARI | 8 | 129 | 189480 | 2000026866
31 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2047 | 26 | 53940 | 2000003196
32 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 2 | 9 | 36720 | 2000015505
33 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 4 | 2400 | 2000002573
34 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 813 | 2 | 6540 | 2000002572
35 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 954 | 18 | 1960020 | 2000002568
36 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 843 | 25 | 48780 | 2000007687
37 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 1 | 600 | 2000007733
38 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1901 | 15 | 13140 | 2000007754
39 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1381 | 9 | 11940 | 2000007762
40 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1265 | 1 | 960 | 2000007774
41 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1446 | 9 | 5160 | 2000007776
42 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1258 | 43 | 830220 | 2000017054
43 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1118 | 3 | 1380 | 2000017055
44 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1055 | 20 | 34200 | 2000017056
45 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 758 | 9 | 9600 | 2000017057
46 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 929 | 4 | 1800 | 2000017058
47 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 2032 | 5 | 11160 | 2000017059
48 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 508 | 13 | 14400 | 2000017060
49 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 1102 | 5 | 4260 | 2000017061
50 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2254 | 1 | 600 | 2000017064
51 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1321 | 20 | 12780 | 2000017065
52 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1093 | 5 | 4260 | 2000017066
53 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 849 | 1 | 600 | 2000017069
54 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1990 | 8 | 3660 | 2000017071
55 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2465 | 11 | 8760 | 2000018574
56 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 297 | 1 | 1620 | 2000018704
57 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1370 | 2 | 2400 | 2000018705
58 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 636 | 1 | 1560 | 2000018707
59 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1528 | 65 | 2157900 | 2000018723
60 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 221 | 10 | 10620 | 2000019819
61 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1027 | 7 | 7080 | 2000020519
62 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3721 | 6 | 5100 | 2000021263
63 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1100 | 10 | 42480 | 2000021357
64 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 346 | 9 | 39540 | 2000025794
65 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 4 | 6480 | 2000027337
66 | DURG BHILAI CHARODA TOWN | 11 KV KRISHNA NAGAR FEEDER | 1892 | 4 | 4380 | 2000029190
67 | DURG BHILAI CHARODA TOWN | 11 KV NIZAM CHOWK FEEDER | 1111 | 9 | 8520 | 2000029191
68 | DURG BHILAI CHARODA TOWN | 11 KV AVANTIBAI CHOWK FEEDER | 676 | 10 | 289560 | 2000029192
69 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FEEDER | 56 | 11 | 11580 | 2000049820
70 | DURG BHILAI CHARODA TOWN | 1KV KUNDRAPARA FEEDER | 1352 | 2 | 1620 | 2000067876
71 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3274 | 2 | 1620 | 2000067877
72 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1666 | 2 | 1620 | 2000067878
73 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 1881 | 1 | 360 | 2000004343
74 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1587 | 12 | 15240 | 2000015850
75 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 460 | 1 | 42480 | 2000001047
76 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 48 | 811200 | 2000006770
77 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 692 | 31 | 45120 | 2000006787
78 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 362 | 17 | 25620 | 2000017805
79 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1122 | 60 | 612060 | 2000020122
80 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1320 | 18 | 39660 | 2000001427
81 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 58 | 183420 | 2000001426
82 | NAILA JANJGIR TOWN | 11KV PANDERI FEEDER | 2071 | 1 | 10020 | 2000001630
83 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 611 | 13 | 21180 | 2000022941
84 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1033 | 2 | 2460 | 2000010603
85 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2585 | 4 | 2400 | 2000010631
86 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 781 | 1 | 300 | 2000010651
87 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 61 | 4 | 3240 | 2000010660
88 | RAIPUR TOWN | 11KV LALBAG FEEDER | 925 | 6 | 3660 | 2000010665
89 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 815 | 1 | 1080 | 2000010666
90 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3263 | 14 | 24720 | 2000010702
91 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 498 | 7 | 14700 | 2000010707
92 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 962 | 10 | 4200 | 2000010712
93 | RAIPUR TOWN | 11KV SECTOR -5 | 739 | 2 | 3060 | 2000010721
94 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 982 | 3 | 3660 | 2000017256
95 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2505 | 2 | 16320 | 2000017567
96 | RAIPUR TOWN | 11KV WHITE HOUSE | 794 | 2 | 18540 | 2000017568
97 | RAIPUR TOWN | 11 KV JAINAM VIHAR FEEDER | 2511 | 1 | 720 | 2000017602
98 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1789 | 4 | 4560 | 2000017608
99 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 69 | 1 | 720 | 2000017613
100 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 774 | 7 | 4380 | 2000017671
101 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 231 | 8 | 6060 | 2000017673
102 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1500 | 3 | 6420 | 2000017690
103 | RAIPUR TOWN | 11KV ROMAN SQUARE | 573 | 4 | 6300 | 2000017691
104 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 180 | 5 | 15060 | 2000017692
105 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1077 | 1 | 420 | 2000017755
106 | RAIPUR TOWN | 11KV MOTHER TERESA | 807 | 5 | 6780 | 2000017756
107 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 507 | 5 | 18780 | 2000017757
108 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1095 | 20 | 62640 | 2000017771
109 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1405 | 11 | 10380 | 2000017772
110 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 647 | 10 | 6360 | 2000017773
111 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1943 | 2 | 720 | 2000017868
112 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 211 | 7 | 6660 | 2000017869
113 | RAIPUR TOWN | 11 KV ACRE PLOTFEEDER | 257 | 2 | 720 | 2000017871
114 | RAIPUR TOWN | 11KV NAVEEN MARKET | 878 | 1 | 540 | 2000017953
115 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2704 | 2 | 2340 | 2000017954
116 | RAIPUR TOWN | 11KV MG ROAD | 1617 | 5 | 8880 | 2000017955
117 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 375 | 3 | 3300 | 2000018359
118 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 469 | 1 | 900 | 2000018416
119 | RAIPUR TOWN | 11KV VARUN FEEDER | 653 | 8 | 5400 | 2000019179
120 | RAIPUR TOWN | 11KV HEERA FEEDER | 3333 | 9 | 558240 | 2000019180
121 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2743 | 13 | 13680 | 2000019334
122 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 450 | 7 | 77580 | 2000019340
123 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1266 | 5 | 3840 | 2000019530
124 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 709 | 12 | 76200 | 2000019697
125 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2064 | 4 | 1889340 | 2000020009
126 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2783 | 8 | 13440 | 2000020119
127 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 5 | 11100 | 2000020123
128 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 327 | 1 | 540 | 2000020130
129 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 103 | 25 | 636240 | 2000020131
130 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 5 | 16200 | 2000020132
131 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1704 | 3 | 1680 | 2000021219
132 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1385 | 3 | 4200 | 2000021220
133 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1759 | 10 | 9840 | 2000021221
134 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 757 | 5 | 3300 | 2000021286
135 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1314 | 9 | 7800 | 2000021287
136 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1371 | 2 | 900 | 2000021615
137 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1374 | 1 | 780 | 2000022077
138 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 816 | 1 | 780 | 2000022078
139 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1357 | 1 | 840 | 2000022079
140 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1421 | 8 | 15420 | 2000023680
141 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1536 | 10 | 17340 | 2000023735
142 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1618 | 4 | 3300 | 2000023772
143 | RAIPUR TOWN | 11KV SBI FEEDER | 1305 | 4 | 806700 | 2000023790
144 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1489 | 5 | 5220 | 2000026582
145 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 979 | 1 | 420 | 2000026583
146 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1033 | 6 | 13440 | 2000026584
147 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 272 | 13 | 13380 | 2000026586
148 | RAIPUR TOWN | 11 KV FEEDER 2 | 134 | 4 | 3660 | 2000029195
149 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1297 | 17 | 55380 | 2000034421
150 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 739 | 4 | 6420 | 2000034423
151 | RAJNANDGAON TOWN | 11 KV HALDI FEEDER | 2724 | 25 | 1138320 | 2000001964
152 | RAJNANDGAON TOWN | 11 KV GATULA (RURAL) FEEDER | 14 | 2 | 31260 | 2000001961
153 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3194 | 3 | 11640 | 2000001956
154 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 2621 | 19 | 32520 | 2000006488
155 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 154 | 2 | 720 | 2000015446