## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: |  | D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jun'21
Period: |  | 1st May'21 to 31st May'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 729
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 652 | 46 | 110760 | 2000076563
2 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1260 | 55 | 84360 | 2000076479
3 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 633 | 31 | 38820 | 2000076478
4 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1040 | 64 | 114360 | 2000003840
5 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 3158 | 43 | 53220 | 2000003855
6 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2031 | 57 | 86940 | 2000003854
7 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 48 | 89 | 109320 | 2000071574
8 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1826 | 97 | 95340 | 2000071573
9 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1194 | 79 | 148140 | 2000071572
10 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1638 | 43 | 77520 | 2000003853
11 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2293 | 12 | 26640 | 2000003852
12 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 308 | 47 | 61140 | 2000003841
13 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1515 | 1 | 540 | 2000003842
14 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1643 | 47 | 91200 | 2000003843
15 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1782 | 61 | 81840 | 2000003851
16 | AMBIKAPUR TOWN | 11KV DCROAD | 2220 | 22 | 55500 | 2000014951
17 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 314 | 25 | 55140 | 2000014952
18 | AMBIKAPUR TOWN | 11KV SONPUR | 916 | 25 | 54780 | 2000014954
19 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1121 | 56 | 170700 | 2000003850
20 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2049 | 76 | 110760 | 2000003849
21 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 966 | 49 | 70980 | 2000003848
22 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 566 | 68 | 128520 | 2000003847
23 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2035 | 46 | 110640 | 2000003846
24 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1293 | 64 | 122280 | 2000003845
25 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 500 | 42 | 120720 | 2000003844
26 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 22 | 57 | 83160 | 2000014957
27 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 565 | 59 | 189120 | 2000014959
28 | AMBIKAPUR TOWN | 11KV TV FEEDER | 3313 | 47 | 60120 | 2000014963
29 | BHATAPARA TOWN | 11KV REST HOUSE FEDEER | 1249 | 33 | 31800 | 2000075846
30 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 783 | 25 | 40080 | 2000006347
31 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 307 | 31 | 18000 | 2000001007
32 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 330 | 24 | 21360 | 2000001005
33 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 553 | 24 | 35700 | 2000004867
34 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2147 | 48 | 72600 | 2000004868
35 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2393 | 14 | 30720 | 2000004869
36 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 747 | 9 | 13380 | 2000004870
37 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1639 | 25 | 43140 | 2000004871
38 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 1309 | 10 | 15120 | 2000004873
39 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1445 | 18 | 12840 | 2000004874
40 | BILASPUR TOWN | 11KV TORWA FEEDER | 1953 | 1 | 300 | 2000004875
41 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 698 | 23 | 24540 | 2000004876
42 | BILASPUR TOWN | 11KV DHEKA FEEDER | 433 | 15 | 30000 | 2000004877
43 | BILASPUR TOWN | 11KV DHUMA FEEDER | 878 | 9 | 19860 | 2000004878
44 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 609 | 19 | 42180 | 2000004879
45 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1165 | 28 | 51240 | 2000004881
46 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2326 | 12 | 24360 | 2000004882
47 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1305 | 25 | 26340 | 2000004883
48 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1956 | 38 | 47640 | 2000004884
49 | BILASPUR TOWN | 11KV HARDIFEEDER | 1236 | 9 | 19920 | 2000004885
50 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1144 | 27 | 40500 | 2000004886
51 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1452 | 26 | 44280 | 2000004888
52 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2703 | 27 | 65400 | 2000004889
53 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 14 | 30720 | 2000004890
54 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1206 | 61 | 55320 | 2000004891
55 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 1114 | 14 | 28560 | 2000004892
56 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 1284 | 41 | 42240 | 2000004893
57 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1307 | 12 | 24540 | 2000004894
58 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1414 | 25 | 43500 | 2000004896
59 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 618 | 21 | 28980 | 2000004897
60 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1313 | 9 | 19980 | 2000004898
61 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1195 | 32 | 19860 | 2000004899
62 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1404 | 11 | 15300 | 2000004900
63 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2845 | 34 | 45720 | 2000004901
64 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1789 | 27 | 34680 | 2000004902
65 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2128 | 12 | 29280 | 2000004904
66 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2980 | 22 | 22200 | 2000004905
67 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 2292 | 13 | 29220 | 2000004906
68 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2296 | 45 | 62700 | 2000004907
69 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 1102 | 19 | 39960 | 2000004908
70 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4934 | 38 | 72600 | 2000004909
71 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2372 | 7 | 9900 | 2000004910
72 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1404 | 47 | 62580 | 2000004911
73 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2212 | 20 | 38040 | 2000004912
74 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1849 | 39 | 30900 | 2000004913
75 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2706 | 27 | 40560 | 2000004914
76 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 80 | 12 | 24600 | 2000004915
77 | BILASPUR TOWN | 11KV RULER FEEDER | 2241 | 12 | 24600 | 2000004916
78 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2379 | 10 | 15060 | 2000004917
79 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2264 | 27 | 40440 | 2000004919
80 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3427 | 13 | 27240 | 2000004920
81 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 985 | 27 | 40440 | 2000004921
82 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1704 | 26 | 44040 | 2000004922
83 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 856 | 27 | 34740 | 2000004923
84 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 595 | 28 | 35220 | 2000004924
85 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1540 | 24 | 35580 | 2000004925
86 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1614 | 21 | 44460 | 2000004926
87 | BILASPUR TOWN | 11KV KONI FEEDER | 987 | 39 | 77760 | 2000006494
88 | BILASPUR TOWN | 11KV UNIVERSITY FEEDER | 1 | 26 | 54360 | 2000006495
89 | BILASPUR TOWN | 11KV TV FEEDER | 3345 | 10 | 15240 | 2000016309
90 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1000 | 22 | 35820 | 2000016310
91 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 303 | 23 | 32100 | 2000016311
92 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 577 | 21 | 29100 | 2000016312
93 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1752 | 22 | 29640 | 2000016314
94 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 232 | 29 | 46920 | 2000016315
95 | BILASPUR TOWN | 11KV NEW MOPKA | 1530 | 25 | 45300 | 2000017224
96 | BILASPUR TOWN | 11KV SHIVAM CITY | 2214 | 27 | 31980 | 2000017225
97 | BILASPUR TOWN | 11KV MAHAVEER CITY | 446 | 13 | 12480 | 2000017226
98 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 2 | 12 | 16080 | 2000017502
99 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 497 | 14 | 20640 | 2000017504
100 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2242 | 19 | 33240 | 2000017505
101 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1299 | 27 | 33660 | 2000017776
102 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 131 | 27 | 33840 | 2000017777
103 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 321 | 27 | 33540 | 2000017778
104 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 450 | 45 | 91680 | 2000017780
105 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 680 | 42 | 58080 | 2000017781
106 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 223 | 41 | 57480 | 2000017782
107 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1496 | 25 | 27960 | 2000018403
108 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1030 | 22 | 31920 | 2000018404
109 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1678 | 22 | 34920 | 2000018405
110 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 1142 | 24 | 31740 | 2000018761
111 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 2052 | 16 | 33900 | 2000018762
112 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 686 | 22 | 30240 | 2000018763
113 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 83 | 27 | 37860 | 2000020488
114 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 622 | 25 | 32580 | 2000020489
115 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1687 | 30 | 53040 | 2000020490
116 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1581 | 20 | 40500 | 2000020582
117 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1028 | 12 | 12120 | 2000020583
118 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 275 | 9 | 15240 | 2000020584
119 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 401 | 24 | 35520 | 2000022056
120 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1757 | 9 | 19980 | 2000022059
121 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1711 | 22 | 39480 | 2000022060
122 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 2221 | 19 | 34260 | 2000022061
123 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 212 | 12 | 17700 | 2000022075
124 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1872 | 30 | 54240 | 2000023801
125 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1168 | 17 | 32880 | 2000023802
126 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1021 | 17 | 24900 | 2000023803
127 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 341 | 26 | 67800 | 2000024037
128 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 661 | 31 | 54000 | 2000024038
129 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2459 | 30 | 54000 | 2000024039
130 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1166 | 23 | 24540 | 2000027413
131 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 62 | 15 | 33780 | 2000076558
132 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 30 | 15 | 33840 | 2000076559
133 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 103 | 15 | 33840 | 2000076560
134 | BILASPUR TOWN | 11KV JABDAPARA FEEDER | 1039 | 23 | 40200 | 2000076885
135 | BILASPUR TOWN | 11KV AUDITORIUM FEEDER | 1 | 14 | 12540 | 2000076886
136 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 305 | 14 | 12660 | 2000076887
137 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 7 | 9 | 19860 | 2000077336
138 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1174 | 12 | 24480 | 2000077337
139 | BILASPUR TOWN | 11KV MAA HARSHIDDHI FEEDER | 213 | 13 | 13680 | 2000077612
140 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 112 | 33 | 79260 | 2000015492
141 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 415 | 76 | 117300 | 2000001804
142 | CHAMPA TOWN | 11KV KURDAFEEDER | 1659 | 80 | 194460 | 2000001807
143 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2394 | 76 | 115440 | 2000001808
144 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2285 | 29 | 48180 | 2000001809
145 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2986 | 48 | 47520 | 2000001812
146 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1331 | 48 | 60780 | 2000001813
147 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 877 | 59 | 64380 | 2000001814
148 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1082 | 5 | 3420 | 2000015251
149 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 554 | 45 | 126660 | 2000015252
150 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4547 | 51 | 105900 | 2000003144
151 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 290 | 67 | 100200 | 2000006348
152 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5688 | 46 | 42900 | 2000003197
153 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2064 | 37 | 49200 | 2000003196
154 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 339 | 118 | 863040 | 2000003193
155 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1674 | 65 | 97260 | 2000003194
156 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1284 | 32 | 36120 | 2000003195
157 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2958 | 27 | 23460 | 2000002579
158 | DHAMTARI TOWN | 11KV SHANTI COLONY FEEDER | 3834 | 32 | 54420 | 2000002578
159 | DHAMTARI TOWN | 11KV MAHALAKSHMI FEEDER | 30 | 21 | 33720 | 2000002577
160 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1322 | 28 | 47580 | 2000002576
161 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 983 | 34 | 36000 | 2000002575
162 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1388 | 30 | 30840 | 2000002574
163 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 107 | 21 | 23880 | 2000002573
164 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 991 | 25 | 24540 | 2000002572
165 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2112 | 17 | 107100 | 2000002571
166 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4470 | 18 | 21360 | 2000002570
167 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1668 | 17 | 20520 | 2000002569
168 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 37 | 37140 | 2000002567
169 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 47 | 36 | 121500 | 2000002566
170 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 552 | 20 | 23460 | 2000015505
171 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 406 | 19 | 80520 | 2000004308
172 | DHAMTARI TOWN | 11KV CHITOD1 | 4907 | 20 | 70080 | 2000004307
173 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1948 | 36 | 107820 | 2000007686
174 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1762 | 22 | 29640 | 2000007687
175 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 118 | 47 | 706800 | 2000007688
176 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 632 | 21 | 14400 | 2000007689
177 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4156 | 25 | 29520 | 2000007696
178 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1106 | 20 | 35940 | 2000007702
179 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1143 | 35 | 21240 | 2000007703
180 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2474 | 26 | 17460 | 2000007705
181 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1661 | 26 | 28500 | 2000007707
182 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1396 | 36 | 48060 | 2000007715
183 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1564 | 51 | 20580 | 2000007718
184 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1140 | 21 | 14220 | 2000007720
185 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1415 | 18 | 17880 | 2000007721
186 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2246 | 17 | 11220 | 2000007723
187 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1509 | 62 | 46920 | 2000007724
188 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1746 | 38 | 20100 | 2000007725
189 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2645 | 32 | 23520 | 2000007726
190 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 756 | 22 | 22260 | 2000007729
191 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 980 | 12 | 11220 | 2000007731
192 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 743 | 38 | 64320 | 2000007733
193 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1140 | 12 | 12720 | 2000007735
194 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1648 | 24 | 31560 | 2000007737
195 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3228 | 15 | 35460 | 2000007742
196 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 930 | 37 | 31860 | 2000007744
197 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 732 | 17 | 28680 | 2000007747
198 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1322 | 33 | 38760 | 2000007750
199 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1995 | 17 | 30060 | 2000007754
200 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUMPARK FEEDER | 529 | 4 | 2280 | 2000007755
201 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1377 | 48 | 24780 | 2000007756
202 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2082 | 24 | 19140 | 2000007757
203 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2313 | 56 | 78000 | 2000007758
204 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2287 | 35 | 49680 | 2000007759
205 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1042 | 20 | 13680 | 2000007761
206 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1068 | 11 | 13440 | 2000007762
207 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 715 | 26 | 19920 | 2000007769
208 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 1894 | 6 | 9960 | 2000007772
209 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1574 | 45 | 51540 | 2000007773
210 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1575 | 36 | 18420 | 2000007774
211 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1261 | 29 | 19380 | 2000007775
212 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1235 | 13 | 8940 | 2000007776
213 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1259 | 47 | 37020 | 2000007779
214 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7722 | 56 | 83940 | 2000016889
215 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2976 | 39 | 57000 | 2000017000
216 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2594 | 21 | 22500 | 2000017052
217 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1331 | 13 | 18240 | 2000017054
218 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1211 | 14 | 178440 | 2000017055
219 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 977 | 12 | 12840 | 2000017056
220 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 847 | 15 | 25560 | 2000017057
221 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 893 | 16 | 26700 | 2000017058
222 | DURG BHILAI CHARODA TOWN | 11KV KATUL BOAD | 1682 | 20 | 19740 | 2000017059
223 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 454 | 15 | 8940 | 2000017060
224 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1838 | 18 | 21720 | 2000017061
225 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 586 | 11 | 21000 | 2000017062
226 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 751 | 10 | 18060 | 2000017063
227 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1546 | 6 | 7020 | 2000017064
228 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1514 | 33 | 30060 | 2000017065
229 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1179 | 12 | 18720 | 2000017066
230 | DURG BHILAI CHARODA TOWN | 11KV HANODA RURAL FEEDER | 575 | 14 | 15540 | 2000017067
231 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1329 | 27 | 45360 | 2000017068
232 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 971 | 33 | 27780 | 2000017069
233 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2186 | 33 | 29760 | 2000017071
234 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 270 | 16 | 15660 | 2000017072
235 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 532 | 41 | 35640 | 2000017080
236 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2627 | 19 | 26340 | 2000018574
237 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 25 | 36000 | 2000018704
238 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1406 | 24 | 77160 | 2000018705
239 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1853 | 22 | 38580 | 2000018706
240 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 919 | 21 | 27660 | 2000018707
241 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2972 | 32 | 44820 | 2000018723
242 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 660 | 14 | 11340 | 2000019819
243 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2815 | 59 | 126240 | 2000019876
244 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1112 | 14 | 87900 | 2000020519
245 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1676 | 9 | 91200 | 2000021263
246 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1332 | 9 | 30900 | 2000021264
247 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1186 | 15 | 13200 | 2000021357
248 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3176 | 15 | 12840 | 2000023773
249 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 356 | 1 | 600 | 2000025794
250 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 7 | 7500 | 2000027337
251 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1935 | 16 | 17340 | 2000029190
252 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1419 | 16 | 17160 | 2000029191
253 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 876 | 16 | 17400 | 2000029192
254 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 2160 | 1 | 780 | 2000029193
255 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1961 | 18 | 25920 | 2000049757
256 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 60 | 19 | 39060 | 2000049820
257 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 2068 | 8 | 11220 | 2000067876
258 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2406 | 8 | 11040 | 2000067877
259 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2201 | 7 | 10620 | 2000067878
260 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 16 | 10 | 14640 | 2000068108
261 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 49 | 10 | 14580 | 2000068109
262 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 18 | 10 | 14580 | 2000068110
263 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1406 | 15 | 13440 | 2000075513
264 | DURG BHILAI CHARODA TOWN | 11KV SARASWATI KUNJ FEEDER | 138 | 6 | 7140 | 2000075565
265 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 807 | 15 | 18960 | 2000075566
266 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1847 | 29 | 32700 | 2000075806
267 | DURG BHILAI CHARODA TOWN | 11KV LIMTARA FEEDER | 1042 | 59 | 45840 | 2000075812
268 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 361 | 27 | 18540 | 2000075949
269 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2315 | 35 | 90840 | 2000075970
270 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1212 | 10 | 11160 | 2000075971
271 | DURG BHILAI CHARODA TOWN | 11KV BAGHERA BASTI FEEDER | 780 | 34 | 139440 | 2000076270
272 | DURG BHILAI CHARODA TOWN | 11KV GOL MARKET FEEDER | 1071 | 18 | 34620 | 2000077904
273 | DURG BHILAI CHARODA TOWN | 11 KV BHIM NAGAR FEEDER | 1449 | 21 | 21240 | 2000078040
274 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 343 | 15 | 22260 | 2000004329
275 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2222 | 20 | 24660 | 2000004330
276 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1251 | 23 | 22200 | 2000004332
277 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 294 | 14 | 20100 | 2000004333
278 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 945 | 20 | 16440 | 2000004334
279 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1538 | 14 | 33180 | 2000004335
280 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1790 | 21 | 25680 | 2000004337
281 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3635 | 24 | 27360 | 2000004338
282 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2477 | 46 | 61500 | 2000004339
283 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 68 | 22 | 35520 | 2000078041
284 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 387 | 13 | 18660 | 2000075799
285 | JAGDALPUR TOWN | 11KV ANUPAMA CHOWK FEEDER | 2586 | 19 | 24420 | 2000075216
286 | JAGDALPUR TOWN | 11KV GREEN CITY FEEDER | 533 | 13 | 21180 | 2000075215
287 | JAGDALPUR TOWN | 11KV VARGISH FEEDER | 867 | 8 | 10740 | 2000023847
288 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1222 | 20 | 24180 | 2000004349
289 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 18 | 15120 | 2000004347
290 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2017 | 27 | 33180 | 2000004344
291 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1828 | 24 | 46260 | 2000004342
292 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1939 | 14 | 19680 | 2000004341
293 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2091 | 20 | 43200 | 2000004340
294 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1796 | 36 | 24900 | 2000015850
295 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 2319 | 13 | 11940 | 2000001047
296 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1713 | 20 | 31020 | 2000001048
297 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 2787 | 21 | 15300 | 2000001051
298 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 496 | 4 | 3000 | 2000075551
299 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2060 | 4 | 3000 | 2000075552
300 | KAWARDHA TOWN | 11KV VIP FEEDER | 486 | 15 | 132240 | 2000001052
301 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3541 | 16 | 9960 | 2000001054
302 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1740 | 27 | 109320 | 2000001055
303 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1869 | 4 | 3000 | 2000075553
304 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1490 | 10 | 69300 | 2000001045
305 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 19 | 48 | 77340 | 2000006490
306 | KORBA TOWN | 11KV ABC FEEDER | 1344 | 9 | 13800 | 2000006759
307 | KORBA TOWN | 11KV AB TYPE COLONY FEEDER | 339 | 50 | 97860 | 2000006760
308 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3669 | 58 | 111480 | 2000006761
309 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 931 | 17 | 19560 | 2000006762
310 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1089 | 37 | 101580 | 2000006763
311 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1009 | 100 | 199620 | 2000006764
312 | KORBA TOWN | 11KV DARRI FEEDER | 1327 | 12 | 33420 | 2000006767
313 | KORBA TOWN | 11KV DADAR FEEDER | 1055 | 64 | 134880 | 2000006768
314 | KORBA TOWN | 11KV DEFR FEEDER | 1642 | 9 | 13800 | 2000006769
315 | KORBA TOWN | 11KV DUMARDIHFEEDER | 10 | 52 | 57720 | 2000006770
316 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 730 | 64 | 121260 | 2000006771
317 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 868 | 47 | 145320 | 2000006773
318 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 1150 | 24 | 117480 | 2000006775
319 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 531 | 71 | 148200 | 2000006776
320 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 368 | 25 | 103740 | 2000006778
321 | KORBA TOWN | 11KV KOSABADI FEEDER | 1173 | 19 | 29760 | 2000006780
322 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1678 | 50 | 97800 | 2000006782
323 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1604 | 22 | 78900 | 2000006783
324 | KORBA TOWN | 11KV NIHARIKA FEEDER | 865 | 30 | 53040 | 2000006784
325 | KORBA TOWN | 11KV P.HROAD FEEDER | 1327 | 37 | 95580 | 2000006785
326 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1826 | 52 | 98700 | 2000006787
327 | KORBA TOWN | 11KV POWERCITY FEEDER | 657 | 12 | 33420 | 2000006788
328 | KORBA TOWN | 11KV PARSABADA FEEDER | 919 | 57 | 179520 | 2000006789
329 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 708 | 26 | 76620 | 2000006790
330 | KORBA TOWN | 11KV RAMPUR FEEDER | 215 | 19 | 29940 | 2000006791
331 | KORBA TOWN | 11KV RURAL FEEDER | 1618 | 61 | 103500 | 2000006792
332 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1120 | 56 | 118620 | 2000006794
333 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2395 | 75 | 133140 | 2000006795
334 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 943 | 86 | 153540 | 2000006796
335 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 176 | 19 | 29760 | 2000006797
336 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1409 | 25 | 156840 | 2000006798
337 | KORBA TOWN | 11KV BUDHWARI FEEDER | 874 | 43 | 101160 | 2000015220
338 | KORBA TOWN | 11KV SEMIPALI | 472 | 48 | 121500 | 2000015240
339 | KORBA TOWN | 11KV DONDRO FEEDER | 35 | 82 | 105420 | 2000016028
340 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 2244 | 34 | 54240 | 2000016201
341 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2640 | 12 | 33420 | 2000016255
342 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1153 | 25 | 43440 | 2000016912
343 | KORBA TOWN | 11KV DINDAYAL AWAS | 483 | 21 | 72720 | 2000017789
344 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 100 | 24 | 108240 | 2000017790
345 | KORBA TOWN | 11KV OM SAI APPARTMENT | 464 | 20 | 54480 | 2000017791
346 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2395 | 68 | 147960 | 2000017804
347 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 663 | 52 | 102840 | 2000017805
348 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 994 | 30 | 114720 | 2000018988
349 | KORBA TOWN | 11KV MUDAPAR FEEDER | 2530 | 55 | 137820 | 2000020065
350 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 132 | 21 | 35400 | 2000020121
351 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 949 | 31 | 111660 | 2000021288
352 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 229 | 26 | 107460 | 2000021289
353 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1595 | 23 | 68880 | 2000021425
354 | KORBA TOWN | 11KV KOTWALI | 1901 | 31 | 62340 | 2000071531
355 | KORBA TOWN | 11KV SANJAY NAGAR | 2217 | 38 | 79980 | 2000071532
356 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 31 | 109200 | 2000071855
357 | KORBA TOWN | 11KV KOHADIYA | 1947 | 30 | 109260 | 2000071856
358 | KORBA TOWN | 11KV TINADAFAI FEEDER | 1019 | 22 | 50940 | 2000075797
359 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 431 | 102 | 158340 | 2000075847
360 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1000 | 96 | 145140 | 2000075848
361 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 116 | 63 | 74760 | 2000075849
362 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2795 | 49 | 92700 | 2000075850
363 | KORBA TOWN | 11KV ITI FEEDER | 1521 | 46 | 72240 | 2000075851
364 | KORBA TOWN | 11KV SUMEDHA FEEDER | 415 | 33 | 113880 | 2000077493
365 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1771 | 33 | 114000 | 2000077495
366 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1824 | 50 | 59040 | 2000069911
367 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 54 | 30 | 30840 | 2000069912
368 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1810 | 20 | 26760 | 2000069913
369 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 687 | 17 | 107580 | 2000069914
370 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1892 | 17 | 53940 | 2000001427
371 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 840 | 20 | 80100 | 2000001426
372 | MAHASAMUND TOWN | 11KV TRIMURTI FEEDER | 187 | 31 | 28020 | 2000077409
373 | MAHASAMUND TOWN | 11KV NEHRU CHOWK FEEDER | 1607 | 47 | 46740 | 2000077410
374 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 769 | 25 | 80340 | 2000001425
375 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1292 | 22 | 62520 | 2000003055
376 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6275 | 29 | 73080 | 2000003057
377 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1886 | 29 | 24720 | 2000055675
378 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 1007 | 40 | 49440 | 2000068276
379 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 642 | 51 | 73680 | 2000002464
380 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2039 | 17 | 12300 | 2000006458
381 | MUNGELI TOWN | 11KV COLECTER FEEDER | 805 | 18 | 20760 | 2000006460
382 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1369 | 38 | 57900 | 2000002463
383 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2749 | 13 | 26400 | 2000002462
384 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 174 | 51 | 73920 | 2000015467
385 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 105 | 62 | 139980 | 2000002458
386 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 69 | 41 | 44340 | 2000077488
387 | NAILA JANJGIR TOWN | 11KV VIP-2 FEEDER | 57 | 14 | 61620 | 2000077487
388 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 432 | 45 | 69120 | 2000001637
389 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1407 | 17 | 68880 | 2000001636
390 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2935 | 40 | 27420 | 2000001635
391 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 36 | 61 | 66600 | 2000001633
392 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1370 | 45 | 114120 | 2000001628
393 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6191 | 47 | 76500 | 2000001626
394 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 281 | 36 | 49500 | 2000001625
395 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 166 | 39 | 49080 | 2000076054
396 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 533 | 40 | 38160 | 2000076053
397 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 504 | 36 | 37740 | 2000076052
398 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 800 | 32 | 45660 | 2000076051
399 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1575 | 37 | 42120 | 2000076050
400 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 147 | 56 | 61020 | 2000001623
401 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1649 | 36 | 38340 | 2000001622
402 | RAIGARH TOWN | 11KV PARK AVENUE | 170 | 50 | 53460 | 2000073194
403 | RAIGARH TOWN | 11KV KHAIRPUR | 943 | 11 | 37920 | 2000073193
404 | RAIGARH TOWN | 11KV PATRAPALI | 447 | 27 | 100560 | 2000073192
405 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 520 | 29 | 61140 | 2000029091
406 | RAIGARH TOWN | 11KV STADIUM FEEDER | 857 | 43 | 114480 | 2000022941
407 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1386 | 39 | 90360 | 2000021639
408 | RAIGARH TOWN | 11 KV CHATAMUDA FEEDER | 965 | 24 | 66960 | 2000017712
409 | RAIGARH TOWN | 11KV GERWANI FEEDER | 704 | 30 | 60720 | 2000016185
410 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 639 | 32 | 48240 | 2000016184
411 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 736 | 30 | 68820 | 2000016057
412 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 142 | 18 | 57960 | 2000016056
413 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1201 | 15 | 51360 | 2000016055
414 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 26 | 52020 | 2000016054
415 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1594 | 28 | 87780 | 2000016053
416 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1216 | 45 | 104700 | 2000016052
417 | RAIGARH TOWN | 11KV DHANGARDIPA FEEDER | 2386 | 25 | 61920 | 2000003313
418 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 647 | 29 | 65220 | 2000003320
419 | RAIGARH TOWN | 11KV STADIUM FEEDER | 318 | 30 | 51120 | 2000003323
420 | RAIGARH TOWN | 11KV STATION FEEDER | 802 | 73 | 62100 | 2000003324
421 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3333 | 82 | 137580 | 2000003325
422 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1189 | 34 | 96000 | 2000073195
423 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1154 | 48 | 60780 | 2000073196
580 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2350 | 8 | 8820 | 2000017261
598 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1142 | 4 | 5100 | 2000010729
579 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1144 | 12 | 32640 | 2000017256
425 | RAIPUR TOWN | 11KV MOTIBAGH | 779 | 12 | 27180 | 2000021115
630 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1091 | 12 | 96420 | 2000070749
628 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1134 | 14 | 91980 | 2000070747
629 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 564 | 13 | 78060 | 2000070748
609 | RAIPUR TOWN | 11KV DHANLAXMI NAGAR FEEDER | 3563 | 19 | 75660 | 2000018417
632 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1490 | 15 | 72240 | 2000017870
681 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1389 | 7 | 70020 | 2000026582
610 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2358 | 32 | 67380 | 2000018595
511 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2233 | 10 | 66480 | 2000010656
652 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 1021 | 9 | 57660 | 2000017721
661 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 183 | 16 | 54900 | 2000017871
657 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 2153 | 33 | 52140 | 2000017962
606 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1131 | 14 | 50580 | 2000017867
500 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 424 | 10 | 49080 | 2000010686
671 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1272 | 20 | 48780 | 2000021424
604 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1784 | 11 | 46980 | 2000017868
424 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 541 | 17 | 46800 | 2000010677
639 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 470 | 18 | 45120 | 2000019181
489 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1030 | 14 | 43920 | 2000010614
577 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 335 | 24 | 39660 | 2000010744
647 | RAIPUR TOWN | 11KV MOVA ESTATE FEEDER | 149 | 7 | 39540 | 2000017722
473 | RAIPUR TOWN | 11KV ATARI FEEDER | 819 | 22 | 37200 | 2000010604
656 | RAIPUR TOWN | 11KV MG ROAD | 1647 | 16 | 36360 | 2000017955
448 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 13 | 7 | 35820 | 2000010676
670 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 72 | 18 | 35280 | 2000021421
513 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 418 | 17 | 35160 | 2000010658
591 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1993 | 12 | 35160 | 2000017621
636 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1891 | 12 | 34080 | 2000019857
727 | RAIPUR TOWN | 11KV PADAW FEEDER | 2119 | 17 | 33900 | 2000020227
462 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1357 | 7 | 33420 | 2000021615
660 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1366 | 12 | 33420 | 2000018006
644 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1342 | 16 | 33240 | 2000019334
453 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 577 | 7 | 33120 | 2000018396
432 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1474 | 11 | 32940 | 2000017611
649 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1919 | 17 | 32940 | 2000019340
586 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2139 | 18 | 32700 | 2000017608
467 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1286 | 13 | 32400 | 2000010653
590 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 429 | 15 | 31560 | 2000017617
605 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 406 | 13 | 31440 | 2000018416
719 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1937 | 9 | 31320 | 2000020120
613 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 642 | 20 | 30780 | 2000017773
616 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1518 | 22 | 30780 | 2000017771
431 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 821 | 9 | 29760 | 2000017615
659 | RAIPUR TOWN | 11KV SADDU FEEDER | 600 | 15 | 29640 | 2000018005
585 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1530 | 15 | 29160 | 2000017602
429 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1765 | 11 | 29040 | 2000010696
454 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 121 | 11 | 28980 | 2000010641
436 | RAIPUR TOWN | 11KV MOTHER TERESA | 714 | 9 | 28800 | 2000017756
687 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 895 | 18 | 28140 | 2000034422
426 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1177 | 7 | 27840 | 2000010681
490 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 236 | 16 | 27780 | 2000010615
641 | RAIPUR TOWN | 11KV VARUN FEEDER | 1441 | 15 | 27780 | 2000019179
466 | RAIPUR TOWN | 11KV SECTOR -5 | 271 | 4 | 27480 | 2000010721
690 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 3 | 13 | 26460 | 2000010633
721 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 341 | 6 | 26460 | 2000020130
592 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 87 | 16 | 26340 | 2000017623
603 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 722 | 22 | 26220 | 2000018406
567 | RAIPUR TOWN | 11KV TV FEEDER | 1866 | 15 | 26160 | 2000010728
565 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3325 | 9 | 26040 | 2000010724
546 | RAIPUR TOWN | 11KV RULAR FEEDER | 589 | 19 | 25800 | 2000010703
584 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1903 | 19 | 25800 | 2000017600
439 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 733 | 10 | 25560 | 2000017590
614 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1703 | 18 | 25500 | 2000017772
484 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 155 | 13 | 25320 | 2000010596
662 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 415 | 7 | 25200 | 2000018359
517 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 1885 | 13 | 25080 | 2000010662
470 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1656 | 12 | 24900 | 2000023680
655 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2655 | 17 | 24660 | 2000017954
612 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 837 | 10 | 24300 | 2000018783
686 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1420 | 15 | 24240 | 2000034421
446 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 780 | 16 | 24120 | 2000010583
716 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 958 | 14 | 23880 | 2000034423
593 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 885 | 14 | 23100 | 2000017624
514 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1009 | 5 | 22740 | 2000010659
680 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 1827 | 11 | 22740 | 2000026575
708 | RAIPUR TOWN | 11KV SHRADDHA VIHAR FEEDER | 1012 | 13 | 22680 | 2000075796
594 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 432 | 10 | 22440 | 2000017626
623 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 16 | 22140 | 2000064021
707 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1199 | 11 | 22080 | 2000075643
438 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1352 | 7 | 21960 | 2000017755
515 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 70 | 10 | 21780 | 2000010660
581 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1586 | 11 | 21720 | 2000017508
463 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 849 | 15 | 21660 | 2000010666
450 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 266 | 5 | 21360 | 2000029196
684 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1382 | 11 | 21300 | 2000026586
668 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1312 | 19 | 20700 | 2000021286
724 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1542 | 9 | 20640 | 2000020153
658 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 256 | 12 | 20400 | 2000018004
720 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 72 | 18 | 20400 | 2000020123
437 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 699 | 8 | 20280 | 2000010606
440 | RAIPUR TOWN | 11KV BASTAL FEEDER | 906 | 8 | 19740 | 2000010610
560 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1899 | 15 | 19080 | 2000010718
663 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1427 | 11 | 18900 | 2000018361
665 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1734 | 6 | 18840 | 2000021219
461 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 988 | 11 | 18780 | 2000010671
523 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1325 | 10 | 18480 | 2000010672
597 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 280 | 10 | 18240 | 2000017674
669 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1867 | 12 | 18180 | 2000021287
564 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2484 | 15 | 18120 | 2000010723
722 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 528 | 6 | 18120 | 2000020131
570 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 484 | 7 | 17820 | 2000010737
706 | RAIPUR TOWN | 11KV SUMET FEEDER | 102 | 7 | 17820 | 2000075452
532 | RAIPUR TOWN | 11KV KARBALA TALAB | 1433 | 14 | 17580 | 2000010585
705 | RAIPUR TOWN | 11KV PARK SIDE FEEDER | 157 | 7 | 17580 | 2000075451
601 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 854 | 7 | 17400 | 2000018394
723 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 7 | 17340 | 2000020132
688 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1995 | 8 | 17280 | 2000017690
582 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1636 | 11 | 16980 | 2000017597
595 | RAIPUR TOWN | 11KV MIG FEEDER | 344 | 9 | 16920 | 2000017671
596 | RAIPUR TOWN | 11KV G+10 FEEDER | 466 | 9 | 16680 | 2000017673
704 | RAIPUR TOWN | 11KV SIMRAN CITY FEEDER | 1338 | 13 | 16500 | 2000074141
667 | RAIPUR TOWN | 11KV TARUN NAGAR | 1856 | 4 | 16140 | 2000021221
714 | RAIPUR TOWN | 11KV JAGRITI SCHOOL FEEDER | 62 | 14 | 16140 | 2000077965
540 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3759 | 7 | 16080 | 2000010692
545 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 88 | 17 | 15840 | 2000010702
471 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1179 | 8 | 15780 | 2000010725
625 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 243 | 11 | 15600 | 2000070080
543 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1360 | 15 | 15540 | 2000010699
666 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1482 | 3 | 15480 | 2000021220
631 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 11 | 12 | 15240 | 2000071570
456 | RAIPUR TOWN | 11KV IGVP | 437 | 6 | 15180 | 2000018397
622 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 1002 | 16 | 15120 | 2000046477
627 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 9 | 15060 | 2000070703
702 | RAIPUR TOWN | 11KV OAK VILLA FEEDER | 262 | 7 | 15060 | 2000071761
626 | RAIPUR TOWN | 11KV C&F FEEDER | 59 | 9 | 14940 | 2000070702
475 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1852 | 6 | 14820 | 2000010602
554 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1069 | 14 | 14760 | 2000010712
717 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2135 | 11 | 14640 | 2000020009
710 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 67 | 9 | 14580 | 2000075801
711 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 346 | 9 | 14460 | 2000075802
503 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 9 | 14400 | 2000010733
506 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1416 | 8 | 14400 | 2000010643
654 | RAIPUR TOWN | 11KV NAVEEN MARKET | 896 | 9 | 14280 | 2000017953
692 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 790 | 18 | 14220 | 2000010635
556 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 2028 | 13 | 14160 | 2000010714
574 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1579 | 16 | 14040 | 2000010741
562 | RAIPUR TOWN | 11KV SARORA FEEDER | 707 | 11 | 13920 | 2000010720
575 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 107 | 13 | 13920 | 2000010742
576 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 78 | 13 | 13920 | 2000010743
455 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 904 | 11 | 13500 | 2000010642
697 | RAIPUR TOWN | 11KV SHAPHIRE GREEN FEEDER | 15 | 6 | 13260 | 2000071754
548 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2216 | 12 | 13200 | 2000010705
699 | RAIPUR TOWN | 11KV OM FEEDER | 15 | 6 | 13200 | 2000071757
675 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2026 | 12 | 13140 | 2000023735
465 | RAIPUR TOWN | 11KV LIC FEEDER | 2169 | 6 | 13080 | 2000010663
689 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2481 | 7 | 13080 | 2000010632
435 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 565 | 7 | 13020 | 2000017757
650 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 169 | 4 | 12960 | 2000017692
530 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2452 | 7 | 12900 | 2000010631
583 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 913 | 5 | 12900 | 2000017599
633 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 584 | 12 | 12900 | 2000019185
635 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1251 | 12 | 12840 | 2000019186
464 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2062 | 8 | 12720 | 2000010664
553 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1629 | 14 | 12720 | 2000010711
559 | RAIPUR TOWN | 11KV RDA FEEDER | 2185 | 11 | 12720 | 2000010717
451 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 130 | 11 | 12660 | 2000018378
443 | RAIPUR TOWN | 11KV WHITE HOUSE | 555 | 11 | 12600 | 2000017568
460 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 895 | 10 | 12480 | 2000010651
696 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2730 | 7 | 12480 | 2000020581
718 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1907 | 12 | 12420 | 2000020119
458 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 703 | 4 | 12300 | 2000010647
459 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1666 | 8 | 12120 | 2000010650
479 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 671 | 9 | 12060 | 2000010611
611 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3161 | 10 | 12060 | 2000017808
472 | RAIPUR TOWN | 11KV SBI FEEDER | 989 | 10 | 12000 | 2000023790
496 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 79 | 3 | 12000 | 2000010625
481 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1596 | 9 | 11880 | 2000010600
457 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 378 | 10 | 11820 | 2000018398
525 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1661 | 13 | 11700 | 2000010675
531 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2310 | 14 | 11580 | 2000010582
709 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3479 | 12 | 11520 | 2000075800
486 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1202 | 14 | 11460 | 2000010592
552 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2632 | 5 | 11400 | 2000010709
615 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2426 | 13 | 11340 | 2000018949
617 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2771 | 12 | 11280 | 2000034760
703 | RAIPUR TOWN | 11KV GOKUL NAGAR FEEDER | 2856 | 11 | 11160 | 2000072091
568 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 388 | 9 | 10920 | 2000010688
573 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3047 | 12 | 10860 | 2000010740
522 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 942 | 8 | 10800 | 2000010670
521 | RAIPUR TOWN | 11KV MINING FEEDER | 524 | 9 | 10740 | 2000010669
433 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 927 | 6 | 10500 | 2000017768
569 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2392 | 7 | 10500 | 2000010736
492 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 237 | 8 | 10380 | 2000010617
672 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1241 | 10 | 10320 | 2000022077
679 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 237 | 8 | 10200 | 2000026462
673 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 700 | 10 | 10140 | 2000022078
674 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1575 | 10 | 10080 | 2000022079
501 | RAIPUR TOWN | 11KV TOWN FEEDER | 1445 | 8 | 10020 | 2000010730
599 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 939 | 10 | 9960 | 2000010687
651 | RAIPUR TOWN | 11KV CTI FEEDER | 336 | 9 | 9660 | 2000019342
685 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 127 | 7 | 9600 | 2000029195
498 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2493 | 12 | 9540 | 2000010628
558 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1875 | 4 | 9480 | 2000010716
607 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1245 | 5 | 9480 | 2000017819
634 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 757 | 10 | 9480 | 2000019184
640 | RAIPUR TOWN | 11KV HEERA FEEDER | 3390 | 11 | 9480 | 2000019180
477 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 267 | 6 | 9240 | 2000010607
549 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1222 | 8 | 9240 | 2000010706
508 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1280 | 10 | 9120 | 2000010649
621 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 692 | 7 | 9060 | 2000046448
664 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 400 | 9 | 9000 | 2000071639
485 | RAIPUR TOWN | 11KV MLA FEEDER | 1437 | 2 | 8880 | 2000010595
499 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1001 | 5 | 8880 | 2000010630
571 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 86 | 6 | 8880 | 2000010738
676 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 205 | 5 | 8820 | 2000023736
619 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1052 | 9 | 8760 | 2000034762
713 | RAIPUR TOWN | 11KV CM HOUSE FEEDER | 4 | 8 | 8580 | 2000076123
495 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 815 | 7 | 8520 | 2000010624
512 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 346 | 8 | 8520 | 2000010657
536 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2999 | 9 | 8520 | 2000010735
524 | RAIPUR TOWN | 11KV MARUTI FEEDER | 2938 | 6 | 8400 | 2000010674
539 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1305 | 10 | 8400 | 2000010691
550 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 356 | 6 | 8400 | 2000010707
504 | RAIPUR TOWN | 11KV GAD FEEDER | 873 | 6 | 8340 | 2000010590
588 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 416 | 6 | 8280 | 2000017612
695 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 989 | 8 | 8220 | 2000010638
544 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1910 | 8 | 8160 | 2000010701
541 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 24 | 7 | 8100 | 2000010694
715 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 64 | 6 | 7980 | 2000078241
441 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 913 | 8 | 7680 | 2000017576
480 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1302 | 8 | 7680 | 2000010601
555 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 878 | 6 | 7620 | 2000010713
618 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1232 | 9 | 7620 | 2000034761
683 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 990 | 7 | 7620 | 2000026584
694 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1811 | 8 | 7620 | 2000010637
572 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 382 | 4 | 7440 | 2000010739
587 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 755 | 10 | 7380 | 2000017609
693 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1070 | 8 | 7380 | 2000010636
535 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 878 | 7 | 7320 | 2000010589
682 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1005 | 5 | 7320 | 2000026583
445 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 522 | 8 | 7260 | 2000017514
444 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1938 | 9 | 7080 | 2000017567
700 | RAIPUR TOWN | 11KV FEEDER II FEEDER | 98 | 7 | 7080 | 2000071758
518 | RAIPUR TOWN | 11KV LALBAG FEEDER | 959 | 5 | 7020 | 2000010665
698 | RAIPUR TOWN | 11KV FEEDER I FEEDER | 50 | 7 | 7020 | 2000071756
701 | RAIPUR TOWN | 11KV FEEDER SWARNABHOOMI III FEEDER | 176 | 7 | 7020 | 2000071760
534 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 497 | 5 | 6960 | 2000010588
476 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 264 | 4 | 6900 | 2000010605
624 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 591 | 4 | 6900 | 2000069376
646 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 945 | 4 | 6900 | 2000019697
648 | RAIPUR TOWN | 11KV PS CITY | 1571 | 8 | 6900 | 2000019530
602 | RAIPUR TOWN | 11KV GANESH MANDIR | 331 | 8 | 6840 | 2000017869
468 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 677 | 2 | 6780 | 2000023848
447 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1640 | 4 | 6720 | 2000010621
488 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 732 | 7 | 6720 | 2000010613
427 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 812 | 6 | 6660 | 2000010685
527 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1498 | 3 | 6480 | 2000010680
434 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 11 | 8 | 6360 | 2000017607
494 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 2910 | 1 | 6300 | 2000010622
678 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1392 | 7 | 6300 | 2000024395
638 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1569 | 5 | 6180 | 2000019858
509 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2289 | 5 | 6060 | 2000010652
533 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 3022 | 5 | 6060 | 2000010587
449 | RAIPUR TOWN | 11KV MANDI | 581 | 2 | 6000 | 2000018020
487 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 400 | 5 | 5940 | 2000010591
430 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2444 | 4 | 5880 | 2000010700
452 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 542 | 4 | 5880 | 2000010732
482 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 567 | 6 | 5880 | 2000010599
469 | RAIPUR TOWN | 11KV MAHALAXMI | 401 | 4 | 5700 | 2000010655
491 | RAIPUR TOWN | 11KV COLONY FEEDER | 43 | 5 | 5520 | 2000010616
642 | RAIPUR TOWN | 11KV ROMAN SQUARE | 356 | 5 | 5400 | 2000017691
516 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1589 | 6 | 5340 | 2000010661
551 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 1022 | 6 | 5340 | 2000010708
497 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 404 | 8 | 5280 | 2000010626
538 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 508 | 4 | 5280 | 2000010690
637 | RAIPUR TOWN | 11KV BLOCK NO 1 2 3 4 FEEDER | 200 | 3 | 5280 | 2000019853
547 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 680 | 4 | 5100 | 2000010704
725 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 497 | 4 | 5040 | 2000020193
442 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 770 | 9 | 4740 | 2000017569
691 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1460 | 6 | 4740 | 2000010634
645 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 303 | 3 | 4560 | 2000019850
566 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 995 | 2 | 4320 | 2000010726
643 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 159 | 3 | 4320 | 2000019851
493 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1918 | 3 | 4260 | 2000010618
519 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1783 | 3 | 4260 | 2000010667
726 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1112 | 3 | 4200 | 2000020194
428 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1333 | 8 | 4080 | 2000019485
502 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1361 | 4 | 4020 | 2000010731
557 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2177 | 2 | 4020 | 2000010715
478 | RAIPUR TOWN | 11KV BANJARI FEEDER | 914 | 5 | 3900 | 2000010608
561 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 389 | 5 | 3900 | 2000010719
507 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 488 | 5 | 3840 | 2000010645
653 | RAIPUR TOWN | 11KV BSUP FEEDER | 186 | 5 | 3840 | 2000019341
600 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3315 | 3 | 3660 | 2000010639
578 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1709 | 3 | 3600 | 2000017238
712 | RAIPUR TOWN | 11KV VILLA (MARUTI LIFESTYLE)​ FEEDER | 32 | 2 | 3420 | 2000075947
510 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1464 | 5 | 3300 | 2000010654
542 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1568 | 2 | 3240 | 2000010695
528 | RAIPUR TOWN | 11KV KBT FEEDER | 774 | 5 | 3180 | 2000010682
677 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1824 | 4 | 3180 | 2000023772
474 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 652 | 4 | 3120 | 2000010603
520 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1947 | 3 | 3000 | 2000010668
563 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 3028 | 2 | 2760 | 2000010722
526 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 186 | 5 | 2700 | 2000010679
483 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 1248 | 4 | 2220 | 2000010598
537 | RAIPUR TOWN | 11KV RDA FEEDER | 765 | 3 | 2220 | 2000010689
608 | RAIPUR TOWN | 11KV PURANI BASTI | 706 | 2 | 2040 | 2000017817
529 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1126 | 2 | 1920 | 2000010683
589 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 23 | 1 | 1500 | 2000017613
620 | RAIPUR TOWN | 11KV PRIDE FEEDER | 416 | 2 | 1500 | 2000039215
505 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2645 | 1 | 960 | 2000010640
728 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1709 | 29 | 43620 | 2000006488
729 | RAJNANDGAON TOWN | 11 KV MAHAMAYA FEEDER | 2114 | 24 | 28140 | 2000073902