## D5 report
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Nov'19
Period: |  | 1st Oct'19 to 31th Oct'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 281
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 289 | 7 | 16860 | 2000003841
2 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 707 | 8 | 427140 | 2000003848
3 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1906 | 25 | 392400 | 2000003850
4 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 777 | 20 | 33000 | 2000006347
5 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2435 | 18 | 61920 | 2000017505
6 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 944 | 20 | 41040 | 2000017776
7 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 26 | 19 | 32940 | 2000017777
8 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 370 | 17 | 38580 | 2000017780
9 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 322 | 19 | 34740 | 2000017781
10 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1084 | 7 | 5280 | 2000018403
11 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2132 | 1 | 600 | 2000018405
12 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 800 | 12 | 8460 | 2000018761
13 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1992 | 12 | 9840 | 2000018762
14 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 470 | 11 | 13500 | 2000018763
15 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 381 | 8 | 610620 | 2000020488
16 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1271 | 7 | 6360 | 2000020489
17 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1273 | 14 | 11280 | 2000020490
18 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 22 | 31560 | 2000020582
19 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1024 | 7 | 9300 | 2000020583
20 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 406 | 8 | 22260 | 2000022061
21 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 428 | 9 | 23340 | 2000023801
22 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 326 | 9 | 28740 | 2000023802
23 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1902 | 18 | 36240 | 2000004869
24 | BILASPUR TOWN | 11KV DHEKA FEEDER | 342 | 6 | 15840 | 2000004877
25 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3396 | 10 | 20880 | 2000004882
26 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1332 | 18 | 12000 | 2000004883
27 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2009 | 1 | 2520 | 2000004888
28 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2627 | 31 | 37860 | 2000004889
29 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 15 | 379560 | 2000004890
30 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 594 | 8 | 21060 | 2000004892
31 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 2 | 64 | 200280 | 2000004897
32 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1241 | 7 | 26640 | 2000004900
33 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 374 | 15 | 45360 | 2000004923
34 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1164 | 14 | 25980 | 2000016310
35 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1142 | 19 | 26100 | 2000016311
36 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1181 | 19 | 430920 | 2000016314
37 | BILASPUR TOWN | 11KV SHIVAM CITY | 1594 | 12 | 26640 | 2000017225
38 | BILASPUR TOWN | 11KV MAHAVEER CITY | 310 | 11 | 23220 | 2000017226
39 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 11 | 24900 | 2000017502
40 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1713 | 5 | 6000 | 2000001809
41 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2383 | 11 | 18480 | 2000001808
42 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 7 | 23460 | 2000015492
43 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1234 | 3 | 5040 | 2000001813
44 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3699 | 5 | 6720 | 2000001812
45 | CHAMPA TOWN | 11KV RAJAPARA FEEDER | 1565 | 7 | 7980 | 2000001810
46 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 505 | 3 | 3780 | 2000001806
47 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 263 | 13 | 22020 | 2000001804
48 | CHIRMIRI TOWN | 11KV LOHARI | 8 | 1 | 60 | 2000026866
49 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2063 | 15 | 86280 | 2000003196
50 | DALLI RAJHARA TOWN | 11KV TOWN2 FEEDER | 2354 | 2 | 26640 | 2000003198
51 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 354 | 21 | 81720 | 2000015505
52 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 15 | 9600 | 2000002573
53 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1085 | 1 | 1260 | 2000002576
54 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1501 | 12 | 29220 | 2000007687
55 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3089 | 7 | 35160 | 2000007692
56 | DURG BHILAI CHARODA TOWN | 11KV BALAJI NAGAR FEEDER | 1114 | 1 | 2640 | 2000007695
57 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1768 | 2 | 660 | 2000007714
58 | DURG BHILAI CHARODA TOWN | 11KV JANJGIRI FEEDER | 1595 | 17 | 27660 | 2000007722
59 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1700 | 2 | 1020 | 2000007725
60 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 657 | 24 | 45180 | 2000007731
61 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 858 | 3 | 1560 | 2000007735
62 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 1219 | 6 | 9720 | 2000007739
63 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2420 | 8 | 46800 | 2000007742
64 | DURG BHILAI CHARODA TOWN | 11KV PETROLPUMP FEEDER | 1225 | 3 | 3420 | 2000007746
65 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1316 | 3 | 22920 | 2000007750
66 | DURG BHILAI CHARODA TOWN | 11KV RAMNAGAR FEEDER | 3248 | 10 | 19320 | 2000007752
67 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1942 | 8 | 25320 | 2000007754
68 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1430 | 6 | 52740 | 2000007762
69 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1486 | 6 | 27660 | 2000007776
70 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1066 | 9 | 12480 | 2000007779
71 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FE | 74 | 2 | 1080 | 2000017045
72 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2447 | 23 | 553140 | 2000017052
73 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1292 | 52 | 977940 | 2000017054
74 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1132 | 3 | 19740 | 2000017055
75 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1062 | 5 | 28260 | 2000017056
76 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 758 | 2 | 21360 | 2000017057
77 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 934 | 2 | 21240 | 2000017058
78 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2041 | 2 | 36600 | 2000017059
79 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1101 | 3 | 8160 | 2000017061
80 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 590 | 5 | 11940 | 2000017062
81 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1762 | 1 | 420 | 2000017063
82 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2299 | 4 | 8400 | 2000017064
83 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1334 | 11 | 5580 | 2000017065
84 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1190 | 4 | 12480 | 2000017066
85 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2182 | 3 | 2880 | 2000017068
86 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 854 | 9 | 6360 | 2000017069
87 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1997 | 11 | 5640 | 2000017071
88 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR | 265 | 16 | 384120 | 2000017072
89 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2455 | 12 | 15900 | 2000018574
90 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 303 | 6 | 20220 | 2000018704
91 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1398 | 5 | 15120 | 2000018705
92 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1830 | 12 | 35820 | 2000018706
93 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 634 | 2 | 5700 | 2000018707
94 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1712 | 67 | 1677720 | 2000018723
95 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 761 | 7 | 196620 | 2000019819
96 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1067 | 8 | 5520 | 2000020519
97 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3119 | 10 | 288360 | 2000021263
98 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1108 | 7 | 25080 | 2000021357
99 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3253 | 3 | 11520 | 2000023773
100 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 354 | 4 | 32880 | 2000025794
101 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 4 | 6480 | 2000027337
102 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1972 | 4 | 2940 | 2000029190
103 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1172 | 6 | 4620 | 2000029191
104 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 699 | 4 | 2820 | 2000029192
105 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1631 | 11 | 30180 | 2000029193
106 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1374 | 1 | 13260 | 2000067876
107 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3485 | 1 | 13200 | 2000067877
108 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1679 | 1 | 13200 | 2000067878
109 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 783 | 5 | 7500 | 2000004331
110 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1684 | 7 | 29640 | 2000004336
111 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2473 | 20 | 7860 | 2000004343
112 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3371 | 1 | 1140 | 2000004345
113 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 2852 | 13 | 5400 | 2000004346
114 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3814 | 3 | 23040 | 2000004348
115 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1656 | 22 | 61560 | 2000015850
116 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 881 | 19 | 59460 | 2000006775
117 | KORBA TOWN | 11KV DADAR FEEDER | 594 | 12 | 39420 | 2000006768
118 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1169 | 16 | 77700 | 2000006798
119 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 414 | 31 | 2434680 | 2000017805
120 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 584 | 25 | 72360 | 2000017804
121 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 98 | 38 | 729720 | 2000021289
122 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1847 | 12 | 40200 | 2000016201
123 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1084 | 26 | 111540 | 2000020122
124 | KORBA TOWN | 11KV SEMIPALI | 255 | 2 | 1200 | 2000015240
125 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1795 | 14 | 45420 | 2000001427
126 | MAHASAMUND TOWN | 11KV TOWN-1 FEEDER | 3603 | 4 | 4740 | 2000001428
127 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2638 | 7 | 26040 | 2000001424
128 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 922 | 7 | 29160 | 2000068276
129 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1852 | 10 | 31680 | 2000055675
130 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 147 | 11 | 13260 | 2000015467
131 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 666 | 13 | 17280 | 2000018959
132 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1862 | 8 | 4500 | 2000001622
133 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 114 | 8 | 7440 | 2000001623
134 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 12 | 35220 | 2000001625
135 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1535 | 13 | 12000 | 2000001628
136 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 19 | 34260 | 2000001629
137 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 1 | 22 | 441540 | 2000001633
138 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3267 | 38 | 565920 | 2000001635
139 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 226 | 34 | 592140 | 2000001637
140 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 3912 | 38 | 585300 | 2000001636
141 | RAIGARH TOWN | 11KV STADIUM FEEDER | 670 | 10 | 20640 | 2000022941
142 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1632 | 3 | 10200 | 2000003303
143 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1462 | 3 | 10320 | 2000003304
144 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 626 | 16 | 48720 | 2000016184
145 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 616 | 5 | 4500 | 2000016057
146 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1119 | 6 | 9060 | 2000016055
147 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1118 | 10 | 25980 | 2000016052
148 | RAIPUR TOWN | 11KV CITY FEEDER | 2663 | 1 | 23160 | 2000010587
149 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 321 | 1 | 2220 | 2000010605
150 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2630 | 3 | 1500 | 2000010631
151 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 906 | 7 | 6000 | 2000010635
152 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1101 | 3 | 1800 | 2000010637
153 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 774 | 3 | 8520 | 2000010651
154 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2054 | 1 | 7440 | 2000010656
155 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 1 | 360 | 2000010660
156 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 3048 | 16 | 229800 | 2000010662
157 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3299 | 7 | 12960 | 2000010702
158 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 500 | 1 | 300 | 2000010707
159 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 964 | 17 | 33420 | 2000010712
160 | RAIPUR TOWN | 11KV SARORA FEEDER | 967 | 5 | 89460 | 2000010720
161 | RAIPUR TOWN | 11KV SECTOR -5 | 753 | 3 | 11700 | 2000010721
162 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 3307 | 1 | 600 | 2000010724
163 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1312 | 19 | 241500 | 2000010726
164 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 981 | 15 | 468780 | 2000017256
165 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2516 | 1 | 360 | 2000017567
166 | RAIPUR TOWN | 11KV WHITE HOUSE | 796 | 1 | 300 | 2000017568
167 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 708 | 6 | 7860 | 2000017590
168 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1546 | 4 | 1380 | 2000017597
169 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1862 | 1 | 300 | 2000017608
170 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 787 | 14 | 132840 | 2000017609
171 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 2 | 1500 | 2000017613
172 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 849 | 2 | 720 | 2000017615
173 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2023 | 2 | 1260 | 2000017621
174 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 850 | 2 | 1080 | 2000017628
175 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 801 | 4 | 5100 | 2000017671
176 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 250 | 2 | 2040 | 2000017673
177 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1582 | 11 | 9960 | 2000017690
178 | RAIPUR TOWN | 11KV ROMAN SQUARE | 579 | 6 | 12900 | 2000017691
179 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 177 | 6 | 9660 | 2000017692
180 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 794 | 4 | 2280 | 2000017721
181 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1072 | 1 | 600 | 2000017755
182 | RAIPUR TOWN | 11KV MOTHER TERESA | 820 | 2 | 1140 | 2000017756
183 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 513 | 2 | 1080 | 2000017757
184 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1164 | 4 | 13440 | 2000017768
185 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1132 | 16 | 68040 | 2000017771
186 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1431 | 7 | 8700 | 2000017772
187 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 659 | 5 | 21840 | 2000017773
188 | RAIPUR TOWN | 11KV SARATHI CHOWK FEEDER | 720 | 2 | 1500 | 2000017817
189 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1159 | 4 | 34020 | 2000017867
190 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1944 | 2 | 42540 | 2000017868
191 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 238 | 1 | 29820 | 2000017869
192 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1399 | 4 | 44220 | 2000017870
193 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 257 | 1 | 29640 | 2000017871
194 | RAIPUR TOWN | 11KV NAVEEN MARKET | 882 | 4 | 107280 | 2000017953
195 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2713 | 5 | 103680 | 2000017954
196 | RAIPUR TOWN | 11KV MG ROAD | 1624 | 4 | 104520 | 2000017955
197 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 339 | 6 | 5640 | 2000018004
198 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 9 | 9000 | 2000018005
199 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1428 | 7 | 6360 | 2000018006
200 | RAIPUR TOWN | 11KV MANDI | 646 | 3 | 9300 | 2000018020
201 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 371 | 3 | 16140 | 2000018359
202 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 465 | 6 | 155220 | 2000018416
203 | RAIPUR TOWN | 11KV VARUN FEEDER | 1099 | 5 | 29820 | 2000019179
204 | RAIPUR TOWN | 11KV HEERA FEEDER | 3425 | 10 | 38280 | 2000019180
205 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 628 | 4 | 8340 | 2000019181
206 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1562 | 3 | 4080 | 2000019184
207 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2913 | 10 | 30360 | 2000019334
208 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 454 | 10 | 23340 | 2000019340
209 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1283 | 14 | 28200 | 2000019530
210 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 722 | 7 | 5760 | 2000019697
211 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 130 | 4 | 15540 | 2000019851
212 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 179 | 4 | 24000 | 2000019852
213 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1808 | 6 | 16200 | 2000019857
214 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1677 | 5 | 23580 | 2000019858
215 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2092 | 12 | 37980 | 2000020009
216 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1597 | 14 | 532680 | 2000020119
217 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 4 | 5160 | 2000020123
218 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 16 | 3 | 18600 | 2000020130
219 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 173 | 4 | 18000 | 2000020131
220 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 3 | 1200 | 2000020132
221 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3510 | 5 | 25440 | 2000020153
222 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 357 | 7 | 25680 | 2000020193
223 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1022 | 10 | 45180 | 2000020194
224 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1711 | 10 | 47460 | 2000021219
225 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1387 | 7 | 18600 | 2000021220
226 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1768 | 8 | 18900 | 2000021221
227 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 775 | 8 | 9480 | 2000021286
228 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1389 | 5 | 7620 | 2000021287
229 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1464 | 1 | 6780 | 2000021615
230 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1378 | 4 | 9180 | 2000022077
231 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 813 | 4 | 6480 | 2000022078
232 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1360 | 3 | 2340 | 2000022079
233 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1413 | 3 | 18360 | 2000023680
234 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1560 | 5 | 4020 | 2000023735
235 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 135 | 3 | 2880 | 2000023736
236 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1638 | 4 | 20520 | 2000023772
237 | RAIPUR TOWN | 11KV SBI FEEDER | 1306 | 5 | 10140 | 2000023790
238 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1106 | 13 | 14880 | 2000024395
239 | RAIPUR TOWN | 11KV KACHNA FEEDER | 143 | 3 | 11280 | 2000026462
240 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2318 | 4 | 15240 | 2000026575
241 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1491 | 3 | 10560 | 2000026582
242 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 984 | 7 | 31020 | 2000026583
243 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1035 | 5 | 36660 | 2000026584
244 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 624 | 2 | 1140 | 2000026585
245 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 276 | 5 | 8760 | 2000026586
246 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 330 | 7 | 7920 | 2000029194
247 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 137 | 5 | 10560 | 2000029195
248 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1306 | 10 | 25560 | 2000034421
249 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 743 | 10 | 22440 | 2000034422
250 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 741 | 11 | 18960 | 2000034423
251 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2558 | 5 | 17220 | 2000034760
252 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 330 | 6 | 19260 | 2000034761
253 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1729 | 5 | 18300 | 2000034762
254 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 898 | 11 | 16620 | 2000046477
255 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 197 | 1 | 1380 | 2000070080
256 | RAIPUR TOWN | 11KV C&F FEEDER | 24 | 3 | 12540 | 2000070702
257 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 3 | 12660 | 2000070703
258 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1020 | 7 | 46740 | 2000070747
259 | RAIPUR TOWN | 11KV KARA FEEDER | 401 | 12 | 39300 | 2000071634
260 | RAJNANDGAON TOWN | 11KV R K NAGAR | 607 | 10 | 21420 | 2000015478
261 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 1820 | 12 | 67680 | 2000015449
262 | RAJNANDGAON TOWN | 11KV MAHESHWARI | 797 | 4 | 40020 | 2000015448
263 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 145 | 2 | 2460 | 2000015446
264 | RAJNANDGAON TOWN | 11KV RAM DARBAR FEEDER | 512 | 5 | 4320 | 2000015445
265 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 857 | 12 | 37140 | 2000001955
266 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1939 | 9 | 19560 | 2000001957
267 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2079 | 7 | 17220 | 2000001958
268 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2241 | 18 | 121620 | 2000001962
269 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2915 | 15 | 21360 | 2000001963
270 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 1768 | 8 | 19500 | 2000001966
271 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2599 | 6 | 6600 | 2000001967
272 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1298 | 12 | 634440 | 2000001968
273 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 2495 | 11 | 23640 | 2000001970
274 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2514 | 16 | 46440 | 2000001979
275 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 941 | 8 | 18120 | 2000001978
276 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 461 | 8 | 5820 | 2000001977
277 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 644 | 10 | 6840 | 2000001976
278 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2314 | 12 | 74760 | 2000001975
279 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1261 | 18 | 77160 | 2000001972
280 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1649 | 22 | 27000 | 2000069844
281 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2066 | 11 | 15720 | 2000069535

## Sheet1
GPART | Feeder Functional Location | Feeder Name | KTOKL | TARIFTYP | Feeder Meter
2000071920 | ONM-AMB-11K-GRIDB | 11KV GORSIDABRA FEEDER | R | EA_FDR11KV | S1005808
2000003852 | ONM-AMB-11K-MAHVP | 11KV MAHAVIRPURFEEDER | R | EA_FDR11KV | EM081525
2000014959 | ONM-AMB-11K-TPNGR | 11KV TRANSPORTNAGAR | R | EA_FDR11KV | EM081521
2000001006 | ONM-BTP-11K-BPTIK | 11KV TIKULIYA (RURAL) FEEDER | R | EA_FDR11KV | CSP09346
2000001007 | ONM-BTP-11K-DEORI | 11KV DEORI (RURAL) FEEDER | R | EA_FDR11KV | CSP09347
2000001008 | ONM-BTP-11K-BPTMR | 11KV TUMAR FEEDER | R | EA_FDR11KV | CSP09524
2000001011 | ONM-BTP-11K-BPKHR | 11KV KHAIRI (RURAL) FEEDER | R | EA_FDR11KV | CSP09005
2000014962 | ONM-BTP-11K-ATJYT | 11KV ATAL JYOTI | R | EA_FDR11KV | CSP09006
2000001010 | ONM-BTP-11K-BPBND | 11KV BHANDHA (RURAL) FEEDER | R | EA_FDR11KV | EM081038
2000022031 | ONM-BTP-11K-INDUS | 11KV INDUSTRIAL FEEDER | R | EA_FDR11KV | CSP09007
2000004909 | ONM-BSP-11K-RAMAG | 11KV RAMAGREENFEEDER | R | EA_FDR11KV | XA480803
2000004885 | ONM-BSP-11K-HARDI | 11KV HARDIFEEDER | R | EA_FDR11KV | CSP09103
2000001807 | ONM-CMP-11K-CMKRD | 11KV KURDAFEEDER | R | EA_FDR11KV | CSP09795
2000001805 | ONM-CMP-11K-CMHTR | 11KV HATHNEWRAFEEDER | R | EA_FDR11KV | CSP09432
2000001811 | ONM-CMP-11K-CMSON | 11KV SEONI(RURAL)FEEDER | R | EA_FDR11KV | CSP09076
2000003193 | ONM-DRZ-11K-DRATJ | 11KV ATALJYOTIFEEDER | R | EA_FDR11KV | CSP09249
2000003194 | ONM-DRZ-11K-DRKSK | 11KV KUSUMKASAFEEDER | R | EA_FDR11KV | CSP09251
2000003195 | ONM-DRZ-11K-DRMHL | 11KV MOHALAFEEDER | R | EA_FDR11KV | CSP08921
2000002567 | ONM-DMT-11K-DHATJ | 11KV ATAL JYOTI FEEDER | R | EA_FDR11KV | EM081548
2000002575 | ONM-DMT-11K-DHSKD | 11KV SHANKAR DA FEEDER | R | EA_FDR11KV | CSP09457
2000001296 | ONM-DGR-11K-DGGRM | 11KV GRAMIN (RURAL) FEEDER | R | EA_FDR11KV | CSP09627
2000001298 | ONM-DGR-11K-DGLBN | 11KV L.B.NAGAR (RURAL) FEEDER | R | EA_FDR11KV | CSP09624
2000001300 | ONM-DGR-11K-DGMRD | 11KV MURMUNDA (RURAL) FEEDER | R | EA_FDR11KV | CSP09625
2000001301 | ONM-DGR-11K-DGMSR | 11KV MUSRA (RURAL) FEEDER | R | EA_FDR11KV | CSP08940
2000007688 | ONM-DBC-11K-DUAJP | 11KV AJY PUMP FEEDER | R | EA_FDR11KV | CSP09161
2000007733 | ONM-DBC-11K-DUMHL | 11KV MOHLAI FEEDER | R | EA_FDR11KV | CSP09067
2000007728 | ONM-DBC-11K-DUKLP | 11KV KOLHAPURI FEEDER | R | EA_FDR11KV | CSP09182
2000007732 | ONM-DBC-11K-DUKTN | 11KV KOTANI FEEDER | R | EA_FDR11KV | CSP09176
2000017067 | ONM-DBC-11K-VRHNR | 11KV HANODARURALFEEDER | R | EA_FDR11KV | XA480841
2000004339 | ONM-JGD-11K-JAKRJ | 11KV KARANJI FEEDER | R | EA_FDR11KV | CSP09263
2000004340 | ONM-JGD-11K-JAKWD | 11KV KUMHRA WAND FEEDER | R | EA_FDR11KV | CSP09264
2000002907 | ONM-KKR-11K-KNKSK | 11KV KESHKAL FEEDER | R | EA_FDR11KV | CSP09165
2000002909 | ONM-KKR-11K-KNPTD | 11KV PATOD FEEDER | R | EA_FDR11KV | CSP09166
2000001049 | ONM-KAW-11K-KDKBN | 11KV KHARBANA (RURAL) FEEDER | R | EA_FDR11KV | CSP08955
2000071921 | ONM-KAW-11K-KDKNP | 11 KV KHAIRBANA PUMP FEEDER | R | EA_FDR11KV | CSP08956
2000016028 | ONM-KOR-11K-KBDND | 11KV DONDROFEEDER | R | EA_FDR11KV | EM082700
2000006795 | ONM-KOR-11K-KBTWN | 11KV BANKIMONGRATOWN-1FEEDER | R | EA_FDR11KV | CSP08930
2000006770 | ONM-KOR-11K-KBDMD | 11KV DUMARDIHFEEDER | R | EA_FDR11KV | EM082581
2000006761 | ONM-KOR-11K-KBAJB | 11KV AJGARBAHARFEEDER | R | EA_FDR11KV | EM082774
2000001425 | ONM-MSD-11K-MHJAL | 11KV JAIL (RURAL) FEEDER | R | EA_FDR11KV | EM081065
2000001426 | ONM-MSD-11K-MHKND | 11KV KONDKAIRA (RURAL) FEEDER | R | EA_FDR11KV | EM081066
2000001423 | ONM-MSD-11K-MHBMN | 11KV BAMHANI (RURAL) FEEDER | R | EA_FDR11KV | CSP08917
2000002458 | ONM-MUG-11K-MGFPR | 11KV FASTERPURFEEDER | R | EA_FDR11KV | EM082709
2000002459 | ONM-MUG-11K-MGMTR | 11KV KANTELI(MOHTARA)FEEDER | R | EA_FDR11KV | EM082603
2000001630 | ONM-NJR-11K-NJPND | 11KV PANDERIFEEDER | R | EA_FDR11KV | CSP09475
2000001626 | ONM-NJR-11K-NJKKS | 11KV KHOKHASAFEEDER | R | EA_FDR11KV | CSP09647
2000001631 | ONM-NJR-11K-NJSNI | 11KV SEONIFEEDER | R | EA_FDR11KV | CSP09221
2000001632 | ONM-NJR-11K-NJSRK | 11KV SARKHONFEEDER | R | EA_FDR11KV | CSP09219
2000003309 | ONM-RGR-11K-RIGMO | 11KV GADMORIYA FEEDER | R | EA_FDR11KV | CSP09282
2000003325 | ONM-RGR-11K-RITLG | 11KV TELAGAFEEDER | R | EA_FDR11KV | CSE39893
2000010581 | ONM-RPR-11K-RPITI | 11KV ITI FEEDER | R | EA_FDR11KV | S1005815
2000010686 | ONM-RPR-11K-RPPRD | 11KV PIRDA (RURAL)FEEDER | R | EA_FDR11KV | CSP09798
2000017601 | ONM-RPR-11K-RPCDK | 11KV CHERIKHEDI (RURAL) FEEDER | R | EA_FDR11KV
2000010633 | ONM-RPR-11K-RPHB3 | 11KV HOUSING BOARD III FEEDER | R | EA_FDR11KV | EM083688
2000021423 | ONM-RPR-11K-RPRRL | 11KV CAPITAL COLONY FEEDER | R | EA_FDR11KV | EM081034
2000001959 | ONM-RJN-11K-RGDHB | 11KV DHABA(RURAL)FEEDER | R | EA_FDR11KV | CSP09734
2000001969 | ONM-RJN-11K-RGKNP | 11KV KANHARPURIFEEDER | R | EA_FDR11KV | CSP09762
2000001974 | ONM-RJN-11K-RGPRH | 11KV PARHI(RURAL)FEEDER | R | EA_FDR11KV | CSP09017
2000001964 | ONM-RJN-11K-RGHLD | 11KV HALDIFEEDER | R | EA_FDR11KV | CSP09156
2000001971 | ONM-RJN-11K-RGMHR | 11KV MOHARAFEEDER | R | EA_FDR11KV | CSP09092
2000001973 | ONM-RJN-11K-RGPNK | 11KV PANEKA FEEDER | R | EA_FDR11KV | CSP09847
2000001960 | ONM-RJN-11K-RGFHD | 11KV FARHAD(RURAL)FEEDER | R | EA_FDR11KV | CSP09859
2000001965 | ONM-RJN-11K-RGIDM | 11KV INDHAMARA(RURAL)FEEDER | R | EA_FDR11KV | CSP09861
2000014955 | ONM-RJN-11K-BJLTY | 11KV LITIYAFEEDER | R | EA_FDR11KV | CSP09754
2000014956 | ONM-RJN-11K-BJMTR | 11KV MOTHIPUR FEEDER | R | EA_FDR11KV | CSP09392