## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Oct'20
Period: |  | 1st Sep'20 to 30th Sep'20
Number of Towns: |  | 652
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1992 | 43 | 84660 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 291 | 16 | 27060 | 2000003841
3 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2772 | 12 | 16260 | 2000003855
4 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 44 | 45 | 32880 | 2000071574
5 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 448 | 47 | 53340 | 2000071572
6 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2001 | 28 | 38940 | 2000003854
7 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1670 | 27 | 45420 | 2000003853
8 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2226 | 14 | 12420 | 2000003852
9 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1485 | 23 | 46260 | 2000003842
10 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 177 | 42 | 60840 | 2000015334
11 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 2294 | 21 | 23820 | 2000003843
12 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 510 | 14 | 12120 | 2000003844
13 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2950 | 12 | 16200 | 2000014963
14 | AMBIKAPUR TOWN | 11KV BABUPARA SUBSTAION FEEDER | 1673 | 10 | 6720 | 2000014960
15 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 681 | 22 | 26460 | 2000014959
16 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 27 | 70620 | 2000014957
17 | AMBIKAPUR TOWN | 11KV SONPUR | 198 | 27 | 21720 | 2000014954
18 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1547 | 49 | 65160 | 2000003845
19 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1973 | 8 | 8760 | 2000003846
20 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 466 | 41 | 90240 | 2000003847
21 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 779 | 14 | 24480 | 2000003848
22 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2663 | 17 | 23820 | 2000003849
23 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1580 | 25 | 25560 | 2000003851
24 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 1 | 27 | 21840 | 2000014952
25 | AMBIKAPUR TOWN | 11KV DCROAD | 2165 | 13 | 7320 | 2000014951
26 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1483 | 15 | 12060 | 2000001010
27 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1398 | 32 | 43380 | 2000001009
28 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 271 | 20 | 18840 | 2000001007
29 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 357 | 20 | 20400 | 2000001005
30 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 720 | 18 | 25440 | 2000006377
31 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 760 | 20 | 28560 | 2000006347
32 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 621 | 9 | 30840 | 2000004867
33 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2108 | 11 | 34980 | 2000004868
34 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2053 | 8 | 18000 | 2000004869
35 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1736 | 12 | 18720 | 2000004871
36 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2502 | 6 | 6300 | 2000004873
37 | BILASPUR TOWN | 11KV TORWA FEEDER | 189 | 18 | 22380 | 2000004875
38 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 882 | 10 | 20280 | 2000004876
39 | BILASPUR TOWN | 11KV DHEKA FEEDER | 355 | 39 | 79500 | 2000004877
40 | BILASPUR TOWN | 11KV DHUMA FEEDER | 975 | 14 | 42540 | 2000004878
41 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 565 | 39 | 67980 | 2000004879
42 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1258 | 16 | 17220 | 2000004881
43 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 3481 | 25 | 39000 | 2000004882
44 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1368 | 15 | 22260 | 2000004883
45 | BILASPUR TOWN | 11KV HARDIFEEDER | 1250 | 33 | 61560 | 2000004885
46 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2107 | 8 | 32700 | 2000004886
47 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2056 | 13 | 34800 | 2000004888
48 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2664 | 18 | 36600 | 2000004889
49 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 8 | 18120 | 2000004890
50 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 597 | 12 | 116700 | 2000004892
51 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 3 | 26 | 33600 | 2000004894
52 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2170 | 13 | 21720 | 2000004896
53 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 843 | 48 | 75000 | 2000004897
54 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1294 | 46 | 70560 | 2000004898
55 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1197 | 22 | 27960 | 2000004899
56 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1271 | 24 | 48540 | 2000004900
57 | BILASPUR TOWN | 11KV MANGLA FEEDER | 2259 | 22 | 26100 | 2000004902
58 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 161 | 11 | 120180 | 2000004903
59 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2961 | 22 | 26040 | 2000004904
60 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3077 | 8 | 18000 | 2000004906
61 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2091 | 23 | 38940 | 2000004907
62 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 829 | 12 | 34140 | 2000004908
63 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4788 | 19 | 25560 | 2000004909
64 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3842 | 10 | 16200 | 2000004910
65 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1765 | 21 | 29880 | 2000004912
66 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2554 | 3 | 9900 | 2000004914
67 | BILASPUR TOWN | 11KV RULER FEEDER | 1914 | 29 | 57000 | 2000004916
68 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2666 | 18 | 18960 | 2000004917
69 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 1679 | 9 | 15480 | 2000004919
70 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3426 | 12 | 116700 | 2000004920
71 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 2270 | 5 | 7500 | 2000004921
72 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1875 | 8 | 25320 | 2000004922
73 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 804 | 23 | 25560 | 2000004924
74 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2426 | 12 | 27060 | 2000004925
75 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2787 | 19 | 34140 | 2000004926
76 | BILASPUR TOWN | 11KV KONI FEEDER | 943 | 9 | 9000 | 2000006494
77 | BILASPUR TOWN | 11KV TV FEEDER | 2658 | 13 | 12360 | 2000016309
78 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1223 | 28 | 48180 | 2000016310
79 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 105 | 20 | 37140 | 2000016311
80 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 743 | 33 | 53880 | 2000016312
81 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1233 | 33 | 54000 | 2000016314
82 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 227 | 5 | 942840 | 2000016315
83 | BILASPUR TOWN | 11KV NEW MOPKA | 1446 | 24 | 46440 | 2000017224
84 | BILASPUR TOWN | 11KV SHIVAM CITY | 1932 | 15 | 21240 | 2000017225
85 | BILASPUR TOWN | 11KV MAHAVEER CITY | 341 | 12 | 26760 | 2000017226
86 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 14 | 21420 | 2000017502
87 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2530 | 27 | 60840 | 2000017505
88 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1048 | 40 | 67740 | 2000017776
89 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 33 | 34 | 42420 | 2000017777
90 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 255 | 21 | 28860 | 2000017778
91 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 37 | 60480 | 2000017780
92 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 382 | 32 | 40380 | 2000017781
93 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1156 | 2 | 2280 | 2000018403
94 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2178 | 20 | 25440 | 2000018405
95 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 824 | 19 | 49860 | 2000018761
96 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1893 | 14 | 34320 | 2000018762
97 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 486 | 14 | 40500 | 2000018763
98 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 404 | 10 | 12960 | 2000020488
99 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1316 | 8 | 8880 | 2000020489
100 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1282 | 17 | 30600 | 2000020490
101 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 956 | 22 | 42120 | 2000020582
102 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1035 | 15 | 29280 | 2000020583
103 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 140 | 12 | 26820 | 2000022056
104 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1771 | 14 | 46620 | 2000022059
105 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1751 | 11 | 23520 | 2000022060
106 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1494 | 16 | 33480 | 2000022061
107 | BILASPUR TOWN | 11KV BANNAKDIH (SECTOR B) FEEDER | 954 | 20 | 24420 | 2000022135
108 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 457 | 22 | 41340 | 2000023801
109 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 322 | 22 | 31440 | 2000023802
110 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1045 | 25 | 56460 | 2000023803
111 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 117 | 10 | 20400 | 2000027413
112 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 34 | 77640 | 2000015492
113 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 279 | 48 | 59340 | 2000001804
114 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 539 | 44 | 59760 | 2000001806
115 | CHAMPA TOWN | 11KV KURDAFEEDER | 1646 | 49 | 116700 | 2000001807
116 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2489 | 69 | 106140 | 2000001808
117 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1778 | 24 | 82680 | 2000001809
118 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3864 | 30 | 28440 | 2000001812
119 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 969 | 38 | 72540 | 2000015251
120 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 527 | 23 | 68100 | 2000015252
121 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4398 | 26 | 50640 | 2000003144
122 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 312 | 10 | 8400 | 2000003193
123 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1681 | 10 | 8520 | 2000003194
124 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1287 | 15 | 7260 | 2000003195
125 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2086 | 6 | 7980 | 2000003196
126 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5752 | 32 | 31200 | 2000003197
127 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3719 | 21 | 20340 | 2000002578
128 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 15 | 9660 | 2000002577
129 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 50 | 4 | 7380 | 2000002573
130 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 966 | 21 | 25740 | 2000002572
131 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2137 | 9 | 12360 | 2000002571
132 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 17 | 12720 | 2000002567
133 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 509 | 4 | 2280 | 2000015505
134 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 374 | 25 | 44400 | 2000004308
135 | DHAMTARI TOWN | 11KV CHITOD1 | 4745 | 15 | 21240 | 2000004307
136 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 851 | 19 | 20940 | 2000007685
137 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 1929 | 16 | 15480 | 2000007686
138 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1267 | 20 | 69600 | 2000007687
139 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 513 | 14 | 22560 | 2000007689
140 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1372 | 9 | 7920 | 2000007691
141 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3203 | 24 | 18960 | 2000007692
142 | DURG BHILAI CHARODA TOWN | 11KV BAIKUNDDHAM FEEDER | 2059 | 20 | 32460 | 2000007693
143 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 2321 | 7 | 1440 | 2000007694
144 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4387 | 1 | 2280 | 2000007696
145 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1098 | 17 | 19500 | 2000007702
146 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1156 | 18 | 17940 | 2000007703
147 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3062 | 28 | 35220 | 2000007705
148 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1720 | 14 | 23820 | 2000007707
149 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1604 | 2 | 660 | 2000007709
150 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1738 | 9 | 81840 | 2000007714
151 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1402 | 29 | 42120 | 2000007715
152 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 345 | 3 | 3120 | 2000007717
153 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1661 | 27 | 24120 | 2000007718
154 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1021 | 14 | 22440 | 2000007720
155 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1633 | 10 | 96300 | 2000007721
156 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2158 | 13 | 12960 | 2000007723
157 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1477 | 29 | 27060 | 2000007724
158 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1727 | 9 | 3540 | 2000007725
159 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2324 | 21 | 35220 | 2000007726
160 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3479 | 4 | 240 | 2000007728
161 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 741 | 7 | 3540 | 2000007729
162 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1075 | 27 | 50220 | 2000007732
163 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 737 | 17 | 34860 | 2000007733
164 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 768 | 7 | 3420 | 2000007735
165 | DURG BHILAI CHARODA TOWN | 11KV MAITRIKUNJ FEEDER | 1530 | 14 | 22860 | 2000007736
166 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1618 | 17 | 18240 | 2000007737
167 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 982 | 7 | 7320 | 2000007739
168 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2460 | 19 | 49380 | 2000007742
169 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1175 | 1 | 60 | 2000007743
170 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1392 | 5 | 100560 | 2000007744
171 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 719 | 13 | 6360 | 2000007747
172 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1321 | 16 | 27720 | 2000007750
173 | DURG BHILAI CHARODA TOWN | 11KV RAMNAGAR FEEDER | 3279 | 19 | 22020 | 2000007752
174 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1961 | 15 | 23520 | 2000007754
175 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1345 | 15 | 5160 | 2000007756
176 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2188 | 11 | 7080 | 2000007757
177 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1824 | 26 | 20640 | 2000007758
178 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHAROAD FEEDER | 2746 | 1 | 8820 | 2000007760
179 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 754 | 7 | 4740 | 2000007761
180 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1051 | 5 | 5700 | 2000007762
181 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2279 | 11 | 23040 | 2000007769
182 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 4072 | 24 | 63060 | 2000007772
183 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1938 | 16 | 17100 | 2000007773
184 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1428 | 13 | 10920 | 2000007774
185 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 1250 | 9 | 3240 | 2000007775
186 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1225 | 6 | 5940 | 2000007776
187 | DURG BHILAI CHARODA TOWN | 11KV TRIVENINAGAR FEEDER | 1324 | 1 | 420 | 2000007777
188 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1103 | 23 | 21120 | 2000007779
189 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7557 | 29 | 49320 | 2000016889
190 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2369 | 31 | 35460 | 2000017000
191 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2509 | 23 | 28020 | 2000017052
192 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1309 | 14 | 15240 | 2000017054
193 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1180 | 7 | 5460 | 2000017055
194 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 942 | 7 | 4380 | 2000017056
195 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 778 | 7 | 5640 | 2000017057
196 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 929 | 4 | 2400 | 2000017058
197 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2128 | 6 | 9000 | 2000017059
198 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 526 | 5 | 4740 | 2000017060
199 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1065 | 2 | 1560 | 2000017061
200 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 8 | 31200 | 2000017062
201 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1770 | 10 | 57960 | 2000017063
202 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1532 | 4 | 1800 | 2000017064
203 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1388 | 19 | 16800 | 2000017065
204 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1217 | 10 | 28440 | 2000017066
205 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 567 | 3 | 2640 | 2000017067
206 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2334 | 17 | 58680 | 2000017068
207 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 1082 | 19 | 16560 | 2000017069
208 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2070 | 19 | 16800 | 2000017071
209 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 16 | 10080 | 2000017072
210 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 496 | 23 | 34140 | 2000017080
211 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2470 | 15 | 12360 | 2000018574
212 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 15 | 22320 | 2000018704
213 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1402 | 21 | 70860 | 2000018705
214 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1841 | 18 | 27300 | 2000018706
215 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 637 | 14 | 15060 | 2000018707
216 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2684 | 22 | 34740 | 2000018723
217 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 77 | 3 | 3180 | 2000018987
218 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 687 | 5 | 4320 | 2000019819
219 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 519 | 32 | 42000 | 2000019876
220 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1094 | 14 | 20400 | 2000020519
221 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3136 | 8 | 14460 | 2000021263
222 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1338 | 13 | 16500 | 2000021264
223 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1151 | 2 | 960 | 2000021357
224 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3356 | 6 | 5340 | 2000023773
225 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 358 | 8 | 8160 | 2000025794
226 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 10 | 14220 | 2000027337
227 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1983 | 6 | 3900 | 2000029190
228 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1188 | 8 | 4680 | 2000029191
229 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 856 | 6 | 3720 | 2000029192
230 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1667 | 20 | 40440 | 2000029193
231 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1704 | 11 | 16260 | 2000049757
232 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 18 | 29640 | 2000049820
233 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1567 | 4 | 1740 | 2000067876
234 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2393 | 4 | 1740 | 2000067877
235 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1717 | 3 | 1260 | 2000067878
236 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 5 | 7320 | 2000068108
237 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 34 | 5 | 7320 | 2000068109
238 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 5 | 7260 | 2000068110
239 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1642 | 11 | 4740 | 2000075513
240 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 168 | 4 | 1800 | 2000075565
241 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 778 | 5 | 3180 | 2000075566
242 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1475 | 33 | 48240 | 2000075806
243 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1259 | 64 | 55740 | 2000075812
244 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 358 | 33 | 12540 | 2000075949
245 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 946 | 30 | 27120 | 2000075970
246 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1217 | 10 | 2340 | 2000075971
247 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 547 | 21 | 36420 | 2000076270
248 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 337 | 19 | 47640 | 2000004329
249 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 371 | 26 | 19500 | 2000075799
250 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2063 | 17 | 16500 | 2000075216
251 | JAGDALPUR TOWN | 11KV Green City Feeder | 506 | 22 | 23520 | 2000075215
252 | JAGDALPUR TOWN | 11KV Vargish Feeder | 836 | 7 | 8280 | 2000023847
253 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 2274 | 20 | 17460 | 2000017872
254 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2124 | 33 | 54360 | 2000004340
255 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1398 | 24 | 26640 | 2000004349
256 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 20 | 18300 | 2000004347
257 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2520 | 32 | 64500 | 2000004339
258 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3583 | 23 | 39360 | 2000004338
259 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1795 | 19 | 21180 | 2000004337
260 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1531 | 19 | 17220 | 2000004335
261 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 932 | 22 | 27480 | 2000004334
262 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 289 | 20 | 27060 | 2000004333
263 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1782 | 25 | 38580 | 2000004344
264 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1853 | 24 | 28860 | 2000004342
265 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2133 | 20 | 42120 | 2000004341
266 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2076 | 11 | 13140 | 2000004330
267 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1245 | 11 | 24180 | 2000004332
268 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1699 | 22 | 27180 | 2000015850
269 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 3735 | 18 | 29340 | 2000001055
270 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 4125 | 11 | 13140 | 2000001054
271 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 616 | 16 | 32280 | 2000001051
272 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 4640 | 7 | 426960 | 2000001048
273 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1275 | 13 | 25020 | 2000001047
274 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 13 | 10 | 48000 | 2000001045
275 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 77 | 236220 | 2000016028
276 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1233 | 42 | 73800 | 2000006782
277 | KORBA TOWN | 11KV TINADAFAI FEEDER | 733 | 16 | 42180 | 2000075797
278 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 18 | 40620 | 2000021425
279 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 223 | 15 | 30420 | 2000021289
280 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1451 | 33 | 41040 | 2000020122
281 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 86 | 29 | 38580 | 2000075849
282 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 34 | 59280 | 2000006490
283 | KORBA TOWN | 11KV ABC FEEDER | 1498 | 1 | 1620 | 2000006759
284 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3667 | 30 | 32340 | 2000006761
285 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 846 | 29 | 38820 | 2000006762
286 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1893 | 27 | 75600 | 2000006763
287 | KORBA TOWN | 11KV BULGI FEEDER | 1000 | 31 | 66660 | 2000006764
288 | KORBA TOWN | 11KV DADAR FEEDER | 709 | 26 | 34560 | 2000006768
289 | KORBA TOWN | 11KV DEFR FEEDER | 1750 | 1 | 1620 | 2000006769
290 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 29 | 38340 | 2000006770
291 | KORBA TOWN | 11KV DARRI-1 FEEDER | 710 | 24 | 51480 | 2000006771
292 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 798 | 29 | 57540 | 2000006773
293 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 914 | 21 | 48720 | 2000006775
294 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 256 | 45 | 43860 | 2000006776
295 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 224 | 19 | 65760 | 2000006778
296 | KORBA TOWN | 11KV KOSABADI FEEDER | 1332 | 15 | 15600 | 2000006780
297 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1912 | 31 | 32940 | 2000016201
298 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1697 | 19 | 24120 | 2000006783
299 | KORBA TOWN | 11KV NIHARIKA FEEDER | 703 | 20 | 26760 | 2000006784
300 | KORBA TOWN | 11KV P.HROAD FEEDER | 1370 | 19 | 47640 | 2000006785
301 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1876 | 15 | 29760 | 2000006786
302 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1205 | 42 | 73260 | 2000006787
303 | KORBA TOWN | 11KV POWERCITY FEEDER | 1928 | 2 | 1560 | 2000006788
304 | KORBA TOWN | 11KV PARSABADA FEEDER | 1350 | 48 | 104580 | 2000006789
305 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 22 | 114360 | 2000006790
306 | KORBA TOWN | 11KV RAMPUR FEEDER | 805 | 15 | 15780 | 2000006791
307 | KORBA TOWN | 11KV RURAL FEEDER | 3750 | 13 | 13140 | 2000006792
308 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1041 | 58 | 79440 | 2000006794
309 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2344 | 14 | 16740 | 2000006795
310 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 940 | 16 | 20280 | 2000006796
311 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 61 | 15 | 15660 | 2000006797
312 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1488 | 27 | 50280 | 2000006798
313 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1963 | 28 | 34800 | 2000020065
314 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 24 | 42360 | 2000018988
315 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 397 | 32 | 26880 | 2000017805
316 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2113 | 39 | 27840 | 2000017804
317 | KORBA TOWN | 11KV RPNAGAR FEEDER | 854 | 21 | 24840 | 2000016912
318 | KORBA TOWN | 11KV BULGI FEEDER | 2454 | 2 | 1620 | 2000016255
319 | KORBA TOWN | 11KV BUDHWARI FEEDER | 730 | 21 | 45900 | 2000015220
320 | KORBA TOWN | 11KV SEMIPALI | 444 | 18 | 43920 | 2000015240
321 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 877 | 15 | 32400 | 2000001426
322 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1784 | 10 | 22920 | 2000001427
323 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 981 | 21 | 43620 | 2000001425
324 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 1194 | 27 | 28440 | 2000003055
325 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6163 | 32 | 64380 | 2000003057
326 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 45 | 84060 | 2000002458
327 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1849 | 21 | 35460 | 2000055675
328 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 920 | 32 | 54360 | 2000068276
329 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 159 | 31 | 80520 | 2000015467
330 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 47 | 73920 | 2000001625
331 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 116 | 40 | 108660 | 2000001623
332 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1556 | 43 | 99480 | 2000001628
333 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 55 | 47940 | 2000001629
334 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 1662 | 53 | 58440 | 2000001630
335 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 1163 | 157 | 189540 | 2000001632
336 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3086 | 68 | 50700 | 2000001635
337 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 477 | 66 | 44340 | 2000001637
338 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 32 | 29 | 46560 | 2000076054
339 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 374 | 21 | 36900 | 2000076053
340 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 380 | 55 | 45060 | 2000076052
341 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 732 | 55 | 44160 | 2000076051
342 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1495 | 65 | 46500 | 2000076050
343 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 623 | 38 | 55740 | 2000016057
344 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 792 | 25 | 86520 | 2000017712
345 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 103 | 34 | 59460 | 2000016056
346 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1146 | 38 | 379200 | 2000016055
347 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 19 | 22920 | 2000016054
348 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 420 | 2 | 4020 | 2000017956
349 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1063 | 21 | 37620 | 2000016053
350 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1140 | 42 | 101040 | 2000016052
351 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 784 | 2 | 6120 | 2000016050
352 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 550 | 22 | 27420 | 2000016184
353 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 931 | 6 | 8760 | 2000020755
354 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 666 | 28 | 40080 | 2000020756
355 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1860 | 36 | 59160 | 2000016185
356 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1166 | 4 | 7260 | 2000003306
357 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1611 | 28 | 44040 | 2000021639
358 | RAIGARH TOWN | 11KV STADIUM FEEDER | 874 | 27 | 66540 | 2000022941
359 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2323 | 33 | 114120 | 2000003313
360 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 352 | 37 | 53280 | 2000029091
361 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1838 | 25 | 31020 | 2000003314
362 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2268 | 9 | 14400 | 2000003315
363 | RAIGARH TOWN | 11KV KIT FEEDER | 36 | 3 | 10080 | 2000069514
364 | RAIGARH TOWN | 11KV KARIMAL SCHOOL FEEDER | 614 | 2 | 4440 | 2000003316
365 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 611 | 33 | 47880 | 2000003320
366 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 861 | 27 | 39360 | 2000003321
367 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 22 | 31140 | 2000003323
368 | RAIGARH TOWN | 11KV STATION FEEDER | 1569 | 36 | 26340 | 2000003324
369 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3207 | 79 | 132780 | 2000003325
370 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 232 | 17 | 25200 | 2000018406
371 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 618 | 1 | 5280 | 2000010599
372 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 2349 | 7 | 5340 | 2000010600
373 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 835 | 4 | 21960 | 2000010598
374 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 10 | 8100 | 2000010596
375 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 974 | 4 | 19920 | 2000010601
376 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1484 | 7 | 14880 | 2000010602
377 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1038 | 13 | 13800 | 2000010603
378 | RAIPUR TOWN | 11KV ATARI FEEDER | 966 | 6 | 6360 | 2000010604
379 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 468 | 9 | 6780 | 2000010592
380 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 811 | 4 | 2160 | 2000010591
381 | RAIPUR TOWN | 11KV GAD FEEDER | 766 | 4 | 2160 | 2000010590
382 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 907 | 5 | 2400 | 2000010589
383 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1508 | 6 | 6300 | 2000010588
384 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2749 | 1 | 360 | 2000010587
385 | RAIPUR TOWN | 11KV KARBALA TALAB | 1301 | 6 | 23880 | 2000010585
386 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 279 | 10 | 10920 | 2000010583
387 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1579 | 2 | 1620 | 2000010582
388 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 317 | 7 | 26460 | 2000010605
389 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 567 | 3 | 2280 | 2000010606
390 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 245 | 1 | 6360 | 2000010607
391 | RAIPUR TOWN | 11KV BANJARI FEEDER | 900 | 3 | 11700 | 2000010608
392 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1573 | 5 | 24300 | 2000010611
393 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 794 | 5 | 35880 | 2000010613
394 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 787 | 10 | 12420 | 2000010614
395 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 158 | 9 | 43140 | 2000010615
396 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 1 | 300 | 2000010616
397 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 178 | 2 | 1680 | 2000010617
398 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1897 | 5 | 5100 | 2000010618
399 | RAIPUR TOWN | 11KV AGRASEN CHAOK | 471 | 1 | 5280 | 2000010619
400 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1544 | 4 | 2760 | 2000010621
401 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3000 | 4 | 7380 | 2000010622
402 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 934 | 9 | 14820 | 2000010624
403 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 104 | 5 | 30000 | 2000010625
404 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 518 | 5 | 4620 | 2000010626
405 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1961 | 9 | 25860 | 2000010628
406 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1169 | 7 | 18540 | 2000010630
407 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2690 | 6 | 11700 | 2000010631
408 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2395 | 6 | 11700 | 2000010632
409 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 875 | 5 | 3780 | 2000010635
410 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1055 | 2 | 840 | 2000010636
411 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1106 | 4 | 19920 | 2000010637
412 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1028 | 4 | 32280 | 2000010638
413 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3197 | 1 | 360 | 2000010639
414 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 3 | 1980 | 2000010641
415 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 763 | 8 | 7200 | 2000010642
416 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1045 | 4 | 2760 | 2000010643
417 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 375 | 2 | 1800 | 2000010645
418 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 617 | 9 | 4620 | 2000010647
419 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1367 | 3 | 19380 | 2000010649
420 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 787 | 3 | 1260 | 2000010651
421 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2256 | 4 | 14940 | 2000010652
422 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1310 | 1 | 12360 | 2000010653
423 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 994 | 6 | 5580 | 2000010654
424 | RAIPUR TOWN | 11KV MAHALAXMI | 487 | 2 | 1980 | 2000010655
425 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2093 | 3 | 2760 | 2000010656
426 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 490 | 5 | 21420 | 2000010657
427 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 408 | 3 | 17880 | 2000010658
428 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 912 | 2 | 1800 | 2000010659
429 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 6 | 5640 | 2000010660
430 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2288 | 3 | 18420 | 2000010662
431 | RAIPUR TOWN | 11KV LIC FEEDER | 1977 | 10 | 6300 | 2000010663
432 | RAIPUR TOWN | 11KV LALBAG FEEDER | 949 | 8 | 9480 | 2000010665
433 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 788 | 4 | 2940 | 2000010666
434 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1674 | 5 | 5160 | 2000010667
435 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1832 | 1 | 300 | 2000010668
436 | RAIPUR TOWN | 11KV MINING FEEDER | 636 | 6 | 299760 | 2000010669
437 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 908 | 8 | 4440 | 2000010670
438 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 940 | 3 | 2520 | 2000010671
439 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1297 | 7 | 3120 | 2000010672
440 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3403 | 8 | 4320 | 2000010674
441 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1513 | 3 | 1500 | 2000010675
442 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 644 | 7 | 6060 | 2000010677
443 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 479 | 8 | 85320 | 2000010678
444 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 170 | 5 | 24540 | 2000010679
445 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2304 | 3 | 3900 | 2000010680
446 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1184 | 6 | 6300 | 2000010681
447 | RAIPUR TOWN | 11KV KBT FEEDER | 1257 | 6 | 5400 | 2000010682
448 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1050 | 4 | 6780 | 2000010683
449 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 716 | 4 | 1860 | 2000010685
450 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 442 | 13 | 9600 | 2000010686
451 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 651 | 3 | 1860 | 2000010687
452 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 223 | 2 | 16800 | 2000010688
453 | RAIPUR TOWN | 11KV RDA FEEDER | 850 | 4 | 2520 | 2000010689
454 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 404 | 2 | 1860 | 2000010690
455 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1322 | 2 | 6480 | 2000010691
456 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3444 | 6 | 9000 | 2000010692
457 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 4 | 3 | 16080 | 2000010694
458 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1651 | 1 | 4140 | 2000010695
459 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1803 | 3 | 1980 | 2000010696
460 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1317 | 4 | 19440 | 2000010699
461 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2284 | 3 | 2460 | 2000010700
462 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1644 | 6 | 38040 | 2000010701
463 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 109 | 3 | 1500 | 2000010702
464 | RAIPUR TOWN | 11KV RULAR FEEDER | 595 | 12 | 18480 | 2000010703
465 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 597 | 4 | 12240 | 2000010704
466 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2958 | 4 | 3480 | 2000010705
467 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1197 | 9 | 23880 | 2000010706
468 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 514 | 4 | 4740 | 2000010707
469 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 944 | 1 | 10200 | 2000010708
470 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2577 | 2 | 23820 | 2000010709
471 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1893 | 4 | 4440 | 2000010711
472 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 990 | 5 | 3240 | 2000010712
473 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 706 | 8 | 3660 | 2000010713
474 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1638 | 9 | 5040 | 2000010714
475 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1990 | 4 | 13380 | 2000010715
476 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 2090 | 6 | 10800 | 2000010716
477 | RAIPUR TOWN | 11KV RDA FEEDER | 2089 | 7 | 7920 | 2000010717
478 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1477 | 4 | 2520 | 2000010718
479 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 406 | 1 | 540 | 2000010719
480 | RAIPUR TOWN | 11KV SARORA FEEDER | 987 | 3 | 18060 | 2000010720
481 | RAIPUR TOWN | 11KV SECTOR -5 | 765 | 8 | 9180 | 2000010721
482 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2782 | 2 | 19860 | 2000010722
483 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3762 | 5 | 3000 | 2000010723
484 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 3334 | 4 | 16500 | 2000010724
485 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1411 | 7 | 17940 | 2000010725
486 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1310 | 6 | 5220 | 2000010726
487 | RAIPUR TOWN | 11KV TV FEEDER | 1682 | 8 | 13020 | 2000010728
488 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1204 | 7 | 9240 | 2000010729
489 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 30 | 7 | 3540 | 2000010733
490 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2887 | 7 | 4680 | 2000010735
491 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2205 | 7 | 7800 | 2000010736
492 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 480 | 6 | 3480 | 2000010737
493 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 63 | 8 | 9660 | 2000010738
494 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 406 | 7 | 18300 | 2000010739
495 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3053 | 4 | 3300 | 2000010740
496 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2373 | 4 | 2340 | 2000010741
497 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 70 | 3 | 1380 | 2000010742
498 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 26 | 4 | 8280 | 2000010743
499 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1770 | 5 | 24420 | 2000017238
500 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 984 | 3 | 16500 | 2000017256
501 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2248 | 5 | 3900 | 2000017261
502 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1254 | 18 | 39840 | 2000017508
503 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 626 | 1 | 1920 | 2000017514
504 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2482 | 3 | 8340 | 2000017567
505 | RAIPUR TOWN | 11KV WHITE HOUSE | 797 | 5 | 14520 | 2000017568
506 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 604 | 6 | 12180 | 2000017569
507 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 1007 | 3 | 12360 | 2000017576
508 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 708 | 3 | 1560 | 2000017590
509 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2347 | 4 | 2040 | 2000017600
510 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 2598 | 8 | 6240 | 2000017602
511 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 17 | 3 | 2760 | 2000017607
512 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1810 | 6 | 6720 | 2000017608
513 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 806 | 3 | 16860 | 2000017609
514 | RAIPUR TOWN | 11KV TURCHEGUDA FEEDER | 455 | 11 | 28380 | 2000017612
515 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 856 | 5 | 5520 | 2000017615
516 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 341 | 6 | 9780 | 2000017617
517 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2070 | 7 | 14760 | 2000017621
518 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 640 | 8 | 9300 | 2000017623
519 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 795 | 5 | 8040 | 2000017624
520 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 415 | 6 | 3540 | 2000017626
521 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 868 | 4 | 1620 | 2000017628
522 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 343 | 3 | 2700 | 2000017671
523 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 426 | 3 | 2700 | 2000017673
524 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 268 | 5 | 5160 | 2000017674
525 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1816 | 1 | 360 | 2000017690
526 | RAIPUR TOWN | 11KV ROMAN SQUARE | 664 | 1 | 360 | 2000017691
527 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 212 | 2 | 1680 | 2000017692
528 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 836 | 5 | 4620 | 2000017721
529 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1083 | 7 | 9060 | 2000017755
530 | RAIPUR TOWN | 11KV MOTHER TERESA | 816 | 6 | 8700 | 2000017756
531 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 513 | 6 | 9000 | 2000017757
532 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1182 | 6 | 6720 | 2000017768
533 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1234 | 8 | 45060 | 2000017771
534 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1473 | 8 | 19500 | 2000017772
535 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 677 | 8 | 19260 | 2000017773
536 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3315 | 12 | 7920 | 2000017808
537 | RAIPUR TOWN | 11KV PURANI BASTI | 713 | 4 | 92460 | 2000017817
538 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1197 | 4 | 49020 | 2000017819
539 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1143 | 2 | 4320 | 2000017867
540 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1960 | 1 | 600 | 2000017868
541 | RAIPUR TOWN | 11KV GANESH MANDIR | 233 | 1 | 1500 | 2000017869
542 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1009 | 4 | 5760 | 2000026583
543 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 897 | 2 | 1800 | 2000017599
544 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1009 | 7 | 12780 | 2000018394
545 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 4 | 1560 | 2000018378
546 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1461 | 3 | 1140 | 2000018361
547 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 618 | 4 | 2760 | 2000018396
548 | RAIPUR TOWN | 11KV IGVP | 377 | 12 | 14160 | 2000018397
549 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 350 | 6 | 5460 | 2000018398
550 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 457 | 3 | 4800 | 2000018416
551 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 358 | 2 | 1740 | 2000018359
552 | RAIPUR TOWN | 11KV MANDI | 671 | 4 | 3120 | 2000018020
553 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1689 | 6 | 3660 | 2000018006
554 | RAIPUR TOWN | 11KV SADDU FEEDER | 311 | 8 | 7980 | 2000018005
555 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 335 | 7 | 8460 | 2000018004
556 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1173 | 12 | 42300 | 2000017962
557 | RAIPUR TOWN | 11KV MG ROAD | 1633 | 5 | 4680 | 2000017955
558 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2730 | 1 | 1440 | 2000017954
559 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 259 | 1 | 360 | 2000017871
560 | RAIPUR TOWN | 11KV Dhanlaxmi Nagar Feeder | 4068 | 8 | 7620 | 2000018417
561 | RAIPUR TOWN | 11KV Umiya Market Feeder | 480 | 27 | 58500 | 2000018421
562 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 781 | 5 | 2700 | 2000018783
563 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2549 | 10 | 6180 | 2000018949
564 | RAIPUR TOWN | 11KV VARUN FEEDER | 1356 | 7 | 6180 | 2000019179
565 | RAIPUR TOWN | 11KV HEERA FEEDER | 3064 | 7 | 7140 | 2000019180
566 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 525 | 8 | 6840 | 2000019181
567 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1656 | 11 | 6240 | 2000019184
568 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1290 | 7 | 14100 | 2000019334
569 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1262 | 7 | 7020 | 2000019340
570 | RAIPUR TOWN | 11KV BSUP FEEDER | 111 | 8 | 3780 | 2000019341
571 | RAIPUR TOWN | 11KV CTI FEEDER | 260 | 8 | 14040 | 2000019342
572 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 978 | 1 | 24600 | 2000019485
573 | RAIPUR TOWN | 11KV PS CITY | 1384 | 10 | 5100 | 2000019530
574 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 718 | 5 | 2880 | 2000019697
575 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 290 | 7 | 8520 | 2000019850
576 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 128 | 7 | 8460 | 2000019851
577 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1403 | 3 | 11460 | 2000017870
578 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1849 | 4 | 11460 | 2000019857
579 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1580 | 11 | 25620 | 2000019858
580 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2154 | 4 | 17220 | 2000020009
581 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1727 | 11 | 95940 | 2000020119
582 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1198 | 8 | 5880 | 2000020120
583 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 11 | 21180 | 2000020123
584 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 17 | 8 | 34560 | 2000020130
585 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 176 | 5 | 53340 | 2000020131
586 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 6 | 18060 | 2000020132
587 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1434 | 9 | 28680 | 2000020153
588 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 354 | 2 | 5580 | 2000020193
589 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1053 | 2 | 4980 | 2000020194
590 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2633 | 3 | 24720 | 2000020581
591 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1725 | 5 | 7740 | 2000021219
592 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1406 | 3 | 14340 | 2000021220
593 | RAIPUR TOWN | 11KV TARUN NAGAR | 1854 | 3 | 3360 | 2000021221
594 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 771 | 8 | 14460 | 2000021286
595 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1503 | 8 | 14460 | 2000021287
596 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 63 | 6 | 5640 | 2000021421
597 | RAIPUR TOWN | 11KV DUNDA FEEDER | 958 | 8 | 11580 | 2000021424
598 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1475 | 3 | 1680 | 2000021615
599 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1384 | 2 | 780 | 2000022077
600 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 808 | 2 | 720 | 2000022078
601 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1358 | 2 | 840 | 2000022079
602 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1413 | 10 | 11400 | 2000023680
603 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1597 | 4 | 3420 | 2000023735
604 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 131 | 3 | 3180 | 2000023736
605 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1664 | 2 | 780 | 2000023772
606 | RAIPUR TOWN | 11KV SBI FEEDER | 1306 | 5 | 2700 | 2000023790
607 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 470 | 6 | 20940 | 2000023848
608 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1136 | 5 | 20460 | 2000024395
609 | RAIPUR TOWN | 11KV KACHNA FEEDER | 144 | 1 | 2040 | 2000026462
610 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2325 | 11 | 19500 | 2000026575
611 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1612 | 9 | 23880 | 2000017597
612 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 173 | 6 | 7200 | 2000019853
613 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1073 | 6 | 8400 | 2000026584
614 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 628 | 10 | 16320 | 2000026585
615 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1262 | 9 | 15600 | 2000026586
616 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 342 | 9 | 18240 | 2000029194
617 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 147 | 3 | 2040 | 2000029195
618 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1345 | 7 | 4500 | 2000034421
619 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 769 | 12 | 8640 | 2000034422
620 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 752 | 8 | 4740 | 2000034423
621 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2639 | 9 | 3900 | 2000034760
622 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 552 | 8 | 4020 | 2000034761
623 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1560 | 11 | 9780 | 2000034762
624 | RAIPUR TOWN | 11KV PRIDE FEEDER | 183 | 2 | 840 | 2000039215
625 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 8 | 20340 | 2000046448
626 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 899 | 4 | 6540 | 2000046477
627 | RAIPUR TOWN | 11KV KACHNA FEEDER | 99 | 4 | 50100 | 2000063983
628 | RAIPUR TOWN | 11KV ITI FEEDER | 253 | 3 | 49440 | 2000063985
629 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 39 | 6 | 5640 | 2000064021
630 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 5 | 2820 | 2000069376
631 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 203 | 13 | 24420 | 2000070080
632 | RAIPUR TOWN | 11KV C&F FEEDER | 31 | 2 | 1020 | 2000070702
633 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 30 | 2 | 960 | 2000070703
634 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1036 | 3 | 2940 | 2000070747
635 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2551 | 7 | 14880 | 2000071570
636 | RAIPUR TOWN | 11KV Feeder I Feeder | 80 | 7 | 2760 | 2000071756
637 | RAIPUR TOWN | 11KV Feeder II Feeder | 155 | 7 | 2700 | 2000071758
638 | RAIPUR TOWN | 11KV Feeder III Feeder | 31 | 7 | 2940 | 2000071760
639 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2642 | 8 | 47520 | 2000072091
640 | RAIPUR TOWN | 11KV Simran City Feeder | 1151 | 7 | 9600 | 2000074141
641 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 698 | 11 | 11040 | 2000075643
642 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 952 | 6 | 8160 | 2000075796
643 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3441 | 4 | 1860 | 2000075800
644 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 45 | 3 | 2760 | 2000075801
645 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 289 | 3 | 2700 | 2000075802
646 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1545 | 4 | 2880 | 2000026582
647 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1527 | 9 | 4440 | 2000006488
648 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2897 | 18 | 27420 | 2000001979
649 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 1102 | 14 | 24540 | 2000001974
650 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1803 | 2 | 720 | 2000001972
651 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3621 | 14 | 24600 | 2000001969
652 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1801 | 13 | 24420 | 2000001968