## ANNEXURE-1
LIST OF STANDARD STOCK MATERIALS FOR SoR OF 2018-19
Annexure - 1
Amt. in Rs.
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Rate in Revised SoR 2017-18 |  |  | Rate for 2018-19 |  |  |  | GST Rate (in %)
[5 empty] | Ex-works Rate | Freight Charges | Total rate including GST | Ex-works Rate | Freight Charges | Amount of GST | Total rate including GST for purpose of estimation and for drawal from Area Store
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | A | ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 33808.72 | 1814.5 | 42035.4 | 36563.01 | 859.5 | 6736.0518 | 44158.5618 | 18%
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 38312.58 | 2387.5 | 48026.09 | 39525.93 | 2387.5 | 7544.4174 | 49457.8474 | 18%
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 69473.47 | 2865 | 85359.39 | 73933.02 | 1671.25 | 13608.7686 | 89213.0386 | 18%
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 92035.35 | 3342.5 | 112545.83 | 97580.04 | 1910 | 17908.2072 | 117398.2472 | 18%
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 170278.12 | 4775 | 206562.68 | 183258.54 | 3820 | 33674.1372 | 220752.6772 | 18%
| vi | 315 kVA Copper Wound | Each | 7132220081 |  |  | Not procured | 457683.47 | 5730 | 83414.42 | 546827.89 | 18% | NEW ITEM ADDED
| vii | 500 kVA Copper Wound | Each | 7132220082 |  |  | Not procured | 692840.82 | 7630 | 126084.7476 | 826555.5676 | 18% | NEW ITEM ADDED
| B | CONVENTIONAL DISTRIBUTION TRANSFORMER 11/0.4 KV 4-STAR :-
| i | 16 kVA (4 Star) Aluminium Wound | Each | 7132210007 | 34192.27 | 1432.5 | 42037.23 | DELETE |  |  | DELETE
| ii | 25 kVA (4 Star) Aluminium Wound | Each | 7132210008 | 41503.39 | 1432.5 | 50664.35 | DELETE |  |  | DELETE
| iii | 63 kVA (4 Star) Aluminium Wound | Each | 7132210009 | 69940.9 | 1910 | 84784.06 | DELETE |  |  | DELETE
| iv | 100 kVA (4 Star) Aluminium Wound | Each | 7132210010 | 97369.66 | 2387.5 | 117713.45 | DELETE |  |  | DELETE
| v | 200 kVA (4 Star) Aluminium Wound | Each | 7132210011 | 171489.73 | 3342.5 | 206302.03 | DELETE |  |  | DELETE
3 |  | POWER TRANSFORMERS 33/11 kV :-
| ii | 3150 kVA | Each | 7132220095 | 1622172.8 | 47750 | 1970508.9 | 1875333.9 | 23875 | 341857.602 | 2241066.502 | 18%
| iii | 5000 kVA | Each | 7132220097 | 2340920.14 | 47750 | 2818630.77 | 2634740.21 | 47750 | 482848.2378 | 3165338.4478 | 18%
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 351.13 | 0 | 414.33 | 427.68 | 0 | 76.98 | 504.66 | 18%
| ii | 33 kV Polymer | Each | 7130840021 | 3135.3 | 0 | 3699.65 | 3852.47 | 0 | 693.44 | 4545.92 | 18%
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 866.67 | 47.75 | 1079.02 | 960 | 38.2 | 179.676 | 1177.876 | (18%)
| ii | 33 kV | Each | 7131930415 | 2160 | 286.5 | 2886.87 | 2160 | 286.5 | 440.37 | 2886.87 | (18%)
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457798 | 37751.2 | 3724.5 | 48941.33 | 54000 | 3500 | 10350 | 67850 | 18%
| ii | In Tanker | KL | 7132457798 | 31851.2 | 3724.5 | 41979.33 | 46000 | 3500 | 8910 | 58410 | 18%
LINE SUPPORTS :-
8 |  | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 26429 | 974.1 | 32335.66 | 38177 | 1148.32 | 7078.56 | 46403.88 | 18%
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 26429 | 974.1 | 32335.66 | 38177 | 1148.32 | 7078.56 | 46403.88 | 18%
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 9850 | 171.9 | 11825.84 | 11863.29 | 57.3 | 2145.7062 | 14066.2962 | (18%)
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 14759.15 | 90.73 | 17522.85 | 17370.82 | 90.73 | 3143.079 | 20604.629 | (18%)
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 23480 | 520.48 | 28320.56 | 28602.85 | 167.13 | 5178.5964 | 33948.5764 | (18%)
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 34950 | 458.4 | 41781.91 | 42339.33 | 191 | 7655.4594 | 50185.7894 | (18%)
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 46395 | 563.45 | 55410.97 | 55802.52 | 286.5 | 10096.0236 | 66185.0436 | (18%)
| vi | 0.2 Sq inch ( 130 Sqmm Al.Eq.)(Panther) | Km | 7130830070 | 105855.4 | 477.5 | 125472.76 | 124427.3 | 477.5 | 22482.864 | 147387.664 | (18%)
LINE INSULATORS :-
18 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 201.25 | 19.1 | 260.01 | 173.34 | 9.55 | 32.92 | 215.81 | (18%)
| iii | 33 kV Pin insulator | Each | 7130820075 | 182.46 | 21.01 | 240.09 | 164.44 | 20.05 | 33.21 | 217.7 | (18%)
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 8.13 | 1.86 | 11.79 | 9 | 1.86 | 1.96 | 12.82 | (18%)
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 201.05 | 6.35 | 244.73 | 193.77 | 6.68 | 36.08 | 236.53 | 18%
| iii | 11 kV Disc Insulator | Each | 7130820010 | 114.94 | 4.78 | 141.27 | 106 | 2.86 | 19.59 | 128.45 | 18%
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 300.98 | 9.69 | 366.59 | 290.67 | 7.16 | 53.61 | 351.44 | 18%
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 119.36 | 4.78 | 146.49 | 113.78 | 6.68 | 21.68 | 142.14 | 18%
23 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 7288.89 | 214.88 | 8854.44 | 7000 | 200 | 1296 | 8496 | (18%)
| ii | 33 kV | Each | 7131930321 | 15640.89 | 1188.98 | 19859.24 | 15786 | 200 | 2877.48 | 18863.48 | (18%)
36 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| iv | 100 Amps. | Each | 7131910656 | 224 | 20.49 | 288.5 | 193 | 16 | 37.62 | 246.62 | (18%)
| v | 200 Amps. | Each | 7131910657 | 462.22 | 24.45 | 574.27 | 390.5 | 12 | 72.45 | 474.95 | (18%)
| vi | 300 Amps. | Each | 7131910658 | 833.78 | 20.28 | 1007.79 | 867.3 | 24.5 | 160.524 | 1052.324 | (18%)
39 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 28009.04 | 826.31 | 36909.25 | 30728.2 | 0 | 5531.076 | 36259.276 | 18%
| ii | 4 Core | Km. | 7130310654 | 48718.1 | 1451.6 | 64217.22 | 51888 | 1297.2 | 9573.336 | 62758.536 | 18%
| iii | 8 Core | Km. | 7130310658 | 93909.63 | 2800.69 | 123789.21 | 101007.1 | 0 | 18181.278 | 119188.378 | 18%
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| iii | 10 Core | Km. | 7130310660 | 139829.2 | 2769.5 | 182526.31 | 171580.7 | 2769.5 | 31383.036 | 205733.236 | 18%
40 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE ARMOURED CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 13576.27 | 277.91 | 17733.34 | 15124.33 | 277.91 | 2772.4 | 18174.64 | 18%
| ii | 50 Sq.mm. | KM | 7130311009 | 31491.46 | 779.28 | 41306.54 | 35413.28 | 779.28 | 6514.66 | 42707.22 | 18%
| iii | 70 Sq.mm | KM | 7130311010 | 42296.02 | 1080.11 | 55521.43 | 47732.6 | 1080.11 | 8786.29 | 57599 | 18%
| iv | 150 Sq.mm | KM | 7130311011 | 80083.28 | 2254.76 | 105392.68 | 91383.21 | 2254.76 | 16854.83 | 110492.79 | 18%
| v | 300 Sq.mm | KM | 7130311012 | 155493.03 | 4371.04 | 204626.01 | 178378.14 | 4371.04 | 32894.85 | 215644.03 | 18%
| vi | 400 Sq.mm | KM | 7130311013 | 192017.46 | 5790.17 | 253193.76 | 221117.2 | 5790.17 | 40843.33 | 267750.7 | 18%
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 11700 | 343.8 | 15416.06 | 10958.45 | 477.5 | 2058.47 | 13494.42 | 18%
| ii | 25 Sqmm. | Km. | 7130310026 | 16650 | 429.75 | 21862.08 | 17692.85 | 429.75 | 3262.07 | 21384.67 | 18%
| iii | 35 Sqmm. | Km. | 7130310021 | 21600 | 515.7 | 28308.1 | 23345.82 | 515.7 | 4295.07 | 28156.59 | 18%
| iv | 50 Sqmm. | Km. | 7130310022 | 27900 | 644.63 | 36537.12 | 30503.17 | 644.63 | 5606.6 | 36754.4 | 18%
| v | 70 Sqmm. | Km. | 7130310007 | 37800 | 859.5 | 49484.16 | 41461.66 | 859.5 | 7689.81 | 50410.97 | 18%
| vi | 120 Sqmm. | Km. | 7130310008 | 64226.68 | 6112 | 90033.51 | 70488.89 | 6112 | 13788.16 | 90389.05 | 18%
| vii | 150 Sqmm. | Km. | 7130310041 | 75600 | 1719 | 98968.32 | 85328.1 | 1719 | 15668.48 | 102715.58 | 18%
| viii | 185 Sqmm. | Km. | 7130310034 | 97238.64 | 9274.96 | 136337.41 | 107266.62 | 9274.96 | 20977.48 | 137519.06 | 18%
| ix | 300 Sqmm. | Km. | 7130310035 | 146412.57 | 14119.68 | 205481.27 | 163886.06 | 14119.68 | 32041.03 | 210046.77 | 18%
45 |  | L.T. A.B. XLPE CABLE :-
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X16+1X16+1x25 | km | 7130310031 | 49279.85 | 1714.23 | 65272.42 | 57635.06 | 1714.23 | 10682.8722 | 70032.1622 | 18%
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X25+1X16+1x25 | km | 7130310032 | 57668.29 | 1461.15 | 75685.69 | 63386.44 | 1623.5 | 11701.79 | 76711.73 | 18%
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X35+1x16+1x25 | km | 7130310033 | 70058.88 | 1910 | 92120.17 | 74770.9 | 573 | 13561.9 | 88905.8 | 18%
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1x16+1x35 | km | 7130310065 | 89185.92 | 4507.6 | 119927.7 | 94843.92 | 716.25 | 17200.83 | 112761 | 18%
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X70+1x16+1x50 | km | 7130300025 | 132426.06 | 2285.32 | 172430.56 | 131283.6 | 778.33 | 23771.1474 | 155833.0774 | 18%
| viii | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X16+1x25 | km | 7130310070 | 38070.91 | 1031.4 | 50050.96 | 41616.02 | 1337 | 7731.5436 | 50684.5636 | 18%
| ix | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X25+1x25 | km | 7130310073 | 50584.95 | 1370.43 | 66502.88 | 48321.57 | 328.52 | 8757.0162 | 57407.1062 | 18%
50 |  | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 6651.04 | 573 | 9246.77 | 9735.65 | 620.75 | 2395.79 | 10952.19 | 28%
| B | Battery (Low Maintenance SAN container) | No. | 7132404366 | 40500 | 0 | 51840 | 40500 | 0 | 11340 | 51840 | 28%
63 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 767 | 9.43 | 916.18 | 576 | 13.41 | 106.0938 | 695.5 | 18%
64 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 1697.4 | 30.79 | 2039.26 | 1334 | 40.11 | 247.3398 | 1621.45 | 18%
| ii | CT operated electronic static meters 100/5 Amp. With data storage. | Each | 7131310997 | 1735.2 | 15.15 | 2065.41 | 1375 | 14.5 | 250.11 | 1639.61 | 18%
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 2160 | 35.46 | 2590.64 | 2160 | 35.46 | 395.18 | 2590.64 | 18%
65 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S with DLMS Protocol category A | Each | 7131310033 | 2928.1 | 38.2 | 3500.23 | 2928.1 | 38.2 | 533.934 | 3500.234 | 18%
| ii | 3 Ø 4 Wire 0.5S with DLMS Protocol category B | Each | 7131310034 | 3189.54 | 38.2 | 3808.73 | 2928.1 | 38.2 | 533.93 | 3500.23 | 18%
| iii | 3 Ø 4 Wire 0.2S bulk consumer meter | Each | 7131310036 | 13908.5 | 38.2 | 16457.11 | 13908.5 | 38.2 | 2510.41 | 16457.11 | 18%
| iv | 3 Ø 3 Wire 0.2S bulk consumer meter | Each | 7131310035 | 14479.34 | 0.76 | 17086.52 | 13908.5 | 38.2 | 2510.41 | 16457.11 | 18%
| v | 3 Ø 4 Wire 0.5S consumer meter | Each | 7131310013 | 2928.1 | 38.2 | 3500.23 | 3245 | 0 | 584.1 | 3829.1 | 18%
| vi | 3 Ø 4 Wire 0.2S 5A bulk consumer meter | Each | 7131310042 | 13908.5 | 38.2 | 16457.11 | 13908.5 | 38.2 | 2510.41 | 16457.11 | 18%
| vii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 22100 | 119.38 | 26218.87 | 22100 | 119.38 | 3999.49 | 26218.87 | 18%
| viii | Spot Billing Machine | Each | 7131310168 | 9804.35 | 0 | 11569.13 | 9804.35 | 0 | 1764.78 | 11569.13 | 18%
66 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 911635.57 | 4966 | 1081589.85 | 911635.57 | 4966 | 164988.28 | 1081589.85 | 18%
68 |  | Universal Meter Box for HT meters. | Each | 7132406425 | 2100 | 115.4 | 2614.17 | 2100 | 115.4 | 398.77 | 2614.17 | 18%
69 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 2043.5 | 143.25 | 2580.37 | 2043.5 | 143.25 | 393.62 | 2580.37 | 18%
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 7132406420 | 2574 | 187.25 | 3258.27 | 2574 | 187.25 | 497.02 | 3258.27 | 18%
70 |  | RELAYS :-
| ii | Set of 3 O.C. relays instantaneous high set feature numerical | Nos. | 7131334001 | 6250 | 119.38 | 8152.8 | 6250 | 119.62 | 1146.53 | 7516.15 | 18%
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 6300 | 120.33 | 8218.02 | 6300 | 120.57 | 1155.7 | 7576.27 | 18%
| iv | Master trip relays | Nos. | 7131399007 | 1234 | 120.33 | 1733.54 | 1234 | 120.57 | 243.82 | 1598.39 | 18%
72 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 12608.6 | 382 | 15328.91 | 10656.63 | 287.08 | 1969.87 | 12913.58 | 18%
| ii | 300-150/5 Amps. | Each | 7132230188 | 7875.09 | 382 | 9743.37 | 11122.88 | 287.08 | 2053.79 | 13463.75 | 18%
73 |  | 33 kV OIL FILLED CT's :-
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 13505.95 | 286.5 | 16275.09 | 16228.11 | 500 | 3007.18 | 19713.76 | 18%
74 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 298737.57 | 4775 | 358144.83 | 298737.57 | 4784.69 | 54634.01 | 358156.27 | 18%
| ii | 150-75/1-1A | No. | 7132230075 | 301869.49 | 4775 | 361840.5 | 301869.49 | 4784.69 | 55197.75 | 361851.93 | 18%
| iii | 200-100/1-1A | No. | 7132230332 | 276091.33 | 4775 | 331422.27 | 276091.33 | 4784.69 | 50557.68 | 331433.7 | 18%
| iv | 300-150/1-1A | No. | 7132230336 | 241037.85 | 4775 | 290059.16 | 241037.85 | 4784.69 | 44248.06 | 290070.6 | 18%
| v | 600-300/1-1A | No. | 7132230065 | 263804.55 | 4775 | 316923.87 | 263804.55 | 4784.69 | 48346.06 | 316935.3 | 18%
75 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 674207.33 | 1432.5 | 797255 | 674207.33 | 1435.41 | 121615.69 | 797258.43 | 18%
| ii | 300-150/1-1A | No. | 7132230077 | 440758.37 | 1432.5 | 521785.23 | 440758.37 | 1435.41 | 79594.88 | 521788.66 | 18%
| iii | 600-300/1-1A | No. | 7132230078 | 407632.23 | 1432.5 | 482696.38 | 407632.23 | 1435.41 | 73632.17 | 482699.81 | 18%
| iv | 800-400/1-1A | No. | 7132230039 | 418353.05 | 1432.5 | 495346.95 | 493519.28 | 1435.41 | 89091.84 | 584046.53 | 18%
77 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 10410.06 | 382 | 12734.63 | 8472.51 | 287.08 | 1576.73 | 10336.32 | 18%
78 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 14338.09 | 573 | 17595.09 | 13577.73 | 478.47 | 2530.12 | 16586.32 | 18%
79 |  | 132 kV P.T. | No. | 7132230501 | 205382.08 | 4775 | 247985.35 | 205382.08 | 4784.69 | 37830.02 | 247996.79 | 18%
80 |  | 220 kV P.T. | No. | 7132230511 | 493519.28 | 1432.5 | 584043.1 | 493519.28 | 1435.41 | 89091.84 | 584046.53 | 18%
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| ii | 10/5 A | Each | 7132230395 | 29431.95 | 955 | 35856.6 | 31223.71 | 955 | 5792.17 | 37970.88 | (18%)
| iv | 25/5 A | Each | 7132230401 | 28950.94 | 955 | 35289.01 | 30713.42 | 955 | 5700.32 | 37368.74 | (18%)
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| ii | 10/5 A | Each | 7132230448 | 66912 | 2578.5 | 81998.79 | 70985.47 | 2578.5 | 13241.51 | 86805.48 | (18%)
| iii | 20/5 A | Each | 7132230418 | 63448.74 | 2578.5 | 77912.14 | 67311.37 | 2578.5 | 12580.18 | 82470.05 | (18%)
| v | 50/5 A | Each | 7132230450 | 61620.91 | 2578.5 | 75755.3 | 65372.27 | 2578.5 | 12231.14 | 80181.91 | (18%)
| vi | 100 /5A | Each | 7132230453 | 62145.21 | 2578.5 | 76373.98 | 65928.49 | 2578.5 | 12331.26 | 80838.25 | (18%)
| vii | 200/5A | Each | 7132230455 | 61620.91 | 2578.5 | 75755.3 | 65372.27 | 2578.5 | 12231.14 | 80181.91 | (18%)
87 |  | 11 kV VCB & CONTROL PANEL : -
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 97463.79 | 3342.5 | 118951.42 | 96436.42 | 3349.28 | 17961.43 | 117747.13 | 18%
| C | 11 kV CONTROL PANEL : -
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 31500 | 1432.5 | 42153.6 | 31500 | 1435.41 | 5928.37 | 38863.78 | 18%
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 31500 | 1432.5 | 42153.6 | 31500 | 1435.41 | 5928.37 | 38863.78 | 18%
88 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 196529.76 | 5730 | 238666.52 | 194147.66 | 5741.63 | 35980.11 | 235869.4 | 18%
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 31500 | 1432.5 | 42153.6 | 31500 | 1435.41 | 5928.37 | 38863.78 | 18%
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 31500 | 1432.5 | 42153.6 | 31500 | 1435.41 | 5928.37 | 38863.78 | 18%
95 | i | Poly Carbonate seals for meter | Each | 7132444005 | 5.37 | 0.33 | 6.73 | 5.73 | 0.33 | 1.03 | 6.73 | 18%
107 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| ii | 20 SWG | Kg | 7131900971 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| iii | 18 SWG | Kg | 7131900973 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| iv | 16 SWG | Kg | 7131900975 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| v | 14 SWG | Kg | 7131900977 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| vi | 12 SWG | Kg | 7131900979 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
| vii | 10 SWG | Kg | 7131900981 | 483.75 | 5.44 | 577.25 | 483.75 | 5.44 | 88.0542 | 577.2442 | (18%)
Note on C14: Author: NEW ITEM ADDED
Note on C15: Author: NEW ITEM ADDED
Note on I37: Author: Mentioned by S&P -Procured in the year 2017-18.
Note on I38: Author: Mentioned by S&P -Procured in the year 2017-18.
Note on C73: Author: Earlier name was - SINGLE CORE CABLE

## ANNEXURE-2
LIST OF STANDARD STOCK MATERIALS FOR SoR OF 2018-19
Annexure - 2
Amt. in Rs.
Sl. No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Ex-Works Rate + Freight charges in Revised SoR 2017-18 | Rate for 2018-19
[6 empty] | New Ex-works Rate including Freight charges | Amount of GST | Total rate including GST for purpose of estima tion and for drawal from Area store | GST %
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | B | CONVENTIONAL DISTRIBUTION TRANSFORMER 11/0.4 KV 4-STAR :-
| vi | 315 kVA (CEA Design) (4 Star) Copper Wound | Each | 7132210012 | 326639.71 | DELETE |  | DELETE
| vii | 500 kVA (CEA Design) (4 Star) Copper Wound | Each | 7132210015 | 544730.49 | DELETE |  | DELETE
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 113544.55 | 112182.0154 | 20192.7628 | 132374.7782 | 18%
3 |  | Power Transformer 33/11 KV
| i | 1600 kVA | Each | 7132220091 | 669757.17 | 661720.084 | 119109.6151 | 780829.6991 | 18%
5 |  | D.O. FUSE UNIT -POLYMER TYPE :-
| i | 11 kV | Each | 7131930110 | 1277.27 | 1323.2517 | 238.1853 | 1561.437 | 18%
| ii | 33 kV | Each | 7131930111 | 1827.97 | 1893.7769 | 340.8798 | 2234.6568 | 18%
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 41653.16 | 42944.408 | 7729.9934 | 50674.4014 | 18%
| b | 60 kgs per mtr | MT | 7130601072 | 41653.16 | 42944.408 | 7729.9934 | 50674.4014 | 18%
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 28376.17 | 38064 | 6851.52 | 44915.52 | 18%
| b | 125 x 70 mm | MT | 7130600635 | 24958.2 | 33478.9295 | 6026.2073 | 39505.1368 | 18%
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 29195.55 | 35414.2022 | 6374.5564 | 41788.7585 | 18%
| b | 75x40 mm | MT | 7130600166 | 29195.55 | 35414.2022 | 6374.5564 | 41788.7585 | 18%
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 33747.25 | 38539.3595 | 6937.0847 | 45476.4442 | 18%
| b | 50x6 mm | MT | 7130600173 | 33747.25 | 38539.3595 | 6937.0847 | 45476.4442 | 18%
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 29195.55 | 35414.2022 | 6374.5564 | 41788.7585 | 18%
| b | 50 x 50 x 6 mm | MT | 7130600023 | 29195.55 | 35414.2022 | 6374.5564 | 41788.7585 | 18%
| c | 75 x 75 x 6 mm | MT | 7130600051 | 29195.55 | 35414.2022 | 6374.5564 | 41788.7585 | 18%
| d | 35 x 35 x 5 mm | MT |  |  | 30030.5011 | 5405.4902 | 35435.9913 | 18%
16 |  | A.A.A.C. CONDUCTORS :-
| i | 0.02 Sq.inch (20/22 Sqmm Al. Eq.) (Squirrel) | Km | 7130830025 | DELETE | DELETE |  | DELETE
| ii | 0.03 Sq.inch (30/34 Sqmm Al. Eq.) (Weasel) | Km | 7130830026 | DELETE | DELETE |  | DELETE
| iii | 0.05 Sq.inch (50/55 Sqmm Al. Eq.) (Rabbit) | Km | 7130830027 | DELETE | DELETE |  | DELETE
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830028 | DELETE | DELETE |  | DELETE
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830084 | DELETE | DELETE |  | DELETE
17 |  | COVERED CONDUCTOR (FOR LAST SPAN OF HT CONSUMERS)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 414.71 | 414.71 | 74.6478 | 489.3578 | 18%
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 499.9 | 499.9 | 89.982 | 589.882 | 18%
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310043 | 638.36 | 638.36 | 114.9048 | 753.2648 | 18%
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 588.76 | 588.76 | 105.9768 | 694.7368 | 18%
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 669.59 | 669.59 | 120.5262 | 790.1162 | 18%
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 941.7 | 941.7 | 169.506 | 1111.206 | 18%
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 1326.87 | 1326.87 | 238.8366 | 1565.7066 | 18%
LINE INSULATORS :-
18 | A | PORCELAIN INSULATOR :-
| ii | 11 kV Pin insulator | Each | 7130820071 | 35.54 | 36.47 | 6.5646 | 43.0346 | 18%
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 370 | 379.694 | 68.3449 | 448.0389 | 18%
| v | 33 kV Post Insulator | Nos. | 7130820027 | 1712.55 | 1552.7691 | 279.4984 | 1832.2675 | 18%
| vi | SHACKLE INSULATORS : -
| b | 65 x 50 mm. | Each | 7130820101 | 8.82 | 9.5882 | 1.7259 | 11.3141 | 18%
| vii | Stay insulator | Each | 7130820117 | 8.82 | 9.1375 | 1.6448 | 10.7823 | 18%
| viii | Split insulator | Pair | 7130820018 | 3.31 | 3.4292 | 0.61725 | 4.0464 | 18%
| B | POLYMER INSULATOR :-
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820013 | 269.33 | 200.45 | 36.081 | 236.531 | 18% | BIN CODE CHANGED.Earlier Bin Code was- 7130820011
| C | POLYMER POST INSULATOR :-
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 223.97 | 196.4665 | 35.364 | 231.8305 | 18%
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 915.03 | 681.0568 | 122.5902 | 803.6471 | 18%
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820010 | 124.1 | 108.86 | 19.59 | 128.45 | 18%
19 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 102.81 | 101.3707 | 18.2467 | 119.6174 | 18%
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 213.59 | 210.5997 | 37.908 | 248.5077 | 18%
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 1830.16 | 1804.5378 | 324.8168 | 2129.3546 | 18%
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 841.07 | 829.295 | 149.2731 | 978.5681 | 18%
20 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 33.31 | 34.4425 | 6.1997 | 40.6422 | 18%
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 29.26 | 30.2548 | 5.4459 | 35.7007 | 18%
21 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 58.45 | 60.4373 | 10.8787 | 71.316 | 18%
22 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 194.5 | 201.113 | 36.2003 | 237.3133 | 18%
23 | B | A.B. SWITCH WITH COMPLETE FITTING - POLYMER TYPE -
| i | 11 kV | Each | 7131930107 | 4825.32 | DELETE |  | DELETE
| ii | 33 kV | Each | 7131930108 | 10525.59 | DELETE |  | DELETE
24 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 338.7 | 373.9248 | 67.3065 | 441.2313 | 18%
| ii | 20 mm (Painted) | Each | 7130860033 | 617.15 | 681.3336 | 122.64 | 803.9736 | 18%
25 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 51315.63 | 59115.6058 | 10640.809 | 69756.4148 | 18%
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 51818.24 | 59694.6125 | 10745.0302 | 70439.6427 | 18%
26 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 84.49 | 97.3325 | 17.5198 | 114.8523 | 18%
27 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 46345.31 | 53389.7971 | 9610.1635 | 62999.9606 | 18%
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 46345.31 | 53389.7971 | 9610.1635 | 62999.9606 | 18%
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 46378.41 | 53427.9283 | 9617.0271 | 63044.9554 | 18%
28 |  | Barbed wire | MT | 7130610206 | 55963.86 | 64470.3667 | 11604.666 | 76075.0327 | 18%
29 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 56.37 | 58.7939 | 10.5829 | 69.3768 | 18%
| ii | 12x100 mm | Kg | 7130620573 | 56.37 | 58.7939 | 10.5829 | 69.3768 | 18%
| iii | 12x120 mm | Kg | 7130620575 | 57.31 | 59.7743 | 10.7594 | 70.5337 | 18%
| iv | 12x140 mm | Kg | 7130620577 | 57.31 | 59.7743 | 10.7594 | 70.5337 | 18%
| v | 16x40 mm | Kg | 7130620609 | 56.37 | 58.7939 | 10.5829 | 69.3768 | 18%
| vi | 16x65 mm | Kg | 7130620614 | 55.43 | 57.8135 | 10.4064 | 68.2199 | 18%
| vii | 16x90 mm | Kg | 7130620619 | 55.43 | 57.8135 | 10.4064 | 68.2199 | 18%
| viii | 16x100 mm | Kg | 7130620621 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| ix | 16x140 mm | Kg | 7130620625 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| x | 16x160 mm | Kg | 7130620627 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xi | 16x200 mm | Kg | 7130620631 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xii | 16x250 mm | Kg | 7130620637 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xiii | 16x300 mm | Kg | 7130620636 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xiv | 20x75 mm | Kg | 7130620713 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xv | 20x90 mm | Kg | 7130620716 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xvi | 20x110 mm | Kg | 7130620719 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| xvii | 24x120 mm | Kg | 7130620829 | 54.49 | 56.8331 | 10.23 | 67.063 | 18%
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 77.98 | 81.3331 | 14.64 | 95.9731 | 18%
| ii | 16x65 mm | Kg | 7130620140 | 77.98 | 81.3331 | 14.64 | 95.9731 | 18%
39 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| iv | 10 Core | Km. | 7130310681 | 121024.16 | 126044.2 | 22687.956 | 148732.156 | 18% | Old Bin Code was -7130310660
| v | 12 Core | Km. | 7130310662 | 131502.7 | 136960.0621 | 24652.8112 | 161612.8732 | 18%
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | DELETE | DELETE |  | DELETE
| ii | 4 Core | Km. | 7130310654 | DELETE | DELETE |  | DELETE
40 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 5.31 | 5.841 | 1.0514 | 6.8924 | 18%
| ii | 4.0 Sqmm. | Per Mtr. |  |  | 11.47 | 3.2116 | 14.6816 | 28%
| iii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 23.01 | 24.6437 | 4.4359 | 29.0796 | 18%
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 17.66 | 18.9139 | 3.4045 | 22.3184 | 18%
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 21.19 | 22.6945 | 4.085 | 26.7795 | 18%
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 30.9 | 33.0939 | 5.9569 | 39.0508 | 18%
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 47.68 | 51.0653 | 9.1918 | 60.257 | 18%
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 37.08 | 39.7127 | 7.1483 | 46.861 | 18%
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 45.03 | 48.2271 | 8.6809 | 56.908 | 18%
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 53.86 | 57.6841 | 10.3831 | 68.0672 | 18%
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 70.64 | 75.6554 | 13.618 | 89.2734 | 18%
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 90.06 | 96.4543 | 17.3618 | 113.816 | 18%
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 35111.71 | 33338.5686 | 6000.9424 | 39339.511 | 18%
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 49885.76 | 47366.5291 | 8525.9752 | 55892.5044 | 18%
| ii | 16.0 Sqmm. | km | 7130311084 | 52493.17 | 49842.2649 | 8971.6077 | 58813.8726 | 18%
| iii | 25 Sq.mm. | km | 7130310048 | 70941.87 | 75276.4183 | 13549.7553 | 88826.1735 | 18%
| iv | 70 Sq.mm. | km |  |  | 279000 | 50220 | 329220 | 18%
| v | 95 Sq.mm. | km |  |  | 340200 | 61236 | 401436 | 18%
| vi | 150 Sq.mm. | km |  |  | 513600 | 92448 | 606048 | 18%
| vii | 300 Sq.mm. | km |  |  | 981000 | 176580 | 1157580 | 18%
| viii | 400 Sq.mm. | km |  |  | 1246800 | 224424 | 1471224 | 18%
| B4 | 3.5 Core ARMOURED CABLE :-
| i | 70 Sqmm. | km | 7130311054 | 112739.26 | DELETE |  | DELETE
| ii | 120 Sqmm. | km | 7130310049 | 307170.03 | DELETE |  | DELETE
| iii | 150 Sqmm. | km | 7130311057 | 314890.32 | DELETE |  | DELETE
| iv | 300 Sqmm. | km | 7130311061 | 590646.56 | DELETE |  | DELETE
| v | 400 Sqmm. | km | 7130310050 | 860007.9 | DELETE |  | DELETE
41 |  | 33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 728689.84 | 780426.8186 | 140476.8274 | 920903.646 | 18%
| b | 3x150 Sq.mm. | km | 7130310052 | 894508.35 | 958018.4428 | 172443.3197 | 1130461.7626 | 18%
| c | 3x185 Sq.mm. | km | 7130310053 | 1022387.29 | 1094976.7876 | 197095.8218 | 1292072.6094 | 18%
| d | 3x240 Sq.mm. | km | 7130310054 | 1300071.08 | 1392376.1267 | 250627.7028 | 1643003.8295 | 18%
42 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 15107.22 | 15107.22 | 2719.2996 | 17826.5196 | 18%
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 21581.74 | 21581.74 | 3884.7132 | 25466.4532 | 18%
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set |  | 28696.3 | 28696.3 | 5165.334 | 33861.634 | 18%
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 8632.7 | 8632.7 | 1553.886 | 10186.586 | 18%
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 10790.87 | 10790.87 | 1942.3566 | 12733.2266 | 18%
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 12949.04 | 12949.04 | 2330.8272 | 15279.8672 | 18%
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 15107.22 | 15107.22 | 2719.2996 | 17826.5196 | 18%
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 16186.31 | 16186.31 | 2913.5358 | 19099.8458 | 18%
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 19423.57 | 19423.57 | 3496.2426 | 22919.8126 | 18%
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 679.43 | 679.43 | 122.2974 | 801.7274 | 18%
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 733.92 | 733.92 | 132.1056 | 866.0256 | 18%
| xii | Cable tie for AB Cable | Each | 7130320045 | 21.8 | 21.8 | 3.924 | 25.724 | 18%
43 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 248514.48 | 266159.0081 | 47908.6215 | 314067.6295 | 18%
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 351584.83 | 376547.3529 | 67778.5235 | 444325.8765 | 18%
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 525717.98 | 563043.9566 | 101347.9122 | 664391.8688 | 18%
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 495882.78 | 531090.4574 | 95596.2823 | 626686.7397 | 18%
44 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 3297.21 | 3297.21 | 593.4978 | 3890.7078 | 18%
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 3469.79 | 3469.79 | 624.5622 | 4094.3522 | 18%
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 3274.07 | 3274.07 | 589.3326 | 3863.4026 | 18%
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 2088.23 | 2088.23 | 375.8814 | 2464.1114 | 18%
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 2199.96 | 2199.96 | 395.9928 | 2595.9528 | 18%
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 1758.51 | 1758.51 | 316.5318 | 2075.0418 | 18%
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 1978.33 | 1978.33 | 356.0994 | 2334.4294 | 18%
| viii | Cable tie for AB Cable | Each | 7130820029 | 27.25 | 27.25 | 4.905 | 32.155 | 18%
| ix | Surge Arrestor | No | 7130840003 | 699.78 | 699.78 | 125.9604 | 825.7404 | 18% | NEW BIN CODE ALLOTED
| x | Ground connection for Messenger Wire | No | 7131950396 | 106.32 | 106.32 | 19.1376 | 125.4576 | 18% | NEW BIN CODE ALLOTED
45 |  | LT A.B. XLPE Cable
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1X25+1X16+1x25 | km | 7130310063 | 43767.95 | 34901.85 | 6282.333 | 41184.183 | 18%
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1X25+1x35 | km | 7130310066 | 102948.56 | 104997.2363 | 18899.5025 | 123896.7389 | 18%
| x | LT 1 phase 2 Wire AB XLPE Cable 1x16 + 1x25 sqmm. (6% sag) | km |  | 33551.31 | DELETE |  | DELETE
46 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 785.94 | 839.3839 | 151.0891 | 990.473 | 18%
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 946.75 | 1011.129 | 182.0032 | 1193.1322 | 18%
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 66.89 | 71.4385 | 12.8589 | 84.2975 | 18%
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 87.14 | 93.0655 | 16.7518 | 109.8173 | 18%
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 121.46 | 129.7193 | 23.3495 | 153.0688 | 18%
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 524.58 | 560.2514 | 100.8453 | 661.0967 | 18%
| 7 | Straight through joints | Nos. | 7130390007 | 143.47 | 143.47 | 25.8246 | 169.2946 | 18%
| 8 | Service Ring | Nos. | 7130810102 | 292.22 | 292.22 | 52.5996 | 344.8196 | 18%
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 147.15 | 157.5976 | 28.3676 | 185.9652 | 18%
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 27.25 | 27.25 | 4.905 | 32.155 | 18%
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 366.05 | 381.7901 | 68.7222 | 450.5124 | 18%
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 500.82 | 500.82 | 90.1476 | 590.9676 | 18%
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 363.51 | 363.51 | 65.4318 | 428.9418 | 18%
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 24.52 | 24.52 | 4.4136 | 28.9336 | 18%
| 15 | Universal distribution connector | Each | 7130390006 | 95.06 | 101.5241 | 18.2743 | 119.7984 | 18%
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 4.54 | 4.5627 | 0.82129 | 5.384 | 18%
| 17 | Pole Clamp | No. | 7130810077 | 343.35 | 367.7278 | 66.191 | 433.9189 | 18%
| 18 | Eye Hook | No. | 7130893004 | 139.88 | 149.8115 | 26.9661 | 176.7775 | 18%
47 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 700.32 | 700.32 | 126.0576 | 826.3776 | 18%
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 700.32 | 700.32 | 126.0576 | 826.3776 | 18%
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 752.09 | 752.09 | 135.3762 | 887.4662 | 18%
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1057.29 | 1057.29 | 190.3122 | 1247.6022 | 18%
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 1575.94 | 1575.94 | 283.6692 | 1859.6092 | 18%
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 2546.94 | 2546.94 | 458.4492 | 3005.3892 | 18%
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 3254.52 | 3254.52 | 585.8136 | 3840.3336 | 18%
48 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x240 Sq.mm. | km | 7130310075 | 1667770.55 | 1667770.55 | 300198.699 | 1967969.249 | 18%
| ii | 3x400 Sq.mm. | km | 7130310020 | 1822562.9 | 1822562.9 | 328061.322 | 2150624.222 | 18%
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 445076.83 | 445076.83 | 80113.8294 | 525190.6594 | 18%
| ii | 95 Sq.mm | km | 7130310077 | 450307.79 | 450307.79 | 81055.4022 | 531363.1922 | 18%
| iii | 120 Sq.mm | km | 7130310078 | 671499.66 | 671499.66 | 120869.9388 | 792369.5988 | 18%
| iv | 240 Sq.mm | km | 7130310079 | 813595.48 | 813595.48 | 146447.1864 | 960042.6664 | 18%
| v | 400 Sq.mm | km | 7130310080 | 1253541.54 | 1253541.54 | 225637.4772 | 1479179.0172 | 18%
49 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 18344.48 | 19499.2 | 3509.856 | 23009.056 | 18%
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 30574.13 | 28923.2 | 5206.176 | 34129.376 | 18%
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type straight through jointing kit for XLPE cable --
| i | 3x50 Sq.mm | Set | 7130352038 | 6866.92 | 11655.6 | 2098.008 | 13753.608 | 18%
| ii | 3x95 Sq.mm | Set | 7130352039 | 7582.68 | 11655.6 | 2098.008 | 13753.608 | 18%
| iii | 3x150 Sq.mm | Set | 7130352040 | 8877.94 | 15432.4 | 2777.832 | 18210.232 | 18%
| iv | 3x240 Sq. mm | Set | 7130352041 | 9369.35 | 16878 | 3038.04 | 19916.04 | 18%
| v | 3x400 Sq. mm | Set | 7130352042 | 9586.44 | 16878 | 3038.04 | 19916.04 | 18%
| B2 | Heat Shrinkable outdoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 2096.41 | 6058.8 | 1090.584 | 7149.384 | 18%
| ii | 3x240 Sq. mm | Set | 7130352044 | 2231.75 | 7314 | 1316.52 | 8630.52 | 18%
| iii | 3x400 Sq. mm | Set | 7130352045 | 2291.7 | 7524.4 | 1354.392 | 8878.792 | 18%
51 |  | Marshelling Box (with 10 No. connectors) | No. | 7130352046 | 2573.16 | 2573.16 | 463.1688 | 3036.3288 | 18%
62 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 251.83 | 250.319 | 45.0574 | 295.3764 | 18%
| ii | 250 Amps. | Each | 7131900880 | 632.75 | 628.9535 | 113.2116 | 742.1651 | 18%
| iii | 400 Amps. | Each | 7131900881 | 700.03 | 695.8298 | 125.2494 | 821.0792 | 18%
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900876 | 98.19 | 97.6009 | 17.5682 | 115.169 | 18%
| ii | 250 Amps. | Each | 7131900071 | 255.46 | 253.9272 | 45.7069 | 299.6341 | 18%
| iii | 400 Amps. | Each | 7131900072 | 392.74 | 390.3836 | 70.269 | 460.6526 | 18%
64 |  | POLY PHASE STATIC ENERGY METERS : -
| iv | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 10134.6 | 10134.6 | 1824.228 | 11958.828 | 18%
65 |  | H.T. STATIC TRIVECTOR METERS :-
| vi | Test terminal Box (TTB) | Each | 7131310037 | 758.45 | 758.45 | 136.521 | 894.971 | 18%
67 |  | Prepaid smart Energy Meter with all accessories :-
| i | Single Phase 10-60A | No |  | 9353.38 | DELETE |  | DELETE
| ii | Three Phase 10-60A | No |  | 11792.59 | DELETE |  | DELETE
70 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 5220 | 5220 | 939.6 | 6159.6 | 18%
| v | Numerical Over current & Earth Fault Protection Relay with accessories | Nos. |  | 8824.4 | DELETE |  | DELETE
71 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 292.43 | 292.43 | 52.6374 | 345.0674 | 18%
| ii | 200/5 Amps. | Each | 7132230019 | 292.43 | 292.43 | 52.6374 | 345.0674 | 18%
| iii | 300/5 Amps. | Each | 7132230021 | 234.13 | 234.13 | 42.1434 | 276.2734 | 18%
| iv | 500/5 Amps. | Each | 7132230024 | 234.13 | 234.13 | 42.1434 | 276.2734 | 18%
73 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 17050.7 | 20679.089 | 3722.236 | 24401.325 | 18%
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 17725.94 | 21498.02 | 3869.6436 | 25367.6636 | 18%
| d | 33 kV CT's (100-50/5) Amps. oil filled | Each | 7132230304 | 13502.64 | DELETE |  | DELETE
76 |  | 11 kV PT Station Type | No | 7132230473 | 21010.89 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 7.5/5 A | Each | 7132230394 | 34029.66 | DELETE |  | DELETE
| iii | 15/5 A | Each | 7132230396 | 31288.95 | DELETE |  | DELETE
| v | 50/5 A | Each | 7132230414 | 30120.72 | 31894.8304 | 5741.0695 | 37635.8999 | 18%
| vi | 75/5 A | Each | 7132230406 | 30120.72 | DELETE |  | DELETE
| vii | 300-150/5 A | Each | 7132230399 | 29529.08 | 31268.3428 | 5628.3017 | 36896.6445 | 18%
| viii | 200/5 A | Each | 7132230410 | 31233.64 | DELETE |  | DELETE
| ix | 200-100/5 A | Each | 7132230412 | 29199.95 | 30919.8271 | 5565.5689 | 36485.3959 | 18%
| x | 400-200/5 A | Each | 7132230088 | 29531.74 | 31271.1595 | 5628.8087 | 36899.9682 | 18%
| xi | 100/5 A | Each | 7132230403 | 29628.39 | DELETE |  | DELETE
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 5/5 A | Each | 7132230447 | 83243.62 | DELETE |  | DELETE
| iv | 30/5 A | Each | 7132230449 | 64613.59 | DELETE |  | DELETE
| viii | 200-100/5 A | Each | 7132230427 | 64433.02 | 68195.9084 | 12275.2635 | 80471.1719 | 18%
| ix | 300-150/5 A | Each | 7132230089 | 66994.8 | 70907.2963 | 12763.3133 | 83670.6097 | 18%
| x | 400-200/5 A | Each | 7132230457 | 65987.37 | 69841.0324 | 12571.3858 | 82412.4182 | 18%
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230009 | 169893.06 | 179814.8147 | 32366.6666 | 212181.4814 | 18% | NEW BIN CODE ALLOTED
| ii | 25/5 A | Each | 7132230011 | 169893.06 | 179814.8147 | 32366.6666 | 212181.4814 | 18% | NEW BIN CODE ALLOTED
| iii | 50/5 A | Each | 7132230017 | 169893.06 | 179814.8147 | 32366.6666 | 212181.4814 | 18%
| iv | 100/5 A | Each | 7132230015 | 184065.91 | 194815.3591 | 35066.7646 | 229882.1238 | 18%
| v | 200/5 A | Each | 7132230012 | 184065.91 | 194815.3591 | 35066.7646 | 229882.1238 | 18% | NEW BIN CODE ALLOTED
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230008 | 55633.99 | 58883.015 | 10598.9427 | 69481.9577 | 18% | NEW BIN CODE ALLOTED
| ii | 15/5 A | Each |  |  | 58883.015 | 10598.9427 | 69481.9577 | 18% | NEW ITEM ADDED
| iii | 25/5 A | Each | 7132230010 | 55633.99 | 58883.015 | 10598.9427 | 69481.9577 | 18% | NEW BIN CODE ALLOTED
| iv | 50/5 A | Each |  |  | 58883.015 | 10598.9427 | 69481.9577 | 18% | NEW ITEM ADDED
82 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 88.42 | 87.359 | 15.7246 | 103.0836 | 18%
| ii | 6 to 16 Amps. | Each | 7131820032 | 88.42 | 87.359 | 15.7246 | 103.0836 | 18%
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 374.72 | 370.2234 | 66.6402 | 436.8636 | 18%
| ii | 32 Amps. | Each | 7131820034 | 374.72 | 370.2234 | 66.6402 | 436.8636 | 18%
83 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 2496.09 | 2466.1369 | 443.9046 | 2910.0416 | 18%
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 2704.46 | 2672.0065 | 480.9612 | 3152.9676 | 18%
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 2704.46 | 2672.0065 | 480.9612 | 3152.9676 | 18%
84 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 1976.04 | 1952.3275 | 351.419 | 2303.7465 | 18%
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 2080.22 | 2055.2574 | 369.9463 | 2425.2037 | 18%
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 4524.66 | 4470.3641 | 804.6655 | 5275.0296 | 18%
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 19762.11 | 19524.9647 | 3514.4936 | 23039.4583 | 18%
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 19762.11 | 19524.9647 | 3514.4936 | 23039.4583 | 18%
85 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 11929.91 | 12959.4612 | 2332.703 | 15292.1643 | 18%
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 14912.38 | 16200 | 2916 | 19116 | 18%
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 29824.77 | 32398.6477 | 5831.7566 | 38230.4042 | 18%
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 39766.36 | 27800 | 5004 | 32804 | 18%
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 49604.91 | 34678.7926 | 6242.1827 | 40920.9752 | 18%
86 |  | Locally fabricated - 3 Phase fuse units 150 Amps. (Robust fuse for circuit base). | Each | 7131900004 | 686.03 | 612 | 110.16 | 722.16 | 18% | Bin Code changed, earlier Bin Code - 7131900005
87 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 270350.03 | 267619.4947 | 48171.509 | 315791.0037 | 18%
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 21989.38 | 21991.5789 | 3958.4842 | 25950.0631 | 18%
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 23020.33 | 23022.632 | 4144.0738 | 27166.7058 | 18%
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each | 7131960010 | 70744.23 | 70744.23 | 12733.9614 | 83478.1914 | 18% | NEW BIN CODE ALLOTED
88 | B | 33 kV CONTROL PANEL : -
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 24420.33 | 24422.772 | 4396.099 | 28818.871 | 18%
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 22220.33 | 22222.552 | 4000.0594 | 26222.6114 | 18%
89 |  | 11 kV Sectionalizer. | Each | 7131950016 | 301132.34 | 297518.7519 | 53553.3753 | 351072.1273 | 18%
90 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 18019.15 | 19172.3756 | 3451.0276 | 22623.4032 | 18%
| ii | 33 kV ; 600 Amps with earth switch. | Each | 7131930109 | 35194.84 | DELETE |  | DELETE
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 31184.1 | 33179.8824 | 5972.3788 | 39152.2612 | 18%
91 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 1426.17 | 1323.4858 | 238.2274 | 1561.7132 | 18%
| ii | 10 kVAR | Each | 7132200813 | 2851.45 | 2646.1456 | 476.3062 | 3122.4518 | 18%
| iii | 12 kVAR | Each | 7132200814 | 3426.2 | 3179.5136 | 572.3124 | 3751.826 | 18%
| iv | 20 kVAR | Each | 7132200815 | 5685.93 | 5276.543 | 949.7777 | 6226.3208 | 18%
92 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR, 12.1 kV, 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin / Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 118606.84 | 119792.9084 | 21562.7235 | 141355.6319 | 18%
| ii | 1815 kVAR, 12.1 kV, 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV. Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin / post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 156836.07 | 158404.4307 | 28512.7975 | 186917.2282 | 18%
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 7132230471 | 28240.52 | 28240.52 | 5083.2936 | 33323.8136 | 18% | NEW BIN CODE ALLOTED
93 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set | 7132210106 | 5759.68 | 5817.2768 | 1047.1098 | 6864.3866 | 18% | NEW BIN CODE ALLOTED
| ii | 0.2% Reactor suitable for 726 kVAR step | Set | 7132210108 | 7031.53 | 7101.8453 | 1278.3322 | 8380.1775 | 18%
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. | 7131980001 | 56835.94 | 57404.2994 | 10332.7739 | 67737.0733 | 18% | NEW BIN CODE ALLOTED
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set | 7131931091 | 23331.59 | 23564.9059 | 4241.6831 | 27806.589 | 18% | NEW BIN CODE ALLOTED
| v | Mounting GI structure for above isolator | Set | 7131931095 | 11659.35 | 12055.7679 | 2170.0382 | 14225.8061 | 18% | NEW BIN CODE ALLOTED
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. | 7131940871 | 39178.05 | 39569.8305 | 7122.5695 | 46692.4 | 18% | NEW BIN CODE ALLOTED
| vii | GI Structure for complete Equipment | Kgs. | 7130850198 | 67.41 | 69.7019 | 12.5463 | 82.2483 | 18% | NEW BIN CODE ALLOTED
98 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 3789.54 | 4365.5501 | 785.799 | 5151.3491 | 18%
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 4781.48 | 5508.265 | 991.4877 | 6499.7527 | 18%
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 10844.39 | 12492.7373 | 2248.6927 | 14741.43 | 18%
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 11360.79 | 13087.6301 | 2355.7734 | 15443.4035 | 18%
100 |  | GSM Modem | Nos. | 7131961526 | 3133 | 3133 | 563.94 | 3696.94 | 18%
101 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 1.78 | 1.8387 | 0.33097 | 2.1697 | 18%
| 2 | 16 Sq mm | Nos. | 7130354275 | 1.78 | 1.8387 | 0.33097 | 2.1697 | 18%
| 3 | 25 Sq mm | Nos. | 7130354276 | 3.56 | 3.6775 | 0.66195 | 4.3394 | 18%
| 4 | 32 Sq mm | Nos. | 7130354277 | 4.45 | 4.5968 | 0.82743 | 5.4243 | 18%
| 5 | 50 Sq mm | Nos. | 7130354278 | 7.13 | 7.3653 | 1.3258 | 8.691 | 18%
| 6 | 70 Sq mm | Nos. | 7130354279 | 10.69 | 11.0428 | 1.9877 | 13.0305 | 18%
| 7 | 95 Sq mm | Nos. | 7130354280 | 13.36 | 13.8009 | 2.4842 | 16.285 | 18%
| 8 | 120 Sq mm | Nos. | 7130354281 | 18.71 | 19.3274 | 3.4789 | 22.8064 | 18%
| 9 | 150 Sq mm | Nos. | 7130354282 | 21.38 | 22.0855 | 3.9754 | 26.0609 | 18%
| 10 | 185 Sq mm | Nos. | 7130354283 | 33.85 | 34.9671 | 6.2941 | 41.2611 | 18%
| 11 | 225 Sq mm | Nos. | 7130354284 | 38.3 | 39.5639 | 7.1215 | 46.6854 | 18%
| 12 | 240 Sq mm | Nos. | 7130354285 | 55.23 | 57.0526 | 10.2695 | 67.3221 | 18%
| 13 | 300 Sq mm | Nos. | 7130354286 | 65.03 | 67.176 | 12.0917 | 79.2677 | 18%
| 14 | 400 Sq mm | Nos. | 7130354287 | 83.74 | 86.5034 | 15.5706 | 102.074 | 18%
106 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 6.36 | 6.3218 | 1.1379 | 7.4598 | 18%
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 10.9 | 10.8346 | 1.9502 | 12.7848 | 18%
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 11.81 | 11.7391 | 2.113 | 13.8522 | 18%
107 |  | T.C. FUSE WIRE :-
| viii | 8 SWG | Kg | 7131900974 | 489.19 | 489.19 | 88.0542 | 577.2442 | 18%
108 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 76.15 | 79.5768 | 14.3238 | 93.9006 | 18%
109 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 57.55 | 60.1397 | 10.8252 | 70.9649 | 18%
110 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 3536.99 | 3657.2477 | 658.3046 | 4315.5522 | 18%
111 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end . | No | 7130642039 | 695.9 | 719.5606 | 129.5209 | 849.0815 | 18%
112 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 7130890973 | 49.96 | 49.96 | 8.9928 | 58.9528 | 18%
113 |  | Cable Cutter | No. | 7132011171 | 417.83 | 417.83 | 75.2094 | 493.0394 | 18%
114 |  | Load Break Switches
| i | Load break switches only without panel | Unit |  | 35912.85 | 35912.85 | 6464.313 | 42377.163 | 18%
| ii | Load break switches with panel | Unit |  | 78283.22 | 78283.22 | 14090.9796 | 92374.1996 | 18%
| iii | 3 Way Load break switch | Unit |  | 253254.9 | 253254.9 | 45585.882 | 298840.782 | 18%
117 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type]
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 644403.49 | 644403.49 | 115992.6282 | 760396.1182 | 18%
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 915355.12 | 915355.12 | 164763.9216 | 1080119.0416 | 18%
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1181480.61 | 1181480.61 | 212666.5098 | 1394147.1198 | 18%
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 1447606.1 | 1447606.1 | 260569.098 | 1708175.198 | 18%
| v | 1OD for RMU | Unit | 7131941767 | 231869.28 | 231869.28 | 41736.4704 | 273605.7504 | 18%
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 270951.63 | 270951.63 | 48771.2934 | 319722.9234 | 18%
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 195844.78 | 195844.78 | 35252.0604 | 231096.8404 | 18%
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 362142.88 | 362142.88 | 65185.7184 | 427328.5984 | 18%
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 439379.05 | 439379.05 | 79088.229 | 518467.279 | 18%
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 700146.75 | 700146.75 | 126026.415 | 826173.165 | 18%
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1107263.44 | 1107263.44 | 199307.4192 | 1306570.8592 | 18%
118 |  | 33 kV XLPE UG Cable
| i | Straight through heat shrinkable cable jointing kit with lugs for 3 core 120-240 sq mm XLPE cable | Set |  |  | 48390.8 | 8710.344 | 57101.144 | 18%
| ii | Straight through heat shrinkable cable jointing kit with lugs for 3 core 300-400 sq mm XLPE cable | No |  |  | 54189.2 | 9754.056 | 63943.256 | 18%
Note on F21: Author: Figure reported by ED(S&P) is Rs 32561.65
Note on G21: Author: (PROCURED IN THE YEAR 2016-17) by S&P
Note on C33: Author: NEW ITEM INTRODUCED
Note on E58: Author: Bin Code changed. Earlier Bin Code was- 7130820011
Note on C59: Author: Earlier name - Post Insulator
Note on E111: Author: Earlier Bin Code was- 7130310660
Note on C119: Author: NEW ITEM INTRODUCED
Note on E183: Author: NEW BIN CODE ALLOTED
Note on E184: Author: NEW BIN CODE ALLOTED
Note on E268: Author: NEW BIN CODE ALLOTED
Note on E286: Author: New Bin Code alloted
Note on E287: Author: New Bin Code alloted
Note on E290: Author: New Bin Code alloted
Note on E292: Author: New Bin Code alloted
Note on E294: Author: New Bin Code alloted
Note on C318: Author: Earlier named as- Locally fabricated - 3 Phase fuse units (Robust fuse for circuit base).
Note on E318: Author: Earlier Bin Code - 7131900005
Note on E324: Author: NEW BIN CODE ALLOTED
Note on E341: Author: NEW BIN CODE ALLOTED
Note on E344: Author: NEW BIN CODE ALLOTED
Note on E345: Author: NEW BIN CODE ALLOTED
Note on E347: Author: NEW BIN CODE ALLOTED
Note on E348: Author: NEW BIN CODE ALLOTED
Note on E349: Author: NEW BIN CODE ALLOTED
Note on E350: Author: NEW BIN CODE ALLOTED
Note on E382: Author: NEW BIN CODE ALLOTED
Note on E383: Author: NEW BIN CODE ALLOTED

## ANNEXURE-3
LIST OF MISCELLANEOUS ITEMS FOR SoR OF 2018-19
Annexure-3
Amt. in Rs.
Sl. No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Ex-Works Rate + Freight charges in Revised SoR 2017-18 | Rate for 2018-19 |  |  | GST %
[6 empty] | New Ex-works Rate including Freight charges | Amount of GST | Total rate including GST for purpose of estima tion and for drawal from Area store
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
10 |  | PCC POLES : -
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 1560 | 2255.2 |  | 2255.2
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800033 | 1674.29 | 2552.95 |  | 2552.95
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 2063.81 | 3046.2 |  | 3046.2
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 2812.38 | 4402.65 |  | 4402.65
| v | 350 Kg; 7.0 Mtr long | Each | 7130800672 | & | & | & | & | &
| vi | 365 Kg; 11 Mtr long | Each | 7130800002 | 4241.9 | 7605.2 |  | 7605.2
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 3781.9 | 4326.52 | 778.7736 | 5105.2936 | 18%
| ii | 1:3:6 Ratio | Cmt | 7130200202 | 2963.81 | 3462.14 | 623.1852 | 4085.3252 | 18%
30 |  | G.I. Spring Washer | Kg | 7130622922 | 122.18 | 126.3341 | 22.7401 | 149.0743 | 18%
31 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 176.39 | 182.3873 | 32.8297 | 215.217 | 18%
32 |  | G.I.Strip 25x3 mm | Kg | 7130870040 | 70.42 | 72.8143 | 13.1066 | 85.9209 | 18% | NEW BIN CODE ALLOTED
33 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 68.7 | 76.0509 | 13.6892 | 89.7401 | 18%
34 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 1789.38 | 1850.2189 | 333.0394 | 2183.2583 | 18%
35 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 648.12 | 640.3426 | 115.2617 | 755.6042 | 18%
| ii | 63 Amps. | Each | 7131920254 | 1556.27 | 1537.5948 | 276.7671 | 1814.3618 | 18%
| iii | 100 Amps. | Each | 7131920256 | 3010.32 | 2974.1962 | 535.3553 | 3509.5515 | 18%
| iv | 200 Amps. | Each | 7131920258 | 4226.16 | 4175.4461 | 751.5803 | 4927.0264 | 18%
| v | 300 Amps. | Each | 7131920259 | 5733.8 | 5664.9944 | 1019.699 | 6684.6934 | 18%
| vi | 400 Amps. | Each | 7131920260 | 8660.74 | 8556.8111 | 1540.226 | 10097.0371 | 18%
36 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 7131910655 | 25.16 | 21.5068 | 3.8712 | 25.378 | 18%
| ii | 32 Amps. | Each | 7131910653 | 44.03 | 37.6368 | 6.7746 | 44.4115 | 18%
| iii | 63 Amps. | Each | 7131910654 | 87.01 | 74.3761 | 13.3877 | 87.7639 | 18%
37 |  | Red Oxide Paint | Ltr. | 7130211158 | 127.31 | 124.3819 | 22.3887 | 146.7706 | 18%
38 |  | Aluminium Paint | Ltr. | 7130210809 | 284.46 | 277.9174 | 50.0251 | 327.9426 | 18%
52 |  | LAMPS : -
| i | CFL 7 Watts | Each | 7131210852 | 93.83 | DELETE |  | DELETE | 18%
| ii | CFL 11 Watts | Each | 7131280882 | 93.83 | DELETE |  | DELETE | 18%
| iii | CFL 15 Watts | Each | 7131280006 | 99.64 | DELETE |  | DELETE | 18%
| iv | CFL 20 Watts | Each | 7131280007 | 130.59 | DELETE |  | DELETE | 18%
| v | CFL 23 Watts | Each | 7131280008 | 167.35 | DELETE |  | DELETE | 18%
| vi | 125 Watt Mercury Vapour | Each | 7131280009 | 154.78 | DELETE |  | DELETE | 18%
| vii | 250 Watt Mercury Vapour | Each | 7131230116 | 356.95 | DELETE |  | DELETE | 18%
| viii | 250 Watt Metal Halide | Each | 7131210881 | 1214.99 | DELETE |  | DELETE | 18%
| ix | 250 Watt Sodium Vapour | Each | 7131230003 | 452.72 | DELETE |  | DELETE | 18%
53 |  | Halogen Filament (1000 Watts) | Each | 7131280010 | 95.77 | DELETE |  | DELETE | 18%
54 |  | Tube Light Rod (T5 type) | Each | 7131220182 | 50.3 | DELETE |  | DELETE | 18%
55 | a | Search Light Unit with 1000 Watt Halogen Lamp. | Each | 7131280011 | 6268.42 | DELETE |  | DELETE | 18%
| b | Street Light fitting with tube light | Each | 7131280012 | 626.84 | DELETE |  | DELETE | 18%
| c | Street Light fitting with CFL | Each | 7131280013 | 2620.55 | DELETE |  | DELETE | 18%
| d | HPSV lamp 150 watt | Each | 7131280014 | 313.42 | DELETE |  | DELETE | 18%
| e | HPSV Choke 150 watt | Each |  | 835.79 | DELETE |  | DELETE | 18%
| f | HPSV Choke 250 watt | Each | 7131280015 | 1305.92 | DELETE |  | DELETE | 18%
| g | 150 Watt metal halide fitting / HPSV fitting | Each | 7131280016 | 2988.14 | DELETE |  | DELETE | 18%
| h | 250 Watt metal halide fitting / HPSV fitting | Each | 7131280017 | 3734.93 | DELETE |  | DELETE | 18%
| i | Mercury vapour lamp for Gate lighting 2 Nos | Each | 7131230128 | 1896 | DELETE |  | DELETE | 18%
56 | A | LED LAMPS
| i | LED 7 Watt lamp with holder | Each | 7131210010 | 209.52 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| ii | LED 9 Watt lamp (without holder) | Each | 7131210011 | 61.9 | 62.5 | 7.5 | 70 | 12% | NEW BIN CODE ALLOTED
| iii | LED 12 Watt lamp with holder | Each | 7131210018 | 285.71 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| iv | LED 14 Watt lamp with holder | Each | 7131210019 | 333.33 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| v | LED 15 Watt lamp with holder | Each | 7131210020 | 342.86 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| vi | LED Tube Light, 20 Watt |  |  |  | 196.44 | 23.5728 | 220.0128 | 12%
| B | LED LAMPS WITH COMPLETE FITTING
| i | LED Lamps with COMPLETE FITTING - 15 W | Nos. | 7131210021 | 3666.67 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| ii | LED LAMPS WITH COMPLETE FITTING - 20 W | Nos. | 7131210022 | 4047.62 | DELETE |  | DELETE |  | NEW BIN CODE ALLOTED
| iii | LED LAMPS WITH COMPLETE FITTING-24 W | Nos. | 7131210023 | 2780.95 | DELETE |  | DELETE
| iv | LED LAMPS WITH COMPLETE FITTING-48 W | Nos. | 7131210024 | 3371.43 | DELETE |  | DELETE
| v | LED LAMPS WITH COMPLETE FITTING-60 W | Nos. | 7131210025 | 3780.95 | DELETE |  | DELETE
| vi | 18 W LED Street Light complete set | Set |  |  | 2022 | 242.64 | 2264.64 | 12%
| vii | 35 W LED Street Light complete set | Set |  |  | 2612 | 313.44 | 2925.44 | 12%
| viii | 70 W LED Street Light complete set | Set |  |  | 3695 | 443.4 | 4138.4 | 12%
| ix | 110 W LED Street Light complete set | Set |  |  | 5021.5 | 602.58 | 5624.08 | 12%
| x | 190 W LED Street Light complete set | Set |  |  | 8856 | 1062.72 | 9918.72 | 12%
| xi | 190 W LED Flood Light complete set | Set |  |  | 8592 | 1031.04 | 9623.04 | 12%
| xii | 110 W LED Flood Light complete set | Set |  |  | 5738 | 688.56 | 6426.56 | 12%
57 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 23.91 | 24.699 | 4.4458 | 29.1449 | 18%
| ii | Raccoon Conductor. | Each | 7130830050 | 29.65 | 30.6284 | 5.5131 | 36.1416 | 18%
| iii | Dog Conductor. | Each | 7130830051 | 115.73 | 119.5491 | 21.5188 | 141.0679 | 18%
| iv | Panther Conductor. | Each | 7130830971 | 178.86 | 184.7624 | 33.2572 | 218.0196 | 18%
58 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 175.03 | 180.806 | 32.5451 | 213.3511 | 18%
| ii | Dog Conductor. | Each | 7130830585 | 219.03 | 226.258 | 40.7264 | 266.9844 | 18%
| iii | Panther Conductor. | Each | 7130830586 | 256.33 | 264.7889 | 47.662 | 312.4509 | 18%
59 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 520.64 | 551.3578 | 99.2444 | 650.6022 | 18%
| ii | VCB | Each | 7130830054 | 304.05 | 321.9889 | 57.958 | 379.947 | 18%
| iii | CT-PT Unit | Each | 7130830056 | 304.05 | 321.9889 | 57.958 | 379.947 | 18%
| iv | Distribution Transformer (HT) | Each | 7130830058 | 154.57 | 163.6896 | 29.4641 | 193.1538 | 18%
| v | Distribution Transformer (LT) | Each | 7130830603 | 226.76 | 240.1388 | 43.225 | 283.3638 | 18%
60 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 127.53 | 131.7385 | 23.7129 | 155.4514 | 18%
61 |  | Aluminium bobbin. | Each | 7130820201 | 29.21 | 30.1739 | 5.4313 | 35.6052 | 18%
94 |  | STEEL TUBULAR POLES CONFORMING TO IS : 2713 (Part-ll), 1980 WITH "ISI" CERTIFICATION MARK :-
| i | 410-SP-60, 12 Mtrs. Long. | Each | 7130800068 | 9954.33 | DELETE |  | DELETE | 18%
| ii | 410-SP-29, 9 Mtrs. Long. | Each | 7130800014 | 5940.71 | DELETE |  | DELETE | 18%
96 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 4.96 | 4.96 | 0.8928 | 5.8528 | 18%
97 |  | Numerical Poly Carbonate seals | No | 7132444005 | 7.62 | 7.62 | 1.3716 | 8.9916 | 18%
99 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 48.57 | 48.57 | 8.7426 | 57.3126 | 18%
102 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 205.71 | 205.71 | 37.0278 | 242.7378 | 18%
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 2571.43 | 2571.43 | 462.8574 | 3034.2874 | 18%
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 456.48 | 452.8282 | 81.5091 | 534.3372 | 18%
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 406.99 | 406.99 | 73.2582 | 480.2482 | 18%
| 5 | Portable drilling machine | Nos. | 7132014014 | 2571.43 | 2571.43 | 462.8574 | 3034.2874 | 18%
| 6 | Megger 500 V | Nos. | 7131324780 | 3085.71 | 3085.71 | 555.4278 | 3641.1378 | 18%
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 4650.64 | 4650.64 | 837.1152 | 5487.7552 | 18%
| 8 | Silica gel | Kg | 7132438002 | 154.86 | 154.86 | 27.8748 | 182.7348 | 18%
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 850.18 | 850.18 | 153.0324 | 1003.2124 | 18%
| 10 | Panel lndication lamps | Nos. | 7131210001 | 101.3 | 101.3 | 18.234 | 119.534 | 18%
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15,16x17, 18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1361.94 | 1361.94 | 245.1492 | 1607.0892 | 18%
| 12 | Tube Spanners | Set. | 7132074033 | 562.84 | 562.84 | 101.3112 | 664.1512 | 18%
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1034.29 | 1034.29 | 186.1722 | 1220.4622 | 18%
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 567.62 | 567.62 | 102.1716 | 669.7916 | 18%
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15,16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 644.24 | 644.24 | 115.9632 | 760.2032 | 18%
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 113.33 | 113.33 | 20.3994 | 133.7294 | 18%
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 508.42 | 508.42 | 91.5156 | 599.9356 | 18%
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 333.33 | 333.33 | 59.9994 | 393.3294 | 18%
| 19 | Rechargeable LED Hand Torch | Nos. |  | 648.57 | 648.57 | 116.7426 | 765.3126 | 18%
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 194.56 | 194.56 | 35.0208 | 229.5808 | 18%
| 21 | Discharge Rod | Nos. | 7132013331 | 404.76 | 404.76 | 72.8568 | 477.6168 | 18%
| 22 | Neon tester | Nos. | 7131338025 | 48.64 | 48.64 | 8.7552 | 57.3952 | 18%
| 23 | Screw driver Set | Nos. | 7132072522 | 707.77 | DELETE |  | DELETE
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 62.54 | 62.54 | 11.2572 | 73.7972 | 18%
| 25 | Screw driver 200 mm | Nos. | 7132072007 | 58.57 | 58.57 | 10.5426 | 69.1126 | 18%
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 54.6 | 54.6 | 9.828 | 64.428 | 18%
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 941.9 | 941.9 | 169.542 | 1111.442 | 18%
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 291.43 | 291.43 | 52.4574 | 343.8874 | 18%
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 175.7 | 175.7 | 31.626 | 207.326 | 18%
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 417.91 | 417.91 | 75.2238 | 493.1338 | 18%
| 31 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1240.83 | 1240.83 | 223.3494 | 1464.1794 | 18%
| 32 | Transformer Oil Dielectric Breakdown testkit | Nos. | 7131338004 | 61560 | 61560 |  |  | As applicable
| 33 | Tong tester Digital (1000 A, 500 V) with associated accessories | Nos. | 7132478004 | 1286.5 | 1286.5 | 231.57 | 1518.07 | 18%
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 617.14 | 617.14 | 111.0852 | 728.2252 | 18%
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 169.52 | 169.52 |  |  | As applicable
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 113.33 | 113.33 | 20.3994 | 133.7294 | 18%
| 37 | Earth resistance tester (20/200/2000 Ω) Digital | Nos. | 7131321603 | 3752.28 | 3752.28 |  |  | As applicable
| 38 | Rain Coats with Hoods | Nos. | 7132427634 | 734.29 | 734.29
| 39 | Gum Boots | Nos. | 7132427635 | 494.35 | 494.35 |  |  | As applicable
| 40 | Files of sizes | Set | 7132475019 | 294.82 | 294.82 | 53.0676 | 347.8876 | 18%
| 41 | Safety belts | Nos. | 7132404015 | 523.14 | 523.14 | 94.1652 | 617.3052 | 18%
| 42 | Safety helmets | Nos. | 7132404016 | 118.3 | 118.3 | 21.294 | 139.594 | 18%
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 4399.5 | 4399.5 | 791.91 | 5191.41 | 18%
| 44 | Fire fighting equipments (CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 4919.66 | 4919.66 | 885.5388 | 5805.1988 | 18%
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 3706.09 | 3917.3371 | 705.1207 | 4622.4578 | 18%
103 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | 971.82 | 971.82 | 174.9276 | 1146.7476 | 18%
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 353.39 | 353.39 | 63.6102 | 417.0002 | 18%
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 884.47 | 914.542 | 164.6176 | 1079.1595 | 18%
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 766.34 | 792.3956 | 142.6312 | 935.0268 | 18%
| 5 | G.I. bend 40 mm | Each | 7130640171 | 85.37 | 88.2726 | 15.8891 | 104.1616 | 18%
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 3066.35 | 3066.35 | 551.943 | 3618.293 | 18%
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt | 7130640030 | 3066.67 | 3066.67 | 552.0006 | 3618.6706 | 18% | NEW BIN CODE ALLOTED
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No |  | 471.43 | 571.8446 | 102.932 | 674.7766 | 18%
| 9 | RCC Pipe Type NP-3 (2.5 mtr long) on first class bedding
|  | 600 mm | Each | 7130640031 | 3672.87 | 2217.7966 | 399.2034 | 2617 | 18% | Earler Bin Code-7130640030
|  | 900 mm | Each | 7130640036 | 7296.1 | 4264.4068 | 767.5932 | 5032 | 18%
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640038 | 850.83 | 878.0566 | 158.0502 | 1036.1067 | 18% | Earler Bin Code-7130640037
| (ii) | M.S.Pipe 200 mm dia with collars | RM(medium) | 7130640037 | 1089.48 | 1124.3434 | 202.3818 | 1326.7252 | 18% | NEW BIN CODE ALLOTED
| 11 | River sand | Cmt | 7132498006 | 628.57 | 860 | 43 | 903 | 5%
| 12 | Cement (in 50 kg bags) | Bags | 7130200401 | 228.57 | 188 | 52.64 | 240.64 | 28%
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 149.89 | 149.89 | 26.9802 | 176.8702 | 18%
| 14 | Cable covering tiles 250x250x40 mm | Each | 7130201343 | 31.3981 | 27.9661 | 5.0339 | 33 | 18%
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132475019 | 124.76 | 124.76 |  |  | As applicable
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 14.29 | 14.29 |  |  | As applicable
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 212.77 | 212.77 | 38.2986 | 251.0686 | 18%
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 67.62 | 67.62 |  |  | As applicable
| 19 | Cotton Waste | Kg | 7132478012 | 61.9 | 61.9
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 9.52 | 9.52 | 1.7136 | 11.2336 | 18%
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side / SMC board | Nos. | 7132455002 | 260.95 | 260.95 | 46.971 | 307.921 | 18%
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 124.76 | 124.76 | 22.4568 | 147.2168 | 18%
| 23 | Monoplast | Kg | 7132490052 | 56.19 | 56.19 |  |  | As applicable
| 24 | Bitumen compound | Kg | 7132490053 | 85.71 | 85.71 | 15.4278 | 101.1378 | 18%
| 25 | Providing, Fabricating and fixing 8 SWG Chain link fencing (TATA Make) 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. T&D/DRG/MISC/2 Revision -2 | RM | 7130650001 | 1076.97 | 1716 | 308.88 | 2024.88 | 18% | Unit-earlier sq. mtr.
| 26 | Cable marker for U/G cable | No. | 7130880006 | 107.21 | 107.21 | 19.2978 | 126.5078 | 18%
104 |  | Earth spike | No. | 7130870010 | 648.21 | 648.21 | 116.6778 | 764.8878 | 18%
105 |  | Pad Connector (for Panther conductor) | No. | 7130880006 | 118.13 | 118.13 | 21.2634 | 139.3934 | 18%
115 |  | Meter Sealing Wire | Kg | 7131397216 | 159.05 | 159.05 | 28.629 | 187.679 | 18%
116 |  | CRIMPING TOOL
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7132010551 | 7495.24 | 7495.24 | 1349.1432 | 8844.3832 | 18%
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set |  | 9047.62 | 9047.62 | 1628.5716 | 10676.1916 | 18%
118 |  | 11 kV Fault Passage Indicator for Overhead Line | No. | 7131210840 | 14104.76 | 14104.76 |  |  | As applicable
119 |  | AC Distribution Board for AC/DC Supply | No | 7131920028 | 9243.81 | 9243.81 | 1663.8858 | 10907.6958 | 18% | NEW BIN CODE ALLOTED
120 |  | 33/11 kV S/S (Name Plate) Board | Job | 7132406800 | 6576.19 | 7976.9185 | 1435.8453 | 9412.7638 | 18%
121 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job | 7132486843 | 8945.71 | 8945.71 |  |  | As applicable
122 |  | RCC Block (with 6 mm MS Bar) | Each | 7130640008 | 150.27 | 158 |  | 158
123 |  | M.S.Strip 25x3 mm (0.6 kg/Mtr.) | Kg |  | 28.17 | 32.1701 | 5.7906 | 37.9608 | 18%
124 |  | SMC Meter Board 350x200x40 mm (minimum) thickness 2.5 mm | No. |  |  | 122.0044 | 21.9608 | 143.9651 | 18% | NEW ITEM INTRODUCED.
125 |  | SMC Board 200x150x40 mm (minimum) thickness 2.5 mm | No. |  |  | 95.8606 | 17.2549 | 113.1155 | 18%
126 |  | Piano type ISI mark 250V/5A switch. | No. |  |  | 8.7146 | 1.5686 | 10.2832 | 18% | NEW ITEM INTRODUCED.
127 |  | 250V/5A ISI mark 3 pin Socket | No. |  |  | 21.7865 | 3.9216 | 25.7081 | 18%
128 |  | 250V/5A ISI mark holder. | No. |  |  | 13.0719 | 2.3529 | 15.4248 | 18%
129 |  | Earthing terminal (having suitable size of 10 mm Dia GI bolt with 3 nos. nuts & washers) along with Staples/ Nut-Bolts/ Nails | No. |  |  | 43.573 | 7.8431 | 51.4161 | 18% | NEW ITEM INTRODUCED.
130 |  | Internal wiring using 1.5 sqmm copper multistrands PVC insulated ISI marked cable (Average cable length 6 Mtr.) | Mtr. |  |  | 5.9259 | 1.0667 | 6.9926 | 18% | NEW ITEM INTRODUCED.
131 |  | 25 mm Dia PVC pipe or equivalent for internal house wiring (3 Mtr) | Feet |  |  | 4.732 | 0.85176 | 5.5838 | 18%
132 |  | Bhatta brick | No. |  |  | 5 | 0.9 | 5.9 | 18%
Note on E19: Author: NEW BIN CODE ALLOTED
Note on E57: Author: NEW BIN CODE ALLOTED
Note on C58: Author: Earlier name was - LED 9 Watt lamp with holder
Note on E58: Author: NEW BIN CODE ALLOTED
Note on E59: Author: NEW BIN CODE ALLOTED
Note on E60: Author: NEW BIN CODE ALLOTED
Note on E61: Author: NEW BIN CODE ALLOTED
Note on E64: Author: NEW BIN CODE ALLOTED
Note on E65: Author: NEW BIN CODE ALLOTED
Note on E66: Author: NEW BIN CODE ALLOTED
Note on E67: Author: NEW BIN CODE ALLOTED
Note on E68: Author: NEW BIN CODE ALLOTED
Note on C109: Author: Earlier named as--Grounding Sticks (Earthing Rods)
Note on C120: Author: Earlier named as --Combination Plier
Note on C132: Author: Earlier named as - Transil oil Dielectric Breakdown testkit
Note on C133: Author: Earlier named as - Tong tester
Note on C137: Author: Earlier named as - Earth resistance tester (20/200/2000 Ω)
Note on C149: Author: Earlier named as--G.I. Pipe 200 mm for 400 mm cable of dia 105 mm
Note on E151: Author: NEW BIN CODE ALLOTED
Note on E153: Author: NEW BIN CODE ALLOTED
Note on C155: Author: Earlier name was- RCC Pipe Type NP-3 (2.5 mtr long)
Note on E156: Author: Earlier Bin Code- 7130640030
Note on E158: Author: Earlier Bin Code- 7130640037
Note on E159: Author: NEW BIN CODE ALLOTED
Note on D163: Author: Earlier Per 1000
Note on D174: Author: Earlier Sq.Mtr
Note on E178: Author: NEW BIN CODE ALLOTED
Note on E180: Author: NEW BIN CODE ALLOTED
Note on E182: Author: NEW BIN CODE ALLOTED
Note on E183: Author: NEW BIN CODE ALLOTED
Note on E184: Author: NEW BIN CODE ALLOTED
Note on E185: Author: NEW BIN CODE ALLOTED
Note on E186: Author: NEW BIN CODE ALLOTED