## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Dec'15
Period: |  | 1st Nov'15 to 30th Nov'15
Number of Towns: |  | 20
Total nos. of Feeders: |  | 698
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages(Nos.) | Duration of Outages(Mins)
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1216 | 8 | 68
2 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1038 | 1 | 8
3 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1829 | 1 | 2
4 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 537 | 9 | 214
5 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1327 | 1 | 6
6 | AMBIKAPUR TOWN | 11KV GEHRA GURU FEEDER | 463 | 3 | 109
7 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2281 | 4 | 19
8 | AMBIKAPUR TOWN | 11KV HAJIRMA FEEDER | 1474 | 4 | 21
9 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 951 | 3 | 22
10 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 42 | 1 | 12
11 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 921 | 1 | 5
12 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2162 | 2 | 6
13 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 435 | 4 | 18
14 | AMBIKAPUR TOWN | 11 KV DC Road | 1551 | 4 | 24
15 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 356 | 2 | 8
16 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1168 | 7 | 496
17 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 697 | 7 | 499
18 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1457 | 7 | 727
19 | BHATAPARA TOWN | Mayur School 11KV Feeder | 350 | 7 | 726
20 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 29 | 7 | 499
21 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 2782 | 11 | 576
22 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 56 | 38 | 585
23 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1725 | 7 | 252
24 | BILASPUR TOWN | 11KV DHUMA FEEDER | 353 | 26 | 898
25 | BILASPUR TOWN | 11KV HARDI FEEDER | 24 | 25 | 891
26 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1858 | 12 | 581
27 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 84 | 21 | 664
28 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 57 | 17 | 365
29 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 3006 | 5 | 243
30 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 190 | 16 | 359
31 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 950 | 6 | 247
32 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2322 | 15 | 773
33 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 1783 | 8 | 212
34 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 203 | 9 | 457
35 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 2913 | 9 | 548
36 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3274 | 13 | 761
37 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 170 | 15 | 620
38 | CHAMPA TOWN | 11KV HATHNEWRA FEEDER | 1 | 15 | 621
39 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 336 | 19 | 727
40 | CHAMPA TOWN | 11KV KOTA DABARI FEEDER | 1475 | 17 | 633
41 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2864 | 18 | 724
42 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 914 | 19 | 725
43 | CHAMPA TOWN | 11 KV RAILWAY FEEDER | 88 | 12 | 212
44 | CHIRMIRI TOWN | 11KV BADA BAZAAR FEEDER | 4334 | 1 | 8
45 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1761 | 5 | 280
46 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5692 | 18 | 692
47 | DALLI RAJHARA TOWN | 11KV TOWN 2 FEEDER | 1379 | 7 | 56
48 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 150 | 10 | 986
49 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3765 | 1 | 5
50 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 963 | 57 | 3045
51 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2649 | 10 | 623
52 | DHAMTARI TOWN | 11 KV CHITOD 1 | 43 | 8 | 243
53 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 3911 | 8 | 390
54 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1636 | 2 | 271
55 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3346 | 2 | 269
56 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 524 | 6 | 400
57 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 17 | 2 | 22
58 | DURG BHILAI CHARODA TOWN | 11KV BAIKUND DHAM FEEDER | 2001 | 7 | 187
59 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 3782 | 2 | 20
60 | DURG BHILAI CHARODA TOWN | 11KV BALAJI NAGAR FEEDER | 1084 | 10 | 88
61 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3437 | 2 | 24
62 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 169 | 3 | 25
63 | DURG BHILAI CHARODA TOWN | 11KV CHAUHAN FEEDER | 770 | 5 | 26
64 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2856 | 6 | 178
65 | DURG BHILAI CHARODA TOWN | 11KV DHACHA BHAVAN FEEDER | 1488 | 7 | 167
66 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 722 | 2 | 21
67 | DURG BHILAI CHARODA TOWN | 11KV GOKUL DHAM FEEDER | 2258 | 9 | 177
68 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-1 FEEDER | 1585 | 7 | 446
69 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-2 FEEDER | 1127 | 5 | 478
70 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-3 FEEDER | 706 | 4 | 504
71 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-4 FEEDER | 721 | 5 | 479
72 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 2053 | 4 | 61
73 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1729 | 5 | 69
74 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1610 | 5 | 81
75 | DURG BHILAI CHARODA TOWN | 11KV KALI BADI FEEDER | 2515 | 9 | 179
76 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 790 | 8 | 93
77 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3 | 8 | 406
78 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 1726 | 2 | 230
79 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 458 | 7 | 446
80 | DURG BHILAI CHARODA TOWN | 11KV MANSAROVAR FEEDER | 14 | 10 | 290
81 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 4778 | 6 | 73
82 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 394 | 2 | 22
83 | DURG BHILAI CHARODA TOWN | 11KV PETROL PUMP FEEDER | 1164 | 2 | 118
84 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 758 | 3 | 562
85 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 3346 | 2 | 22033
86 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3545 | 7 | 154
87 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 5149 | 3 | 57
88 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2065 | 2 | 230
89 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 743 | 5 | 81
90 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2788 | 7 | 148
91 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 61 | 7 | 91
92 | DURG BHILAI CHARODA TOWN | 11KV ASHISH SUPELA FEEDER | 2663 | 10 | 251
93 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1797 | 10 | 183
94 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 740 | 5 | 26
95 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 512 | 5 | 81
96 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1154 | 2 | 11
97 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 2228 | 3 | 563
98 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 365 | 9 | 288
99 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 597 | 3 | 238
100 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1840 | 6 | 72
101 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 193 | 8 | 91
102 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1856 | 7 | 75
103 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 550 | 1 | 6
104 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1398 | 1 | 6
105 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 214 | 3 | 53
106 | JAGDALPUR TOWN | 11KV KUMHRAWAND FEEDER | 191 | 3 | 53
107 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 284 | 1 | 7
108 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 1965 | 2 | 51
109 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 1464 | 1 | 80
110 | KANKER TOWN | 11KV KESHKAL FEEDER | 8 | 1 | 81
111 | KANKER TOWN | 11KV BARDEBHATA FEEDER | 1558 | 2 | 51
112 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3094 | 2 | 51
113 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 2879 | 6 | 349
114 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDER | 3396 | 6 | 103
115 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2745 | 10 | 400
116 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 2786 | 11 | 137
117 | KAWARDHA TOWN | 11KV TRANSPORT NAGAR FEEDER | 942 | 15 | 277
118 | KORBA TOWN | 11KV ABC FEEDER | 1432 | 26 | 540
119 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 193 | 32 | 504
120 | KORBA TOWN | 11KV BHANDRAPARA FEEDER | 1401 | 23 | 375
121 | KORBA TOWN | 11KV COLONY FEEDER | 2137 | 13 | 441
122 | KORBA TOWN | 11KV DARRI FEEDER | 318 | 23 | 385
123 | KORBA TOWN | 11KV DEFR FEEDER | 1648 | 4 | 50
124 | KORBA TOWN | 11KV DARRI-1 FEEDER | 387 | 26 | 329
125 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 642 | 5 | 70
126 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 215 | 31 | 761
127 | KORBA TOWN | 11KV KORBA-2 FEEDER | 2242 | 13 | 442
128 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1036 | 29 | 1420
129 | KORBA TOWN | 11KV POWER CITY FEEDER | 1419 | 19 | 237
130 | KORBA TOWN | 11KV SARMANGLA FEEDER | 536 | 22 | 1085
131 | KORBA TOWN | 11KV DONDRO FEEDER | 38 | 1 | 69
132 | KORBA TOWN | 11KV BULGI FEEDER | 1175 | 14 | 290
133 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 19 | 1 | 14
134 | MAHASAMUND TOWN | 11KV TOWN-1 FEEDER | 2056 | 1 | 15
135 | MAHASAMUND TOWN | 11KV TOWN-2 FEEDER | 4227 | 1 | 14
136 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 1847 | 1 | 14
137 | MANENDRAGARH TOWN | 11KV HASDEO FEEDER | 154 | 11 | 202
138 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 634 | 11 | 192
139 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 4786 | 9 | 191
140 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2467 | 14 | 248
141 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1092 | 14 | 246
142 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 267 | 14 | 246
143 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 44 | 14 | 326
144 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK (JANJGIR) FEEDER | 1404 | 3 | 421
145 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER | 254 | 17 | 441
146 | NAILA JANJGIR TOWN | 11KV COLONY (HOUSING BOARD) FEEDER | 42 | 19 | 576
147 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 4 | 14 | 629
148 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2254 | 5 | 121
149 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 2790 | 9 | 174
150 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1066 | 6 | 212
151 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 875 | 1 | 7
152 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1728 | 7 | 205
153 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 179 | 5 | 65
154 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 834 | 4 | 170
155 | RAIGARH TOWN | 11KVPARK CITY FEEDER | 852 | 15 | 1006
156 | RAIGARH TOWN | 11KV PAKKIKHOLI FEEDER | 908 | 3 | 164
157 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1072 | 7 | 985
158 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 1 | 3 | 308
159 | RAIGARH TOWN | 11KV Savitri Nagar Feeder | 659 | 6 | 166
160 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 241 | 3 | 27
161 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 54 | 6 | 265
162 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 312 | 1 | 12
163 | RAIPUR TOWN | 11KV AAMAPARA FEEDER | 1791 | 3 | 242
164 | RAIPUR TOWN | 11KV ASHOKA RATAN II FEEDER | 1064 | 4 | 54
165 | RAIPUR TOWN | 11KV ATARI FEEDER | 258 | 5 | 68
166 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 249 | 1 | 10
167 | RAIPUR TOWN | 11KV BUBHAPARA FEEDER | 485 | 2 | 18
168 | RAIPUR TOWN | 11KV BASTAL FEEDER | 785 | 7 | 215
169 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 2051 | 3 | 24
170 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 588 | 3 | 28
171 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 23 | 6 | 104
172 | RAIPUR TOWN | 11KV COLONY FEEDER | 126 | 2 | 200
173 | RAIPUR TOWN | 11KV DESHBANDHU FEEDER | 375 | 3 | 242
174 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 418 | 3 | 160
175 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 75 | 3 | 231
176 | RAIPUR TOWN | 11KV GOLDAN HOME FEEDER | 886 | 1 | 14
177 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2282 | 3 | 302
178 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1258 | 1 | 9
179 | RAIPUR TOWN | 11KV HOSPITAL FEEDER | 1590 | 2 | 14
180 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 494 | 2 | 185
181 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 114 | 4 | 49
182 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 1006 | 1 | 6
183 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 2171 | 2 | 11
184 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 1365 | 9 | 309
185 | RAIPUR TOWN | 11KV KALIBADI FEEDER | 1846 | 4 | 365
186 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 3696 | 3 | 67
187 | RAIPUR TOWN | 11KV KAPDA MARKET FEEDER | 1569 | 5 | 220
188 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 460 | 4 | 38
189 | RAIPUR TOWN | 11KV CITY KOTWALI FEEDER | 1 | 4 | 38
190 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1538 | 1 | 5
191 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 271 | 2 | 185
192 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2508 | 3 | 67
193 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 458 | 3 | 160
194 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 759 | 3 | 161
195 | RAIPUR TOWN | 11KV MOVA FEEDER | 579 | 4 | 34
196 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3285 | 5 | 43
197 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 728 | 2 | 14
198 | RAIPUR TOWN | 11KV NAGORA FEEDER | 1394 | 3 | 222
199 | RAIPUR TOWN | 11KV NIT FEEDER FEEDER | 2 | 2 | 18
200 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 883 | 4 | 26
201 | RAIPUR TOWN | 11KV PANDARI FEEDER | 3204 | 1 | 5
202 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 2485 | 2 | 200
203 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 1 | 3 | 52
204 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 2699 | 4 | 48
205 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2819 | 5 | 219
206 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 589 | 2 | 185
207 | RAIPUR TOWN | 11KV RULAR FEEDER | 122 | 6 | 105
208 | RAIPUR TOWN | 11KV SAMTA FEEDER | 1012 | 3 | 224
209 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 554 | 2 | 200
210 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 1 | 2 | 185
211 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2501 | 2 | 235
212 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 3201 | 4 | 41
213 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 196 | 4 | 35
214 | RAIPUR TOWN | 11KV SMT FEEDER | 653 | 3 | 15
215 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1661 | 2 | 335
216 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 2096 | 1 | 5
217 | RAIPUR TOWN | 11KV SPM FEEDER | 933 | 3 | 15
218 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 1901 | 4 | 365
219 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2152 | 10 | 159
220 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1674 | 3 | 391
221 | RAIPUR TOWN | 11KV TELIBANDHA FEEDER | 1104 | 4 | 32
222 | RAIPUR TOWN | 11KV TV FEEDER | 2670 | 6 | 47
223 | RAIPUR TOWN | 11KV UNIVERCITY FEEDER | 1808 | 3 | 340
224 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 1889 | 2 | 293
225 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 448 | 1 | 14
226 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 8 | 3 | 161
227 | RAIPUR TOWN | 11KV VISHAL NAGAR FEEDER | 423 | 1 | 9
228 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 386 | 9 | 78
229 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1424 | 1 | 14
230 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 41 | 1 | 19
231 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 33 | 1 | 18
232 | RAIPUR TOWN | 11KV WALLFORT III FEEDER | 861 | 5 | 219
233 | RAIPUR TOWN | 11KV Chandadih Feeder | 2 | 16 | 155
234 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 681 | 14 | 711
235 | RAJNANDGAON TOWN | 11KV COLLECTORED FEEDER | 1732 | 5 | 128
236 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 1956 | 5 | 460
237 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 17 | 4 | 27
238 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 1748 | 3 | 21
239 | RAJNANDGAON TOWN | 11 KV HALDI FEEDER | 55 | 17 | 335
240 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 1584 | 2 | 15
241 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2419 | 3 | 21
242 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 766 | 4 | 78
243 | RAJNANDGAON TOWN | 11 KV KANHARPURI FEEDER | 129 | 4 | 78
244 | RAJNANDGAON TOWN | 11KV LAL BAG FEEDER | 1356 | 7 | 181
245 | RAJNANDGAON TOWN | 11 KV MOHARA FEEDER | 11 | 17 | 333
246 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 194 | 16 | 330
247 | RAJNANDGAON TOWN | 11KV PST FEEDER | 964 | 3 | 21
248 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 454 | 3 | 22
249 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 686 | 2 | 15
250 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 914 | 3 | 20
251 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 1897 | 4 | 77
252 | RAJNANDGAON TOWN | 11 KV Mothipur Feeder | 1837 | 6 | 372