## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Feb'16
Period: |  | 1st Jan'17 to 31th Jan'17
Number of Towns: |  | 20
Total nos. of Feeders: |  | 460
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.)
1 | AMBIKAPUR | 11KV BABUPARA SUBSTAION FEEDER | 1252 | 1 | 6300
2 | AMBIKAPUR | 11KV DARRIPARA SUBSATION FEEDER | 337 | 1 | 6300
3 | AMBIKAPUR | 11KV DC ROAD | 1549 | 0 | 0
4 | AMBIKAPUR | 11KV SHIKARI ROAD | 1686 | 0 | 0
5 | AMBIKAPUR | 11KV GANGAPARA SUBSTATION FEEDER | 445 | 2 | 6480
6 | AMBIKAPUR | 11KV MAHAMAYA FEEDER | 1188 | 0 | 0
7 | AMBIKAPUR | 11KV TAKIYA FEEDER | 1288 | 0 | 0
8 | AMBIKAPUR | 11KV BUS STAND FEEDER | 1251 | 0 | 0
9 | AMBIKAPUR | 11KV TV FEEDER | 2470 | 0 | 0
10 | AMBIKAPUR | 11KV TOWN-1 FEEDER | 2227 | 0 | 0
11 | AMBIKAPUR | 11KV MANIPUR FEEDER | 1025 | 0 | 0
12 | AMBIKAPUR | 11KV DEVIGANG FEEDER | 1931 | 1 | 2580
13 | AMBIKAPUR | 11KV HAJIRMA FEEDER | 1578 | 0 | 0
14 | AMBIKAPUR | 11KV COLLECTORE FEEDER | 1009 | 1 | 4920
15 | AMBIKAPUR | 11KV MAHAVIRPUR FEEDER | 418 | 0 | 0
16 | AMBIKAPUR | 11KV GODANPUR FEEDER | 1407 | 0 | 0
17 | AMBIKAPUR | 11KV GANDHI NAGAR FEEDER | 2367 | 0 | 0
18 | AMBIKAPUR | 11KV SARGAVA (TOWN-II) | 154 | 0 | 0
19 | BHATAPARA | 11KV TIKULIYA (RURAL) FEEDER | 5 | 47 | 108960
20 | BHATAPARA | 11KV DEORI (RURAL) FEEDER | 113 | 14 | 16020
21 | BHATAPARA | 11KV MATADEVALAYA FEEDER | 1891 | 37 | 22980
22 | BHATAPARA | 11KV PATPAR FEEDER | 259 | 36 | 26460
23 | BHATAPARA | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 244 | 27 | 27900
24 | BHATAPARA | 11KV KHOKHLI FEEDER | 33 | 31 | 31320
25 | BHATAPARA | 11KV TOWN II FEEDER | 649 | 13 | 21780
26 | BHATAPARA | 11KV COLONY FEEDER | 41 | 39 | 27540
27 | BHATAPARA | 11KV RAILWAY FEEDER | 3205 | 23 | 77520
28 | BHATAPARA | 11KV TOWN FEEDER | 1214 | 18 | 40380
29 | BHATAPARA | HATARI BAZAR 11KV FEEDER | 1449 | 17 | 14940
30 | BHATAPARA | MAYUR SCHOOL 11KV FEEDER | 401 | 20 | 18660
31 | BHATAPARA | 11KV SURAJPURA FEEDER | 24 | 0 | 0
32 | BILASPUR | 11KV EMERGENCY FEEDER | 1185 | 5 | 11640
33 | BILASPUR | 11KV MAHARSHI FEEDER | 2093 | 0 | 0
34 | BILASPUR | 11KV MANGLA FEEDER | 1686 | 0 | 0
35 | BILASPUR | 11KV LOKHANDI FEEDER | 1 | 16 | 97080
36 | BILASPUR | 11KV MAGARPARA FEEDER | 2122 | 0 | 0
37 | BILASPUR | 11KV TUNKI-1 FEEDER | 319 | 0 | 0
38 | BILASPUR | 11KV TUNKI-2(KUSHABHAU THAKRE) | 500 | 0 | 0
39 | BILASPUR | 11KV BHARTIYA NAGAR FEEDER | 1749 | 0 | 0
40 | BILASPUR | 11KV CIRCUIT HOUSE FEEDER | 1757 | 0 | 0
41 | BILASPUR | 11KV MUNGELI ROAD FEEDER | 2354 | 8 | 6060
42 | BILASPUR | 11KV OM NAGAR FEEDER | 2034 | 18 | 10980
43 | BILASPUR | 11KV JATIYA TALAB FEEDER | 1271 | 11 | 14460
44 | BILASPUR | 11KV RING ROAD-2 FEEDER | 1076 | 24 | 40260
45 | BILASPUR | 11KV USLAPUR OVERBRIDGE FEEDER | 310 | 21 | 21660
46 | BILASPUR | 11KV ABHISHEK VIHAR FEEDER | 268 | 17 | 22140
47 | BILASPUR | 11KV CIVIL LINE FEEDER | 1630 | 0 | 0
48 | BILASPUR | 11KV GONDPARA FEEDER | 1569 | 10 | 15480
49 | BILASPUR | 11KV KUDUDAND FEEDER | 2362 | 0 | 0
50 | BILASPUR | 11KV TELEPHONE EXCHANGE FEEDER | 1152 | 18 | 20400
51 | BILASPUR | 11KV JAIL ROAD FEEDER | 414 | 20 | 79680
52 | BILASPUR | 11KV NEHRU CHOWK FEEDER | 1283 | 16 | 112380
53 | BILASPUR | 11KV CHANTIDLH FEEDER | 1677 | 0 | 0
54 | BILASPUR | 11KV MOPKA FEEDER | 2126 | 15 | 31020
55 | BILASPUR | 11KV SARKANDA FEEDER | 1879 | 16 | 17280
56 | BILASPUR | 11KV BANDVAPARA FEEDER | 1198 | 0 | 0
57 | BILASPUR | 11KV INDIRA VIHAR FEEDER | 52 | 0 | 0
58 | BILASPUR | 11KV NUTAN CHOWK FEEDER | 2416 | 0 | 0
59 | BILASPUR | 11KV IMLIBHATA FEEDER | 144 | 0 | 0
60 | BILASPUR | 11KV LODHIPARA FEEDER | 69 | 18 | 28680
61 | BILASPUR | 11KV BAHATARAI FEEDER | 84 | 27 | 16860
62 | BILASPUR | 11KV SCIENCE COLLEGE FEEDER | 2474 | 0 | 0
63 | BILASPUR | 11KV TORWA FEEDER | 1707 | 0 | 0
64 | BILASPUR | 11KV HEMUN FEEDER | 1758 | 0 | 0
65 | BILASPUR | 11KV GARDAN CITY | 145 | 0 | 0
66 | BILASPUR | 11KV R K NAGAR FEEDER | 2892 | 0 | 0
67 | BILASPUR | 11KV VASANT VIHAR FEEDER | 3760 | 13 | 6540
68 | BILASPUR | 11KV DAYALBAND FEEDER | 2013 | 0 | 0
69 | BILASPUR | 11KV DEORIKHURD FEEDER | 2276 | 0 | 0
70 | BILASPUR | 11KV TIKRAPARA FEEDER | 1305 | 15 | 11520
71 | BILASPUR | 11KV MAHAVEER CITY | 760 | 0 | 0
72 | BILASPUR | 11KV SHIVAM CITY | 735 | 0 | 0
73 | BILASPUR | 11KV DOORDARSHAN FEEDER | 0 | 0 | 0
74 | BILASPUR | 11KV RJIV VIHAR FEEDER | 0 | 0 | 0
75 | BILASPUR | 11KV LINGYADIH FEEDER | 164 | 12 | 12780
76 | BILASPUR | 11KV GEETANJALI FEEDER 3 | 0 | 0 | 0
77 | BILASPUR | 11KV VIJAY NAGAR FEEDER | 102 | 0 | 0
78 | BILASPUR | 11KV HOUSING BOARD FEEDER | 4990 | 0 | 0
79 | BILASPUR | 11KV CHINGRAAZ PARA FEEDER | 277 | 0 | 0
80 | BILASPUR | 11KV BHAISA BAZAR FEEDER | 271 | 0 | 0
81 | BILASPUR | 11KV GEETANJALI FEEDER | 1267 | 0 | 0
82 | BILASPUR | 11KV AGYE NAGAR FEEDER | 2828 | 0 | 0
83 | BILASPUR | 11KV BUS STAND FEEDER | 1245 | 0 | 0
84 | BILASPUR | 11KV GOAL BAZAR FEEDER | 1962 | 0 | 0
85 | BILASPUR | 11KV MANOHAR HOTEL FEEDER | 120 | 8 | 12780
86 | BILASPUR | 11KV TARBAHAR FEEDER | 1921 | 12 | 126300
87 | BILASPUR | 11KV HIGH COURT FEEDER | 981 | 0 | 0
88 | BILASPUR | 11KV LINK ROAD FEEDER | 418 | 0 | 0
89 | BILASPUR | 11KV VIDYA NAGAR FEEDER | 2278 | 0 | 0
90 | BILASPUR | 11KV INDIRA CHOWK FEEDER | 3148 | 0 | 0
91 | BILASPUR | 11KV JUNA BILASPUR FEEDER | 601 | 8 | 13080
92 | BILASPUR | 11KV PACHARI GHAT FEEDER | 192 | 0 | 0
93 | BILASPUR | 11KV TELIPARA FEEDER | 2687 | 0 | 0
94 | BILASPUR | 11KV CMD COLLEGE FEEDER | 865 | 0 | 0
95 | BILASPUR | 11KV AGRASEN CHOWK FEEDER | 649 | 0 | 0
96 | BILASPUR | 11KV HARSH VIHAR FEEDER | 830 | 0 | 0
97 | BILASPUR | 11KV GANESH NAGAR FEEDER | 1775 | 0 | 0
98 | BILASPUR | 11KV HARDI FEEDER | 12 | 0 | 0
99 | BILASPUR | 11KV MAHMAND LALKHADAN FEEDER | 571 | 0 | 0
100 | BILASPUR | 11KV RULER FEEDER | 1568 | 15 | 19620
101 | BILASPUR | 11KV DHEKA FEEDER | 108 | 0 | 0
102 | BILASPUR | 11KV DHUMA FEEDER | 342 | 0 | 0
103 | BILASPUR | 11KV DOMUHANI FEEDER | 56 | 0 | 0
104 | BILASPUR | 11KV INDUSTRIAL SECTOR B | 21 | 0 | 0
105 | BILASPUR | 11KV INDUSTRIAL SECTOR B | 21 | 0 | 0
106 | BILASPUR | 11KV HIGH COURT FEEDER | 2197 | 13 | 37740
107 | BILASPUR | 11KV INDUSTRIAL FEEDER | 404 | 29 | 57180
108 | BILASPUR | 11KV KUDUDAND FEEDER | 2652 | 10 | 17640
109 | BILASPUR | 11KV SADAR BAZAR FEEDER | 1787 | 13 | 35640
110 | BILASPUR | 11KV SHANKAR NAGAR FEEDER | 2324 | 16 | 13320
111 | DALLIRAJHARA | 11KV RAJHARA BABA FEEDER | 1880 | 0 | 0
112 | DALLIRAJHARA | 11KV TOWN 1 FEEDER | 5246 | 8 | 1440
113 | DALLIRAJHARA | 11KV MOHALLA FEEDER | 168 | 5 | 2040
114 | DALLIRAJHARA | 11KV TOWN 2 FEEDER | 2205 | 2 | 420
115 | DHAMTARI | 11KV SIHAWA ROAD FEEDER | 3816 | 13 | 6360
116 | DHAMTARI | 11KV SHANTI COLONY-2 FEEDER | 403 | 31 | 24600
117 | DHAMTARI | 11KV COLLEGE ROAD FEEDER | 2214 | 2 | 240
118 | DHAMTARI | 11KV NEW COURT FEEDER | 50 | 3 | 2820
119 | DHAMTARI | 11KV DANI TOLA FEEDER | 1526 | 3 | 3360
120 | DHAMTARI | 11KV GOKULPUR FEEDER | 3687 | 6 | 3600
121 | DHAMTARI | 11KV RAIPUR ROAD FEEDER | 975 | 10 | 7020
122 | DHAMTARI | 11KV SHANTI COLONY-1 FEEDER | 3 | 0 | 0
123 | DHAMTARI | 11KV INDUSTRIAL FEEDER | 820 | 12 | 10320
124 | DHAMTARI | 11KV TOWN FEEDER | 2616 | 5 | 3420
125 | DHAMTARI | 11KV AAMDHI FEEDER | 22 | 0 | 0
126 | DHAMTARI | 11KV HOUSING BOARD COLONY FEEDER | 366 | 0 | 0
127 | DONGARGARH | 11KV DONGARGARH TOWN FEEDER | 2459 | 20 | 10200
128 | DONGARGARH | 11KV TOWN-2 FEEDER | 3528 | 0 | 0
129 | DONGARGARH | 11KV MANDIR FEEDER | 1082 | 13 | 6180
130 | DONGARGARH | 11KV BUDHWARI FEEDER | 1674 | 0 | 0
131 | DURG | 11KV ANAND NAGAR FEEDER | 696 | 12 | 5880
132 | DURG | 11KV ASHISH NAGAR FEEDER | 1040 | 16 | 88680
133 | DURG | 11KV CIRCUIT HOUSE FEEDER | 1556 | 16 | 6120
134 | DURG | 11KV CIVIL LINE FEEDER | 1012 | 16 | 5760
135 | DURG | 11KV TALPURI 2 FEEDER | 276 | 2 | 900
136 | DURG | 11KV TALPURI 3 FEEDER | 150 | 2 | 900
137 | DURG | 11KV TALPURI 4 FEEDER | 193 | 2 | 900
138 | DURG | 11KV TALPURI 5 FEEDER | 532 | 2 | 900
139 | DURG | 11KV TALPURI 6 FEEDER | 1097 | 2 | 900
140 | DURG | 11KV TALPURI 1 FEEDER | 166 | 4 | 1560
141 | DURG | 11KV PETROL PUMP FEEDER | 1169 | 0 | 0
142 | DURG | 11KV ISPAT NAGAR FEEDER | 1799 | 6 | 7860
143 | DURG | 11KV MAITRI KUNJ FEEDER | 5 | 0 | 0
144 | DURG | 11KV CHURCH FEEDER | 877 | 24 | 25200
145 | DURG | 11KV RISALI BASTI FEEDER | 894 | 8 | 8460
146 | DURG | 11KV BORSI FEEDER | 1535 | 13 | 17340
147 | DURG | 11KV SCADA FEEDER | 0 | 0 | 0
148 | DURG | 11KV SURYA VIHAR FEEDER | 916 | 10 | 3900
149 | DURG | 11KV GAUTAM NAGAR FEEDER | 1173 | 0 | 0
150 | DURG | 11KV TRIVENI NAGAR FEEDER | 1137 | 12 | 4020
151 | DURG | 11KV HANUMAN NAGAR FEEDER | 626 | 20 | 11940
152 | DURG | 11KV AYYAPPA NAGAR FEEDER | 1197 | 6 | 8640
153 | DURG | 11KV NEHRU NAGAR FEEDER | 834 | 18 | 5400
154 | DURG | 11KV RADHIKA NAGAR FEEDER | 1033 | 21 | 6240
155 | DURG | 11KV KOSA NAGAR FEEDER | 1271 | 15 | 35520
156 | DURG | 11KV PRIYADARSHANI PARISAR FEEDER | 268 | 28 | 67740
157 | DURG | 11KV SUPELA THANA FEEDER | 1640 | 8 | 19620
158 | DURG | 11KV DAKSHIN GANGOTRI FEEDER | 2379 | 15 | 8340
159 | DURG | 11KV KHAMARIYA FEEDER | 1311 | 15 | 8400
160 | DURG | 11KV VAISHALI NAGAR FEEDER | 225 | 11 | 20220
161 | DURG | 11KV GURUNANAK FEEDER | 647 | 13 | 4320
162 | DURG | 11KV SUNDER NAGAR FEEDER | 1736 | 14 | 4560
163 | DURG | 11KV TOWN-A FEEDER | 2278 | 0 | 0
164 | DURG | 11KV TOWN-B FEEDER | 2023 | 0 | 0
165 | DURG | 11KV HOUSING BOARD FEEDER | 2631 | 12 | 25380
166 | DURG | 11KV HOUSING BOARD FEEDER | 2551 | 4 | 1080
167 | DURG | 11KV AGRSEN CHOWK FEEDER | 3259 | 14 | 3180
168 | DURG | 11KV INDUSTRIAL FEEDER | 1377 | 19 | 32100
169 | DURG | 11KV JAIL FEEDER | 3018 | 17 | 7740
170 | DURG | 11KV UTAI FEEDER | 1019 | 2 | 720
171 | DURG | 11KV PADMANABHPUR FEEDER | 1461 | 11 | 8280
172 | DURG | 11KV RAJENDRA PARK FEEDER | 432 | 15 | 10620
173 | DURG | 11KV ADARSH NAGAR | 367 | 2 | 10680
174 | DURG | 11KV POTIYA FEEDER | 1439 | 1 | 20820
175 | DURG | 11KV GANAPATI VIHAR FEEDER | 338 | 12 | 12060
176 | DURG | 11KV BORSI CHOWK | 3 | 10 | 3120
177 | DURG | 11KV INDUSTRIAL-2 FEEDER | 2 | 13 | 26460
178 | DURG | 11KV SIKOLA BHATA FEEDER | 3660 | 12 | 12840
179 | DURG | 11KV JAWAHAR NAGAR FEEDER | 1798 | 8 | 12300
180 | DURG | 11KV KARMCHARI NAGAR FEEDER | 1832 | 12 | 16740
181 | DURG | 11KV SINDHIYA NAGAR FEEDER | 2148 | 12 | 32580
182 | DURG | 11KV SAF BATALIAN | 251 | 3 | 11520
183 | DURG | 11KV STEEL COLONY | 987 | 3 | 11520
184 | DURG | 11KV AKASH GANGA-2 FEEDER | 1501 | 11 | 15780
185 | DURG | 11KV DINDAYAL PURAMFEEDER | 2078 | 13 | 20700
186 | DURG | 11KV AKASH GANGA-1 FEEDER | 932 | 9 | 146340
187 | DURG | 11KV ITI FEEDER | 837 | 16 | 25680
188 | DURG | 11KV POWER HOUSE-1 FEEDER | 4056 | 11 | 14280
189 | DURG | 11KV SUPELA FEEDER | 2003 | 0 | 0
190 | DURG | 11KV SHARDA PARA FEEDER | 2030 | 5 | 6120
191 | DURG | 11KV RAM NAGAR FEEDER | 2994 | 10 | 6780
192 | DURG | 11KV NANDINI ROAD FEEDER | 1250 | 12 | 13740
193 | DURG | 11KV VIVEKANAND FEEDER | 1798 | 11 | 8940
194 | DURG | 11KV CAMP-1 FEEDER | 2904 | 9 | 7020
195 | DURG | 11KV HATHKHOJ RURAL FEEDER | 443 | 13 | 16620
196 | DURG | 11KV INDUSTRIAL-1 FEEDER | 1507 | 13 | 16320
197 | DURG | 11KV INDUSTRIAL-3 FEEDER | 688 | 17 | 27600
198 | DURG | 11KV INDUSTRIAL-4 FEEDER | 652 | 16 | 18120
199 | DURG | 11KV INDURSTRIAL-1 FEEDER | 322 | 10 | 4860
200 | DURG | 11KV CHARODA-1 FEEDER | 2689 | 19 | 83520
201 | DURG | 11KV SIRSA KALA FEEDER | 3413 | 24 | 78180
202 | DURG | 11KV UMDA FEEDER | 364 | 14 | 23340
203 | DURG | 11KV CSEB COLONY FEEDER | 161 | 4 | 3720
204 | DURG | 11KV MORID FEEDER | 603 | 15 | 74100
205 | DURG | 11KV NIMATALA FEEDER | 1105 | 12 | 59280
206 | DURG | 11KV MANSAROVAR FEEDER | 512 | 15 | 44700
207 | DURG | 11KV POWER HOUSE FEEDER | 2389 | 0 | 0
208 | DURG | 11KV RAILWAY FEEDER | 1082 | 2 | 1140
209 | DURG | 11KV SANJAY NAGAR FEEDER | 674 | 6 | 8820
210 | DURG | 11KV SHANTI NAGAR FEEDER | 1003 | 17 | 10020
211 | DURG | 11KV SMRITI NAGAR FEEDER | 35 | 8 | 65700
212 | DURG | 11KV SMRITI NAGAR FEEDER | 1431 | 12 | 6420
213 | DURG | 11KV SUBHASH NAGAR FEEDER | 2544 | 10 | 32400
214 | JAGDALPUR | 11KV JAIPUR FEEDER | 1528 | 3 | 6000
215 | JAGDALPUR | 11KV KUMHARPARA FEEDER | 2178 | 1 | 420
216 | JAGDALPUR | 11KV HATKACHORA FEEDER | 752 | 3 | 10260
217 | JAGDALPUR | 11KV AERODRUM FEEDER | 267 | 1 | 480
218 | JAGDALPUR | 11KV VRINDAVAN FEEDER | 1460 | 3 | 2700
219 | JAGDALPUR | 11KV SUNCITY FEEDER | 1572 | 1 | 540
220 | JAGDALPUR | 11KV NEW BUS STAND FEEDER | 1845 | 3 | 600
221 | JAGDALPUR | 11KV DALPAT SAGAR FEEDER | 1467 | 2 | 3720
222 | JAGDALPUR | 11KV TOWN-1 FEEDER | 2267 | 0 | 0
223 | JAGDALPUR | 11KV TOWN FEEDER | 1229 | 2 | 480
224 | JAGDALPUR | 11KV TOWN-2 FEEDER | 2586 | 0 | 0
225 | JAGDALPUR | 11KV TOWN-3 FEEDER | 3624 | 0 | 0
226 | JAGDALPUR | 11KV MANGOLI FEEDER | 105 | 0 | 0
227 | JAGDALPUR | 11KV SARGIPAL FEEDER | 112 | 0 | 0
228 | KANKER | 11KV COLLECTORATE FEEDER | 685 | 8 | 31140
229 | KANKER | 11KV CIVIL LINE FEEDER | 1755 | 0 | 0
230 | KANKER | 11KV KESHKAL FEEDER | 18 | 28 | 15900
231 | KANKER | 11KV PATOD FEEDER | 29 | 36 | 20940
232 | KANKER | 11KV RAJAPARA FEEDER | 2721 | 9 | 5700
233 | KANKER | 11KV GOVINDPUR FEEDER | 1819 | 0 | 0
234 | KAWARDHA | 11KV TOWN (KAWARDHA) - 1 FEEDER | 3481 | 0 | 0
235 | KAWARDHA | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2870 | 12 | 2460
236 | KAWARDHA | 11KV MAHARAJPUR (RURAL) FEEDER | 15 | 32 | 81900
237 | KAWARDHA | 11KV DASHRANGPUR (RURAL) FEEDER | 22 | 38 | 117180
238 | KAWARDHA | 11KV RAM MANDIR FEEDER | 2871 | 0 | 0
239 | KAWARDHA | 11KV TRANSPORT NAGAR FEEDER | 1029 | 0 | 0
240 | MAHASAMUND | 11KV BAMHANI (RURAL) FEEDER | 26 | 6 | 2580
241 | MAHASAMUND | 11KV IMALI BHATA FEEDER | 2305 | 4 | 9000
242 | MAHASAMUND | 11KV NAYAPARA FEEDER | 1301 | 5 | 18900
243 | MAHASAMUND | 11KV TOWN-1 FEEDER | 2267 | 0 | 0
244 | MAHASAMUND | 11KV TOWN-2 FEEDER | 3528 | 0 | 0
245 | MAHASAMUND | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2021 | 2 | 1200
246 | MUNGELI | 11KV TOWN-3 FEEDER | 3624 | 0 | 0
247 | MUNGELI | 11KV KHARAGHAT FEEDER | 211 | 15 | 6120
248 | MUNGELI | 11KV COLECTER FEEDER | 169 | 6 | 15060
249 | MUNGELI | 11KV TOWN-1 FEEDER | 1781 | 5 | 11280
250 | MUNGELI | 11KV TOWN-2 FEEDER | 577 | 6 | 2280
251 | MUNGELI | 11KV TOWN-4 TEMRI FEEDER | 1411 | 0 | 0
252 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 1214 | 18 | 40380
253 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 3528 | 0 | 0
254 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER | 273 | 0 | 0
255 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 997 | 0 | 0
256 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 2886 | 0 | 0
257 | RAIGARH | 11KV HOSPITAL FEEDER | 222 | 3 | 1080
258 | RAIGARH | 11KV CITY-1 FEEDER | 1262 | 0 | 0
259 | RAIGARH | 11KV KOTWALI FEEDER | 1156 | 11 | 8820
260 | RAIGARH | 11KV CITY-2 FEEDER | 1187 | 0 | 0
261 | RAIGARH | 11KV SHAHID CHOWK FEEDER | 1171 | 8 | 14340
262 | RAIGARH | 11KV CHAKRADHAR NAGAR FEEDER | 1355 | 24 | 21000
263 | RAIGARH | 11KV CHANDNI CHOWK FEEDER | 796 | 21 | 20580
264 | RAIGARH | 11KV GOURISHANKAR MANDIR FEEDER | 1255 | 13 | 17640
265 | RAIGARH | 11KV VRINDAVAN COLONY FEEDER | 96 | 20 | 34560
266 | RAIGARH | 11KV CITY-4 FEEDER | 1082 | 12 | 10980
267 | RAIGARH | 11KV CITY-5 FEEDER | 974 | 5 | 3180
268 | RAIGARH | 11KV PAKKIKHOLI FEEDER | 896 | 15 | 21600
269 | RAIGARH | 11KV SAVITRI NAGAR FEEDER | 673 | 16 | 22620
270 | RAIGARH | 11KV STADIUM FEEDER | 127 | 0 | 0
271 | RAIGARH | 11KV SHAILENDRA NAGAR FEEDER | 521 | 17 | 14820
272 | RAIGARH | 11KV TRANSPORT NAGAR FEEDER | 79 | 1 | 1980
273 | RAIPUR | 11KV COLONY FEEDER | 119 | 9 | 17280
274 | RAIPUR | 11KV FILTER PLANT FEEDER | 107 | 3 | 1260
275 | RAIPUR | 11KV GEETANJALI FEEDER | 1458 | 17 | 6720
276 | RAIPUR | 11KV GONDWARA FEEDER | 399 | 12 | 6780
277 | RAIPUR | 11KV HARSH VIHAR FEEDER | 1220 | 10 | 15600
278 | RAIPUR | 11KV HOSPITAL FEEDER | 329 | 13 | 5100
279 | RAIPUR | 11KV HOUSING BOARD COLONY FEEDER | 1297 | 10 | 3540
280 | RAIPUR | 11KV KACHNA FEEDER | 172 | 1 | 120
281 | RAIPUR | 11KV MANGLA FEEDER | 1310 | 10 | 33300
282 | RAIPUR | 11KV NEW BUS STAND FEEDER | 698 | 12 | 7800
283 | RAIPUR | 11KV RAJBHAWAN FEEDER | 4 | 16 | 6660
284 | RAIPUR | 11KV RAJIV NAGAR FEEDER | 3 | 17 | 4740
285 | RAIPUR | 11KV SADAR BAZAR FEEDER | 877 | 12 | 31680
286 | RAIPUR | 11KV SANJAY NAGAR FEEDER | 2451 | 5 | 4500
287 | RAIPUR | 11KV BHATTACHARYA FEEDER | 1895 | 17 | 6960
288 | RAIPUR | 11KV CIVIL LINE FEEDER | 1755 | 0 | 0
289 | RAIPUR | 11KV JAL VIHAR FEEDER | 1061 | 13 | 4320
290 | RAIPUR | 11KV KATORA TALAB FEEDER | 445 | 17 | 6840
291 | RAIPUR | 11KV CITY KOTWALI FEEDER | 428 | 17 | 6720
292 | RAIPUR | 11KV SCIENCE COLLEGE FEEDER | 332 | 14 | 34140
293 | RAIPUR | 11KV EKTA HOSPITAL FEEDER | 8 | 14 | 12780
294 | RAIPUR | 11KV NURANI CHOWK FEEDER | 1862 | 14 | 4260
295 | RAIPUR | 11KV A.G.AUDIT(RURAL) FEEDER | 1 | 4 | 1140
296 | RAIPUR | 11KV AWANI VIHAR FEEDER | 751 | 12 | 14100
297 | RAIPUR | 11KV HOUSING BOARD I FEEDER | 2001 | 4 | 3300
298 | RAIPUR | 11KV HOUSING BOARD II FEEDER | 1471 | 3 | 1560
299 | RAIPUR | 11KV SAI VIHAR FEEDER | 2105 | 16 | 31980
300 | RAIPUR | 11KV SAKRI(RURAL)FEEDER | 18 | 19 | 6240
301 | RAIPUR | 11KV VV VIHAR FEEDER | 1804 | 25 | 6540
302 | RAIPUR | 11KV ASHOKA RATAN-1 FEEDER | 632 | 24 | 6000
303 | RAIPUR | 11KV SENT XAVIER SCHOOL FEEDER | 239 | 27 | 40080
304 | RAIPUR | 11KV ASHOKA RATAN-3 FEEDER | 1556 | 32 | 89820
305 | RAIPUR | 11KV RAJDHANI VIHAR FEEDER | 264 | 13 | 10980
306 | RAIPUR | 11KV MATHPARA FEEDER | 264 | 17 | 20580
307 | RAIPUR | 11KV SHANTI SAROVAR FEEDER | 644 | 10 | 8580
308 | RAIPUR | 11KV SCIENE CENTER FEEDER | 948 | 15 | 80940
309 | RAIPUR | 11KV VRINDAVAN GARDAN FEEDER | 381 | 20 | 33180
310 | RAIPUR | 11KV AVANTI VIHAR FEEDER | 265 | 20 | 7560
311 | RAIPUR | 11KV SHANTI NAGAR FEEDER | 2182 | 4 | 5880
312 | RAIPUR | 11KV KAVITA NAGAR FEEDER | 784 | 9 | 3480
313 | RAIPUR | 11KV RIDHI SIDHI FEEDER | 312 | 9 | 3420
314 | RAIPUR | 11KV TELIBANDHA FEEDER | 1175 | 2 | 540
315 | RAIPUR | 11KV VISHAL NAGAR FEEDER | 462 | 20 | 7560
316 | RAIPUR | 11KV GANPATI NAGAR FEEDER | 2453 | 21 | 15540
317 | RAIPUR | 11KV INDRAPRAST FEEDER | 582 | 10 | 17520
318 | RAIPUR | 11KV KHARUN FEEDER | 675 | 7 | 13380
319 | RAIPUR | 11KV RAIPURA FEEDER | 683 | 11 | 6600
320 | RAIPUR | 11KV SHITALA MATA FEEDER | 793 | 13 | 44820
321 | RAIPUR | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1197 | 11 | 17340
322 | RAIPUR | 11KV WALLFORT II FEEDER | 36 | 13 | 5940
323 | RAIPUR | 11KV PROFESSOR COLONY FEEDER | 933 | 26 | 40920
324 | RAIPUR | 11KV SATYAM VIHAR FEEDER | 2047 | 12 | 7020
325 | RAIPUR | 11KV KARANNAGAR FEEDER | 1400 | 14 | 8400
326 | RAIPUR | 11KV BANJARI FEEDER | 902 | 5 | 14160
327 | RAIPUR | 11KV SPARE 1 FEEDER | 243 | 11 | 12840
328 | RAIPUR | 11KV DD NAGAR FEEDER | 1687 | 5 | 9900
329 | RAIPUR | 11KV KUSALIPUR FEEDER | 1653 | 13 | 16140
330 | RAIPUR | 11KV LAKHE NAGAR FEEDER | 1546 | 4 | 11220
331 | RAIPUR | 11KV RAJBANDHA FEEDER | 255 | 10 | 35100
332 | RAIPUR | 11KV RAMKUND FEEDER | 1201 | 11 | 7920
333 | RAIPUR | 11KV SHANTI VIHAR FEEDER | 812 | 1 | 180
334 | RAIPUR | 11KV ARJUN NAGAR FEEDER | 1274 | 25 | 83400
335 | RAIPUR | 11KV JAISTAMB FEEDER | 828 | 12 | 6900
336 | RAIPUR | 11KV VIDYA BHAWAN FEEDER | 55 | 6 | 3600
337 | RAIPUR | 11KV SARATHI CHOWKFEEDER | 28 | 10 | 4920
338 | RAIPUR | 11KV GITA NAGAR FEEDER | 323 | 7 | 5760
339 | RAIPUR | 11KV CITY FEEDER | 1768 | 12 | 3540
340 | RAIPUR | 11KV AAMANAKA FEEDER | 112 | 8 | 42000
341 | RAIPUR | 11KV AAMAPARA FEEDER | 585 | 3 | 10440
342 | RAIPUR | 11KV CHOWBE COLONY FEEDER | 809 | 7 | 4680
343 | RAIPUR | 11KV STATION ROAD FEEDER | 373 | 14 | 65280
344 | RAIPUR | 11KV NAGORA FEEDER | 1043 | 4 | 10740
345 | RAIPUR | 11KV SAMTA FEEDER | 531 | 4 | 10500
346 | RAIPUR | 11KV STATION ROAD FEEDER | 335 | 10 | 91200
347 | RAIPUR | 11KV SANTOSHI NAGAR FEEDER | 2806 | 10 | 7380
348 | RAIPUR | 11KV ACRE PLOTFEEDER | 66 | 5 | 17580
349 | RAIPUR | 11KV JAWHAR NAGAR FEEDER | 184 | 9 | 26760
350 | RAIPUR | 11KV SHARDA CHOWK FEEDER | 1646 | 12 | 52860
351 | RAIPUR | 11KV DAWADA COLONY FEEDER | 1377 | 5 | 4920
352 | RAIPUR | 11KV BHAISTAN FEEDER | 1766 | 4 | 12900
353 | RAIPUR | 11KV AZAD CHOWK FEEDER | 1773 | 10 | 60600
354 | RAIPUR | 11KV MARUTI FEEDER | 4890 | 13 | 9300
355 | RAIPUR | 11KV SAMTA NAGAR FEEDER | 257 | 10 | 3960
356 | RAIPUR | 11KV TOWN FEEDER | 1193 | 0 | 0
357 | RAIPUR | 11KV KOTA FEEDER | 1425 | 0 | 0
358 | RAIPUR | 11KV CTI FEEDER | 7 | 6 | 3840
359 | RAIPUR | 11KV BLOCK NO 5,6,7,8 FEEDER | 11 | 0 | 0
360 | RAIPUR | 11KV BLOCK NO 1,2,3,4 FEEDER | 25 | 9 | 6420
361 | RAIPUR | 11KV SCADA FEEDER | 0 | 0 | 0
362 | RAIPUR | 11KV KALING NAGAR FEEDER | 96 | 9 | 6660
363 | RAIPUR | 11KV KABIR NAGAR 1 FEEDER | 962 | 10 | 12840
364 | RAIPUR | 11KV KABIR NAGAR 2 FEEDER | 615 | 6 | 4260
365 | RAIPUR | 11KV KABIR NAGAR 4 FEEDER | 304 | 10 | 12900
366 | RAIPUR | 11KV KBT AWAS FEEDER | 260 | 32 | 34500
367 | RAIPUR | 11KV ATAL AWAS FEEDER | 935 | 14 | 11040
368 | RAIPUR | 11KV ATARI FEEDER | 108 | 22 | 16560
369 | RAIPUR | 11KV RDA FEEDER | 21 | 8 | 6960
370 | RAIPUR | 11KV SARORA FEEDER | 2345 | 5 | 3300
371 | RAIPUR | 11KV DINDAYAL NEW FEEDER | 309 | 11 | 5040
372 | RAIPUR | 11KV SON DONGARI FEEDER | 816 | 13 | 11100
373 | RAIPUR | 11KV SHIV MANDIR CKT 1 FEEDER | 4035 | 20 | 9720
374 | RAIPUR | 11KV SHIVANAND NAGAR FEEDER | 2780 | 21 | 15180
375 | RAIPUR | 11KV LAKDI MILL FEEDER | 242 | 19 | 56940
376 | RAIPUR | 11KV MLA FEEDER | 1030 | 12 | 9660
377 | RAIPUR | 11KV AGRICULTURE FEEDER | 26 | 6 | 20340
378 | RAIPUR | 11KV SAMRADHHI SAGAR | 1886 | 17 | 13140
379 | RAIPUR | 11KV FUNDHAR FEEDER | 667 | 25 | 24240
380 | RAIPUR | 11KV MLA COLONY FEEDER | 476 | 14 | 13500
381 | RAIPUR | 11KV MAULSHREE VIHAR FEEDER | 1112 | 18 | 14520
382 | RAIPUR | 11KV PRIYADARSHANI FEEDER | 2045 | 19 | 23100
383 | RAIPUR | 11KV PIRDA (RURAL)FEEDER | 311 | 14 | 22080
384 | RAIPUR | 11KV NEW RAJENDRA NAGAR FEEDER | 1617 | 17 | 24780
385 | RAIPUR | 11KV SHYAM NAGAR FEEDER | 3006 | 11 | 6420
386 | RAIPUR | 11KV VIVEKANAND NAGAR FEEDER | 1836 | 0 | 0
387 | RAIPUR | 11KV VIP ROAD FEEDER | 10 | 15 | 13320
388 | RAIPUR | 11KV DUMARTARAI FEEDER | 1 | 0 | 0
389 | RAIPUR | 11KV JIVNANI FEEDER | 333 | 5 | 13260
390 | RAIPUR | 11KV MAHATMA GANDHI NAGAR FEEDER | 1720 | 5 | 13260
391 | RAIPUR | 11KV HIMALAYA HEIGHTS | 505 | 7 | 20700
392 | RAIPUR | 11KV VARDHMAN NAGAR | 48 | 3 | 14100
393 | RAIPUR | 11KV WHOLESALE MARKET FEEDER | 39 | 0 | 0
394 | RAIPUR | 11KV SURAJ NAGAR | 607 | 11 | 15420
395 | RAIPUR | 11KV KRISHAK NAGAR | 113 | 6 | 1080
396 | RAIPUR | 11KV ROMAN SQUARE | 114 | 15 | 12900
397 | RAIPUR | 11KV VIJETA COMPLEX FEEDER | 340 | 4 | 6780
398 | RAIPUR | 11KV MEDISHINE FEEDER | 911 | 16 | 19380
399 | RAIPUR | 11KV MAHAVEER NAGAR FEEDER | 1718 | 17 | 25200
400 | RAIPUR | 11KV PARSHURAM NAGAR FEEDER | 2361 | 23 | 33780
401 | RAIPUR | 11KV CHANGORABHATA FEEDER | 60 | 21 | 9960
402 | RAIPUR | 11KV LORD CITY FEEDER | 536 | 9 | 35700
403 | RAIPUR | 11KV MOTI NAGAR FEEDER | 4042 | 20 | 25680
404 | RAIPUR | 11KV RULAR FEEDER | 165 | 14 | 16680
405 | RAIPUR | 11KV BHATAGAON FEEDER | 1786 | 20 | 16920
406 | RAIPUR | 11KV JAINAM VIHAR FEEDER | 2389 | 7 | 10020
407 | RAIPUR | 11KV GODHLIWALA FEEDER | 847 | 20 | 14820
408 | RAIPUR | 11KV GAUTAM VIHAR FEEDER | 271 | 11 | 15240
409 | RAIPUR | 11KV RDA COLONY FEEDER | 1485 | 0 | 0
410 | RAIPUR | 11KV BORIYA FEEDER | 1590 | 8 | 3840
411 | RAIPUR | 11KV JAIN MANDIR FEEDER | 1479 | 8 | 8100
412 | RAIPUR | 11KV KANKALIPARA FEEDER | 2269 | 13 | 38760
413 | RAIPUR | 11KV KAILASHPURI FEEDER | 1765 | 0 | 0
414 | RAIPUR | 11KV LILI CHOWK FEEDER | 1916 | 0 | 0
415 | RAIPUR | 11KV SAPRESALA FEEDER | 867 | 13 | 52260
416 | RAIPUR | 11KV SADDANI DARBAR FEEDER | 550 | 12 | 14040
417 | RAIPUR | 11KV DEVENDRA NAGAR SECTOR 5 FEEDER | 1853 | 0 | 0
418 | RAIPUR | 11KV IAS COLONY FEEDER | 302 | 10 | 3360
419 | RAIPUR | 11KV JAIL ROAD INCOMER FEEDER | 701 | 16 | 19860
420 | RAIPUR | 11KV KAPDA MARKET IGKVP FEEDER | 8 | 9 | 14640
421 | RAIPUR | 11KV KAPDA MARKET FEEDER | 1060 | 7 | 10980
422 | RAIPUR | 11KV MOUDHAPARA FEEDER | 1423 | 11 | 5160
423 | RAIPUR | 11KV MALVIYA ROAD FEEDER | 874 | 11 | 5580
424 | RAIPUR | 11KV RAJA TALAB FEEDER | 1751 | 18 | 6780
425 | RAIPUR | 11KV RAMAN MANDIR FEEDER | 1690 | 10 | 12180
426 | RAIPUR | 11KV TIMBAR MARKET FEEDER | 811 | 7 | 10980
427 | RAIPUR | 11KV UPAJ MANDI FOKATPARA FEEDER | 226 | 10 | 12180
428 | RAIPUR | 11KV SAI NAGAR FEEDER | 502 | 7 | 10620
429 | RAIPUR | 11KV EAC COLONY FEEDER | 109 | 26 | 14460
430 | RAIPUR | 11KV MARLING COMPLEX FEEDER | 96 | 0 | 0
431 | RAIPUR | 11KV MEDICAL COLLEGE FEEDER | 4 | 14 | 15420
432 | RAIPUR | 11KV KAPALODHIPARA FEEDER | 311 | 0 | 0
433 | RAIPUR | 11KV KRISHI UPAJ MANDI FEEDER | 569 | 10 | 16980
434 | RAIPUR | 11KV OM COMPLEX FEEDER | 1317 | 7 | 32220
435 | RAIPUR | 11KV MAHALAXMI FEEDER | 459 | 0 | 0
436 | RAIPUR | 11KV BUDHAPARA FEEDER | 708 | 18 | 177600
437 | RAIPUR | 11KV BASTAL FEEDER | 888 | 15 | 17580
438 | RAIPUR | 11KV MANAVADHIKAR FEEDER | 4 | 19 | 9540
439 | RAIPUR | 11KV SISHU MANDIR FEEDER | 462 | 15 | 13860
440 | RAIPUR | 11KV TV FEEDER | 2794 | 19 | 20520
441 | RAIPUR | 11KV SHASTRI BAZAR FEEDER | 1420 | 18 | 9420
442 | RAIPUR | 11KV CHIKNI MANDIR FEEDER | 2160 | 13 | 2520
443 | RAJNANDGAON | 11KV KANCHAN BAG FEEDER | 794 | 7 | 12600
444 | RAJNANDGAON | 11KV KAILASH NAGAR FEEDER | 2387 | 6 | 2520
445 | RAJNANDGAON | 11KV TOWN III FEEDER | 865 | 9 | 1260
446 | RAJNANDGAON | 11KV TOWN I FEEDER | 532 | 0 | 0
447 | RAJNANDGAON | 11KV PANEKA FEEDER | 189 | 5 | 1620
448 | RAJNANDGAON | 11KV VIKAS NAGAR FEEDER | 1975 | 12 | 6360
449 | RAJNANDGAON | 11KV BASANTPUR FEEDER | 686 | 7 | 3660
450 | RAJNANDGAON | 11 KV FARHAD (RURAL) FEEDER | 21 | 9 | 56940
451 | RAJNANDGAON | 11 KV GATULA (RURAL) FEEDER | 11 | 27 | 6960
452 | RAJNANDGAON | 11KV COLLECTORED FEEDER | 1952 | 17 | 10380
453 | RAJNANDGAON | 11KV CHIKALI TOWN FEEDER | 3146 | 15 | 3480
454 | RAJNANDGAON | 11 KV DHABA (RURAL) FEEDER | 47 | 18 | 8520
455 | RAJNANDGAON | 11KV MAMTA NAGAR FEEDER | 699 | 1 | 540
456 | RAJNANDGAON | 11KV CITY FEEDER | 2023 | 0 | 0
457 | RAJNANDGAON | 11KV GOKUL NAGAR FEEDER | 580 | 10 | 97740
458 | RAJNANDGAON | 11KV PST FEEDER | 2265 | 8 | 3120
459 | RAJNANDGAON | 11KV GOVT. PRESS FEEDER | 2058 | 15 | 3480
460 | RAJNANDGAON | 11 KV MOTHIPUR FEEDER | 1572 | 1 | 180