## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Apr'18
Period: |  | 1st Mar'18 to 31st Mar'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 334
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1225 | 22 | 121020 | 2000003854
2 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 285 | 23 | 30060 | 2000003852
3 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2278 | 2 | 1440 | 2000003848
4 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1381 | 12 | 14760 | 2000003846
5 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 22 | 35340 | 2000003845
6 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1889 | 6 | 1980 | 2000003843
7 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 999 | 12 | 16500 | 2000003842
8 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 2 | 2640 | 2000003841
9 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1222 | 19 | 47880 | 2000003840
10 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 456 | 25 | 19380 | 2000006627
11 | AMBIKAPUR TOWN | 11 KV DC Road | 1497 | 21 | 25920 | 2000014951
12 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 4 | 5340 | 2000014959
13 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1217 | 17 | 23400 | 2000014960
14 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 332 | 10 | 8220 | 2000014961
15 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 17 | 16620 | 2000001013
16 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1859 | 17 | 16920 | 2000001012
17 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 384 | 39 | 15480 | 2000001011
18 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1200 | 4 | 4800 | 2000001009
19 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 299 | 81 | 112140 | 2000001008
20 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 112 | 3 | 5100 | 2000001007
21 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 27 | 32760 | 2000001006
22 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 14 | 4740 | 2000001005
23 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3156 | 22 | 26460 | 2000001004
24 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 62 | 584880 | 2000014962
25 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 44 | 20 | 51960 | 2000006378
26 | BHATAPARA TOWN | Mayur School 11KV Feeder | 400 | 16 | 3600 | 2000006377
27 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1432 | 17 | 8700 | 2000006376
28 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 636 | 12 | 6540 | 2000006347
29 | BHATAPARA TOWN | 11KV Colony Feeder | 34 | 39 | 14580 | 2000004255
30 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1818 | 4 | 1620 | 2000004922
31 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3850 | 4 | 5160 | 2000004926
32 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 338 | 1 | 1440 | 2000023801
33 | BILASPUR TOWN | 11KV CMD College Feeder | 917 | 14 | 4200 | 2000020582
34 | BILASPUR TOWN | 11KV Telephone Exchange Feeder | 1109 | 18 | 17580 | 2000020490
35 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1215 | 21 | 17100 | 2000020489
36 | BILASPUR TOWN | 11KV Jail Road Feeder | 380 | 19 | 10260 | 2000020488
37 | BILASPUR TOWN | 11KV Katiyapara Feeder | 421 | 1 | 3420 | 2000018763
38 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1652 | 7 | 8160 | 2000018762
39 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 755 | 3 | 7500 | 2000018761
40 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 14 | 13500 | 2000017781
41 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 22 | 33720 | 2000017776
42 | BILASPUR TOWN | 11 KV New Mopka | 838 | 18 | 6960 | 2000017224
43 | BILASPUR TOWN | 11 KV Shivam City | 1280 | 16 | 15540 | 2000017225
44 | BILASPUR TOWN | 11 KV Mahaveer City | 222 | 17 | 5640 | 2000017226
45 | BILASPUR TOWN | 11KV Lingyadih Feeder | 171 | 17 | 51660 | 2000017505
46 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1535 | 24 | 34860 | 2000004868
47 | BILASPUR TOWN | 11KV DHEKA FEEDER | 284 | 13 | 36240 | 2000004877
48 | BILASPUR TOWN | 11KV DHUMA FEEDER | 684 | 19 | 36480 | 2000004878
49 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 436 | 7 | 9960 | 2000004879
50 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1940 | 8 | 11040 | 2000004888
51 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2529 | 6 | 3720 | 2000004889
52 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2709 | 12 | 14880 | 2000004893
53 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 6 | 18 | 27720 | 2000004897
54 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1115 | 6 | 9360 | 2000004900
55 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2299 | 7 | 6720 | 2000004901
56 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 3 | 2220 | 2000004903
57 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 276 | 4 | 12900 | 2000023802
58 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2328 | 24 | 20700 | 2000004904
59 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 732 | 4 | 5460 | 2000004908
60 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3332 | 22 | 42540 | 2000004909
61 | BILASPUR TOWN | 11KV RULER FEEDER | 1557 | 4 | 5340 | 2000004916
62 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2027 | 25 | 21120 | 2000004917
63 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1342 | 16 | 9600 | 2000004919
64 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 179 | 22 | 25920 | 2000006348
65 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 969 | 24 | 20160 | 2000003195
66 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1975 | 9 | 4440 | 2000003196
67 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5515 | 45 | 32340 | 2000003197
68 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 10 | 7440 | 2000002573
69 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 978 | 17 | 6000 | 2000002574
70 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3762 | 21 | 9540 | 2000002570
71 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2547 | 18 | 8280 | 2000002579
72 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1519 | 32 | 6180 | 2000002569
73 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3808 | 23 | 14580 | 2000002576
74 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 403 | 15 | 10860 | 2000002578
75 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 15 | 261780 | 2000002567
76 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 26 | 10560 | 2000002566
77 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 736 | 16 | 26520 | 2000001298
78 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1079 | 5 | 840 | 2000001299
79 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 950 | 12 | 38340 | 2000001301
80 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2437 | 13 | 6600 | 2000001302
81 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 712 | 4 | 1680 | 2000007685
82 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 655 | 4 | 4140 | 2000007687
83 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 113 | 12 | 15120 | 2000007688
84 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1034 | 37 | 103620 | 2000007689
85 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1761 | 9 | 13380 | 2000007694
86 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3314 | 5 | 3300 | 2000007696
87 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2939 | 6 | 3240 | 2000007701
88 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1013 | 12 | 2760 | 2000007703
89 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 952 | 6 | 3060 | 2000007708
90 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1517 | 9 | 11160 | 2000007709
91 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1848 | 9 | 3120 | 2000007711
92 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 606 | 9 | 5580 | 2000007713
93 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1319 | 23 | 25620 | 2000007714
94 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 976 | 20 | 12840 | 2000007715
95 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 661 | 20 | 16860 | 2000007716
96 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 627 | 15 | 11280 | 2000007717
97 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1847 | 8 | 2760 | 2000007723
98 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1151 | 30 | 11100 | 2000007728
99 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 492 | 17 | 9900 | 2000007731
100 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 532 | 13 | 12780 | 2000007733
101 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 453 | 18 | 10380 | 2000007735
102 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1244 | 26 | 68580 | 2000007738
103 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 845 | 6 | 4020 | 2000007740
104 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1485 | 4 | 1680 | 2000007741
105 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2401 | 3 | 1260 | 2000007742
106 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 789 | 13 | 14700 | 2000007744
107 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2316 | 30 | 96360 | 2000007747
108 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1066 | 5 | 6240 | 2000007748
109 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 10 | 23880 | 2000007751
110 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3079 | 12 | 4920 | 2000007752
111 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1788 | 5 | 7860 | 2000007754
112 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 245 | 16 | 7560 | 2000007755
113 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2345 | 12 | 3180 | 2000007757
114 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4389 | 15 | 37680 | 2000007759
115 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2498 | 13 | 7860 | 2000007760
116 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1261 | 9 | 10740 | 2000007762
117 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 179 | 5 | 3000 | 2000007763
118 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 2 | 540 | 2000007766
119 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 605 | 2 | 540 | 2000007767
120 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2172 | 14 | 10200 | 2000007769
121 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1789 | 14 | 9540 | 2000007770
122 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1165 | 13 | 9840 | 2000007771
123 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 943 | 24 | 21420 | 2000007773
124 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1304 | 5 | 89700 | 2000007776
125 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1235 | 17 | 8640 | 2000007777
126 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 363 | 16 | 7740 | 2000007778
127 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 751 | 8 | 2280 | 2000007779
128 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1204 | 8 | 9900 | 2000007780
129 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1775 | 8 | 8100 | 2000007781
130 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 3400 | 8 | 7500 | 2000016998
131 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1503 | 18 | 28620 | 2000017001
132 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 12 | 4440 | 2000017045
133 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1998 | 41 | 462360 | 2000017052
134 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 949 | 6 | 3000 | 2000017055
135 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 936 | 6 | 4140 | 2000017056
136 | DURG BHILAI CHARODA TOWN | 11 KV SAF Batalian | 386 | 4 | 8280 | 2000017057
137 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 988 | 1 | 2880 | 2000017058
138 | DURG BHILAI CHARODA TOWN | 11 KV Titurdih | 887 | 2 | 87720 | 2000017061
139 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 567 | 3 | 2340 | 2000017062
140 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1641 | 6 | 3480 | 2000017064
141 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1026 | 5 | 6540 | 2000017065
142 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1062 | 1 | 540 | 2000017066
143 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 391 | 6 | 6180 | 2000017069
144 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 7 | 4 | 4500 | 2000017071
145 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 692 | 15 | 13140 | 2000018574
146 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 275 | 24 | 27120 | 2000018704
147 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1289 | 12 | 22500 | 2000018705
148 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1708 | 6 | 8700 | 2000018706
149 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2315 | 13 | 11460 | 2000018707
150 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 229 | 1 | 300 | 2000019819
151 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 2976 | 11 | 40020 | 2000021263
152 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1968 | 12 | 20580 | 2000023773
153 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 7 | 213060 | 2000025794
154 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1656 | 17 | 13140 | 2000029193
155 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1268 | 7 | 1380 | 2000004335
156 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 850 | 5 | 780 | 2000004334
157 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1764 | 5 | 8160 | 2000004332
158 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 784 | 4 | 1740 | 2000004331
159 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1549 | 8 | 14100 | 2000004330
160 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1374 | 3 | 1320 | 2000004336
161 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1045 | 13 | 14040 | 2000004339
162 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 259 | 5 | 900 | 2000004347
163 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1201 | 13 | 6360 | 2000004349
164 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1950 | 1 | 420 | 2000017872
165 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 28 | 20340 | 2000002907
166 | KANKER TOWN | 11KV PATOD FEEDER | 683 | 25 | 24360 | 2000002909
167 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2906 | 13 | 8100 | 2000002910
168 | KORBA TOWN | 11KV RAMPUR FEEDER | 813 | 6 | 7980 | 2000006791
169 | KORBA TOWN | 11KV PATRAKAR FEEDER | 297 | 13 | 17640 | 2000006790
170 | KORBA TOWN | 11KV PARSABADA FEEDER | 1411 | 34 | 41280 | 2000006789
171 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1251 | 45 | 83940 | 2000006786
172 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1301 | 19 | 20520 | 2000006783
173 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 769 | 17 | 14100 | 2000006782
174 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2801 | 22 | 16620 | 2000006778
175 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 779 | 157 | 1416420 | 2000006773
176 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 8 | 8220 | 2000006770
177 | KORBA TOWN | 11KV BULGI FEEDER | 944 | 58 | 53640 | 2000006764
178 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 770 | 54 | 80400 | 2000006762
179 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2379 | 80 | 594540 | 2000006761
180 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 18 | 10200 | 2000006759
181 | KORBA TOWN | 11KV RURAL FEEDER | 2320 | 43 | 60240 | 2000006792
182 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 804 | 36 | 108480 | 2000006796
183 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1158 | 20 | 1071240 | 2000006798
184 | KORBA TOWN | 11KV Ratakhar Mission Road Feeder | 1057 | 22 | 236280 | 2000021425
185 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1096 | 11 | 21960 | 2000020122
186 | KORBA TOWN | 11KV Mudapar Feeder | 1033 | 11 | 14400 | 2000020065
187 | KORBA TOWN | 11KV BAIKUND NAGAR FEEDER | 373 | 13 | 10980 | 2000017805
188 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 71 | 8 | 8700 | 2000017790
189 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2101 | 4 | 2880 | 2000001430
190 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 6 | 1320 | 2000001424
191 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 20 | 11640 | 2000001423
192 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 964 | 27 | 11220 | 2000002464
193 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1029 | 33 | 15540 | 2000002463
194 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2085 | 33 | 20040 | 2000002462
195 | MUNGELI TOWN | 11 KV Colecter Feeder | 289 | 14 | 6780 | 2000006460
196 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1397 | 50 | 28260 | 2000006458
197 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1559 | 20 | 16500 | 2000003314
198 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 594 | 4 | 2700 | 2000003310
199 | RAIGARH TOWN | 11 KV Stadium feeder | 593 | 7 | 10320 | 2000022941
200 | RAIGARH TOWN | 11kv Collectred Feeder | 81 | 7 | 23820 | 2000016056
201 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 377 | 9 | 16980 | 2000017956
202 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1644 | 7 | 15000 | 2000017958
203 | RAIGARH TOWN | 11 KV Shriram feeder | 819 | 10 | 6480 | 2000022940
204 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 681 | 13 | 17940 | 2000021639
205 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1272 | 21 | 18180 | 2000003301
206 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1058 | 10 | 26940 | 2000003307
207 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 339 | 10 | 8880 | 2000020754
208 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 900 | 13 | 9420 | 2000020755
209 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 622 | 11 | 10200 | 2000020756
210 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 718 | 28 | 31440 | 2000003309
211 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1060 | 6 | 4140 | 2000010585
212 | RAIPUR TOWN | 11KV CITY FEEDER | 2275 | 29 | 30240 | 2000010587
213 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1359 | 8 | 6000 | 2000010588
214 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 941 | 2 | 480 | 2000010589
215 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 765 | 3 | 720 | 2000010591
216 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 287 | 19 | 26100 | 2000010592
217 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 5 | 1320 | 2000010595
218 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 1 | 300 | 2000010596
219 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 770 | 8 | 2760 | 2000010598
220 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 834 | 10 | 6180 | 2000010601
221 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1042 | 5 | 1800 | 2000010603
222 | RAIPUR TOWN | 11KV ATARI FEEDER | 768 | 17 | 27600 | 2000010604
223 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 730 | 6 | 10680 | 2000010606
224 | RAIPUR TOWN | 11KV BASTAL FEEDER | 603 | 24 | 32400 | 2000010610
225 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 830 | 8 | 29400 | 2000010613
226 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 136 | 5 | 2580 | 2000010615
227 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 3 | 24120 | 2000010616
228 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1824 | 10 | 4920 | 2000010618
229 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1600 | 12 | 3240 | 2000010622
230 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 846 | 14 | 17340 | 2000010624
231 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 87 | 18 | 118440 | 2000010625
232 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1636 | 21 | 6960 | 2000010634
233 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 739 | 21 | 21240 | 2000010638
234 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 90 | 12 | 5040 | 2000010641
235 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 728 | 22 | 9540 | 2000010642
236 | RAIPUR TOWN | 11KV KHARUN FEEDER | 984 | 24 | 20460 | 2000010649
237 | RAIPUR TOWN | 11KV MAHALAXMI | 576 | 33 | 21480 | 2000010655
238 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1983 | 5 | 12900 | 2000010656
239 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 48 | 2 | 840 | 2000010660
240 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1579 | 6 | 21660 | 2000010661
241 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 770 | 14 | 8520 | 2000010666
242 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1737 | 1 | 480 | 2000010668
243 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 534 | 10 | 780 | 2000010670
244 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 899 | 10 | 5160 | 2000010671
245 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1246 | 18 | 8520 | 2000010672
246 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4081 | 6 | 2160 | 2000010675
247 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 19 | 5760 | 2000010676
248 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 527 | 13 | 43140 | 2000010677
249 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2084 | 6 | 2160 | 2000010680
250 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 205 | 4 | 24360 | 2000010688
251 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1571 | 6 | 1380 | 2000010695
252 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1322 | 1 | 480 | 2000010699
253 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2525 | 28 | 30420 | 2000010700
254 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 802 | 20 | 14580 | 2000010701
255 | RAIPUR TOWN | 11KV SAMTA FEEDER | 545 | 4 | 1620 | 2000010704
256 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 379 | 4 | 24360 | 2000010706
257 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 484 | 5 | 5520 | 2000010707
258 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 894 | 8 | 24840 | 2000010708
259 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2373 | 10 | 2880 | 2000010709
260 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2243 | 3 | 1320 | 2000010711
261 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 907 | 2 | 1200 | 2000010712
262 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 975 | 25 | 15360 | 2000010714
263 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1419 | 17 | 15300 | 2000010717
264 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2645 | 9 | 29220 | 2000010722
265 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 702 | 34 | 22380 | 2000010725
266 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 428 | 28 | 30600 | 2000010732
267 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 509 | 7 | 8820 | 2000010739
268 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2098 | 11 | 25440 | 2000010741
269 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2068 | 7 | 3720 | 2000017238
270 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 897 | 4 | 2280 | 2000017256
271 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2198 | 10 | 2220 | 2000017261
272 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1043 | 3 | 8760 | 2000017508
273 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2412 | 4 | 25320 | 2000017567
274 | RAIPUR TOWN | 11KV WHITE HOUSE | 556 | 4 | 25440 | 2000017568
275 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 590 | 1 | 480 | 2000017569
276 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 977 | 11 | 19380 | 2000017576
277 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1925 | 19 | 14880 | 2000017600
278 | RAIPUR TOWN | 11KV Medical College Feeder | 15 | 18 | 5820 | 2000017607
279 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1715 | 3 | 1800 | 2000017608
280 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1503 | 27 | 31080 | 2000017611
281 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 2 | 1440 | 2000017613
282 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 599 | 8 | 2400 | 2000017624
283 | RAIPUR TOWN | 11KV Suraj Nagar | 1108 | 3 | 20160 | 2000017690
284 | RAIPUR TOWN | 11KV Roman Square | 464 | 5 | 7200 | 2000017691
285 | RAIPUR TOWN | 11KV Krishak Nagar | 180 | 2 | 1260 | 2000017692
286 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 942 | 4 | 4020 | 2000017771
287 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1274 | 3 | 1260 | 2000017772
288 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 611 | 3 | 1320 | 2000017773
289 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 396 | 2 | 1440 | 2000017817
290 | RAIPUR TOWN | 11 KV Station Road Feeder | 838 | 4 | 4500 | 2000017867
291 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 196 | 5 | 5520 | 2000017869
292 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1367 | 7 | 8700 | 2000017870
293 | RAIPUR TOWN | 11KV NAVEEN MARKET | 859 | 4 | 8880 | 2000017953
294 | RAIPUR TOWN | 11KV Son Dongari Feeder | 944 | 6 | 2100 | 2000017962
295 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 293 | 4 | 3660 | 2000018004
296 | RAIPUR TOWN | 11KV Saddu Feeder | 295 | 5 | 8280 | 2000018005
297 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1204 | 9 | 18120 | 2000018006
298 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2507 | 18 | 25500 | 2000018949
299 | RAIPUR TOWN | 11KV Gondwara Feeder | 421 | 28 | 4800 | 2000019179
300 | RAIPUR TOWN | 11KV Gogaon Feeder | 3020 | 7 | 14700 | 2000019180
301 | RAIPUR TOWN | 11KV Jivnani Feeder | 462 | 9 | 6240 | 2000019185
302 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1844 | 12 | 11580 | 2000019186
303 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1953 | 3 | 4080 | 2000019334
304 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1076 | 20 | 178740 | 2000019530
305 | RAIPUR TOWN | 11KV Ashiyana Feeder | 643 | 3 | 8640 | 2000019697
306 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1916 | 5 | 3180 | 2000020009
307 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2641 | 5 | 3420 | 2000020119
308 | RAIPUR TOWN | 11KV Station Road Feeder | 324 | 12 | 6840 | 2000020130
309 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 99 | 7 | 58620 | 2000020131
310 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 2 | 1080 | 2000020132
311 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 350 | 20 | 48840 | 2000020193
312 | RAIPUR TOWN | 11KV Medishine Feeder | 977 | 4 | 6420 | 2000020194
313 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2437 | 6 | 130320 | 2000020581
314 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1567 | 3 | 2220 | 2000021219
315 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1229 | 3 | 2280 | 2000021220
316 | RAIPUR TOWN | 11KV Parsuram Feeder | 1356 | 3 | 2220 | 2000021221
317 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 631 | 9 | 11940 | 2000021286
318 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1118 | 8 | 11700 | 2000021287
319 | RAIPUR TOWN | 11KV BORIYA Feeder | 779 | 7 | 4800 | 2000021424
320 | RAIPUR TOWN | 11KV OM Complex Feeder | 1319 | 9 | 13800 | 2000021615
321 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 1341 | 2 | 9720 | 2000022077
322 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1312 | 1 | 480 | 2000022079
323 | RAIPUR TOWN | 11KV Naharpara Feeder | 1389 | 5 | 10080 | 2000023680
324 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1389 | 3 | 25440 | 2000023735
325 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1538 | 4 | 1740 | 2000023772
326 | RAIPUR TOWN | 11KV SBI FEEDER | 1226 | 11 | 25500 | 2000023790
327 | RAIPUR TOWN | 11KV Amar Palace Feeder | 433 | 5 | 1320 | 2000023848
328 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 670 | 5 | 2460 | 2000034423
329 | RAIPUR TOWN | 11KV Pride Feeder | 56 | 1 | 300 | 2000039215
330 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2628 | 1 | 240 | 2000001967
331 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 934 | 4 | 600 | 2000001978
332 | RAJNANDGAON TOWN | 11 KV KAMLA COLLEGE | 1458 | 2 | 540 | 2000015449
333 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 682 | 4 | 1260 | 2000015448
334 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 138 | 6 | 960 | 2000015446