## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Oct'17
Period: |  | 1st Oct'17 to 31st Oct'17
Number of Towns: |  | 20
Total nos. of Feeders: |  | 457
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.)
1 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1223 | 21 | 69840
2 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 10 | 8340
3 | AMBIKAPUR TOWN | 11 KV DC Road | 1503 | 26 | 57480
4 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 457 | 26 | 45000
5 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 335 | 16 | 33540
6 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 134 | 42 | 51840
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1230 | 10 | 10440
8 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 425 | 4 | 1500
9 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1381 | 17 | 20400
10 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 15 | 22500
11 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 421 | 12 | 40560
12 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1912 | 16 | 15840
13 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1010 | 11 | 14220
14 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 24 | 26280
15 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1232 | 15 | 21600
16 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 325 | 38 | 32820
17 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1892 | 39 | 34560
18 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 6 | 49 | 20280
19 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1231 | 22 | 56940
20 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1 | 41 | 56460
21 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 113 | 6 | 7380
22 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 5 | 33 | 96480
23 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 243 | 31 | 16380
24 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3180 | 11 | 17700
25 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 49 | 27 | 27240
26 | BHATAPARA TOWN | Mayur School 11KV Feeder | 403 | 13 | 34920
27 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1443 | 11 | 9420
28 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 656 | 18 | 19680
29 | BHATAPARA TOWN | 11KV Colony Feeder | 35 | 49 | 20220
30 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 7 | 46 | 72420
31 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 657 | 29 | 70140
32 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1133 | 43 | 140160
33 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2300 | 28 | 29820
34 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 135 | 18 | 46440
35 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2334 | 21 | 30240
36 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2346 | 25 | 40680
37 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 739 | 18 | 47280
38 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 2112 | 15 | 12420
39 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1075 | 9 | 24420
40 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1604 | 10 | 25080
41 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1835 | 17 | 35940
42 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2379 | 20 | 13740
43 | BILASPUR TOWN | 11KV RULER FEEDER | 1615 | 25 | 29100
44 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 47 | 27 | 73200
45 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2726 | 26 | 46800
46 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 277 | 13 | 15780
47 | BILASPUR TOWN | 11 KV New Mopka | 860 | 18 | 28800
48 | BILASPUR TOWN | 11 KV Shivam City | 1320 | 36 | 55680
49 | BILASPUR TOWN | 11 KV Mahaveer City | 234 | 18 | 29160
50 | BILASPUR TOWN | 11KV Lodhipara Feeder | 1116 | 23 | 70560
51 | BILASPUR TOWN | 11KV Birkona Feeder | 749 | 25 | 53760
52 | BILASPUR TOWN | 11KV Imlibhata Feeder | 749 | 13 | 24360
53 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 1015 | 34 | 75780
54 | BILASPUR TOWN | 11KV Talapara Feeder | 1864 | 2 | 2520
55 | BILASPUR TOWN | 11KV Lingyadih Feeder | 173 | 25 | 123600
56 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 67 | 95820
57 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 63 | 94140
58 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 33 | 49500
59 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 1990 | 21 | 27660
60 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 747 | 16 | 47040
61 | BILASPUR TOWN | 11KV DHUMA FEEDER | 700 | 43 | 80160
62 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 503 | 10 | 15540
63 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1600 | 27 | 57060
64 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1819 | 11 | 5340
65 | BILASPUR TOWN | 11KV DEORIKHURD FEEDER | 2659 | 18 | 17220
66 | BILASPUR TOWN | 11KV DHEKA FEEDER | 285 | 35 | 74460
67 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1151 | 2 | 1380
68 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2826 | 16 | 35580
69 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1234 | 16 | 6540
70 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1708 | 25 | 38100
71 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1864 | 14 | 33600
72 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2510 | 20 | 15240
73 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1227 | 25 | 21660
74 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1343 | 19 | 10620
75 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1908 | 13 | 26760
76 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 57 | 76500
77 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3882 | 12 | 24540
78 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1645 | 4 | 19380
79 | BILASPUR TOWN | 11KV Katiyapara Feeder | 422 | 15 | 20220
80 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 342 | 28 | 40680
81 | BILASPUR TOWN | 11KV Jail Road Feeder | 387 | 23 | 132420
82 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 615 | 18 | 45240
83 | BILASPUR TOWN | 11KV Housing Board Feeder | 185 | 5 | 5700
84 | BILASPUR TOWN | 11KV Vijay Nagar Feeder | 201 | 10 | 34500
85 | BILASPUR TOWN | 11KV CMD College Feeder | 928 | 31 | 36720
86 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5448 | 51 | 45240
87 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 174 | 41 | 71460
88 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2613 | 27 | 30420
89 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 405 | 29 | 22740
90 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3848 | 19 | 7560
91 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 980 | 23 | 58920
92 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 50 | 4 | 8700
93 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3750 | 16 | 11160
94 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1527 | 16 | 5940
95 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 18 | 29340
96 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1079 | 12 | 10260
97 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2445 | 8 | 6060
98 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 909 | 7 | 18780
99 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3314 | 13 | 7800
100 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 3410 | 6 | 20100
101 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1037 | 17 | 9360
102 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 112 | 16 | 13200
103 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 656 | 35 | 47160
104 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2849 | 31 | 53100
105 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 707 | 29 | 19320
106 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1670 | 27 | 34860
107 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 25 | 19920
108 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1249 | 32 | 79740
109 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1781 | 10 | 11640
110 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1560 | 26 | 26100
111 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 240 | 28 | 43440
112 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1907 | 60 | 44760
113 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 542 | 18 | 12420
114 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 1033 | 25 | 40080
115 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 230 | 7 | 3540
116 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 28 | 13 | 4380
117 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 313 | 38 | 52380
118 | DURG BHILAI CHARODA TOWN | 11 KV Surya Vihar | 195 | 8 | 6300
119 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 8 | 33 | 16080
120 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 388 | 27 | 20040
121 | DURG BHILAI CHARODA TOWN | 11KV Potiya Feeder | 1505 | 39 | 63180
122 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2431 | 37 | 40080
123 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1445 | 18 | 10680
124 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1853 | 16 | 16740
125 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-4 FEEDER | 630 | 10 | 15000
126 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-3 FEEDER | 663 | 13 | 10620
127 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-2 FEEDER | 980 | 7 | 13800
128 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-1 FEEDER | 1338 | 24 | 68820
129 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 602 | 23 | 27780
130 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 4064 | 10 | 5160
131 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1837 | 8 | 4800
132 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3152 | 8 | 19560
133 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1833 | 29 | 9660
134 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 2058 | 10 | 9240
135 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1153 | 55 | 31920
136 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 1877 | 16 | 32700
137 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 501 | 23 | 42720
138 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 532 | 21 | 26460
139 | DURG BHILAI CHARODA TOWN | 11KV MANSAROVAR FEEDER | 860 | 36 | 29040
140 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1515 | 13 | 5040
141 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 958 | 12 | 6360
142 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2067 | 40 | 86460
143 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1017 | 15 | 6360
144 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1551 | 32 | 21060
145 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2940 | 21 | 11880
146 | DURG BHILAI CHARODA TOWN | 11KV CHAUHAN FEEDER | 1745 | 1 | 1200
147 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1051 | 24 | 21060
148 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 25 | 15060
149 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2486 | 23 | 13860
150 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1473 | 55 | 45960
151 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 179 | 22 | 20280
152 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 510 | 35 | 47520
153 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 311 | 19 | 13620
154 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 23 | 13320
155 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 206 | 22 | 20460
156 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 606 | 18 | 13860
157 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1048 | 23 | 20280
158 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2323 | 29 | 101100
159 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 792 | 21 | 33780
160 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1250 | 19 | 20700
161 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2161 | 21 | 17040
162 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1149 | 19 | 13320
163 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2420 | 30 | 41400
164 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 933 | 24 | 20400
165 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1486 | 29 | 37320
166 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 921 | 41 | 29400
167 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1479 | 12 | 10620
168 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 850 | 18 | 9600
169 | DURG BHILAI CHARODA TOWN | 11KV NIMATALA FEEDER | 1217 | 37 | 33180
170 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1154 | 22 | 19320
171 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 362 | 22 | 26160
172 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 746 | 33 | 39720
173 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1144 | 10 | 7020
174 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4378 | 17 | 40860
175 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1015 | 27 | 38460
176 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1644 | 9 | 13020
177 | DURG BHILAI CHARODA TOWN | 11KV Sunder Nagar Feeder | 1691 | 11 | 16200
178 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 566 | 18 | 16740
179 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 339 | 21 | 48300
180 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 1008 | 17 | 39120
181 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 939 | 5 | 7380
182 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 952 | 22 | 51360
183 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1183 | 25 | 29460
184 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1962 | 12 | 68820
185 | DURG BHILAI CHARODA TOWN | 11KV Industrial-2 Feeder | 60 | 9 | 5220
186 | DURG BHILAI CHARODA TOWN | 11KV Indurstrial-1 Feeder | 463 | 10 | 5880
187 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1296 | 17 | 20460
188 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 3437 | 30 | 16080
189 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 687 | 28 | 31200
190 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 271 | 14 | 8520
191 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1284 | 9 | 13260
192 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1679 | 8 | 84660
193 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2309 | 19 | 19740
194 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2667 | 24 | 29220
195 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 245 | 27 | 15180
196 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1789 | 32 | 36600
197 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3060 | 20 | 11640
198 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2239 | 17 | 35880
199 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1000 | 32 | 30060
200 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 836 | 24 | 38940
201 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2165 | 20 | 35700
202 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 208 | 34 | 41340
203 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1564 | 15 | 15300
204 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1550 | 3 | 18780
205 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1268 | 31 | 59820
206 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 18 | 25080
207 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1949 | 18 | 18840
208 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 2408 | 1 | 300
209 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 19 | 15840
210 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1204 | 4 | 9060
211 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1762 | 13 | 33420
212 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 6 | 2340
213 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1507 | 12 | 21060
214 | KANKER TOWN | 11KV PATOD FEEDER | 712 | 55 | 61800
215 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2908 | 12 | 4740
216 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 719 | 11 | 33240
217 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 33 | 61440
218 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 17 | 28 | 21420
219 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2905 | 22 | 30720
220 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 21 | 59 | 61920
221 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1266 | 80 | 136860
222 | KORBA TOWN | 11KV PARSABADA FEEDER | 1417 | 54 | 66060
223 | KORBA TOWN | 11KV Town-1 Feeder | 711 | 20 | 27060
224 | KORBA TOWN | 11KV NIHARIKA FEEDER | 714 | 27 | 43740
225 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1302 | 34 | 82500
226 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2821 | 25 | 44220
227 | KORBA TOWN | 11KV BULGI FEEDER | 989 | 70 | 117900
228 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 773 | 69 | 81840
229 | KORBA TOWN | 11KV RP Nagar Feeder | 812 | 24 | 44400
230 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 21 | 19740
231 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1104 | 47 | 58380
232 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 71 | 26 | 27540
233 | KORBA TOWN | 11KV RAMPUR FEEDER | 817 | 10 | 6120
234 | KORBA TOWN | 11KV BAIKUND NAGAR FEEDER | 377 | 43 | 68340
235 | KORBA TOWN | 11KV SARMANGLA FEEDER | 756 | 39 | 61860
236 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2078 | 18 | 3660
237 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2329 | 8 | 5100
238 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 19 | 15000
239 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1000 | 48 | 31500
240 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 1838 | 68 | 42900
241 | MUNGELI TOWN | 11 KV Colecter Feeder | 226 | 33 | 30300
242 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1384 | 52 | 38640
243 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 947 | 49 | 31980
244 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 338 | 33 | 36960
245 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 900 | 34 | 40740
246 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 624 | 33 | 38100
247 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 680 | 37 | 40200
248 | RAIGARH TOWN | 11 KV Shriram feeder | 819 | 26 | 19260
249 | RAIGARH TOWN | 11 KV Stadium feeder | 590 | 37 | 36480
250 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1355 | 33 | 33180
251 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 792 | 33 | 28920
252 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1029 | 44 | 33180
253 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1050 | 39 | 26280
254 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1251 | 20 | 32640
255 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 221 | 17 | 30660
256 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1550 | 67 | 61560
257 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 379 | 18 | 14940
258 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1647 | 23 | 15240
259 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 592 | 62 | 42900
260 | RAIGARH TOWN | 11KV Savitri Nagar Feeder | 1025 | 64 | 51720
261 | RAIGARH TOWN | 11KV Baba Dham Feeder | 841 | 85 | 116940
262 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 803 | 18 | 21060
263 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 96 | 16 | 16020
264 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 979 | 48 | 31980
265 | RAIGARH TOWN | 11kv Collectred Feeder | 83 | 45 | 30300
266 | RAIGARH TOWN | 11 KV Gowardhanpur feeder | 383 | 19 | 40860
267 | RAIGARH TOWN | 11 KV Gerwani feeder | 1664 | 74 | 109200
268 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1029 | 18 | 40980
269 | RAIGARH TOWN | 11KV KOTWALI FEEDER | 1146 | 21 | 19980
270 | RAIPUR TOWN | 11KV ATARI FEEDER | 730 | 45 | 46800
271 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 279 | 11 | 8880
272 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 730 | 13 | 32160
273 | RAIPUR TOWN | 11KV BASTAL FEEDER | 612 | 9 | 3060
274 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1538 | 14 | 36480
275 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 963 | 20 | 10200
276 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 105 | 8 | 6600
277 | RAIPUR TOWN | 11KV COLONY FEEDER | 83 | 14 | 9060
278 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1809 | 11 | 7560
279 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1571 | 17 | 8460
280 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 828 | 4 | 10200
281 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 85 | 7 | 9180
282 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1486 | 24 | 15660
283 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2286 | 23 | 28140
284 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 418 | 16 | 17400
285 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 21 | 13 | 6900
286 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 507 | 11 | 8880
287 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2056 | 16 | 10860
288 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 52 | 18 | 54180
289 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 18 | 54000
290 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2045 | 6 | 5580
291 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1733 | 15 | 7380
292 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 530 | 13 | 3600
293 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 907 | 4 | 3180
294 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1227 | 9 | 3660
295 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5413 | 23 | 30780
296 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4199 | 8 | 2220
297 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 13 | 5940
298 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 594 | 14 | 32160
299 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2058 | 15 | 10200
300 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1823 | 34 | 44340
301 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 351 | 20 | 41640
302 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 910 | 24 | 27600
303 | RAIPUR TOWN | 11KV CITY FEEDER | 2238 | 16 | 13740
304 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1355 | 15 | 23040
305 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 949 | 6 | 11640
306 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 766 | 6 | 6960
307 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 269 | 24 | 36900
308 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 17 | 18540
309 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 37 | 14 | 8280
310 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 756 | 20 | 8160
311 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 811 | 13 | 17160
312 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1039 | 14 | 10620
313 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2185 | 34 | 16740
314 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 2 | 10 | 15120
315 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1557 | 18 | 14340
316 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1798 | 15 | 14220
317 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1261 | 29 | 172080
318 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 1851 | 17 | 17880
319 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 691 | 16 | 16680
320 | RAIPUR TOWN | 11KV SAMTA FEEDER | 542 | 9 | 4980
321 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 375 | 14 | 15720
322 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 482 | 20 | 36180
323 | RAIPUR TOWN | 11KV TV FEEDER | 2877 | 14 | 13020
324 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 699 | 21 | 21900
325 | RAIPUR TOWN | 11KV Goverdhan Chowk Feeder | 2787 | 15 | 13740
326 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3555 | 13 | 7620
327 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2609 | 7 | 2700
328 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1200 | 11 | 6960
329 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1975 | 1 | 5160
330 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 802 | 26 | 27780
331 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 299 | 13 | 18420
332 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 900 | 8 | 4980
333 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2216 | 6 | 2580
334 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2365 | 26 | 24060
335 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 874 | 16 | 4560
336 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1012 | 14 | 17400
337 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2265 | 19 | 6540
338 | RAIPUR TOWN | 11KV WHITE HOUSE | 551 | 5 | 3420
339 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 770 | 2 | 900
340 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 973 | 11 | 6540
341 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 641 | 37 | 15300
342 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1817 | 8 | 4860
343 | RAIPUR TOWN | 11 KV Jainam Vihar Feeder | 2320 | 1 | 1740
344 | RAIPUR TOWN | 11KV Medical College Feeder | 14 | 19 | 6420
345 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1669 | 36 | 26100
346 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1507 | 15 | 13920
347 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 6 | 4920
348 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 76 | 5 | 1860
349 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1755 | 26 | 16560
350 | RAIPUR TOWN | 11KV Chandadih Feeder | 412 | 3 | 840
351 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 525 | 28 | 9900
352 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 869 | 11 | 9540
353 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1167 | 27 | 28920
354 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 374 | 25 | 44460
355 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 252 | 15 | 9300
356 | RAIPUR TOWN | 11KV RDA FEEDER | 849 | 5 | 6600
357 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 346 | 19 | 10020
358 | RAIPUR TOWN | 11KV MANDI | 601 | 31 | 31680
359 | RAIPUR TOWN | 11KV Naharpara Feeder | 1383 | 9 | 5760
360 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1335 | 13 | 62160
361 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 124 | 15 | 5880
362 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1524 | 6 | 5160
363 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 598 | 4 | 4620
364 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1246 | 6 | 17160
365 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 898 | 12 | 17940
366 | RAIPUR TOWN | 11KV Marling Complex Feeder | 938 | 12 | 20700
367 | RAIPUR TOWN | 11KV Krishak Nagar | 171 | 20 | 15060
368 | RAIPUR TOWN | 11KV Roman Square | 446 | 19 | 21180
369 | RAIPUR TOWN | 11KV Suraj Nagar | 1074 | 28 | 25920
370 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 154 | 19 | 19080
371 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 616 | 16 | 22560
372 | RAIPUR TOWN | 11KV Dental College Feeder | 34 | 16 | 9120
373 | RAIPUR TOWN | 11KV MG ROAD | 1576 | 11 | 31080
374 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2656 | 13 | 15420
375 | RAIPUR TOWN | 11KV NAVEEN MARKET | 860 | 12 | 21720
376 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 707 | 31 | 10080
377 | RAIPUR TOWN | 11 KV Acre PlotFeeder | 253 | 4 | 2820
378 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1359 | 20 | 7200
379 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 194 | 5 | 3240
380 | RAIPUR TOWN | 11KV Parsuram Feeder | 1330 | 18 | 20640
381 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 610 | 25 | 43440
382 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1084 | 20 | 23880
383 | RAIPUR TOWN | 11KV BORIYA Feeder | 743 | 18 | 10620
384 | RAIPUR TOWN | 11KV OM Complex Feeder | 1329 | 8 | 14460
385 | RAIPUR TOWN | 11KV Saddu Feeder | 290 | 37 | 50880
386 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1388 | 21 | 26220
387 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 919 | 9 | 22320
388 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 972 | 18 | 30000
389 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 497 | 20 | 13440
390 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 2041 | 24 | 12660
391 | RAIPUR TOWN | 11KV Bazar Chowk Feeder | 1224 | 6 | 3960
392 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 649 | 17 | 7920
393 | RAIPUR TOWN | 11KV Pride Feeder | 34 | 5 | 6660
394 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 815 | 20 | 9960
395 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1908 | 5 | 3240
396 | RAIPUR TOWN | 11 KV Station Road Feeder | 840 | 17 | 15360
397 | RAIPUR TOWN | 11KV Jaistamb Feeder | 1142 | 12 | 187560
398 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1305 | 20 | 9600
399 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 397 | 15 | 6420
400 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2379 | 21 | 14220
401 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1132 | 43 | 49620
402 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 500 | 20 | 12060
403 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 23 | 21360
404 | RAIPUR TOWN | 11KV Son Dongari Feeder | 965 | 11 | 7200
405 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 284 | 29 | 22740
406 | RAIPUR TOWN | 11KV Danteshwari Feeder | 844 | 28 | 49080
407 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1213 | 12 | 26880
408 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1618 | 28 | 31080
409 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 582 | 25 | 11400
410 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 183 | 11 | 6540
411 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 737 | 25 | 14460
412 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 993 | 1 | 180
413 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 484 | 21 | 27660
414 | RAIPUR TOWN | 11KV KHARUN FEEDER | 718 | 12 | 8520
415 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1453 | 10 | 3300
416 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1115 | 15 | 3180
417 | RAIPUR TOWN | 11KV MAHALAXMI | 596 | 21 | 21900
418 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1969 | 11 | 5160
419 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 444 | 13 | 9240
420 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 525 | 10 | 13680
421 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 49 | 26 | 47820
422 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1568 | 15 | 4080
423 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 1419 | 8 | 4080
424 | RAIPUR TOWN | 11KV MAHADEVGHAT FEEDER | 1428 | 2 | 4560
425 | RAIPUR TOWN | 11KV IGVP | 352 | 23 | 28020
426 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 338 | 16 | 11940
427 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2047 | 21 | 15600
428 | RAIPUR TOWN | 11KV Gondwara Feeder | 411 | 43 | 19380
429 | RAIPUR TOWN | 11KV Gogaon Feeder | 2921 | 11 | 17280
430 | RAIPUR TOWN | 11KV Lakdi Mill Feeder | 574 | 1 | 1680
431 | RAIPUR TOWN | 11KV Jivnani Feeder | 453 | 7 | 12600
432 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1779 | 13 | 12600
433 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1645 | 25 | 8580
434 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 276 | 44 | 27240
435 | RAIPUR TOWN | 11KV SapreSala Feeder | 893 | 16 | 3960
436 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2415 | 13 | 17640
437 | RAIPUR TOWN | 11KV Medishine Feeder | 967 | 27 | 143340
438 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 355 | 10 | 107340
439 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 106 | 14 | 10800
440 | RAIPUR TOWN | 11KV Station Road Feeder | 335 | 23 | 17340
441 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2594 | 37 | 41460
442 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1881 | 24 | 26220
443 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1721 | 8 | 5520
444 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 61 | 13 | 65040
445 | RAIPUR TOWN | 11KV Ashiyana Feeder | 638 | 4 | 21360
446 | RAIPUR TOWN | 11Kv Professor Colony feeder | 935 | 29 | 25140
447 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 3366 | 29 | 16860
448 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2232 | 22 | 37560
449 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 936 | 7 | 3540
450 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2380 | 18 | 31080
451 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 933 | 1 | 180
452 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2625 | 7 | 17580
453 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2565 | 13 | 61500
454 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 779 | 14 | 29520
455 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 23 | 25 | 13740
456 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4289 | 24 | 117600
457 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 794 | 29 | 11100