## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: |  | D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | May'21
Period: |  | 1st Apr'21 to 30th Apr'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 723
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 652 | 11 | 17880 | 2000076563
2 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1251 | 14 | 11460 | 2000076479
3 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 633 | 15 | 46020 | 2000076478
4 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1039 | 23 | 24780 | 2000003840
5 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 3159 | 4 | 5460 | 2000003855
6 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2031 | 24 | 22020 | 2000003854
7 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 48 | 25 | 10020 | 2000071574
8 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1826 | 24 | 8760 | 2000071573
9 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1194 | 27 | 14220 | 2000071572
10 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1637 | 5 | 15600 | 2000003853
11 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2293 | 3 | 4740 | 2000003852
12 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 307 | 8 | 9600 | 2000003841
13 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1513 | 7 | 16260 | 2000003842
14 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1640 | 7 | 10320 | 2000003843
15 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1774 | 15 | 10200 | 2000003851
16 | AMBIKAPUR TOWN | 11KV DCROAD | 2219 | 17 | 12720 | 2000014951
17 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 314 | 17 | 12900 | 2000014952
18 | AMBIKAPUR TOWN | 11KV SONPUR | 916 | 17 | 12780 | 2000014954
19 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 22 | 9 | 10620 | 2000014957
20 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1120 | 27 | 34800 | 2000003850
21 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2049 | 27 | 36000 | 2000003849
22 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 966 | 5 | 7080 | 2000003848
23 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 563 | 21 | 28380 | 2000003847
24 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2030 | 11 | 17820 | 2000003846
25 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1294 | 20 | 23400 | 2000003845
26 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 500 | 14 | 19620 | 2000003844
27 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 565 | 20 | 14340 | 2000014959
28 | AMBIKAPUR TOWN | 11KV TV FEEDER | 3313 | 4 | 5400 | 2000014963
29 | BHATAPARA TOWN | 11KV Rest House Fedeer | 1251 | 29 | 27300 | 2000075846
30 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 786 | 11 | 6420 | 2000006347
31 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 309 | 8 | 2940 | 2000001007
32 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 330 | 5 | 4320 | 2000001005
33 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 560 | 9 | 11760 | 2000004867
34 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2150 | 18 | 117600 | 2000004868
35 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2386 | 5 | 7200 | 2000004869
36 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 747 | 1 | 540 | 2000004870
37 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1648 | 15 | 15240 | 2000004871
38 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 1308 | 5 | 2760 | 2000004873
39 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1454 | 2 | 1680 | 2000004874
40 | BILASPUR TOWN | 11KV TORWA FEEDER | 1951 | 1 | 300 | 2000004875
41 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 696 | 4 | 3780 | 2000004876
42 | BILASPUR TOWN | 11KV DHEKA FEEDER | 428 | 20 | 30540 | 2000004877
43 | BILASPUR TOWN | 11KV DHUMA FEEDER | 877 | 1 | 5340 | 2000004878
44 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 609 | 19 | 35880 | 2000004879
45 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1165 | 5 | 6660 | 2000004881
46 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2314 | 8 | 10380 | 2000004882
47 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1306 | 13 | 16920 | 2000004883
48 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1957 | 13 | 14220 | 2000004884
49 | BILASPUR TOWN | 11KV HARDIFEEDER | 1236 | 1 | 5340 | 2000004885
50 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1145 | 4 | 2520 | 2000004886
51 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1452 | 13 | 19920 | 2000004888
52 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2703 | 14 | 23400 | 2000004889
53 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 5 | 7200 | 2000004890
54 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1207 | 19 | 8580 | 2000004891
55 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 1114 | 1 | 2580 | 2000004892
56 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 1284 | 18 | 14400 | 2000004893
57 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1296 | 9 | 1008900 | 2000004894
58 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1415 | 15 | 15240 | 2000004896
59 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 619 | 8 | 12660 | 2000004897
60 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1312 | 1 | 5340 | 2000004898
61 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1196 | 8 | 2460 | 2000004899
62 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1402 | 12 | 13680 | 2000004900
63 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2843 | 12 | 12060 | 2000004901
64 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1779 | 15 | 17400 | 2000004902
65 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2122 | 2 | 1680 | 2000004904
66 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2980 | 2 | 1200 | 2000004905
67 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 2290 | 5 | 7200 | 2000004906
68 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2287 | 16 | 6360 | 2000004907
69 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 1102 | 2 | 4260 | 2000004908
70 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4925 | 13 | 18360 | 2000004909
71 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2375 | 4 | 6600 | 2000004910
72 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1412 | 16 | 6240 | 2000004911
73 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2206 | 7 | 5520 | 2000004912
74 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1849 | 14 | 5100 | 2000004913
75 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2707 | 4 | 2460 | 2000004914
76 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 80 | 8 | 10440 | 2000004915
77 | BILASPUR TOWN | 11KV RULER FEEDER | 2197 | 8 | 10260 | 2000004916
78 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2376 | 5 | 2700 | 2000004917
79 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2265 | 4 | 2580 | 2000004919
80 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3427 | 1 | 2580 | 2000004920
81 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 985 | 4 | 2580 | 2000004921
82 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1704 | 12 | 19560 | 2000004922
83 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 899 | 15 | 17400 | 2000004923
84 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 368 | 15 | 17460 | 2000004924
85 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1540 | 9 | 11640 | 2000004925
86 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1614 | 9 | 14400 | 2000004926
87 | BILASPUR TOWN | 11KV KONI FEEDER | 987 | 25 | 18840 | 2000006494
88 | BILASPUR TOWN | 11KV UNIVERSITY FEEDER | 1 | 11 | 10560 | 2000006495
89 | BILASPUR TOWN | 11KV TV FEEDER | 3345 | 5 | 2760 | 2000016309
90 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1000 | 7 | 10560 | 2000016310
91 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 303 | 8 | 13560 | 2000016311
92 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 575 | 8 | 12660 | 2000016312
93 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1750 | 8 | 12600 | 2000016314
94 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 232 | 15 | 8220 | 2000016315
95 | BILASPUR TOWN | 11KV NEW MOPKA | 1534 | 3 | 4020 | 2000017224
96 | BILASPUR TOWN | 11KV SHIVAM CITY | 2212 | 4 | 4860 | 2000017225
97 | BILASPUR TOWN | 11KV MAHAVEER CITY | 446 | 3 | 4080 | 2000017226
98 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 2 | 8 | 8220 | 2000017502
99 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 495 | 10 | 21660 | 2000017504
100 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2241 | 12 | 11100 | 2000017505
101 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1299 | 17 | 18780 | 2000017776
102 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 131 | 17 | 19080 | 2000017777
103 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 323 | 17 | 18840 | 2000017778
104 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 452 | 18 | 29100 | 2000017780
105 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 678 | 17 | 27300 | 2000017781
106 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 3 | 15 | 26520 | 2000017782
107 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1498 | 11 | 18420 | 2000018403
108 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1030 | 11 | 13620 | 2000018404
109 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1678 | 9 | 15360 | 2000018405
110 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 1142 | 6 | 10200 | 2000018761
111 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 2054 | 1 | 3480 | 2000018762
112 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 686 | 6 | 10260 | 2000018763
113 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 83 | 5 | 3780 | 2000020488
114 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 623 | 5 | 4500 | 2000020489
115 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1687 | 6 | 4740 | 2000020490
116 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1583 | 13 | 12660 | 2000020582
117 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1028 | 19 | 21000 | 2000020583
118 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 275 | 11 | 14040 | 2000020584
119 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 401 | 9 | 11580 | 2000022056
120 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1756 | 1 | 5340 | 2000022059
121 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1710 | 10 | 110580 | 2000022060
122 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 2219 | 14 | 392160 | 2000022061
123 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 212 | 5 | 2760 | 2000022075
124 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1872 | 13 | 12120 | 2000023801
125 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1168 | 8 | 3720 | 2000023802
126 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1022 | 12 | 14760 | 2000023803
127 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 341 | 3 | 2520 | 2000024037
128 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 662 | 2 | 1560 | 2000024038
129 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2474 | 2 | 1560 | 2000024039
130 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1165 | 4 | 3840 | 2000027413
131 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 62 | 4 | 7860 | 2000076558
132 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 28 | 13 | 27240 | 2000076559
133 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 102 | 13 | 27960 | 2000076560
134 | BILASPUR TOWN | 11KV JABDAPARA FEEDER | 1033 | 7 | 12780 | 2000076885
135 | BILASPUR TOWN | 11KV AUDITORIUM FEEDER | 1 | 5 | 3600 | 2000076886
136 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 305 | 4 | 2100 | 2000076887
137 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 7 | 1 | 5340 | 2000077336
138 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1171 | 8 | 10260 | 2000077337
139 | BILASPUR TOWN | 11KV Maa Harshiddhi Feeder | 213 | 1 | 420 | 2000077612
140 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 111 | 21 | 19320 | 2000015492
141 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 412 | 21 | 13260 | 2000001804
142 | CHAMPA TOWN | 11KV KURDAFEEDER | 1659 | 35 | 34440 | 2000001807
143 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2372 | 18 | 21420 | 2000001808
144 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2268 | 5 | 4620 | 2000001809
145 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2957 | 24 | 21600 | 2000001812
146 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1320 | 14 | 10020 | 2000001813
147 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 873 | 25 | 12660 | 2000001814
148 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1064 | 28 | 58140 | 2000015251
149 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 553 | 26 | 58800 | 2000015252
150 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4534 | 23 | 30900 | 2000003144
151 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5683 | 43 | 31740 | 2000003197
152 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 289 | 50 | 157920 | 2000006348
153 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 350 | 65 | 634380 | 2000003193
154 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1674 | 28 | 38040 | 2000003194
155 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1295 | 35 | 25680 | 2000003195
156 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2059 | 13 | 28560 | 2000003196
157 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2958 | 12 | 7380 | 2000002579
158 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3835 | 17 | 183180 | 2000002578
159 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 30 | 9 | 6480 | 2000002577
160 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1322 | 14 | 12600 | 2000002576
161 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 983 | 22 | 31260 | 2000002575
162 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1389 | 6 | 2520 | 2000002574
163 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 107 | 5 | 3600 | 2000002573
164 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 991 | 9 | 4320 | 2000002572
165 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2110 | 13 | 12540 | 2000002571
166 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4474 | 5 | 3120 | 2000002570
167 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1659 | 5 | 3300 | 2000002569
168 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 17 | 25980 | 2000002567
169 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 48 | 10 | 56040 | 2000002566
170 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 552 | 5 | 3360 | 2000015505
171 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 407 | 14 | 59040 | 2000004308
172 | DHAMTARI TOWN | 11KV CHITOD1 | 4905 | 13 | 15420 | 2000004307
173 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1945 | 13 | 9780 | 2000007686
174 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1759 | 5 | 4800 | 2000007687
175 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 118 | 29 | 542040 | 2000007688
176 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 630 | 3 | 2880 | 2000007689
177 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4151 | 4 | 21180 | 2000007696
178 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1106 | 10 | 20460 | 2000007702
179 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1143 | 10 | 8640 | 2000007703
180 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2468 | 14 | 18600 | 2000007705
181 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1665 | 10 | 7440 | 2000007707
182 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1398 | 18 | 10500 | 2000007715
183 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1561 | 23 | 8280 | 2000007718
184 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1139 | 3 | 2760 | 2000007720
185 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1414 | 5 | 35520 | 2000007721
186 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2239 | 4 | 3780 | 2000007723
187 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1507 | 15 | 252480 | 2000007724
188 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1746 | 7 | 5160 | 2000007725
189 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2649 | 13 | 10980 | 2000007726
190 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 756 | 8 | 10800 | 2000007729
191 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 980 | 4 | 10500 | 2000007731
192 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 743 | 8 | 26520 | 2000007733
193 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1135 | 4 | 2340 | 2000007735
194 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1644 | 11 | 5640 | 2000007737
195 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3209 | 8 | 278460 | 2000007742
196 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 927 | 10 | 22440 | 2000007744
197 | DURG BHILAI CHARODA TOWN | 11KV PETROLPUMP FEEDER | 1240 | 1 | 960 | 2000007746
198 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 732 | 10 | 10980 | 2000007747
199 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1319 | 17 | 83040 | 2000007750
200 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1989 | 2 | 1140 | 2000007754
201 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUMPARK FEEDER | 529 | 5 | 4980 | 2000007755
202 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1375 | 24 | 15240 | 2000007756
203 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2080 | 8 | 7980 | 2000007757
204 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2311 | 17 | 14460 | 2000007758
205 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2275 | 11 | 23460 | 2000007759
206 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1041 | 8 | 8820 | 2000007761
207 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1068 | 6 | 9600 | 2000007762
208 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 715 | 21 | 16320 | 2000007769
209 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 1886 | 11 | 12480 | 2000007772
210 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1568 | 12 | 11940 | 2000007773
211 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1571 | 17 | 5820 | 2000007774
212 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1259 | 15 | 36300 | 2000007775
213 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1233 | 4 | 5520 | 2000007776
214 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1245 | 11 | 9540 | 2000007779
215 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7669 | 16 | 40860 | 2000016889
216 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2965 | 25 | 18360 | 2000017000
217 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2594 | 12 | 7380 | 2000017052
218 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1331 | 9 | 11040 | 2000017054
219 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1202 | 7 | 12900 | 2000017055
220 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 970 | 6 | 9120 | 2000017056
221 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 892 | 3 | 3540 | 2000017058
222 | DURG BHILAI CHARODA TOWN | 11KV KATUL BOAD | 1679 | 3 | 3600 | 2000017059
223 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 453 | 6 | 4980 | 2000017060
224 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1837 | 8 | 10920 | 2000017061
225 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 586 | 6 | 6360 | 2000017062
226 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 750 | 1 | 2940 | 2000017063
227 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1544 | 1 | 360 | 2000017064
228 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1508 | 8 | 6900 | 2000017065
229 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1181 | 8 | 4980 | 2000017066
230 | DURG BHILAI CHARODA TOWN | 11KV HANODA RURAL FEEDER | 575 | 5 | 4800 | 2000017067
231 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1326 | 7 | 9060 | 2000017068
232 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 973 | 9 | 6840 | 2000017069
233 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2171 | 8 | 6960 | 2000017071
234 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 270 | 8 | 9060 | 2000017072
235 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 531 | 16 | 17880 | 2000017080
236 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2619 | 4 | 4200 | 2000018574
237 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 9 | 9420 | 2000018704
238 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1407 | 9 | 8940 | 2000018705
239 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1855 | 4 | 4260 | 2000018706
240 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 917 | 5 | 5040 | 2000018707
241 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2973 | 9 | 25200 | 2000018723
242 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 658 | 4 | 3720 | 2000019819
243 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2814 | 21 | 36000 | 2000019876
244 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1110 | 4 | 2400 | 2000020519
245 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1674 | 12 | 42120 | 2000021263
246 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1334 | 12 | 45180 | 2000021264
247 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1185 | 4 | 7380 | 2000021357
248 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3176 | 8 | 10800 | 2000023773
249 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 356 | 2 | 1500 | 2000025794
250 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 1 | 600 | 2000027337
251 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1935 | 7 | 8220 | 2000029190
252 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1419 | 8 | 9300 | 2000029191
253 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 876 | 7 | 7260 | 2000029192
254 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 2150 | 2 | 1260 | 2000029193
255 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1959 | 7 | 4380 | 2000049757
256 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 60 | 2 | 3540 | 2000049820
257 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2200 | 1 | 360 | 2000067878
258 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 16 | 1 | 4680 | 2000068108
259 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 51 | 1 | 4680 | 2000068109
260 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 18 | 1 | 4680 | 2000068110
261 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1406 | 11 | 4020 | 2000075513
262 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 136 | 1 | 420 | 2000075565
263 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 798 | 1 | 360 | 2000075566
264 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1837 | 15 | 13560 | 2000075806
265 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1037 | 24 | 9240 | 2000075812
266 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 361 | 3 | 780 | 2000075949
267 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2312 | 22 | 13380 | 2000075970
268 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1212 | 1 | 420 | 2000075971
269 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 777 | 12 | 26160 | 2000076270
270 | DURG BHILAI CHARODA TOWN | 11KV Gol Market Feeder | 1071 | 3 | 3540 | 2000077904
271 | DURG BHILAI CHARODA TOWN | 11 KV Bhim Nagar Feeder | 1445 | 9 | 8760 | 2000078040
272 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 342 | 17 | 36420 | 2000004329
273 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2216 | 19 | 13800 | 2000004330
274 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1554 | 2 | 3480 | 2000004331
275 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1252 | 16 | 30120 | 2000004332
276 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 294 | 16 | 31320 | 2000004333
277 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 946 | 10 | 16320 | 2000004334
278 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1538 | 17 | 31260 | 2000004335
279 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2673 | 10 | 18360 | 2000004336
280 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1792 | 16 | 29940 | 2000004337
281 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3647 | 18 | 22380 | 2000004338
282 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2478 | 25 | 42900 | 2000004339
283 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2091 | 18 | 47940 | 2000004340
284 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1940 | 10 | 31080 | 2000004341
285 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2520 | 10 | 9780 | 2000004343
286 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 68 | 17 | 43080 | 2000078041
287 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 387 | 10 | 22080 | 2000075799
288 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2580 | 14 | 33600 | 2000075216
289 | JAGDALPUR TOWN | 11KV Green City Feeder | 534 | 16 | 28740 | 2000075215
290 | JAGDALPUR TOWN | 11KV Vargish Feeder | 867 | 9 | 14100 | 2000023847
291 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1223 | 15 | 27720 | 2000004349
292 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3772 | 9 | 18960 | 2000004348
293 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 11 | 15000 | 2000004347
294 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 4284 | 10 | 6720 | 2000004346
295 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2021 | 15 | 24060 | 2000004344
296 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1797 | 41 | 41520 | 2000015850
297 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 496 | 1 | 360 | 2000075551
298 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2061 | 1 | 360 | 2000075552
299 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1873 | 1 | 360 | 2000075553
300 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1744 | 17 | 20100 | 2000001055
301 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3542 | 8 | 9240 | 2000001054
302 | KAWARDHA TOWN | 11KV VIP FEEDER | 488 | 5 | 4260 | 2000001052
303 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 2786 | 9 | 8400 | 2000001051
304 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1719 | 8 | 91380 | 2000001048
305 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1491 | 4 | 1560 | 2000001045
306 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 19 | 28 | 28020 | 2000006490
307 | KORBA TOWN | 11KV ABC FEEDER | 1356 | 1 | 480 | 2000006759
308 | KORBA TOWN | 11KV AB TYPE COLONY FEEDER | 305 | 27 | 27540 | 2000006760
309 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3667 | 18 | 84180 | 2000006761
310 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 932 | 14 | 11520 | 2000006762
311 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1090 | 12 | 16440 | 2000006763
312 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1009 | 18 | 32400 | 2000006764
313 | KORBA TOWN | 11KV DARRI FEEDER | 1322 | 1 | 2820 | 2000006767
314 | KORBA TOWN | 11KV DADAR FEEDER | 1056 | 14 | 9120 | 2000006768
315 | KORBA TOWN | 11KV DEFR FEEDER | 1643 | 1 | 420 | 2000006769
316 | KORBA TOWN | 11KV DUMARDIHFEEDER | 10 | 14 | 11700 | 2000006770
317 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 726 | 7 | 15540 | 2000006771
318 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 848 | 16 | 29220 | 2000006773
319 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 931 | 13 | 16260 | 2000006775
320 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 531 | 19 | 14580 | 2000006776
321 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 244 | 8 | 10680 | 2000006778
322 | KORBA TOWN | 11KV KOSABADI FEEDER | 1173 | 8 | 3240 | 2000006780
323 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1158 | 27 | 27540 | 2000006782
324 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1605 | 7 | 5700 | 2000006783
325 | KORBA TOWN | 11KV NIHARIKA FEEDER | 865 | 11 | 8340 | 2000006784
326 | KORBA TOWN | 11KV P.HROAD FEEDER | 1375 | 6 | 7860 | 2000006785
327 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1331 | 27 | 27600 | 2000006787
328 | KORBA TOWN | 11KV POWERCITY FEEDER | 642 | 1 | 2820 | 2000006788
329 | KORBA TOWN | 11KV PARSABADA FEEDER | 919 | 29 | 40680 | 2000006789
330 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 713 | 10 | 49020 | 2000006790
331 | KORBA TOWN | 11KV RAMPUR FEEDER | 215 | 8 | 3240 | 2000006791
332 | KORBA TOWN | 11KV RURAL FEEDER | 1618 | 10 | 17520 | 2000006792
333 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1113 | 25 | 31620 | 2000006794
334 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2387 | 26 | 30420 | 2000006795
335 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 945 | 26 | 30300 | 2000006796
336 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 176 | 8 | 3300 | 2000006797
337 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1512 | 13 | 12600 | 2000006798
338 | KORBA TOWN | 11KV BUDHWARI FEEDER | 875 | 17 | 19260 | 2000015220
339 | KORBA TOWN | 11KV SEMIPALI | 468 | 3 | 13020 | 2000015240
340 | KORBA TOWN | 11KV DONDRO FEEDER | 35 | 26 | 24600 | 2000016028
341 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 2244 | 14 | 18120 | 2000016201
342 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2616 | 1 | 2820 | 2000016255
343 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1153 | 8 | 5700 | 2000016912
344 | KORBA TOWN | 11KV DINDAYAL AWAS | 483 | 6 | 8400 | 2000017789
345 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 100 | 13 | 12360 | 2000017790
346 | KORBA TOWN | 11KV OM SAI APPARTMENT | 464 | 8 | 8460 | 2000017791
347 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2132 | 20 | 45300 | 2000017804
348 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 789 | 18 | 37920 | 2000017805
349 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 994 | 9 | 16500 | 2000018988
350 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1972 | 19 | 30120 | 2000020065
351 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 194 | 16 | 26880 | 2000020121
352 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 947 | 11 | 13500 | 2000021288
353 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 225 | 10 | 13500 | 2000021289
354 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1155 | 7 | 6300 | 2000021425
355 | KORBA TOWN | 11KV KOTWALI | 1789 | 17 | 27780 | 2000071531
356 | KORBA TOWN | 11KV SANJAY NAGAR | 2292 | 19 | 30420 | 2000071532
357 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 10 | 15900 | 2000071855
358 | KORBA TOWN | 11KV KOHADIYA | 1932 | 9 | 17580 | 2000071856
359 | KORBA TOWN | 11KV TINADAFAI FEEDER | 1036 | 6 | 6000 | 2000075797
360 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 431 | 34 | 35940 | 2000075847
361 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1000 | 19 | 19260 | 2000075848
362 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 116 | 15 | 12180 | 2000075849
363 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2799 | 26 | 30840 | 2000075850
364 | KORBA TOWN | 11KV ITI FEEDER | 1521 | 21 | 26520 | 2000075851
365 | KORBA TOWN | 11KV SUMEDHA FEEDER | 415 | 3 | 12660 | 2000077493
366 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1770 | 3 | 12660 | 2000077495
367 | MAHASAMUND TOWN | 11KV Trimurti Feeder | 187 | 7 | 7620 | 2000077409
368 | MAHASAMUND TOWN | 11KV Nehru Chowk Feeder | 1606 | 2 | 240 | 2000077410
369 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 768 | 16 | 16080 | 2000001425
370 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1890 | 14 | 16020 | 2000001427
371 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 687 | 9 | 69180 | 2000069914
372 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1809 | 20 | 76140 | 2000069913
373 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 54 | 6 | 6240 | 2000069912
374 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1822 | 22 | 34200 | 2000069911
375 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6276 | 16 | 16320 | 2000003057
376 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1286 | 13 | 11880 | 2000003055
377 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 1004 | 17 | 13200 | 2000068276
378 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1889 | 24 | 25800 | 2000055675
379 | MUNGELI TOWN | 11KV COLECTER FEEDER | 806 | 12 | 11580 | 2000006460
380 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 641 | 9 | 21180 | 2000002464
381 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1373 | 8 | 7200 | 2000002463
382 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2750 | 21 | 14100 | 2000002462
383 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 105 | 12 | 26040 | 2000002458
384 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2041 | 4 | 5280 | 2000006458
385 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 169 | 9 | 21180 | 2000015467
386 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6195 | 3 | 1080 | 2000001626
387 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1363 | 24 | 15240 | 2000001628
388 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 34 | 18 | 10620 | 2000001633
389 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 649 | 1 | 360 | 2000001634
390 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2931 | 19 | 27900 | 2000001635
391 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 432 | 1 | 300 | 2000001637
392 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 216 | 2 | 1200 | 2000018959
393 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 280 | 11 | 3960 | 2000001625
394 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER | 179 | 3 | 2520 | 2000001624
395 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 147 | 26 | 16800 | 2000001623
396 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1646 | 17 | 11760 | 2000001622
397 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 66 | 19 | 13380 | 2000077488
398 | NAILA JANJGIR TOWN | 11KV VIP-2 Feeder | 57 | 4 | 12000 | 2000077487
399 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 166 | 17 | 17880 | 2000076054
400 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 533 | 16 | 16500 | 2000076053
401 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1572 | 16 | 10140 | 2000076050
402 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 797 | 14 | 6240 | 2000076051
403 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 500 | 16 | 6120 | 2000076052
404 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 465 | 9 | 11400 | 2000029091
405 | RAIGARH TOWN | 11KV STADIUM FEEDER | 860 | 1 | 1440 | 2000022941
406 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1353 | 2 | 1920 | 2000021639
407 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 885 | 12 | 22620 | 2000017712
408 | RAIGARH TOWN | 11KV GERWANI FEEDER | 698 | 12 | 34800 | 2000016185
409 | RAIGARH TOWN | 11KV PATRAPALI | 447 | 6 | 6480 | 2000073192
410 | RAIGARH TOWN | 11KV KHAIRPUR | 941 | 3 | 4200 | 2000073193
411 | RAIGARH TOWN | 11KV PARK AVENUE | 171 | 12 | 1504620 | 2000073194
412 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1189 | 18 | 27240 | 2000073195
413 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1154 | 11 | 19380 | 2000073196
414 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 621 | 8 | 15660 | 2000016184
415 | RAIGARH TOWN | 11KV BATALIYAN FEEDER | 695 | 4 | 10740 | 2000016183
416 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 742 | 5 | 7740 | 2000016057
417 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 143 | 6 | 8460 | 2000016056
418 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1213 | 7 | 11100 | 2000016055
419 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 6 | 20520 | 2000016054
420 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1590 | 8 | 23940 | 2000016053
421 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1187 | 12 | 12720 | 2000016052
422 | RAIGARH TOWN | 11KV DHANGARDIPA FEEDER | 2383 | 6 | 10200 | 2000003313
423 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 661 | 10 | 16260 | 2000003320
424 | RAIGARH TOWN | 11KV STADIUM FEEDER | 318 | 10 | 24600 | 2000003323
425 | RAIGARH TOWN | 11KV STATION FEEDER | 802 | 19 | 6360 | 2000003324
426 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3336 | 34 | 58260 | 2000003325
427 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 1229 | 3 | 1320 | 2000010598
428 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 567 | 2 | 1920 | 2000010599
429 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 155 | 4 | 2880 | 2000010596
430 | RAIPUR TOWN | 11KV MLA FEEDER | 1432 | 1 | 29280 | 2000010595
431 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1596 | 5 | 2700 | 2000010600
432 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1297 | 6 | 3780 | 2000010601
433 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1854 | 4 | 1740 | 2000010602
434 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 647 | 3 | 4680 | 2000010603
435 | RAIPUR TOWN | 11KV ATARI FEEDER | 816 | 9 | 8940 | 2000010604
436 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1201 | 5 | 18780 | 2000010592
437 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 400 | 3 | 2940 | 2000010591
438 | RAIPUR TOWN | 11KV GAD FEEDER | 873 | 3 | 20760 | 2000010590
439 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 878 | 2 | 2520 | 2000010589
440 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 497 | 2 | 2520 | 2000010588
441 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 3009 | 3 | 7620 | 2000010587
442 | RAIPUR TOWN | 11KV KARBALA TALAB | 1434 | 3 | 3420 | 2000010585
443 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 787 | 7 | 5580 | 2000010583
444 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2289 | 5 | 5580 | 2000010582
445 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 262 | 3 | 1140 | 2000010605
446 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 708 | 3 | 3540 | 2000010606
447 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 267 | 2 | 4740 | 2000010607
448 | RAIPUR TOWN | 11KV BANJARI FEEDER | 914 | 1 | 2340 | 2000010608
449 | RAIPUR TOWN | 11KV BASTAL FEEDER | 905 | 1 | 1560 | 2000010610
450 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 672 | 1 | 360 | 2000010611
451 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 728 | 2 | 960 | 2000010613
452 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1027 | 4 | 11460 | 2000010614
453 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 234 | 3 | 5340 | 2000010615
454 | RAIPUR TOWN | 11KV COLONY FEEDER | 43 | 1 | 1920 | 2000010616
455 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 237 | 4 | 5100 | 2000010617
456 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1920 | 2 | 2220 | 2000010618
457 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1637 | 3 | 6120 | 2000010621
458 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 809 | 8 | 47700 | 2000010624
459 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 79 | 1 | 1200 | 2000010625
460 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 404 | 3 | 1620 | 2000010626
461 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2489 | 1 | 2520 | 2000010628
462 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1000 | 3 | 2580 | 2000010630
463 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2431 | 6 | 2880 | 2000010631
464 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 3 | 6 | 2880 | 2000010633
465 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1459 | 1 | 420 | 2000010634
466 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 790 | 7 | 18660 | 2000010635
467 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1066 | 3 | 3000 | 2000010636
468 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1811 | 6 | 3780 | 2000010637
469 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 976 | 3 | 3300 | 2000010638
470 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3312 | 2 | 2460 | 2000010639
471 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2645 | 6 | 9120 | 2000010640
472 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 121 | 2 | 3780 | 2000010641
473 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 903 | 3 | 2820 | 2000010642
474 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1413 | 7 | 4860 | 2000010643
475 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 480 | 4 | 1380 | 2000010645
476 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 702 | 2 | 1440 | 2000010647
477 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1276 | 4 | 4740 | 2000010649
478 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1666 | 5 | 5520 | 2000010650
479 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 896 | 2 | 2580 | 2000010651
480 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2282 | 4 | 4260 | 2000010652
481 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1284 | 2 | 3780 | 2000010653
482 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1460 | 6 | 5700 | 2000010654
483 | RAIPUR TOWN | 11KV MAHALAXMI | 401 | 3 | 1680 | 2000010655
484 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2229 | 3 | 3900 | 2000010656
485 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 346 | 5 | 19800 | 2000010657
486 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 416 | 3 | 2820 | 2000010658
487 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1007 | 2 | 660 | 2000010659
488 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 70 | 3 | 2700 | 2000010660
489 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1587 | 1 | 660 | 2000010661
490 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 1879 | 9 | 18960 | 2000010662
491 | RAIPUR TOWN | 11KV LIC FEEDER | 2166 | 7 | 5460 | 2000010663
492 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2058 | 3 | 3960 | 2000010664
493 | RAIPUR TOWN | 11KV LALBAG FEEDER | 959 | 6 | 2940 | 2000010665
494 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 848 | 3 | 6960 | 2000010666
495 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1783 | 2 | 2220 | 2000010667
496 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1943 | 2 | 1740 | 2000010668
497 | RAIPUR TOWN | 11KV MINING FEEDER | 522 | 4 | 13080 | 2000010669
498 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 942 | 8 | 27240 | 2000010670
499 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 983 | 3 | 7020 | 2000010671
500 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1316 | 7 | 24720 | 2000010672
501 | RAIPUR TOWN | 11KV MARUTI FEEDER | 2938 | 8 | 7260 | 2000010674
502 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1642 | 5 | 21660 | 2000010675
503 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 13 | 2 | 2340 | 2000010676
504 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 541 | 2 | 6420 | 2000010677
505 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 186 | 4 | 6240 | 2000010679
506 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1499 | 3 | 12660 | 2000010680
507 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1178 | 4 | 3600 | 2000010681
508 | RAIPUR TOWN | 11KV KBT FEEDER | 764 | 3 | 2400 | 2000010682
509 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1123 | 3 | 3000 | 2000010683
510 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 812 | 3 | 3120 | 2000010685
511 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 424 | 4 | 5820 | 2000010686
512 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 939 | 4 | 4140 | 2000010687
513 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 388 | 2 | 6960 | 2000010688
514 | RAIPUR TOWN | 11KV RDA FEEDER | 763 | 3 | 3480 | 2000010689
515 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 500 | 2 | 660 | 2000010690
516 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1306 | 8 | 6840 | 2000010691
517 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3762 | 5 | 5040 | 2000010692
518 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2400 | 1 | 660 | 2000010693
519 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 24 | 2 | 65400 | 2000010694
520 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1567 | 1 | 4920 | 2000010695
521 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1762 | 2 | 3780 | 2000010696
522 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2749 | 1 | 720 | 2000010698
523 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1358 | 1 | 540 | 2000010699
524 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2441 | 2 | 2940 | 2000010700
525 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1903 | 6 | 5400 | 2000010701
526 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 87 | 6 | 23700 | 2000010702
527 | RAIPUR TOWN | 11KV RULAR FEEDER | 585 | 2 | 2700 | 2000010703
528 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 680 | 3 | 13320 | 2000010704
529 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2216 | 10 | 11700 | 2000010705
530 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1221 | 4 | 3780 | 2000010706
531 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 355 | 4 | 5940 | 2000010707
532 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 1019 | 2 | 1020 | 2000010708
533 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2622 | 2 | 2280 | 2000010709
534 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1626 | 1 | 16440 | 2000010711
535 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1067 | 3 | 21540 | 2000010712
536 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 880 | 9 | 6540 | 2000010713
537 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 2011 | 5 | 12960 | 2000010714
538 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2175 | 2 | 1980 | 2000010715
539 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1875 | 5 | 3180 | 2000010716
540 | RAIPUR TOWN | 11KV RDA FEEDER | 2178 | 4 | 7680 | 2000010717
541 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1879 | 4 | 19680 | 2000010718
542 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 388 | 1 | 1920 | 2000010719
543 | RAIPUR TOWN | 11KV SARORA FEEDER | 706 | 7 | 10920 | 2000010720
544 | RAIPUR TOWN | 11KV SECTOR -5 | 271 | 2 | 1620 | 2000010721
545 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 3023 | 2 | 2040 | 2000010722
546 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2472 | 2 | 16140 | 2000010723
547 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3316 | 3 | 2640 | 2000010724
548 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1180 | 4 | 2220 | 2000010725
549 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 994 | 1 | 360 | 2000010726
550 | RAIPUR TOWN | 11KV TV FEEDER | 1864 | 11 | 8760 | 2000010728
551 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1142 | 1 | 360 | 2000010729
552 | RAIPUR TOWN | 11KV TOWN FEEDER | 1442 | 5 | 5640 | 2000010730
553 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1361 | 2 | 1140 | 2000010731
554 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 542 | 2 | 2940 | 2000010732
555 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 3 | 1860 | 2000010733
556 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2996 | 3 | 1980 | 2000010735
557 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2388 | 4 | 2220 | 2000010736
558 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 482 | 3 | 1800 | 2000010737
559 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 87 | 6 | 25320 | 2000010738
560 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 382 | 3 | 11400 | 2000010739
561 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3039 | 6 | 8880 | 2000010740
562 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1580 | 4 | 2040 | 2000010741
563 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 106 | 3 | 3540 | 2000010742
564 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 78 | 3 | 3540 | 2000010743
565 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 329 | 4 | 4560 | 2000010744
566 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1705 | 1 | 1200 | 2000017238
567 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1144 | 3 | 70380 | 2000017256
568 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2353 | 6 | 4320 | 2000017261
569 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1582 | 12 | 18180 | 2000017508
570 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 522 | 3 | 3600 | 2000017514
571 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1939 | 2 | 2400 | 2000017567
572 | RAIPUR TOWN | 11KV WHITE HOUSE | 556 | 2 | 2460 | 2000017568
573 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 769 | 3 | 9960 | 2000017569
574 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 911 | 4 | 6420 | 2000017576
575 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 734 | 3 | 2760 | 2000017590
576 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1633 | 7 | 8640 | 2000017597
577 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 911 | 4 | 2460 | 2000017599
578 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1904 | 2 | 2640 | 2000017600
579 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1527 | 3 | 3540 | 2000017602
580 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 11 | 2 | 2100 | 2000017607
581 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2116 | 4 | 2700 | 2000017608
582 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 749 | 3 | 3000 | 2000017609
583 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1475 | 2 | 2340 | 2000017611
584 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 414 | 5 | 4620 | 2000017612
585 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 23 | 2 | 1140 | 2000017613
586 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 822 | 1 | 960 | 2000017615
587 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 428 | 10 | 8040 | 2000017617
588 | RAIPUR TOWN | 11KV COLONY FEEDER | 14 | 1 | 720 | 2000017619
589 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1993 | 2 | 3780 | 2000017621
590 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 86 | 11 | 9780 | 2000017623
591 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 882 | 5 | 22140 | 2000017624
592 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 431 | 9 | 18960 | 2000017626
593 | RAIPUR TOWN | 11KV MIG FEEDER | 343 | 1 | 540 | 2000017671
594 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 280 | 14 | 19080 | 2000017674
595 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1983 | 1 | 540 | 2000017690
596 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 1003 | 3 | 1860 | 2000017721
597 | RAIPUR TOWN | 11KV MOVA ESTATE FEEDER | 149 | 1 | 540 | 2000017722
598 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1347 | 5 | 7860 | 2000017755
599 | RAIPUR TOWN | 11KV MOTHER TERESA | 714 | 5 | 16800 | 2000017756
600 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 565 | 4 | 5160 | 2000017757
601 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 927 | 5 | 4260 | 2000017768
602 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1422 | 12 | 9240 | 2000017771
603 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1698 | 11 | 10680 | 2000017772
604 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 616 | 11 | 10500 | 2000017773
605 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3160 | 1 | 2520 | 2000017808
606 | RAIPUR TOWN | 11KV PURANI BASTI | 706 | 3 | 685440 | 2000017817
607 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1243 | 7 | 9420 | 2000017819
608 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1132 | 2 | 1860 | 2000017867
609 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1785 | 2 | 1860 | 2000017868
610 | RAIPUR TOWN | 11KV GANESH MANDIR | 331 | 1 | 1020 | 2000017869
611 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1485 | 5 | 6900 | 2000017870
612 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 129 | 2 | 2880 | 2000018378
613 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 854 | 1 | 480 | 2000018394
614 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1427 | 4 | 4380 | 2000018361
615 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 414 | 6 | 4380 | 2000018359
616 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 575 | 4 | 2100 | 2000018396
617 | RAIPUR TOWN | 11KV IGVP | 436 | 2 | 1440 | 2000018397
618 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 378 | 2 | 2460 | 2000018398
619 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 722 | 10 | 9120 | 2000018406
620 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 405 | 4 | 4980 | 2000018416
621 | RAIPUR TOWN | 11KV MANDI | 579 | 2 | 1620 | 2000018020
622 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1354 | 6 | 5340 | 2000018006
623 | RAIPUR TOWN | 11KV SADDU FEEDER | 589 | 11 | 8040 | 2000018005
624 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 256 | 5 | 4260 | 2000018004
625 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 2150 | 20 | 17220 | 2000017962
626 | RAIPUR TOWN | 11KV MG ROAD | 1647 | 8 | 12120 | 2000017955
627 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2648 | 3 | 15360 | 2000017954
628 | RAIPUR TOWN | 11KV NAVEEN MARKET | 895 | 8 | 78180 | 2000017953
629 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 183 | 2 | 1380 | 2000017871
630 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2349 | 20 | 28080 | 2000018595
631 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 835 | 11 | 17700 | 2000018783
632 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2413 | 2 | 3120 | 2000018949
633 | RAIPUR TOWN | 11KV HEERA FEEDER | 3376 | 6 | 17400 | 2000019180
634 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 468 | 12 | 27300 | 2000019181
635 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 757 | 5 | 14820 | 2000019184
636 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 581 | 4 | 15300 | 2000019185
637 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1250 | 5 | 15180 | 2000019186
638 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1333 | 2 | 4260 | 2000019334
639 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1894 | 3 | 3720 | 2000019340
640 | RAIPUR TOWN | 11KV BSUP FEEDER | 186 | 5 | 58440 | 2000019341
641 | RAIPUR TOWN | 11KV CTI FEEDER | 336 | 5 | 4500 | 2000019342
642 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1333 | 5 | 6300 | 2000019485
643 | RAIPUR TOWN | 11KV PS CITY | 1571 | 2 | 3780 | 2000019530
644 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 942 | 2 | 780 | 2000019697
645 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 303 | 6 | 5640 | 2000019850
646 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 159 | 6 | 5640 | 2000019851
647 | RAIPUR TOWN | 11KV BLOCK NO 1 2 3 4 FEEDER | 200 | 2 | 4200 | 2000019853
648 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1891 | 1 | 2640 | 2000019857
649 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1569 | 7 | 7800 | 2000019858
650 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2120 | 2 | 4740 | 2000020009
651 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1893 | 5 | 7200 | 2000020119
652 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1935 | 6 | 14760 | 2000020120
653 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 72 | 4 | 4740 | 2000020123
654 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 341 | 11 | 15540 | 2000020130
655 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 528 | 6 | 4140 | 2000020131
656 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 7 | 5400 | 2000020132
657 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1541 | 4 | 5400 | 2000020153
658 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 498 | 1 | 3360 | 2000020193
659 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1112 | 3 | 16560 | 2000020194
660 | RAIPUR TOWN | 11KV PADAW FEEDER | 2118 | 8 | 11280 | 2000020227
661 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2727 | 1 | 2280 | 2000020581
662 | RAIPUR TOWN | 11KV MOTIBAGH | 779 | 1 | 1560 | 2000021115
663 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1734 | 3 | 102660 | 2000021219
664 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1478 | 3 | 91320 | 2000021220
665 | RAIPUR TOWN | 11KV TARUN NAGAR | 1847 | 4 | 104040 | 2000021221
666 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1313 | 5 | 5340 | 2000021286
667 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1868 | 7 | 20100 | 2000021287
668 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 71 | 4 | 77580 | 2000021421
669 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1245 | 4 | 76560 | 2000021424
670 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1358 | 4 | 4920 | 2000021615
671 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1241 | 5 | 3540 | 2000022077
672 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 700 | 6 | 4140 | 2000022078
673 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1568 | 6 | 4200 | 2000022079
674 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1654 | 4 | 7320 | 2000023680
675 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2022 | 11 | 12900 | 2000023735
676 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 203 | 7 | 8220 | 2000023736
677 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1823 | 4 | 4800 | 2000023772
678 | RAIPUR TOWN | 11KV SBI FEEDER | 982 | 3 | 3900 | 2000023790
679 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 676 | 2 | 1620 | 2000023848
680 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 237 | 2 | 1200 | 2000026462
681 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 1823 | 3 | 4260 | 2000026575
682 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1388 | 2 | 2100 | 2000026582
683 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1005 | 2 | 1860 | 2000026583
684 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 989 | 4 | 5640 | 2000026584
685 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 227 | 5 | 4260 | 2000029194
686 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 127 | 2 | 2640 | 2000029195
687 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 265 | 2 | 1980 | 2000029196
688 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1418 | 10 | 25680 | 2000034421
689 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 894 | 6 | 22440 | 2000034422
690 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 956 | 5 | 18420 | 2000034423
691 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2776 | 5 | 4860 | 2000034760
692 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1234 | 2 | 1680 | 2000034761
693 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1052 | 3 | 4020 | 2000034762
694 | RAIPUR TOWN | 11KV PRIDE FEEDER | 412 | 3 | 3480 | 2000039215
695 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 694 | 4 | 3840 | 2000046448
696 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 1001 | 7 | 8100 | 2000046477
697 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 3 | 77100 | 2000064021
698 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1507 | 2 | 19560 | 2000068159
699 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 587 | 2 | 840 | 2000069376
700 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 243 | 13 | 20760 | 2000070080
701 | RAIPUR TOWN | 11KV C&F FEEDER | 59 | 7 | 4500 | 2000070702
702 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 7 | 4500 | 2000070703
703 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1129 | 3 | 4860 | 2000070747
704 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 564 | 3 | 10920 | 2000070748
705 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1092 | 3 | 3240 | 2000070749
706 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 11 | 2 | 3900 | 2000071570
707 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 397 | 9 | 16380 | 2000071639
708 | RAIPUR TOWN | 11KV Shaphire Green Feeder | 15 | 3 | 2640 | 2000071754
709 | RAIPUR TOWN | 11KV Om Feeder | 16 | 3 | 2640 | 2000071757
710 | RAIPUR TOWN | 11KV Oak Villa Feeder | 262 | 3 | 2700 | 2000071761
711 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2847 | 9 | 15000 | 2000072091
712 | RAIPUR TOWN | 11KV Simran City Feeder | 1333 | 9 | 18480 | 2000074141
713 | RAIPUR TOWN | 11KV Park Side Feeder | 157 | 7 | 3480 | 2000075451
714 | RAIPUR TOWN | 11KV Sumet Feeder | 102 | 7 | 3720 | 2000075452
715 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1201 | 12 | 24900 | 2000075643
716 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 1010 | 9 | 18000 | 2000075796
717 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3457 | 4 | 20400 | 2000075800
718 | RAIPUR TOWN | 11KV VILLA (MARUTI LIFESTYLE)​ FEEDER | 32 | 2 | 4260 | 2000075947
719 | RAIPUR TOWN | 11KV CM House Feeder | 4 | 5 | 19800 | 2000076123
720 | RAIPUR TOWN | 11kV Jagriti School Feeder | 61 | 3 | 4980 | 2000077965
721 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 65 | 5 | 5400 | 2000078241
722 | RAJNANDGAON TOWN | 11 KV Mahamaya Feeder | 2110 | 4 | 3300 | 2000073902
723 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1708 | 6 | 4080 | 2000006488