## Aug18
11KV Industial Feeder Intruption Under RAPDRP Town for Period 01.08.2018 to 31.08.2018
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (HH:MM) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV INDUSTRIAL FEEDER |  | 0 | 0:00 | NOT CREADTED IN GIS/EA
2 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR A | 463 | 0 | 0:00 | 2000004915
3 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 739 | 0 | 0:00 | 2000022135
4 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 625 | 18 | 776:10 | 2000007717
5 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 28 | 732:12 | 2000007716
6 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 978 | 11 | 691:50 | 2000007715
7 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1326 | 13 | 394:27 | 2000007714
8 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 34 | 806:38 | 2000017044
9 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 20 | 496:06 | 2000017045
10 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FEEDER | 60 | 0 | 0:00 | 2000049820
11 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 497 | 44 | 678:15 | 2000007731
12 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 264 | 0 | 0:00 | 2000006776
13 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 17 | 647:27 | 2000004336
14 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 836 | 0 | 0:00 | 2000002572
15 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 1739 | 0 | 0:00 | 2000001966
16 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 4010 | 0 | 0:00 | 2000001972
17 | DONGARGARH TOWN | 11KV INDUSTRIAL (RURAL) FEEDER |  | 0 | 0:00 | 2000001297