## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….Nov'20
Input Energy Period: ……..Sep'19 to Aug'20
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 13 | 11KV TOWN FEEDER | 76.66 | 85.55 | 34.42 | 11KV MAYUR SCHOOL 11KV FEEDER | 74.26 | 90.58 | 32.74
2 | KAWARDHA TOWN | 10 | 11KV MAHARAJPUR (RURAL) FEEDE | 100 | 70.49 | 29.51
3 | MAHASAMUND TOWN | 9 | 11KV NAYAPARA FEEDER | 59.54 | 68.42 | 59.26
4 | KANKER TOWN | 5 | 11KV CIVIL LINE FEEDER | 93.48 | 60.4 | 43.54
5 | RAJNANDGAON TOWN | 34 | 11KV KANCHAN BAG FEEDER | 63.59 | 79.69 | 49.33 | 11KV INDHAMARA(RURAL)FEEDER | 42.76 | 66.4 | 71.61 | 11KV PANEKA FEEDER | 23.7 | 100 | 76.3
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 81.95 | 83.68 | 31.42
7 | MUNGELI TOWN | 8 | 11KV TOWN-4TEMRI FEEDER | 54.33 | 68.83 | 62.6
8 | CHAMPA TOWN | 10 | 11KV BRIGHANI FEEDER | 22.34 | 58.73 | 86.88
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 51.59 | 30.1 | 84.47 | 11KV BHATGAON FEEDER | 32.31 | 81.88 | 73.54
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 17.42 | 50.04 | 91.28
11 | MANENDRAGARH TOWN | 8 | 11KV KAILARI FEEDER | 48.77 | 67.71 | 66.98
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN2 FEEDER | 81.36 | 78.27 | 36.32
13 | AMBIKAPUR TOWN | 30 | 11KV SONPUR | 11.89 | 57.54 | 93.16 | 11KV MG ROAD FEEDER | 20.66 | 98.86 | 79.58 | 11KV INDUSTRIAL AREA FEEDER | 85.32 | 76.01 | 35.15
14 | JAGDALPUR TOWN | 25 | 11KV AGHANPUR FEEDER | 14.47 | 95.36 | 86.2 | 11KV SUNCITY FEEDER | 39.81 | 90.42 | 64 | 11KV TOWN-1 FEEDER | 34.22 | 97.17 | 66.75
15 | KORBA TOWN | 63 | 11KV BULGI FEEDER | 19.67 | 69.38 | 86.35 | 11KV DADAR FEEDER | 27.68 | 36.21 | 89.98 | 11KV PARSABADA FEEDER | 45.38 | 39.66 | 82 | 11KV SARMANGLA FEEDER | 36.63 | 53.43 | 80.43 | 11KV IMLIDUGGU FEEDER | 40.84 | 54.61 | 77.7
16 | NAILA JANJGIR TOWN | 19 | 11KV TOWN-2 FEEDER | 52.69 | 96.64 | 49.08
17 | DURG BHILAI CHARODA TOWN | 161 | 11KV BALAJI NAGAR FEEDER | 29.12 | 87.07 | 74.65 | 11KV HATHKHOJ RURAL FEEDER | 43.72 | 67.15 | 70.64 | 11KV ITI FEEDER | 33.45 | 90.9 | 69.59 | 11KV RISALI BASTI FEEDER | 33.27 | 84.06 | 72.03 | 11KV RAJARAM FEEDER | 54.96 | 81.07 | 55.44
18 | BILASPUR TOWN | 108 | 11KV DAYALBAND FEEDER | 18.45 | 52.5 | 90.31 | 11KV PACHARIGHATFEEDER | 29.06 | 52.66 | 84.7 | 11KV Uslapur Overbridge Feeder | 72.31 | 89.79 | 35.07 | 11KV HOUSING BOARD FEEDER | 35.4 | 65.79 | 76.71 | 11KV BHAISA BAZAR FEEDER | 37.02 | 50.88 | 81.16
19 | RAIGARH TOWN | 52 | 11KV PARKCITY FEEDER | 35.93 | 87.31 | 68.63 | 11KV SAVITRI NAGAR FEEDER | 51.05 | 69.05 | 64.75 | 11KV COLLECTRED FEEDER | 37.33 | 60.27 | 77.5 | 11KV RAJIV NAGAR FEEDER | 29.62 | 32.41 | 90.4 | 11KV GOGA MANDIR CHOWK FEEDER | 39.11 | 46.58 | 81.78
20 | RAIPUR TOWN | 319 | 11KV MANAVADHIKAR FEEDER | 10.25 | 69.65 | 92.86 | 11KV SUN CITY FEEDER | 2.11 | 94.57 | 98 | 11KV NANAK ENGINEERING FEEDER | 16.1 | 71.9 | 88.42 | 11KV TEACHER COLONY FEEDER | 63.09 | 73.16 | 53.84 | 11KV LOGISTICK FEEDER | 39.17 | 79.31 | 68.93