## Stock Materials
RATE OF STOCK MATERIALS FOR SoR 2019-20
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | Bin Code | Schedule of Rate for 2019-20 (rates including GST)
Rate
1 | 2 |  | 3 | 4 | 5
1 | A | ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 48638.8448
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 54301.1928
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 98272.4768
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 129355.2816
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 243208.3958
| vi | 315 kVA Copper Wound | Each | 7132220081 | 581089.77
| vii | 500 kVA Copper Wound | Each | 7132220082 | 878421.1696
| B | CONVENTIONAL DISTRIBUTION TRANSFORMER 11/0.4 KV 4-STAR :-
| i | 16 kVA Aluminium Wound | Each | 7132210007 | ITEM DELETED
| ii | 25 kVA Aluminium Wound | Each | 7132210008 | ITEM DELETED
| iii | 63 kVA Aluminium Wound | Each | 7132210009 | ITEM DELETED
| iv | 100 kVA Aluminium Wound | Each | 7132210010 | ITEM DELETED
| v | 200 kVA Aluminium Wound | Each | 7132210011 | ITEM DELETED
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 136597.5336
3 |  | POWER TRANSFORMERS 33/11 kV :-
| i | 1600 kVA | Each | 7132220091 | 805738.1665
| ii | 3150 kVA | Each | 7132220095 | 2393149.15
| iii | 5000 kVA | Each | 7132220097 | 3379006.1336
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 328.57
| ii | 33 kV Polymer | Each | 7130840021 | 3221.41
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 1177.876
| ii | 33 kV | Each | 7131930415 | 2886.87
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930110 | 1611.2469
| ii | 33 kV | Each | 7131930111 | 2305.9423
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457798 | 85255.472
| ii | In Tanker | KL | 7132457798 | 72558.672
LINE SUPPORTS :-
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 52290.9148
| b | 60 kgs per mtr | MT | 7130601072 | 52290.9148
8 |  | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 53879.18
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 53879.18
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 44915.52
| b | 125 x 70 mm | MT | 7130600635 | 39505.1368
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 2255.2
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800033 | 2552.95
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 3046.2
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 4402.65
| v | 365 Kg; 11 Mtr long | Each | 7130800002 | 7605.2
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 43121.8199
| b | 75x40 mm | MT | 7130600166 | 43121.8199
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 46927.1428
| b | 50x6 mm | MT | 7130600173 | 46927.1428
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 43121.8199
| b | 50 x 50 x 6 mm | MT | 7130600023 | 43121.8199
| c | 75 x 75 x 6 mm | MT | 7130600051 | 43121.8199
| d | 35 x 35 x 5 mm | MT |  | 36566.3994
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 4073
| ii | 1:3:6 Ratio | Cmt | 7130200202 | 2970
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 14289.0094
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 21057.867
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 34701.3692
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 51309.5742
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 67432.2446
| vi | 0.2 Sq inch ( 130 Sqmm Al.Eq.)(Panther) | Km | 7130830070 | 151653.08
17 |  | COVERED CONDUCTOR (FOR LAST SPAN OF HT CONSUMERS)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 504.9683
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 608.6992
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310043 | 777.2939
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 716.8989
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 815.3209
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 1146.6535
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 1615.6526
LINE INSULATORS :-
18 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 237.19
| ii | 11 kV Pin insulator | Each | 7130820071 | 46.6454
| iii | 33 kV Pin insulator | Each | 7130820075 | 237.98
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 462.3314
| v | 33 kV Post Insulator | Nos. | 7130820027 | 1890.7169
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 13.06
| b | 65 x 50 mm. | Each | 7130820101 | 11.675
| vii | Stay insulator | Each | 7130820117 | 11.1262
| viii | Split insulator | Pair | 7130820018 | 4.1755
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 219.41
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820013 | 219.4092
| iii | 11 kV Disc Insulator | Each | 7130820010 | 119.1
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 325.76
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 132.09
| C | Post Insulator
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 239.2258
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 829.2834
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820010 | 119.1
19 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 123.4332
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 256.4351
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 2197.281
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 1009.7844
20 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 41.9387
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 36.8396
21 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 73.591
22 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 244.8836
23 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 8496
| ii | 33 kV | Each | 7131930321 | 18863.48
24 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 455.3065
| ii | 20 mm (Painted) | Each | 7130860033 | 829.6204
25 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 71981.6444
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 72686.6673
26 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 118.5161
27 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 65009.6593
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 65009.6593
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 65056.0895
28 |  | Barbed wire | MT | 7130610206 | 78501.8263
29 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 71.5899
| ii | 12x100 mm | Kg | 7130620573 | 71.5899
| iii | 12x120 mm | Kg | 7130620575 | 72.7837
| iv | 12x140 mm | Kg | 7130620577 | 72.7837
| v | 16x40 mm | Kg | 7130620609 | 71.5899
| vi | 16x65 mm | Kg | 7130620614 | 70.3961
| vii | 16x90 mm | Kg | 7130620619 | 70.3961
| viii | 16x100 mm | Kg | 7130620621 | 69.2023
| ix | 16x140 mm | Kg | 7130620625 | 69.2023
| x | 16x160 mm | Kg | 7130620627 | 69.2023
| xi | 16x200 mm | Kg | 7130620631 | 69.2023
| xii | 16x250 mm | Kg | 7130620637 | 69.2023
| xiii | 16x300 mm | Kg | 7130620636 | 69.2023
| xiv | 20x75 mm | Kg | 7130620713 | 69.2023
| xv | 20x90 mm | Kg | 7130620716 | 69.2023
| xvi | 20x110 mm | Kg | 7130620719 | 69.2023
| xvii | 24x120 mm | Kg | 7130620829 | 69.2023
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 99.0346
| ii | 16x65 mm | Kg | 7130620140 | 99.0346
30 |  | G.I. Spring Washer | Kg | 7130622922 | 153.8297
31 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 222.0824
32 |  | G.I.Strip 25x3 mm | Kg | 7130870040 | 88.6617
33 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 92.6028
34 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 2252.9043
35 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 779.708
| ii | 63 Amps. | Each | 7131920254 | 1872.24 |  | 38.3421
| iii | 100 Amps. | Each | 7131920256 | 3621.5062 |  | 34.043
| iv | 200 Amps. | Each | 7131920258 | 5084.1985 |  | 38.7162
| v | 300 Amps. | Each | 7131920259 | 6897.9351 |  | 68.5505
| vi | 400 Amps. | Each | 7131920260 | 10419.1326 |  | 51.2435
36 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 7131910655 | 26.1875
| ii | 32 Amps. | Each | 7131910653 | 45.8282
| iii | 63 Amps. | Each | 7131910654 | 90.5635
| iv | 100 Amps. | Each | 7131910656 | 246.62
| v | 200 Amps. | Each | 7131910657 | 474.95
| vi | 300 Amps. | Each | 7131910658 | 1052.324
37 |  | Red Oxide Paint | Ltr. | 7130211158 | 151.4526
38 |  | Aluminium Paint | Ltr. | 7130210809 | 338.4039
39 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 39109.0704
| ii | 4 Core | Km. | 7130310654 | 68143.0648
| iii | 8 Core | Km. | 7130310658 | 129543.9282
| iv | 10 Core | Km. | 7130310681 | 161841.2598
| v | 12 Core | Km. | 7130310662 | 166768.3239
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 10 Core | Km. | 7130310660 | 200541
40 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 14195.55
| ii | 50 Sq.mm. | KM | 7130311009 | 37153.63
| iii | 70 Sq.mm | KM | 7130311010 | 51467.72
| iv | 150 Sq.mm | KM | 7130311011 | 101185.66
| v | 300 Sq.mm | KM | 7130311012 | 200836.48
| vi | 400 Sq.mm | KM | 7130311013 | 250758.14
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 7.1122
| ii | 4.0 Sqmm. | Per Mtr. |  | 15.1499
| iii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 30.0072
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 23.0303
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 27.6338
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 40.2965
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 62.1792
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 48.3558
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 58.7234
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 70.2385
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 92.1212
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 117.4468
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 12571.68
| ii | 25 Sqmm. | Km. | 7130310026 | 20446.28
| iii | 35 Sqmm. | Km. | 7130310021 | 29231.77
| iv | 50 Sqmm. | Km. | 7130310022 | 35850.1
| v | 70 Sqmm. | Km. | 7130310007 | 56404.41
| vi | 120 Sqmm. | Km. | 7130310008 | 89898.08
| vii | 150 Sqmm. | Km. | 7130310041 | 109476.3
| viii | 185 Sqmm. | Km. | 7130310034 | 137221.8
| ix | 240 Sqmm. | Km. | 7130311085 | 166413.18 | NEW ADDED
| x | 300 Sqmm. | Km. | 7130310035 | 201772.75
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 40594.4414
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 57675.4753
| ii | 16 Sqmm. | km | 7130311084 | 60690.0351
| iii | 25 Sq.mm. | km | 7130310048 | 91659.7285
| iv | 70 Sq.mm. | km |  | 339722.118
| v | 95 Sq.mm. | km |  | 414241.8084
| vi | 150 Sq.mm. | km |  | 625380.9312
| vii | 300 Sq.mm. | km |  | 1194506.802
| viii | 400 Sq.mm. | km |  | 1518156.0456
41 |  | A.B. XLPE CABLE :-
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 950280.4723
| b | 3x150 Sq.mm. | km | 7130310052 | 1166523.4928
| c | 3x185 Sq.mm. | km | 7130310053 | 1333289.7256
| d | 3x240 Sq.mm. | km | 7130310054 | 1695415.6516
42 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 18395.1856
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 26278.8331
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set |  | 34941.8201
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 10511.5381
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 13139.4165
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 15767.295
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 18395.1856
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 19709.1309
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 23650.9546
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 827.3025
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 893.6518
| xii | Cable tie for AB Cable | Each | 7130320045 | 26.5446
43 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 324086.3869
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 458499.8719
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 685585.9694
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 646678.0467
44 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 4014.8214
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 4224.962
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 3986.6451
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 2542.7166
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 2678.7637
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 2141.2356
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 2408.8977
| viii | Cable tie for AB Cable | Each | 7130820029 | 33.1807
| ix | Surge Arrestor | No | 7130840003 | 852.0815
| x | Ground connection for Messenger Wire | No | 7131950396 | 129.4597
45 |  | L.T. A.B. XLPE CABLE :-
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1X25+1X16+1x25 | km | 7130310063 | 45825.3
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X16+1X16+1x25 | km | 7130310031 | 72266.1882
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X25+1X16+1x25 | km | 7130310032 | 83077.9
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X35+1x16+1x25 | km | 7130310033 | 101739.6
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1x16+1x35 | km | 7130310065 | 130732.2
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1X25+1x35 | km | 7130310066 | 127849.0449
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X70+1x16+1x50 | km | 7130300025 | 180079.8
| viii | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X16+1x25 | km | 7130310070 | 55224
| ix | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X25+1x25 | km | 7130310073 | 59238.3929
46 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 1022.0691
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 1231.1931
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 86.9865
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 113.3205
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 157.9516
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 682.1857
| 7 | Straight through joints | Nos. | 7130390007 | 174.6951
| 8 | Service Ring | Nos. | 7130810102 | 355.8193
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 191.8975
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 33.1807
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 464.8837
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 609.8195
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 442.625
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 29.8566
| 15 | Universal distribution connector | Each | 7130390006 | 123.62
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 5.5557
| 17 | Pole Clamp | No. | 7130810077 | 447.7609
| 18 | Eye Hook | No. | 7130893004 | 182.4168
47 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 852.739
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 852.739
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 915.7764
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1287.4007
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 1918.9307
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 3101.2611
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 3962.8402
48 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x240 Sq.mm. | km | 7130310075 | 2030747.468
| ii | 3x400 Sq.mm. | km | 7130310020 | 2219229.1347
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 541944.2414
| ii | 95 Sq.mm | km | 7130310077 | 548313.678
| iii | 120 Sq.mm | km | 7130310078 | 817646.189
| iv | 240 Sq.mm | km | 7130310079 | 990668.0275
| v | 400 Sq.mm | km | 7130310080 | 1526364.8278
49 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 23743.0449
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 35218.1031
| iii | Straight through heat shrinkable cable jointing kit with lugs for 3 core 120-240 sq mm UG XLPE cable | Set |  | 58922.6705
| iv | Straight through heat shrinkable cable jointing kit with lugs for 3 core 300-400 sq mm UG XLPE cable | No |  | 65983.0459
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x50 Sq.mm | Set | 7130352038 | 14192.3481
| ii | 3x95 Sq.mm | Set | 7130352039 | 14192.3481
| iii | 3x150 Sq.mm | Set | 7130352040 | 18791.1384
| iv | 3x240 Sq. mm | Set | 7130352041 | 20551.3617
| v | 3x400 Sq. mm | Set | 7130352042 | 20551.3617
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 7377.4493
| ii | 3x240 Sq. mm | Set | 7130352044 | 8905.8336
| iii | 3x400 Sq. mm | Set | 7130352045 | 9162.0255
50 |  | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 10532.35
| B | Battery | No. | 7132404366 | 55627.8
51 |  | Marshelling Box (with 10 No. connectors) | No. | 7130352046 | 3133.1877
56 | A | LED LAMPS
| i | LED 9 Watt lamp (without holder) | Each | 7131210011 | 72.233
| ii | LED Tube Light, 20 Watt | Set |  | 227.0312
| B | LED LAMPS WITH COMPLETE FITTING
| i | 18 W LED Street Light complete set | Set |  | 2336.882
| ii | 35 W LED Street Light complete set | Set |  | 3018.7615
| iii | 70 W LED Street Light complete set | Set |  | 4270.415
| iv | 110 W LED Street Light complete set | Set |  | 5803.4882
| v | 190 W LED Street Light complete set | Set |  | 10235.1272
| vi | 190 W LED Flood Light complete set | Set |  | 9930.015
| vii | 110 W LED Flood Light complete set | Set |  | 6631.5673
57 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 30.0746
| ii | Raccoon Conductor. | Each | 7130830050 | 37.2945
| iii | Dog Conductor. | Each | 7130830051 | 145.568
| iv | Panther Conductor. | Each | 7130830971 | 224.9744
58 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 220.157
| ii | Dog Conductor. | Each | 7130830585 | 275.5012
| iii | Panther Conductor. | Each | 7130830586 | 322.4181
59 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 671.3564
| ii | VCB | Each | 7130830054 | 392.0673
| iii | CT-PT Unit | Each | 7130830056 | 392.0673
| iv | Distribution Transformer (HT) | Each | 7130830058 | 199.3154
| v | Distribution Transformer (LT) | Each | 7130830603 | 292.4031
60 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 160.4103
61 |  | Aluminium bobbin. | Each | 7130820201 | 36.741
62 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 304.799
| ii | 250 Amps. | Each | 7131900880 | 765.8402
| iii | 400 Amps. | Each | 7131900881 | 847.2716
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900876 | 118.8429
| ii | 250 Amps. | Each | 7131900071 | 309.1925
| iii | 400 Amps. | Each | 7131900072 | 475.3474
63 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 752.9934
64 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 1778.0004
| ii | CT operated electronic static meters 100/5 Amp. With data storage. | Each | 7131310997 | 1804.9988
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 2673.2843
| iv | CT operated electronic static bidirectional meter with DLMS | Each | 7131310005 | 1522.2 | NEW ADDED
| v | CT operated electronic static bidirectional meter with DLMS for net metering | Each | 7131310002 | 3060.7784 | NEW ADDED
| vi | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 12340.3146
65 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category A | Each | 7131310033 | 3611.8915
| ii | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category B | Each | 7131310034 | 3611.8915
| iii | 3 Ø 4 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310036 | 16982.0877
| iv | 3 Ø 3 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310035 | 16982.0877
| v | 3 Ø 4 Wire 0.5S, 5 Amp. consumer meter | Each | 7131310013 | 3829.1
| vi | 3 Ø 4 Wire 0.2S 5A bulk consumer meter | Each | 7131310042 | 16982.0877
| vii | Test terminal Box (TTB) | Each | 7131310037 | 923.5206
| viii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 27055.2503
| ix | Spot Billing Machine | Each | 7131310168 | 11938.1883
66 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 1085600
68 |  | Universal Meter Box for HT meters. | Each | 7132406425 | 3232.138
69 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 2662.6786
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 7132406420 | 3362.214
70 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 6356.0912
| ii | Set of 3 O.C. relays instantaneous high set feature numerical | Nos. | 7131334001 | 5858.7
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 5858.7
| iv | Master trip relays | Nos. | 7131399007 | 1003
71 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 356.0751
| ii | 200/5 Amps. | Each | 7132230019 | 356.0751
| iii | 300/5 Amps. | Each | 7132230021 | 285.0865
| iv | 500/5 Amps. | Each | 7132230024 | 285.0865
72 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 13709.83
| ii | 300-150/5 Amps. | Each | 7132230188 | 13447.398
73 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 25179.7272
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 26176.8921
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 19689.9048
74 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 375737.0278
| ii | 150-75/1-1A | No. | 7132230075 | 373395.009
| iii | 200-100/1-1A | No. | 7132230332 | 349648.8208
| iv | 300-150/1-1A | No. | 7132230336 | 299323.8493
| v | 600-300/1-1A | No. | 7132230065 | 327045.5394
75 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 822690.9772
| ii | 300-150/1-1A | No. | 7132230077 | 538433.7187
| iii | 600-300/1-1A | No. | 7132230078 | 498097.9393
| iv | 800-400/1-1A | No. | 7132230039 | 487901.1372
77 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 10323.8554
78 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 16566.3504
79 |  | 132 kV P.T. | No. | 7132230501 | 258404.9786
80 |  | 220 kV P.T. | No. | 7132230511 | 526838.7654
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230395 | 34927.9882
| ii | 25/5 A | Each | 7132230401 | 34307.9572
| iii | 50/5 A | Each | 7132230414 | 38836.4851
| iv | 300-150/5 A | Each | 7132230399 | 38073.6475
| v | 200-100/5 A | Each | 7132230412 | 37649.2801
| vi | 400-200/5 A | Each | 7132230088 | 38077.0772
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230448 | 77768.4192
| ii | 20/5 A | Each | 7132230418 | 74048.1978
| iii | 50/5 A | Each | 7132230450 | 66731.773
| iv | 100 /5A | Each | 7132230453 | 62503.5144
| v | 200/5A | Each | 7132230455 | 63743.5882
| vi | 200-100/5 A | Each | 7132230427 | 83038.2023
| vii | 300-150/5 A | Each | 7132230089 | 86339.7021
| viii | 400-200/5 A | Each | 7132230457 | 85041.3744
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230009 | 218950.0706
| ii | 25/5 A | Each | 7132230011 | 218950.0706
| iii | 50/5 A | Each | 7132230017 | 218950.0706
| iv | 100/5 A | Each | 7132230015 | 237215.3635
| v | 200/5 A | Each | 7132230012 | 237215.3635
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230008 | 71698.4322
| ii | 15/5 A | Each |  | 71698.4322
| ii | 25/5 A | Each | 7132230010 | 71698.4322
| iv | 50/5 A | Each |  | 71698.4322
82 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 106.3719
| ii | 6 to 16 Amps. | Each | 7131820032 | 106.3719
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 450.7995
| ii | 32 Amps. | Each | 7131820034 | 450.7995
83 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 3002.8719
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 3253.5473
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 3253.5473
84 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 2377.236
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 2502.5677
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 5443.3031
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 23774.417
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 23774.417
85 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 15779.9843
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 19725.8004
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 39449.9541
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 33850.4476
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 42226.3544
| vi | SMC LT Distribution Box for 100 kVA Distribution Transformer | Each | 7131950208 | 19116 | NEW ADDED
| vii | SMC LT Distribution Box for 315 kVA Distribution Transformer | Each | 7131950209 | 32804 | NEW ADDED
86 |  | Locally fabricated - 3 Phase fuse units 150 Amps. (Robust fuse for circuit base). | Each | 7131900004 | 722.16
87 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 325864.7368
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 119502.6238
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 26777.8702
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 28033.3237
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 40103.5385
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 40103.5385
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each | 7131960010 | 86141.1457
88 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 244236.872
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 40103.5385
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 29738.193
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 27059.1127
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 40103.5385
89 |  | 11 kV Sectionalizer. | Each | 7131950016 | 362271.3281
90 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 23345.0898
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 40401.2184
91 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 1611.5318
| ii | 10 kVAR | Each | 7132200813 | 3222.058
| iii | 12 kVAR | Each | 7132200814 | 3871.5093
| iv | 20 kVAR | Each | 7132200815 | 6424.9404
92 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin/Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 145864.8766
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 192879.8878
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 7132230471 | 34386.8433
93 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set | 7132210106 | 7083.3606
| ii | 0.2% Reactor suitable for 726 kVAR step | Set | 7132210108 | 8647.5051
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. | 7131980001 | 69897.8859
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set | 7131931091 | 28693.6191
| v | Mounting GI structure for above isolator | Set | 7131931095 | 14679.6093
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. | 7131940871 | 48181.8875
| vii | GI Structure for complete Equipment | Kgs. | 7130850198 | 84.872
95 |  | Poly Carbonate seals for meter | Each | 7132444005 | 5.2864
96 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 6.0395
97 |  | Numerical Poly Carbonate seals | No | 7132444005 | 9.2784
98 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 5315.6771
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 6707.0948
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 15211.6816
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 15936.0481
99 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 59.1409
100 |  | GSM Modem | Nos. | 7131961526 | 3814.8724
101 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 2.2389
| 2 | 16 Sq mm | Nos. | 7130354275 | 2.2389
| 3 | 25 Sq mm | Nos. | 7130354276 | 4.4779
| 4 | 32 Sq mm | Nos. | 7130354277 | 5.5973
| 5 | 50 Sq mm | Nos. | 7130354278 | 8.9683
| 6 | 70 Sq mm | Nos. | 7130354279 | 13.4461
| 7 | 95 Sq mm | Nos. | 7130354280 | 16.8045
| 8 | 120 Sq mm | Nos. | 7130354281 | 23.5339
| 9 | 150 Sq mm | Nos. | 7130354282 | 26.8923
| 10 | 185 Sq mm | Nos. | 7130354283 | 42.5773
| 11 | 225 Sq mm | Nos. | 7130354284 | 48.1747
| 12 | 240 Sq mm | Nos. | 7130354285 | 69.4696
| 13 | 300 Sq mm | Nos. | 7130354286 | 81.7963
| 14 | 400 Sq mm | Nos. | 7130354287 | 105.3302
102 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 250.4811
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 3131.0812
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 551.3826
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 495.5681
| 5 | Portable drilling machine | Nos. | 7132014014 | 3131.0812
| 6 | Megger 500 V | Nos. | 7131324780 | 3757.2901
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 5662.8146
| 8 | Silica gel | Kg | 7132438002 | 188.564
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 1035.2149
| 10 | Panel lndication lamps | Nos. | 7131210001 | 123.3471
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1658.3553
| 12 | Tube Spanners | Set. | 7132074033 | 685.3376
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1259.3949
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 691.158
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 784.4537
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 137.9954
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 619.0735
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 405.8766
| 19 | Rechargeable LED Hand Torch | Nos. |  | 789.7261
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 236.9044
| 21 | Discharge Rod | Nos. | 7132013331 | 492.8528
| 22 | Neon tester | Nos. | 7131338025 | 59.2261
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 76.1513
| 25 | Screw driver 200 mm | Nos. | 7132072007 | 71.3173
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 66.4833
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 1146.897
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 354.8574
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 213.9397
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 508.8648
| 31 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1510.8867
| 32 | Transformer Oil Dielectric Breakdown testkit | Nos. | 7131338004 | 63523.764 | Rate excluding GST
| 33 | Tong tester Digital (1000 A, 500 V) with associated accessories | Nos. | 7132478004 | 1566.4964
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 751.4556
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 174.9277 | Rate excluding GST
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 137.9954
| 37 | Earth resistance tester (20/200/2000 Ω) Digital | Nos. | 7131321603 | 3871.9777 | Rate excluding GST
| 38 | Rain Coats with Hoods | Nos. | 7132427634 | 757.7139 | Rate excluding GST
| 39 | Gum Boots | Nos. | 7132427635 | 510.1198 | Rate excluding GST
| 40 | Files of sizes | Set. | 7132475019 | 358.9852
| 41 | Safety belts | Nos. | 7132404015 | 636.9972
| 42 | Safety helmets | Nos. | 7132404016 | 144.047
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 5357.016
| 44 | Fire fighting equipments CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 5990.3846
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 4769.9142
103 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | 1183.3288
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 430.3025
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 1113.5847
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 964.8541
| 5 | G.I. bend 40 mm | Each | 7130640171 | 107.4844
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 3733.7165
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt | 7130640030 | 3734.1062
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No |  | 696.302
| 9 | RCC Pipe Type NP-3 (2.5 mtr long) on first class bedding
|  | 600 mm | RM | 7130640031 | 2459
|  | 900 mm | RM | 7130640036 | 4874
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640038 | 1069.1585
| (ii) | M.S.Pipe 200 mm dia with collars | RM (medium) | 7130640037 | 1369.0477
| 11 | River sand | Cmt | 7132498006 | 892.5
| 12 | Cement in 50 kg bags | Bags | 7130200401 | 238.08
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 182.5124
| 14 | Cable covering tiles 250x250x40 mm | Each | 7130201343 | 33
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132475019 | 128.7398 | Rate excluding GST
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 14.7459 | Rate excluding GST
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 259.0777
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 69.7771 | Rate excluding GST
| 19 | Cotton Waste | Kg | 7132478012 | 63.8746 | Rate excluding GST
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 11.592
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 7132455002 | 317.7437
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 151.913
| 23 | Monoplast | Kg | 7132490052 | 57.9825 | Rate excluding GST
| 24 | Bitumen compound | Kg | 7132490053 | 104.3641
| 25 | Providing, Fabricating and fixing 8 SWG Chain link fencing 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. 04-01/ST/62 R2 Date 05.06.2007 | RM | 7130650001 | 2024.88
| 26 | Cable marker for U/G cable | No. | 7130880006 | 130.5434
104 |  | Earth spike | No. | 7130870010 | 789.2877
105 |  | Pad Connector (for Panther conductor) | No. | 7130880006 | 143.84
106 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 7.6977
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 13.1927
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 14.2941
107 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 595.6583
| ii | 20 SWG | Kg | 7131900971 | 595.6583
| iii | 18 SWG | Kg | 7131900973 | 577.2442
| iv | 16 SWG | Kg | 7131900975 | 577.2442
| v | 14 SWG | Kg | 7131900977 | 577.2442
| vi | 12 SWG | Kg | 7131900979 | 577.2442
| vii | 10 SWG | Kg | 7131900981 | 577.2442
| viii | 8 SWG | Kg | 7131900974 | 595.6583
108 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 96.896
109 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 73.2287
110 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 4453.2184
111 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end. | No | 7130642039 | 876.1672
112 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 7130890973 | 60.8334
113 |  | Cable Cutter | No. | 7132011171 | 508.7674
114 |  | Load Break Switches
| i | Load break switches only without panel | Unit | 7131920001 | 43728.9945
| ii | Load break switches with panel | Unit | 7131920002 | 95320.9366
| iii | 3 Way Load break switch | Unit | 7131920003 | 308373.8029
115 |  | Meter Sealing Wire | Kg | 7131397216 | 193.666
116 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7132010551 | 9126.519
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set | 7132010552 | 11016.7621
117 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 784652.7544
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 1114574.839
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1438620.4129
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 1762665.9868
| v | 1OD for RMU | Unit | 7131941767 | 282333.7738
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 329922.0847
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 238468.8296
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 440960.3807
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 535006.3852
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 852528.089
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1348250.4696
118 |  | 11 kV Fault Passage Indicator for Overhead Line | No. | 7131210840 | 14554.7018 | Rate excluding GST
119 |  | AC Distribution Board for AC/DC Supply | No | 7131920028 | 11255.6513
120 |  | 33/11 kV S/S (Name Plate) Board | Job | 7132406800 | 9713.031
121 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job | 7132486843 | 9231.0781 | Rate excluding GST
122 |  | RCC Block (with 6 mm MS Bar) | Each | 7130640008 | 158
123 |  | M.S.Strip 25x3 mm (0.6 kg/Mtr.) | Kg |  | 39.1717
124 |  | SMC Meter Board 350x200x40 mm (minimum) thickness 2.5 mm | No. |  | 148.5576
125 |  | SMC Board 200x150x40 mm (minimum) thickness 2.5 mm | No. |  | 116.7239
126 |  | Piano type ISI mark 250V/5A switch. | No. |  | 10.6113
127 |  | 250V/5A ISI mark 3 pin Socket | No. |  | 26.5281
128 |  | 250V/5A ISI mark holder. | No. |  | 15.9169
129 |  | Earthing terminal (having suitable size of 10 mm Dia GI bolt with 3 nos. nuts & washers) along with Staples / Nut-Bolts/ Nails | No. |  | 53.0563
130 |  | Internal wiring using 1.5 sqmm copper multistrands PVC insulated ISI marked cable (Average cable length 6 Mtr.) | Mtr. |  | 7.2157
131 |  | 25 mm Dia PVC pipe or equivalent for internal house wiring (3 Mtr) | Feet |  | 5.7619
132 |  | Bhatta brick | No. |  | 6.0882
133 |  | 11 kV Capacitor Unit with Expulsion Tube | Each | 7132200004 | 106.2
Note on C330: Author: Earlier name as Battery (Low Maintenance SAN container)
Note on C374: Author: NEW ITEM ADDED
Note on C375: Author: NEW ITEM ADDED
Note on C378: Author: Old Name- 3 Ø 4 Wire 0.5S with DLMS Protocol category A
Note on C379: Author: Old Name- 3 Ø 4 Wire 0.5S with DLMS Protocol category B
Note on C380: Author: Old Name- 3 Ø 4 Wire 0.2S bulk consumer meter
Note on C381: Author: Old Name- 3 Ø 3 Wire 0.2S bulk consumer meter
Note on C382: Author: Old Name- 3 Ø 4 Wire 0.5S consumer meter
Note on C473: Author: NEW ITEM ADDED
Note on C474: Author: NEW ITEM ADDED
Note on C613: Author: Old name-Providing, Fabricating and fixing 8 SWG Chain link fencing (TATA Make) 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. T&D/DRG/MISC/2 Revision -2
Note on D595: Author: Old Unit- Each
Note on D596: Author: Old Unit- Each
Note on D613: Author: Earlier Sq.Mtr
Note on E643: Author: NEW BIN CODE ALLOTED
Note on F571: Barun Chakraborty: GST applicable separately.
Note on F574: Barun Chakraborty: GST applicable separately.
Note on F576: Barun Chakraborty: GST applicable separately.
Note on F577: Barun Chakraborty: GST applicable separately.
Note on F578: Barun Chakraborty: GST applicable separately.
Note on F603: Barun Chakraborty: GST applicable separately.
Note on F604: Barun Chakraborty: GST applicable separately.
Note on F606: Barun Chakraborty: GST applicable separately.
Note on F607: Barun Chakraborty: GST applicable separately.
Note on F611: Barun Chakraborty: GST applicable separately.
Note on F657: Barun Chakraborty: GST applicable separately.
Note on F660: Barun Chakraborty: GST applicable separately.
(cost per kVAR)