## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Feb'20
Period: |  | 1st Jan'20 to 31st Jan'20
Number of Towns: |  | 20
Total nos. of Feeders: |  | 350
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 44 | 10 | 20880 | 2000071574
2 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2344 | 15 | 27720 | 2000071573
3 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 446 | 3 | 1920 | 2000071572
4 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 292 | 4 | 13920 | 2000003841
5 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 31 | 9 | 21300 | 2000014959
6 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 19 | 34500 | 2000014957
7 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 2241 | 4 | 3540 | 2000003843
8 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 512 | 19 | 46620 | 2000003844
9 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 718 | 6 | 46740 | 2000003848
10 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2561 | 16 | 38040 | 2000003849
11 | AMBIKAPUR TOWN | 11KV SONPUR | 180 | 36 | 82740 | 2000014954
12 | AMBIKAPUR TOWN | 11KV DCROAD | 2095 | 33 | 70440 | 2000014951
13 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1988 | 20 | 59580 | 2000003850
14 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1625 | 10 | 24480 | 2000003853
15 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1132 | 40 | 79860 | 2000003852
16 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 280 | 21 | 69000 | 2000001007
17 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1372 | 26 | 37500 | 2000001009
18 | BHATAPARA TOWN | 11KV COLONY FEEDER | 34 | 5 | 4800 | 2000004255
19 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 773 | 9 | 10980 | 2000006347
20 | BHATAPARA TOWN | 11KV HATARI BAZAR 11KV FEEDER | 1905 | 5 | 5040 | 2000006376
21 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 736 | 3 | 15840 | 2000006377
22 | BHATAPARA TOWN | 11KV KHOKHLI FEEDER | 616 | 6 | 7080 | 2000006378
23 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 180 | 4 | 2100 | 2000022031
24 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1970 | 26 | 64500 | 2000004869
25 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 187 | 5 | 14220 | 2000004875
26 | BILASPUR TOWN | 11KV DHEKA FEEDER | 351 | 14 | 25560 | 2000004877
27 | BILASPUR TOWN | 11KV DHUMA FEEDER | 994 | 3 | 1980 | 2000004878
28 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 557 | 15 | 27600 | 2000004879
29 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1252 | 7 | 12180 | 2000004881
30 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3453 | 25 | 36300 | 2000004882
31 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1349 | 12 | 21000 | 2000004883
32 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2032 | 6 | 9720 | 2000004888
33 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2641 | 14 | 13680 | 2000004889
34 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 604 | 6 | 7140 | 2000004892
35 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1 | 20 | 31140 | 2000004894
36 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2737 | 29 | 54060 | 2000004901
37 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3059 | 24 | 79380 | 2000004906
38 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4543 | 7 | 12120 | 2000004909
39 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3852 | 5 | 16140 | 2000004910
40 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1251 | 2 | 2400 | 2000004911
41 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1758 | 1 | 900 | 2000004912
42 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1946 | 2 | 3240 | 2000004913
43 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2538 | 3 | 8940 | 2000004914
44 | BILASPUR TOWN | 11KV RULER FEEDER | 1876 | 29 | 99420 | 2000004916
45 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3417 | 2 | 3180 | 2000004920
46 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1196 | 13 | 22380 | 2000016310
47 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1117 | 30 | 47280 | 2000016311
48 | BILASPUR TOWN | 11KV NEW MOPKA | 1459 | 12 | 14100 | 2000017224
49 | BILASPUR TOWN | 11KV SHIVAM CITY | 1712 | 11 | 9780 | 2000017225
50 | BILASPUR TOWN | 11KV MAHAVEER CITY | 313 | 1 | 360 | 2000017226
51 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 2 | 2280 | 2000017502
52 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2464 | 8 | 36600 | 2000017505
53 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1026 | 17 | 30240 | 2000017776
54 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 14 | 19860 | 2000017777
55 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 405 | 15 | 26880 | 2000017780
56 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 355 | 11 | 12780 | 2000017781
57 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1116 | 7 | 9300 | 2000018403
58 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2179 | 6 | 11400 | 2000018405
59 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 807 | 2 | 720 | 2000018761
60 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1823 | 4 | 5880 | 2000018762
61 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 474 | 3 | 1980 | 2000018763
62 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 407 | 12 | 21120 | 2000020488
63 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1310 | 7 | 11880 | 2000020489
64 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1283 | 12 | 15180 | 2000020490
65 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 941 | 13 | 16680 | 2000020582
66 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1028 | 12 | 171360 | 2000020583
67 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 288 | 10 | 27120 | 2000022060
68 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 425 | 10 | 26220 | 2000022061
69 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 329 | 18 | 33120 | 2000023802
70 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 859 | 6 | 3780 | 2000023803
71 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1746 | 5 | 7560 | 2000001809
72 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2405 | 17 | 24120 | 2000001808
73 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 521 | 7 | 8160 | 2000001806
74 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 267 | 15 | 23580 | 2000001804
75 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 213 | 14 | 24420 | 2000015252
76 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1676 | 3 | 2220 | 2000003194
77 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1246 | 4 | 1560 | 2000003195
78 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2061 | 13 | 151980 | 2000003196
79 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5660 | 6 | 15840 | 2000003197
80 | DALLI RAJHARA TOWN | 11KV TOWN2 FEEDER | 2340 | 4 | 1560 | 2000003198
81 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 194 | 12 | 8340 | 2000006348
82 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 481 | 4 | 51660 | 2000015505
83 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 34 | 135360 | 2000002567
84 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2155 | 6 | 5040 | 2000002571
85 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 1025 | 11 | 7980 | 2000002572
86 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 12 | 13380 | 2000002577
87 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 8 | 13920 | 2000002573
88 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 358 | 3 | 3060 | 2000004308
89 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1596 | 3 | 2520 | 2000007687
90 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1487 | 2 | 1380 | 2000007715
91 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 1077 | 1 | 420 | 2000007716
92 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 787 | 8 | 9240 | 2000007717
93 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1711 | 4 | 3300 | 2000007725
94 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 650 | 8 | 1860 | 2000007731
95 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1857 | 9 | 4980 | 2000007734
96 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 785 | 4 | 5340 | 2000007735
97 | DURG BHILAI CHARODA TOWN | 11KV PRAGATINAGAR FEEDER | 1597 | 2 | 3600 | 2000007745
98 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1316 | 2 | 1140 | 2000007750
99 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1940 | 5 | 2520 | 2000007754
100 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 1629 | 3 | 4380 | 2000007761
101 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1457 | 7 | 5280 | 2000007762
102 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1222 | 9 | 13080 | 2000007776
103 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1171 | 4 | 2700 | 2000017055
104 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 930 | 5 | 2160 | 2000017056
105 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 774 | 3 | 1140 | 2000017057
106 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 920 | 4 | 1680 | 2000017058
107 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2100 | 6 | 11820 | 2000017059
108 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 522 | 4 | 22020 | 2000017060
109 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1062 | 4 | 20700 | 2000017061
110 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 589 | 4 | 3120 | 2000017062
111 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2438 | 8 | 33660 | 2000017064
112 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1351 | 16 | 31740 | 2000017065
113 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1194 | 2 | 1860 | 2000017066
114 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 571 | 5 | 4620 | 2000017067
115 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2189 | 7 | 27960 | 2000017068
116 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 882 | 15 | 11580 | 2000017069
117 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2004 | 16 | 31800 | 2000017071
118 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2459 | 13 | 21120 | 2000018574
119 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 304 | 9 | 7260 | 2000018704
120 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1393 | 9 | 6780 | 2000018705
121 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1836 | 9 | 13980 | 2000018706
122 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 640 | 12 | 34260 | 2000018707
123 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 738 | 4 | 2040 | 2000019819
124 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 497 | 21 | 53820 | 2000019876
125 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1073 | 3 | 48660 | 2000020519
126 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3114 | 10 | 27900 | 2000021263
127 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1333 | 10 | 25500 | 2000021264
128 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1131 | 3 | 22680 | 2000021357
129 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3181 | 13 | 6960 | 2000023773
130 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 356 | 6 | 35160 | 2000025794
131 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 4 | 3840 | 2000027337
132 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1175 | 9 | 8460 | 2000029191
133 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 680 | 7 | 6420 | 2000029192
134 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1636 | 11 | 10320 | 2000029193
135 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1668 | 6 | 7320 | 2000049757
136 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 61 | 11 | 12900 | 2000049820
137 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1393 | 1 | 300 | 2000067876
138 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3501 | 1 | 360 | 2000067877
139 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1699 | 2 | 1440 | 2000067878
140 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 2254 | 1 | 1200 | 2000017872
141 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1390 | 2 | 286680 | 2000004331
142 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2435 | 14 | 142320 | 2000004336
143 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2477 | 17 | 107460 | 2000004343
144 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3431 | 1 | 4200 | 2000004345
145 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3839 | 10 | 18300 | 2000004348
146 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1691 | 3 | 3720 | 2000015850
147 | KORBA TOWN | 11KV DADAR FEEDER | 591 | 7 | 32040 | 2000006768
148 | KORBA TOWN | 11KV DEFR FEEDER | 1806 | 1 | 2460 | 2000006769
149 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 7 | 27660 | 2000006770
150 | KORBA TOWN | 11KV DARRI-1 FEEDER | 712 | 6 | 15960 | 2000006771
151 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 791 | 9 | 30840 | 2000006773
152 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 917 | 10 | 21240 | 2000006775
153 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1892 | 9 | 43260 | 2000006786
154 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1945 | 5 | 10740 | 2000006787
155 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1045 | 10 | 14220 | 2000006794
156 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 39 | 1 | 2400 | 2000006797
157 | KORBA TOWN | 11KV DONDROFEEDER | 31 | 25 | 44640 | 2000016028
158 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1891 | 8 | 30060 | 2000016201
159 | KORBA TOWN | 11KV RPNAGAR FEEDER | 814 | 5 | 6180 | 2000016912
160 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2152 | 13 | 35700 | 2000017804
161 | KORBA TOWN | 11KV MUDAPAR FEEDER | 979 | 14 | 12540 | 2000020065
162 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1063 | 21 | 51060 | 2000020122
163 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 222 | 11 | 132540 | 2000021289
164 | KORBA TOWN | 11KV SEMIPALI | 447 | 21 | 76260 | 2000015240
165 | KORBA TOWN | 11KV TOWN-1 FEEDER | 701 | 6 | 9180 | 2000015220
166 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1504 | 13 | 20880 | 2000006798
167 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1766 | 5 | 34680 | 2000001427
168 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 9 | 36480 | 2000001426
169 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 14 | 163680 | 2000001425
170 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 783 | 7 | 100380 | 2000003055
171 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6031 | 27 | 32340 | 2000003057
172 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 149 | 9 | 14220 | 2000015467
173 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1824 | 32 | 44760 | 2000055675
174 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 103 | 13 | 35220 | 2000002458
175 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 697 | 5 | 10920 | 2000018959
176 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1856 | 3 | 19260 | 2000001622
177 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 109 | 2 | 15000 | 2000001623
178 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 5 | 4920 | 2000001625
179 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 225 | 4 | 23520 | 2000001637
180 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 5 | 4560 | 2000001629
181 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 3947 | 6 | 22440 | 2000001636
182 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1122 | 6 | 5880 | 2000016052
183 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 13 | 48660 | 2000016054
184 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1150 | 8 | 10860 | 2000016055
185 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 8 | 10440 | 2000016056
186 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 623 | 7 | 10320 | 2000016057
187 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 548 | 4 | 4980 | 2000016184
188 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1813 | 4 | 4680 | 2000016185
189 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3174 | 22 | 90180 | 2000003325
190 | RAIGARH TOWN | 11KV STADIUM FEEDER | 299 | 4 | 4500 | 2000003323
191 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 618 | 16 | 28080 | 2000003320
192 | RAIGARH TOWN | 11KV STADIUM FEEDER | 671 | 14 | 17760 | 2000022941
193 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 802 | 18 | 17640 | 2000021639
194 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1651 | 4 | 15900 | 2000003303
195 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1458 | 4 | 15900 | 2000003304
196 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 936 | 10 | 62820 | 2000020755
197 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1249 | 3 | 15780 | 2000003305
198 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 949 | 15 | 34920 | 2000003308
199 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1178 | 3 | 15780 | 2000003310
200 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2318 | 15 | 179460 | 2000003313
201 | RAIPUR TOWN | 11KV ITI FEEDER | 297 | 10 | 13200 | 2000010581
202 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1513 | 1 | 5820 | 2000010582
203 | RAIPUR TOWN | 11KV KARBALA TALAB | 1301 | 1 | 960 | 2000010585
204 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 906 | 22 | 33360 | 2000010589
205 | RAIPUR TOWN | 11KV GAD FEEDER | 768 | 13 | 32580 | 2000010590
206 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 809 | 8 | 25800 | 2000010591
207 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 395 | 4 | 4860 | 2000010592
208 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1040 | 9 | 9000 | 2000010603
209 | RAIPUR TOWN | 11KV ATARI FEEDER | 898 | 8 | 10020 | 2000010604
210 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 788 | 4 | 34440 | 2000010613
211 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 142 | 4 | 3480 | 2000010615
212 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1515 | 1 | 8580 | 2000010621
213 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2646 | 3 | 13620 | 2000010631
214 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1007 | 1 | 840 | 2000010636
215 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3169 | 1 | 13500 | 2000010639
216 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2345 | 6 | 6900 | 2000010640
217 | RAIPUR TOWN | 11KV KACHNA FEEDER | 253 | 7 | 6180 | 2000010646
218 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 998 | 6 | 71280 | 2000010654
219 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 490 | 9 | 32340 | 2000010657
220 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 5 | 6420 | 2000010660
221 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1619 | 1 | 360 | 2000010661
222 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2279 | 13 | 22620 | 2000010662
223 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 784 | 1 | 960 | 2000010666
224 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1814 | 5 | 8520 | 2000010668
225 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 940 | 1 | 1020 | 2000010671
226 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3508 | 4 | 2160 | 2000010674
227 | RAIPUR TOWN | 11KV KBT FEEDER | 1246 | 8 | 49200 | 2000010682
228 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 637 | 2 | 1320 | 2000010687
229 | RAIPUR TOWN | 11KV RDA FEEDER | 852 | 7 | 27540 | 2000010689
230 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1323 | 7 | 8580 | 2000010691
231 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3437 | 3 | 27120 | 2000010692
232 | RAIPUR TOWN | 11KV RING 2 FEEDER | 4169 | 2 | 4620 | 2000010693
233 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2622 | 8 | 10620 | 2000010698
234 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3447 | 3 | 1620 | 2000010702
235 | RAIPUR TOWN | 11KV RULAR FEEDER | 566 | 7 | 53880 | 2000010703
236 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 513 | 3 | 6720 | 2000010707
237 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 929 | 1 | 360 | 2000010708
238 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1869 | 3 | 4260 | 2000010711
239 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 969 | 3 | 3660 | 2000010712
240 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 699 | 3 | 1560 | 2000010713
241 | RAIPUR TOWN | 11KV SARORA FEEDER | 975 | 1 | 840 | 2000010720
242 | RAIPUR TOWN | 11KV SECTOR -5 | 760 | 2 | 10380 | 2000010721
243 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3668 | 1 | 14340 | 2000010723
244 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1317 | 14 | 24060 | 2000010726
245 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 466 | 7 | 32760 | 2000010727
246 | RAIPUR TOWN | 11KV TOWN FEEDER | 2472 | 3 | 27780 | 2000010730
247 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2215 | 2 | 3660 | 2000010736
248 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2947 | 7 | 245520 | 2000010740
249 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 305 | 2 | 2040 | 2000010744
250 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 984 | 4 | 7200 | 2000017256
251 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1243 | 10 | 43980 | 2000017508
252 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2496 | 4 | 3660 | 2000017567
253 | RAIPUR TOWN | 11KV WHITE HOUSE | 797 | 4 | 11820 | 2000017568
254 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 611 | 3 | 1920 | 2000017569
255 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 704 | 5 | 14760 | 2000017590
256 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1569 | 3 | 4560 | 2000017597
257 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2282 | 3 | 1260 | 2000017600
258 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1783 | 9 | 25800 | 2000017608
259 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 804 | 2 | 10920 | 2000017609
260 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 850 | 6 | 80760 | 2000017615
261 | RAIPUR TOWN | 11KV COLONY FEEDER | 28 | 4 | 9300 | 2000017619
262 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2036 | 3 | 3360 | 2000017621
263 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 626 | 8 | 1337340 | 2000017623
264 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 378 | 1 | 6900 | 2000017671
265 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1771 | 5 | 5340 | 2000017690
266 | RAIPUR TOWN | 11KV ROMAN SQUARE | 599 | 6 | 12060 | 2000017691
267 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 3 | 7800 | 2000017692
268 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 795 | 6 | 19800 | 2000017721
269 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1074 | 2 | 1500 | 2000017755
270 | RAIPUR TOWN | 11KV MOTHER TERESA | 817 | 2 | 1500 | 2000017756
271 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 515 | 3 | 6420 | 2000017757
272 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1177 | 1 | 2520 | 2000017768
273 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1188 | 2 | 1140 | 2000017771
274 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1441 | 3 | 1020 | 2000017772
275 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1151 | 3 | 79740 | 2000017867
276 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1952 | 4 | 4140 | 2000017868
277 | RAIPUR TOWN | 11KV GANESH MANDIR | 233 | 4 | 4140 | 2000017869
278 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 5 | 4320 | 2000017871
279 | RAIPUR TOWN | 11KV NAVEEN MARKET | 889 | 8 | 18180 | 2000017953
280 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2709 | 6 | 9600 | 2000017954
281 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1137 | 15 | 19800 | 2000017962
282 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 332 | 3 | 1680 | 2000018004
283 | RAIPUR TOWN | 11KV SADDU FEEDER | 305 | 5 | 19920 | 2000018005
284 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1485 | 5 | 17040 | 2000018006
285 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 368 | 3 | 12840 | 2000018359
286 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1458 | 3 | 12720 | 2000018361
287 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 462 | 3 | 98940 | 2000018416
288 | RAIPUR TOWN | 11KV VARUN FEEDER | 1126 | 6 | 8580 | 2000019179
289 | RAIPUR TOWN | 11KV HEERA FEEDER | 3044 | 14 | 16620 | 2000019180
290 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 488 | 7 | 12600 | 2000019181
291 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1169 | 6 | 15780 | 2000019334
292 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1251 | 4 | 15060 | 2000019340
293 | RAIPUR TOWN | 11KV CTI FEEDER | 256 | 9 | 45300 | 2000019342
294 | RAIPUR TOWN | 11KV PS CITY | 1340 | 8 | 6480 | 2000019530
295 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 723 | 4 | 10200 | 2000019697
296 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 16 | 1 | 540 | 2000019850
297 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 132 | 2 | 1080 | 2000019851
298 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 167 | 3 | 2668680 | 2000019852
299 | RAIPUR TOWN | 11KV BLOCK NO 5,6,7,8 FEEDER | 179 | 4 | 17520 | 2000019853
300 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1812 | 5 | 41040 | 2000019857
301 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1540 | 3 | 19980 | 2000019858
302 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2107 | 1 | 300 | 2000020009
303 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1688 | 3 | 6120 | 2000020119
304 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 6 | 9540 | 2000020123
305 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 5 | 15000 | 2000020130
306 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 175 | 12 | 36240 | 2000020131
307 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 4 | 2880 | 2000020132
308 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3510 | 14 | 24000 | 2000020153
309 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1715 | 4 | 2520 | 2000021219
310 | RAIPUR TOWN | 11KV TARUN NAGAR | 1813 | 4 | 2700 | 2000021221
311 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1392 | 2 | 1020 | 2000021287
312 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 3 | 3240 | 2000021615
313 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 810 | 1 | 1140 | 2000022078
314 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1410 | 4 | 3420 | 2000023680
315 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1578 | 3 | 143340 | 2000023735
316 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 135 | 1 | 9960 | 2000023736
317 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1647 | 5 | 7620 | 2000023772
318 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1116 | 4 | 4020 | 2000024395
319 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 9 | 200940 | 2000026462
320 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2325 | 1 | 720 | 2000026575
321 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1524 | 3 | 8640 | 2000026582
322 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 998 | 4 | 14460 | 2000026583
323 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1070 | 2 | 7380 | 2000026584
324 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 629 | 1 | 660 | 2000026585
325 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1268 | 1 | 660 | 2000026586
326 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 330 | 3 | 4200 | 2000029194
327 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 137 | 4 | 3420 | 2000029195
328 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1318 | 3 | 4020 | 2000034421
329 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 761 | 1 | 10380 | 2000034422
330 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 742 | 5 | 15540 | 2000034423
331 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2596 | 7 | 17760 | 2000034760
332 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 344 | 6 | 10500 | 2000034761
333 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1770 | 3 | 2640 | 2000034762
334 | RAIPUR TOWN | 11KV PRIDE FEEDER | 174 | 7 | 27660 | 2000039215
335 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 21 | 15 | 30240 | 2000046448
336 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 1606 | 5 | 73140 | 2000068159
337 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 2 | 1020 | 2000069376
338 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 198 | 8 | 26700 | 2000070080
339 | RAIPUR TOWN | 11KV C&F FEEDER | 25 | 2 | 2220 | 2000070702
340 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 2 | 2220 | 2000070703
341 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1026 | 6 | 20640 | 2000070747
342 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2492 | 7 | 5280 | 2000071570
343 | RAIPUR TOWN | 11KV BANA FEEDER | 1088 | 4 | 6120 | 2000071633
344 | RAIPUR TOWN | 11KV KARA FEEDER | 403 | 13 | 22440 | 2000071634
345 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 125 | 5 | 25080 | 2000071639
346 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1452 | 1 | 2160 | 2000006488
347 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 1999 | 10 | 6900 | 2000069535
348 | RAJNANDGAON TOWN | 11KV RAM DARBAR FEEDER | 433 | 1 | 3240 | 2000015445
349 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1692 | 1 | 300 | 2000001957
350 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 815 | 1 | 360 | 2000001959