## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….Jul'20
Input Energy Period: ……..May'19 to Apr'20
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 12 | 11KV TOWN FEEDER | 65.39 | 92.74 | 39.36 | 11KV MAYUR SCHOOL 11KV FEEDER | 62.11 | 98.21 | 39
2 | KAWARDHA TOWN | 10 | 11KV MAHARAJPUR (RURAL) FEEDE | 7.17 | 85.95 | 93.84
3 | MAHASAMUND TOWN | 9 | 11KV NAYAPARA FEEDER | 49.5 | 82.5 | 59.16
4 | KANKER TOWN | 5 | 11KV CIVIL LINE FEEDER | 97.5 | 68.39 | 33.32
5 | RAJNANDGAON TOWN | 34 | 11KV DHABA(RURAL)FEEDER | 35.91 | 64.8 | 76.73 | 11KV INDHAMARA(RURAL)FEEDER | 16.12 | 74.34 | 88.02 | 11KV PANEKA FEEDER | 21.5 | 98.8 | 78.76
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 49.65 | 86.42 | 57.09
7 | MUNGELI TOWN | 8 | 11KV TOWN-4TEMRI FEEDER | 91.95 | 66.89 | 38.49
8 | CHAMPA TOWN | 10 | 11KV BRIGHANI FEEDER | 18.38 | 68.25 | 87.46
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 47.48 | 28.69 | 86.38 | 11KV BHATGAON FEEDER | 33.52 | 93.55 | 68.64
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 17.8 | 69.28 | 87.67
11 | MANENDRAGARH TOWN | 6 | 11KV KAILARI FEEDER | 57.19 | 77.08 | 55.92
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN2 FEEDER | 75.16 | 91.92 | 30.91
13 | AMBIKAPUR TOWN | 27 | 11KV SONPUR | 11.03 | 74.84 | 91.75 | 11KV MG ROAD FEEDER | 2.49 | 100 | 97.51 | 11KV INDUSTRIAL AREA FEEDER | 8.46 | 97.35 | 91.76
14 | JAGDALPUR TOWN | 25 | 11KV AGHANPUR FEEDER | 9.73 | 100 | 90.27 | 11KV SUNCITY FEEDER | 39.82 | 98.47 | 60.79 | 11KV TOWN-1 FEEDER | 32.62 | 100 | 67.38
15 | KORBA TOWN | 63 | 11KV BULGI FEEDER | 15.34 | 59.89 | 90.81 | 11KV DADAR FEEDER | 25.4 | 57.3 | 85.45 | 11KV PARSABADA FEEDER | 40.3 | 53.84 | 78.3 | 11KV SARMANGLA FEEDER | 32.67 | 64.19 | 79.03 | 11KV IMLIDUGGU FEEDER | 30.18 | 68.74 | 79.25
16 | NAILA JANJGIR TOWN | 19 | 11KV TOWN-2 FEEDER | 42.7 | 100 | 57.3
17 | DURG BHILAI CHARODA TOWN | 159 | 11KV BALAJI NAGAR FEEDER | 22.89 | 98.45 | 77.46 | 11KV HATHKHOJ RURAL FEEDER | 29.27 | 92.22 | 73.01 | 11KV ITI FEEDER | 34.06 | 98.56 | 66.43 | 11KV RISALI BASTI FEEDER | 24.82 | 94.63 | 76.51 | 11KV RAJARAM FEEDER | 39.79 | 95.62 | 61.95
18 | BILASPUR TOWN | 98 | 11KV DAYALBAND FEEDER | 14.46 | 45.13 | 93.47 | 11KV PACHARIGHATFEEDER | 29.2 | 55.05 | 83.93 | 11KV Uslapur Overbridge Feeder | 29.9 | 100 | 70.1 | 11KV HOUSING BOARD FEEDER | 13.33 | 92.87 | 87.62 | 11KV BHAISA BAZAR FEEDER | 16.78 | 56.65 | 90.49
19 | RAIGARH TOWN | 52 | 11KV PARKCITY FEEDER | 34.33 | 100 | 65.67 | 11KV SAVITRI NAGAR FEEDER | 38.54 | 88.76 | 65.79 | 11KV COLLECTRED FEEDER | 35.39 | 94.39 | 66.6 | 11KV RAJIV NAGAR FEEDER | 17 | 24.85 | 95.78 | 11KV GOGA MANDIR CHOWK FEEDER | 23.12 | 72.11 | 83.33
20 | RAIPUR TOWN | 317 | 11KV MANAVADHIKAR FEEDER | 9.94 | 91.54 | 90.9 | 11KV SUN CITY FEEDER | 1.65 | 100 | 98.35 | 11KV NANAK ENGINEERING FEEDER | 18.31 | 82.77 | 84.84 | 11KV TEACHER COLONY FEEDER | 24.76 | 75.59 | 81.28 | 11KV LOGISTICK FEEDER | 37.27 | 79.67 | 70.31