## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Nov'18
Period: |  | 1st Oct'18 to 31th Oct'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 435
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1223 | 20 | 36300 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 219 | 15 | 20220 | 2000003841
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 201 | 18 | 32460 | 2000003845
4 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2496 | 26 | 54960 | 2000003848
5 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1217 | 20 | 36720 | 2000003854
6 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1199 | 15 | 23040 | 2000014960
7 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 13 | 50880 | 2000014959
8 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 333 | 11 | 10800 | 2000014961
9 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1485 | 25 | 21420 | 2000014951
10 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 727 | 11 | 10620 | 2000006627
11 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 133 | 31 | 31140 | 2000015334
12 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3142 | 6 | 29400 | 2000001004
13 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 1097 | 10 | 9300 | 2000001005
14 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 576 | 14 | 45720 | 2000001006
15 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1136 | 25 | 33960 | 2000001008
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 533 | 14 | 303300 | 2000001011
17 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 259 | 18 | 37080 | 2000001013
18 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 399 | 11 | 28380 | 2000006377
19 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1420 | 3 | 22380 | 2000006376
20 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 633 | 12 | 9000 | 2000006347
21 | BHATAPARA TOWN | 11KV COLONY FEEDER | 33 | 13 | 33300 | 2000004255
22 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 360 | 18 | 35580 | 2000022031
23 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1477 | 22 | 30840 | 2000004868
24 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1589 | 13 | 4140 | 2000004871
25 | BILASPUR TOWN | 11KV DHEKA FEEDER | 276 | 7 | 7680 | 2000004877
26 | BILASPUR TOWN | 11KV DHUMA FEEDER | 677 | 3 | 19380 | 2000004878
27 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 437 | 9 | 32460 | 2000004879
28 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2792 | 5 | 15720 | 2000004882
29 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1268 | 16 | 21300 | 2000004883
30 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1680 | 13 | 6420 | 2000004884
31 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1962 | 15 | 19980 | 2000004888
32 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2540 | 9 | 2400 | 2000004889
33 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 14 | 20640 | 2000004891
34 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 584 | 9 | 8940 | 2000004892
35 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2704 | 11 | 14340 | 2000004893
36 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2074 | 12 | 17880 | 2000004896
37 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 28 | 25920 | 2000004897
38 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 849 | 5 | 16500 | 2000004898
39 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1106 | 13 | 10380 | 2000004900
40 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 14 | 21120 | 2000004901
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 9 | 8280 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2306 | 7 | 17520 | 2000004904
43 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 739 | 9 | 8100 | 2000004908
44 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1074 | 22 | 23700 | 2000004911
45 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1560 | 6 | 14880 | 2000004912
46 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1799 | 12 | 12840 | 2000004913
47 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2358 | 8 | 19800 | 2000004914
48 | BILASPUR TOWN | 11KV RULER FEEDER | 1546 | 3 | 2460 | 2000004916
49 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2021 | 4 | 19500 | 2000004917
50 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1337 | 7 | 18720 | 2000004919
51 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 34 | 13560 | 2000004923
52 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3828 | 5 | 1740 | 2000004926
53 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 716 | 6 | 4620 | 2000016310
54 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 762 | 23 | 35640 | 2000016311
55 | BILASPUR TOWN | 11 KV NEW MOPKA | 832 | 10 | 9480 | 2000017224
56 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1241 | 6 | 1380 | 2000017225
57 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 209 | 5 | 1140 | 2000017226
58 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 168 | 16 | 28440 | 2000017505
59 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 314 | 25 | 34980 | 2000017780
60 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 24 | 16920 | 2000017781
61 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1002 | 3 | 7020 | 2000018403
62 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 773 | 8 | 40320 | 2000018761
63 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 430 | 4 | 2040 | 2000018763
64 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 380 | 19 | 387180 | 2000020488
65 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1113 | 22 | 365580 | 2000020490
66 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 919 | 18 | 20400 | 2000020582
67 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 972 | 1 | 600 | 2000020583
68 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 338 | 8 | 25140 | 2000023801
69 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 274 | 7 | 23520 | 2000023802
70 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 16 | 38400 | 2000003195
71 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2000 | 6 | 13560 | 2000003196
72 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5564 | 17 | 39780 | 2000003197
73 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2543 | 14 | 7680 | 2000002579
74 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3184 | 13 | 8520 | 2000002578
75 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1027 | 10 | 9000 | 2000002576
76 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 997 | 15 | 5640 | 2000002574
77 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 3 | 1800 | 2000002573
78 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3932 | 18 | 6240 | 2000002570
79 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1521 | 12 | 3300 | 2000002569
80 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 13 | 18120 | 2000002566
81 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 947 | 13 | 15600 | 2000001301
82 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 4 | 780 | 2000001299
83 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 734 | 16 | 21420 | 2000001298
84 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2428 | 10 | 3120 | 2000001302
85 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1674 | 4 | 16020 | 2000001295
86 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3460 | 2 | 1680 | 2000001303
87 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 706 | 5 | 23520 | 2000007685
88 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2192 | 6 | 3360 | 2000007686
89 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 664 | 26 | 28380 | 2000007687
90 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 13 | 10380 | 2000007688
91 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1038 | 7 | 4380 | 2000007689
92 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1762 | 5 | 3720 | 2000007694
93 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3319 | 9 | 2280 | 2000007696
94 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 857 | 9 | 7620 | 2000007697
95 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2876 | 3 | 540 | 2000007701
96 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 985 | 5 | 9600 | 2000007702
97 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1008 | 7 | 23580 | 2000007703
98 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3962 | 8 | 22860 | 2000007705
99 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 958 | 24 | 30060 | 2000007708
100 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1545 | 23 | 41520 | 2000007709
101 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 812 | 6 | 3720 | 2000007711
102 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 7 | 4800 | 2000007712
103 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 615 | 10 | 9360 | 2000007713
104 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1325 | 8 | 4740 | 2000007714
105 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 975 | 8 | 5100 | 2000007715
106 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 13 | 20340 | 2000007716
107 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 621 | 8 | 22800 | 2000007717
108 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1446 | 6 | 7260 | 2000007718
109 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1839 | 12 | 18480 | 2000007719
110 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 828 | 1 | 900 | 2000007720
111 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3227 | 7 | 360780 | 2000007721
112 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1864 | 18 | 9060 | 2000007723
113 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1189 | 11 | 23700 | 2000007724
114 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1150 | 46 | 35100 | 2000007728
115 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 609 | 15 | 10740 | 2000007729
116 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 498 | 11 | 10980 | 2000007731
117 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 529 | 9 | 3120 | 2000007733
118 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 455 | 17 | 7860 | 2000007735
119 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1241 | 20 | 31860 | 2000007738
120 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 742 | 11 | 6840 | 2000007739
121 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 855 | 6 | 2460 | 2000007740
122 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1482 | 4 | 23160 | 2000007741
123 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1148 | 29 | 37500 | 2000007743
124 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1083 | 18 | 24720 | 2000007744
125 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 466 | 25 | 74700 | 2000007747
126 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1080 | 8 | 3600 | 2000007748
127 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 508 | 4 | 1080 | 2000007749
128 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 8 | 8280 | 2000007751
129 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3163 | 1 | 900 | 2000007752
130 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1787 | 10 | 11880 | 2000007754
131 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 244 | 9 | 5820 | 2000007755
132 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2861 | 4 | 6960 | 2000007756
133 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1479 | 12 | 6180 | 2000007757
134 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1092 | 13 | 94140 | 2000007758
135 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3029 | 12 | 4980 | 2000007759
136 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2521 | 6 | 5160 | 2000007760
137 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1281 | 14 | 6900 | 2000007762
138 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 6 | 1500 | 2000007763
139 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 6 | 1260 | 2000007764
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 177 | 6 | 1200 | 2000007765
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 1 | 2160 | 2000007766
142 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 603 | 1 | 2160 | 2000007767
143 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1245 | 1 | 360 | 2000007768
144 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2188 | 8 | 6660 | 2000007769
145 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1791 | 7 | 3840 | 2000007770
146 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1184 | 5 | 1680 | 2000007771
147 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1222 | 25 | 30360 | 2000007773
148 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1296 | 9 | 16380 | 2000007776
149 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1231 | 11 | 6660 | 2000007777
150 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 367 | 13 | 7980 | 2000007778
151 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 789 | 26 | 10680 | 2000007779
152 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1285 | 13 | 21180 | 2000007780
153 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1788 | 18 | 31980 | 2000007781
154 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1486 | 14 | 42720 | 2000007782
155 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2597 | 4 | 4860 | 2000016998
156 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1531 | 12 | 14280 | 2000017001
157 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 460 | 8 | 5040 | 2000017044
158 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 60 | 6 | 3360 | 2000017045
159 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1204 | 15 | 36060 | 2000017054
160 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 949 | 6 | 52140 | 2000017055
161 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 935 | 3 | 2460 | 2000017056
162 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 383 | 3 | 6600 | 2000017057
163 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1722 | 2 | 16560 | 2000017059
164 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 542 | 3 | 1860 | 2000017060
165 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 904 | 3 | 14100 | 2000017061
166 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 573 | 6 | 18240 | 2000017062
167 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1725 | 1 | 360 | 2000017063
168 | DURG BHILAI CHARODA TOWN | 11KV BORSI FEEDER | 1647 | 10 | 64320 | 2000017064
169 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1046 | 5 | 1140 | 2000017065
170 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1072 | 5 | 5040 | 2000017066
171 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 403 | 4 | 1140 | 2000017069
172 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1063 | 5 | 1020 | 2000017071
173 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 334 | 18 | 46620 | 2000017076
174 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 700 | 19 | 16080 | 2000018574
175 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 283 | 13 | 16140 | 2000018704
176 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1306 | 3 | 3720 | 2000018705
177 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1722 | 2 | 1740 | 2000018706
178 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 2337 | 11 | 4740 | 2000018707
179 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1392 | 14 | 183060 | 2000018723
180 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 30 | 17 | 37440 | 2000018987
181 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 221 | 8 | 18720 | 2000019819
182 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 951 | 7 | 5700 | 2000020519
183 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3012 | 3 | 2700 | 2000021263
184 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1180 | 2 | 1560 | 2000021264
185 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 336 | 8 | 6960 | 2000025794
186 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1662 | 31 | 94740 | 2000029193
187 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1042 | 21 | 26760 | 2000004339
188 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2190 | 7 | 8040 | 2000004338
189 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1542 | 6 | 7140 | 2000004337
190 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1947 | 3 | 1620 | 2000017872
191 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1370 | 4 | 1380 | 2000004336
192 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1263 | 5 | 2580 | 2000004335
193 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1207 | 6 | 10740 | 2000004349
194 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 2 | 1560 | 2000004347
195 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1570 | 6 | 33420 | 2000004344
196 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1546 | 8 | 48900 | 2000004330
197 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 848 | 2 | 1620 | 2000004334
198 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 301 | 4 | 1560 | 2000004333
199 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1761 | 12 | 11520 | 2000004332
200 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 784 | 3 | 540 | 2000004331
201 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1108 | 4 | 1920 | 2000015850
202 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2914 | 6 | 1680 | 2000002910
203 | KANKER TOWN | 11KV PATOD FEEDER | 556 | 14 | 16020 | 2000002909
204 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 23 | 18960 | 2000002907
205 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2965 | 17 | 10800 | 2000001055
206 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1028 | 10 | 3480 | 2000001051
207 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 417 | 52 | 95100 | 2000001047
208 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 10 | 14520 | 2000006490
209 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 15 | 5940 | 2000006759
210 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 36 | 49860 | 2000006762
211 | KORBA TOWN | 11KV BULGI FEEDER | 942 | 32 | 35040 | 2000006764
212 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 50 | 90780 | 2000006770
213 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2813 | 15 | 11400 | 2000006778
214 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 772 | 9 | 13860 | 2000006782
215 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1299 | 3 | 25800 | 2000006783
216 | KORBA TOWN | 11KV NIHARIKA FEEDER | 710 | 2 | 26040 | 2000006784
217 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 710 | 32 | 63840 | 2000006787
218 | KORBA TOWN | 11KV PARSABADA FEEDER | 1397 | 23 | 23880 | 2000006789
219 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 294 | 9 | 9000 | 2000006790
220 | KORBA TOWN | 11KV RAMPUR FEEDER | 811 | 8 | 17880 | 2000006791
221 | KORBA TOWN | 11KV SARMANGLA FEEDER | 723 | 7 | 5340 | 2000006794
222 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 798 | 5 | 30360 | 2000006796
223 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1182 | 19 | 46140 | 2000006798
224 | KORBA TOWN | 11KV TOWN-1 FEEDER | 709 | 8 | 20760 | 2000015220
225 | KORBA TOWN | 11KV RP NAGAR FEEDER | 812 | 4 | 32040 | 2000016912
226 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 69 | 10 | 17520 | 2000017790
227 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 375 | 19 | 54180 | 2000017805
228 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1155 | 19 | 52200 | 2000020122
229 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 9 | 10320 | 2000001423
230 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 6 | 15600 | 2000001424
231 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2102 | 6 | 6900 | 2000001430
232 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1408 | 13 | 18060 | 2000006458
233 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 434 | 11 | 8820 | 2000006460
234 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 995 | 13 | 6060 | 2000002464
235 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1055 | 19 | 25560 | 2000002463
236 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2125 | 22 | 12480 | 2000002462
237 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1290 | 18 | 31620 | 2000003301
238 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 788 | 12 | 29160 | 2000003302
239 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1031 | 19 | 20820 | 2000003306
240 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1055 | 16 | 32340 | 2000003307
241 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 717 | 22 | 38640 | 2000003309
242 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1245 | 18 | 31380 | 2000003311
243 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 15 | 28260 | 2000003312
244 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 21 | 44640 | 2000003314
245 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1025 | 18 | 28140 | 2000003322
246 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 374 | 16 | 31560 | 2000017956
247 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1587 | 17 | 51840 | 2000017958
248 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 13 | 32820 | 2000020754
249 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 900 | 14 | 33840 | 2000020755
250 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1654 | 14 | 294540 | 2000016185
251 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 971 | 13 | 24540 | 2000016055
252 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 23 | 29640 | 2000016054
253 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 793 | 22 | 27120 | 2000016053
254 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 836 | 19 | 41400 | 2000016052
255 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1018 | 22 | 40860 | 2000016051
256 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 585 | 13 | 36240 | 2000016050
257 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 620 | 13 | 32040 | 2000020756
258 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 676 | 12 | 30360 | 2000021639
259 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 591 | 21 | 40800 | 2000022941
260 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 353 | 14 | 14400 | 2000010583
261 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1215 | 12 | 14040 | 2000010585
262 | RAIPUR TOWN | 11KV CITY FEEDER | 2460 | 9 | 5460 | 2000010587
263 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1383 | 6 | 3480 | 2000010588
264 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 937 | 10 | 4980 | 2000010589
265 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 777 | 9 | 8760 | 2000010591
266 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 333 | 6 | 3600 | 2000010592
267 | RAIPUR TOWN | 11KV MLA FEEDER | 1060 | 11 | 2100 | 2000010595
268 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 9 | 3480 | 2000010596
269 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 790 | 6 | 11340 | 2000010598
270 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 874 | 7 | 1980 | 2000010601
271 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1041 | 9 | 7680 | 2000010603
272 | RAIPUR TOWN | 11KV ATARI FEEDER | 829 | 12 | 16140 | 2000010604
273 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 280 | 1 | 300 | 2000010605
274 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 744 | 14 | 12420 | 2000010606
275 | RAIPUR TOWN | 11KV BANJARI FEEDER | 956 | 10 | 31980 | 2000010608
276 | RAIPUR TOWN | 11KV BASTAL FEEDER | 601 | 3 | 720 | 2000010610
277 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1572 | 15 | 8160 | 2000010611
278 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 779 | 9 | 26820 | 2000010613
279 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 715 | 2 | 900 | 2000010614
280 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 139 | 9 | 4740 | 2000010615
281 | RAIPUR TOWN | 11KV COLONY FEEDER | 81 | 3 | 1440 | 2000010616
282 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2489 | 8 | 19500 | 2000010618
283 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1643 | 15 | 4320 | 2000010622
284 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 870 | 16 | 40680 | 2000010624
285 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 89 | 2 | 600 | 2000010625
286 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1685 | 6 | 2880 | 2000010628
287 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2367 | 12 | 10860 | 2000010631
288 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1969 | 7 | 6540 | 2000010632
289 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1683 | 9 | 37380 | 2000010634
290 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 750 | 11 | 3240 | 2000010638
291 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 6 | 18180 | 2000010641
292 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 733 | 23 | 20220 | 2000010642
293 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 498 | 16 | 5040 | 2000010647
294 | RAIPUR TOWN | 11KV KHARUN FEEDER | 988 | 7 | 2520 | 2000010649
295 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1477 | 3 | 5040 | 2000010650
296 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1210 | 5 | 22500 | 2000010653
297 | RAIPUR TOWN | 11KV MAHALAXMI | 561 | 14 | 11340 | 2000010655
298 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2004 | 4 | 86460 | 2000010656
299 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 449 | 15 | 17520 | 2000010657
300 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 531 | 15 | 4860 | 2000010658
301 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 49 | 13 | 5880 | 2000010660
302 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2342 | 10 | 7620 | 2000010662
303 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 775 | 8 | 17700 | 2000010666
304 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1746 | 5 | 1500 | 2000010668
305 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 535 | 7 | 2160 | 2000010670
306 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 913 | 7 | 3480 | 2000010671
307 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1278 | 7 | 14100 | 2000010672
308 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5173 | 2 | 720 | 2000010674
309 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4203 | 8 | 5040 | 2000010675
310 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 541 | 9 | 3660 | 2000010677
311 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2105 | 11 | 2340 | 2000010680
312 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 409 | 19 | 34860 | 2000010686
313 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 207 | 3 | 1440 | 2000010688
314 | RAIPUR TOWN | 11KV RDA FEEDER | 842 | 4 | 3180 | 2000010689
315 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 376 | 8 | 1560 | 2000010690
316 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 12 | 4320 | 2000010694
317 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1831 | 5 | 16980 | 2000010696
318 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1288 | 14 | 4380 | 2000010699
319 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2577 | 13 | 8880 | 2000010700
320 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 804 | 6 | 2220 | 2000010701
321 | RAIPUR TOWN | 11KV SAMTA FEEDER | 552 | 7 | 16260 | 2000010704
322 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2629 | 3 | 540 | 2000010705
323 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 393 | 6 | 2400 | 2000010706
324 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 494 | 11 | 6120 | 2000010707
325 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 894 | 6 | 6000 | 2000010708
326 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2493 | 5 | 2040 | 2000010709
327 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2349 | 6 | 6900 | 2000010711
328 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 922 | 6 | 4440 | 2000010712
329 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 296 | 5 | 2880 | 2000010713
330 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 995 | 10 | 17040 | 2000010714
331 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1418 | 9 | 8040 | 2000010717
332 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2663 | 6 | 5160 | 2000010722
333 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 714 | 14 | 12780 | 2000010725
334 | RAIPUR TOWN | 11KV TV FEEDER | 2926 | 15 | 2460 | 2000010728
335 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1174 | 19 | 9120 | 2000010729
336 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 434 | 12 | 8640 | 2000010732
337 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 9 | 3480 | 2000010733
338 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 508 | 3 | 900 | 2000010739
339 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2158 | 14 | 2460 | 2000010741
340 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 8 | 3180 | 2000010742
341 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 8 | 3180 | 2000010743
342 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2117 | 1 | 300 | 2000017238
343 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 899 | 3 | 1080 | 2000017256
344 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2221 | 11 | 4740 | 2000017261
345 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1063 | 9 | 18840 | 2000017508
346 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2426 | 8 | 1800 | 2000017567
347 | RAIPUR TOWN | 11KV WHITE HOUSE | 569 | 1 | 480 | 2000017568
348 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 982 | 2 | 4260 | 2000017576
349 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2000 | 8 | 5640 | 2000017600
350 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 21 | 52200 | 2000017607
351 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1732 | 23 | 55320 | 2000017608
352 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1554 | 14 | 4560 | 2000017611
353 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 66 | 3 | 20880 | 2000017613
354 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 321 | 14 | 7500 | 2000017617
355 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1865 | 9 | 1920 | 2000017621
356 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 635 | 10 | 52380 | 2000017623
357 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 621 | 8 | 5040 | 2000017624
358 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 871 | 1 | 360 | 2000017628
359 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 679 | 15 | 18960 | 2000017671
360 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1141 | 9 | 3540 | 2000017690
361 | RAIPUR TOWN | 11KV ROMAN SQUARE | 520 | 14 | 15120 | 2000017691
362 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 9 | 7200 | 2000017692
363 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2842 | 10 | 3720 | 2000017808
364 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 684 | 5 | 10200 | 2000017817
365 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1114 | 11 | 15060 | 2000017867
366 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 5 | 8040 | 2000017869
367 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1384 | 11 | 16980 | 2000017870
368 | RAIPUR TOWN | 11KV NAVEEN MARKET | 862 | 10 | 11100 | 2000017953
369 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2613 | 10 | 12540 | 2000017954
370 | RAIPUR TOWN | 11KV MG ROAD | 1589 | 9 | 6180 | 2000017955
371 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 935 | 23 | 55320 | 2000017962
372 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 306 | 8 | 6060 | 2000018004
373 | RAIPUR TOWN | 11KV SADDU FEEDER | 297 | 12 | 8580 | 2000018005
374 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1282 | 16 | 9480 | 2000018006
375 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 11 | 7680 | 2000018359
376 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 17 | 5220 | 2000018378
377 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 973 | 3 | 2280 | 2000018394
378 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 605 | 15 | 60360 | 2000018396
379 | RAIPUR TOWN | 11KV IGVP | 366 | 15 | 4860 | 2000018397
380 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 347 | 13 | 4200 | 2000018398
381 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 333 | 14 | 5040 | 2000018416
382 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2505 | 2 | 3000 | 2000018949
383 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 518 | 25 | 32700 | 2000019179
384 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3134 | 2 | 3060 | 2000019180
385 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 498 | 9 | 4800 | 2000019185
386 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1924 | 13 | 22680 | 2000019186
387 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2326 | 13 | 23340 | 2000019334
388 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 419 | 11 | 3060 | 2000019340
389 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 899 | 5 | 22860 | 2000019485
390 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 657 | 2 | 10140 | 2000019697
391 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 9 | 24720 | 2000019852
392 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1711 | 6 | 9360 | 2000019857
393 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1953 | 11 | 4680 | 2000020009
394 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2688 | 14 | 8700 | 2000020119
395 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 321 | 15 | 3960 | 2000020130
396 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 100 | 16 | 3600 | 2000020131
397 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 1 | 360 | 2000020132
398 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 341 | 1 | 11220 | 2000020193
399 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 979 | 12 | 18960 | 2000020194
400 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2541 | 1 | 180 | 2000020581
401 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1675 | 13 | 19020 | 2000021219
402 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1342 | 12 | 12540 | 2000021220
403 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1586 | 10 | 6060 | 2000021221
404 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 679 | 12 | 3360 | 2000021286
405 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1176 | 10 | 3900 | 2000021287
406 | RAIPUR TOWN | 11KV BORIYA FEEDER | 886 | 14 | 6900 | 2000021424
407 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1333 | 1 | 5700 | 2000021615
408 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1316 | 8 | 7800 | 2000022077
409 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 791 | 6 | 5640 | 2000022078
410 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1326 | 4 | 5280 | 2000022079
411 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1400 | 8 | 5520 | 2000023680
412 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 127 | 19 | 10200 | 2000023736
413 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1575 | 1 | 5100 | 2000023772
414 | RAIPUR TOWN | 11KV SBI FEEDER | 1230 | 8 | 30900 | 2000023790
415 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 445 | 7 | 2220 | 2000023848
416 | RAIPUR TOWN | 11KV FEEDER-1 | 1052 | 14 | 26280 | 2000024395
417 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1442 | 12 | 13380 | 2000026582
418 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 955 | 6 | 10020 | 2000026583
419 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1028 | 10 | 7920 | 2000026584
420 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 253 | 3 | 18660 | 2000026586
421 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1259 | 5 | 11880 | 2000034421
422 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 702 | 9 | 14880 | 2000034423
423 | RAIPUR TOWN | 11KV PRIDE FEEDER | 80 | 4 | 3180 | 2000039215
424 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4343 | 9 | 12060 | 2000001956
425 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 11 | 23820 | 2000001960
426 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 814 | 9 | 24180 | 2000001962
427 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 17 | 33900 | 2000001965
428 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2632 | 4 | 4260 | 2000001967
429 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1010 | 2 | 660 | 2000001968
430 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 937 | 6 | 3900 | 2000001978
431 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2289 | 7 | 2100 | 2000001979
432 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 725 | 4 | 16320 | 2000015448
433 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 137 | 2 | 540 | 2000015446
434 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3421 | 10 | 19200 | 2000006488
435 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 9 | 54840 | 2000014955