## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Apr'19
Period: |  | 1st Mar'19 to 31st Mar'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 465
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1216 | 36 | 64620 | 2000003854
2 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 938 | 17 | 102780 | 2000003850
3 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2578 | 29 | 318540 | 2000003848
4 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 199 | 33 | 39360 | 2000003845
5 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 220 | 23 | 36660 | 2000003841
6 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 734 | 25 | 29700 | 2000006627
7 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1470 | 21 | 17460 | 2000014951
8 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 56 | 421020 | 2000014959
9 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1195 | 23 | 26520 | 2000014960
10 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 331 | 26 | 46320 | 2000014961
11 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 134 | 70 | 80940 | 2000015334
12 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1215 | 40 | 141360 | 2000003840
13 | BHATAPARA TOWN | 11KV ATAL JYOTI | 38 | 48 | 756060 | 2000014962
14 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 183 | 17 | 57000 | 2000022031
15 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 255 | 19 | 18900 | 2000001013
16 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1849 | 18 | 17340 | 2000001012
17 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 559 | 35 | 85320 | 2000001011
18 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 398 | 28 | 75960 | 2000006377
19 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1416 | 23 | 75960 | 2000006376
20 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 632 | 8 | 11220 | 2000006347
21 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1187 | 12 | 13440 | 2000001009
22 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1057 | 24 | 74040 | 2000001008
23 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 928 | 42 | 120600 | 2000001006
24 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 17 | 32820 | 2000001005
25 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3128 | 26 | 53820 | 2000001004
26 | BHATAPARA TOWN | 11KV COLONY FEEDER | 32 | 31 | 14340 | 2000004255
27 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1538 | 43 | 58680 | 2000004868
28 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1587 | 21 | 31680 | 2000004871
29 | BILASPUR TOWN | 11KV DHEKA FEEDER | 269 | 9 | 35700 | 2000004877
30 | BILASPUR TOWN | 11KV DHUMA FEEDER | 652 | 115 | 169140 | 2000004878
31 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 366 | 36 | 76920 | 2000004879
32 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2775 | 61 | 129240 | 2000004882
33 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1277 | 31 | 44640 | 2000004883
34 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1658 | 23 | 27960 | 2000004884
35 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2546 | 35 | 50760 | 2000004889
36 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1202 | 17 | 7920 | 2000004891
37 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 576 | 28 | 42300 | 2000004892
38 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2683 | 24 | 30660 | 2000004893
39 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2069 | 35 | 269460 | 2000004896
40 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 71 | 137460 | 2000004897
41 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1037 | 30 | 65700 | 2000004900
42 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 137 | 15 | 16080 | 2000004903
43 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2301 | 27 | 33240 | 2000004904
44 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 746 | 29 | 40440 | 2000004908
45 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3692 | 25 | 57900 | 2000004909
46 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1060 | 25 | 34080 | 2000004911
47 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1564 | 1 | 70920 | 2000004912
48 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1785 | 21 | 27480 | 2000004913
49 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2349 | 18 | 20580 | 2000004914
50 | BILASPUR TOWN | 11KV RULER FEEDER | 1512 | 32 | 40500 | 2000004916
51 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2028 | 28 | 33240 | 2000004917
52 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1336 | 17 | 15660 | 2000004919
53 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 339 | 68 | 75360 | 2000004923
54 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3820 | 19 | 31440 | 2000004926
55 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 706 | 35 | 77220 | 2000016310
56 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 762 | 63 | 87000 | 2000016311
57 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 846 | 22 | 197880 | 2000016314
58 | BILASPUR TOWN | 11 KV NEW MOPKA | 816 | 31 | 29400 | 2000017224
59 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1242 | 18 | 46860 | 2000017225
60 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 208 | 21 | 15180 | 2000017226
61 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 168 | 38 | 59460 | 2000017505
62 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 1 | 25 | 42600 | 2000017776
63 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 310 | 61 | 86640 | 2000017780
64 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 269 | 63 | 77100 | 2000017781
65 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 996 | 43 | 42960 | 2000018403
66 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1810 | 10 | 8280 | 2000018405
67 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 764 | 39 | 58020 | 2000018761
68 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1667 | 16 | 24840 | 2000018762
69 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 438 | 37 | 44580 | 2000018763
70 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 354 | 16 | 17820 | 2000020488
71 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1197 | 28 | 24300 | 2000020489
72 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1126 | 6 | 11340 | 2000020490
73 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 920 | 30 | 62520 | 2000020582
74 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 978 | 10 | 18600 | 2000020583
75 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1230 | 1 | 420 | 2000022059
76 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 197 | 14 | 33420 | 2000022060
77 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 335 | 32 | 43860 | 2000023801
78 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 900 | 4 | 28920 | 2000001813
79 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 965 | 42 | 47460 | 2000003195
80 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1982 | 20 | 75120 | 2000003196
81 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5519 | 44 | 89100 | 2000003197
82 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2533 | 35 | 16080 | 2000002579
83 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3180 | 7 | 5580 | 2000002578
84 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1024 | 36 | 22260 | 2000002576
85 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 993 | 30 | 13140 | 2000002574
86 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 9 | 7380 | 2000002573
87 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3927 | 3 | 660 | 2000002570
88 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1335 | 7 | 900 | 2000002569
89 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 923 | 1 | 43140 | 2000002568
90 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 28 | 145680 | 2000002567
91 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 31 | 63900 | 2000002566
92 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 941 | 35 | 42780 | 2000001301
93 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 9 | 2580 | 2000001299
94 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 732 | 39 | 59700 | 2000001298
95 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2426 | 9 | 3060 | 2000001302
96 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3457 | 23 | 19380 | 2000001303
97 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1669 | 27 | 55140 | 2000001295
98 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 734 | 6 | 2460 | 2000007685
99 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2349 | 15 | 75000 | 2000007686
100 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 839 | 21 | 10620 | 2000007687
101 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 43 | 379380 | 2000007688
102 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1035 | 27 | 88080 | 2000007689
103 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1758 | 16 | 47820 | 2000007694
104 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3691 | 16 | 4140 | 2000007696
105 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 846 | 22 | 50940 | 2000007697
106 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2876 | 28 | 34980 | 2000007701
107 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 986 | 11 | 4380 | 2000007702
108 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1031 | 5 | 3060 | 2000007703
109 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3936 | 28 | 36780 | 2000007705
110 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 939 | 28 | 56400 | 2000007708
111 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1541 | 54 | 134100 | 2000007709
112 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1822 | 7 | 2160 | 2000007711
113 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 453 | 5 | 5400 | 2000007712
114 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 636 | 11 | 5820 | 2000007713
115 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1318 | 29 | 29280 | 2000007714
116 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 963 | 21 | 55860 | 2000007715
117 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 660 | 15 | 62580 | 2000007716
118 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 616 | 19 | 63540 | 2000007717
119 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1533 | 15 | 2940 | 2000007718
120 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1884 | 5 | 3600 | 2000007719
121 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 819 | 18 | 17280 | 2000007720
122 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1546 | 5 | 1860 | 2000007721
123 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2027 | 20 | 13260 | 2000007723
124 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1137 | 30 | 23340 | 2000007728
125 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 718 | 21 | 8100 | 2000007729
126 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 499 | 29 | 22560 | 2000007731
127 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 13 | 15120 | 2000007733
128 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 600 | 17 | 11220 | 2000007735
129 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1240 | 21 | 24720 | 2000007738
130 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 738 | 28 | 8400 | 2000007739
131 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 882 | 7 | 3840 | 2000007740
132 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1463 | 6 | 2580 | 2000007741
133 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1234 | 17 | 12420 | 2000007744
134 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 516 | 21 | 65940 | 2000007747
135 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1089 | 16 | 10560 | 2000007748
136 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 514 | 5 | 1500 | 2000007749
137 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1127 | 10 | 8940 | 2000007751
138 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3176 | 23 | 16080 | 2000007752
139 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1897 | 16 | 10860 | 2000007754
140 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 263 | 11 | 6360 | 2000007755
141 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 412 | 22 | 30000 | 2000007756
142 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1688 | 19 | 9420 | 2000007757
143 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1329 | 31 | 18780 | 2000007758
144 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3751 | 24 | 6180 | 2000007759
145 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2529 | 38 | 55920 | 2000007760
146 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1343 | 27 | 66420 | 2000007762
147 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 222 | 7 | 3840 | 2000007763
148 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 361 | 3 | 2700 | 2000007764
149 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 240 | 3 | 2640 | 2000007765
150 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 268 | 14 | 4200 | 2000007766
151 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 821 | 13 | 5040 | 2000007767
152 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1358 | 12 | 4980 | 2000007768
153 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2197 | 46 | 51120 | 2000007769
154 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1789 | 22 | 26760 | 2000007770
155 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1219 | 16 | 13680 | 2000007771
156 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1425 | 28 | 12180 | 2000007773
157 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1315 | 18 | 22080 | 2000007776
158 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1290 | 16 | 9780 | 2000007777
159 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 365 | 29 | 23100 | 2000007778
160 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 956 | 15 | 14760 | 2000007779
161 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1642 | 12 | 38280 | 2000007780
162 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1794 | 27 | 43980 | 2000007781
163 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1514 | 25 | 32160 | 2000007782
164 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 242 | 10 | 10380 | 2000007783
165 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2571 | 29 | 22320 | 2000016998
166 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1512 | 26 | 37620 | 2000017001
167 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 455 | 21 | 15540 | 2000017044
168 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 21 | 10860 | 2000017045
169 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2288 | 52 | 860460 | 2000017052
170 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1241 | 82 | 955440 | 2000017054
171 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1124 | 18 | 6000 | 2000017055
172 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1058 | 7 | 18060 | 2000017056
173 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 521 | 22 | 93900 | 2000017057
174 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1059 | 29 | 96600 | 2000017058
175 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1893 | 25 | 71760 | 2000017059
176 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 567 | 13 | 7380 | 2000017060
177 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 1042 | 16 | 9660 | 2000017061
178 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 571 | 21 | 13680 | 2000017062
179 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1726 | 11 | 9780 | 2000017063
180 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2242 | 3 | 1620 | 2000017064
181 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1099 | 63 | 23580 | 2000017065
182 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1074 | 28 | 27000 | 2000017066
183 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 679 | 60 | 22980 | 2000017069
184 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1939 | 61 | 22740 | 2000017071
185 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 395 | 40 | 24900 | 2000017076
186 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2434 | 43 | 109680 | 2000018574
187 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 295 | 31 | 23460 | 2000018704
188 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1357 | 10 | 16020 | 2000018705
189 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1771 | 17 | 21840 | 2000018706
190 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 618 | 37 | 62640 | 2000018707
191 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1512 | 14 | 100320 | 2000018723
192 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 49 | 41 | 82320 | 2000018987
193 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 221 | 15 | 116460 | 2000019819
194 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 971 | 19 | 31920 | 2000020519
195 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3338 | 7 | 10200 | 2000021263
196 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1227 | 7 | 7800 | 2000021264
197 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1033 | 43 | 528240 | 2000021357
198 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2749 | 13 | 22860 | 2000023773
199 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 345 | 10 | 10560 | 2000025794
200 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 14 | 24960 | 2000027337
201 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1663 | 72 | 108060 | 2000029193
202 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1961 | 5 | 2220 | 2000017872
203 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 254 | 4 | 2340 | 2000004347
204 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1583 | 6 | 31140 | 2000004344
205 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1038 | 15 | 22380 | 2000004339
206 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2197 | 8 | 33900 | 2000004338
207 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1356 | 4 | 30360 | 2000004336
208 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1269 | 5 | 3240 | 2000004335
209 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 852 | 15 | 9300 | 2000004334
210 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 300 | 2 | 1020 | 2000004333
211 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1762 | 8 | 13860 | 2000004332
212 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 784 | 2 | 420 | 2000004331
213 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1544 | 10 | 12000 | 2000004330
214 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 161 | 2 | 30240 | 2000004329
215 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1500 | 16 | 10980 | 2000015850
216 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2740 | 25 | 16500 | 2000002910
217 | KANKER TOWN | 11KV PATOD FEEDER | 1263 | 30 | 63000 | 2000002909
218 | KANKER TOWN | 11KV KESHKAL FEEDER | 199 | 43 | 61440 | 2000002907
219 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2950 | 32 | 32340 | 2000001055
220 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1032 | 31 | 49980 | 2000001051
221 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 36 | 81960 | 2000006490
222 | KORBA TOWN | 11KV ABC FEEDER | 1531 | 4 | 4440 | 2000006759
223 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1149 | 69 | 105060 | 2000020122
224 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1044 | 22 | 93300 | 2000020065
225 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 370 | 44 | 66480 | 2000017805
226 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 68 | 26 | 69540 | 2000017790
227 | KORBA TOWN | 11KV RP NAGAR FEEDER | 811 | 12 | 13800 | 2000016912
228 | KORBA TOWN | 11KV TOWN-1 FEEDER | 730 | 13 | 19800 | 2000015220
229 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1177 | 38 | 813600 | 2000006798
230 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 796 | 30 | 115920 | 2000006796
231 | KORBA TOWN | 11KV BANKIMONGRA TOWN-1 FEEDER | 1959 | 28 | 539520 | 2000006795
232 | KORBA TOWN | 11KV SARMANGLA FEEDER | 712 | 43 | 74520 | 2000006794
233 | KORBA TOWN | 11KV RAMPUR FEEDER | 810 | 10 | 155400 | 2000006791
234 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 288 | 3 | 4080 | 2000006790
235 | KORBA TOWN | 11KV PARSABADA FEEDER | 1385 | 50 | 168780 | 2000006789
236 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 704 | 71 | 111960 | 2000006787
237 | KORBA TOWN | 11KV NIHARIKA FEEDER | 709 | 25 | 52440 | 2000006784
238 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1300 | 38 | 28440 | 2000006783
239 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 769 | 32 | 43260 | 2000006782
240 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2795 | 26 | 36240 | 2000006778
241 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 47 | 97680 | 2000006770
242 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 147 | 228300 | 2000006764
243 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 24 | 45060 | 2000006762
244 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2377 | 114 | 700920 | 2000006761
245 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2100 | 14 | 91560 | 2000001430
246 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1314 | 26 | 165540 | 2000001427
247 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 769 | 28 | 59940 | 2000001426
248 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 644 | 48 | 96780 | 2000001425
249 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2346 | 26 | 40320 | 2000001424
250 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2110 | 25 | 25080 | 2000001423
251 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 591 | 33 | 30300 | 2000006460
252 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1835 | 27 | 31020 | 2000006458
253 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 539 | 44 | 33660 | 2000002464
254 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1422 | 46 | 49800 | 2000002463
255 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2452 | 41 | 34020 | 2000002462
256 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 591 | 33 | 20940 | 2000022941
257 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1021 | 21 | 19620 | 2000003322
258 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 676 | 28 | 26340 | 2000021639
259 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 619 | 35 | 56580 | 2000020756
260 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 899 | 31 | 35280 | 2000020755
261 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 31 | 39180 | 2000020754
262 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1563 | 73 | 50640 | 2000003314
263 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 23 | 23880 | 2000003312
264 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1584 | 32 | 35520 | 2000017958
265 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 372 | 32 | 36900 | 2000017956
266 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1237 | 25 | 39000 | 2000003311
267 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1294 | 53 | 42120 | 2000003301
268 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1029 | 33 | 59400 | 2000003306
269 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1652 | 50 | 60120 | 2000016185
270 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 80 | 32 | 40440 | 2000016056
271 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 968 | 48 | 49080 | 2000016055
272 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 29 | 39420 | 2000016054
273 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 790 | 26 | 38460 | 2000016053
274 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 840 | 41 | 37020 | 2000016052
275 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1035 | 46 | 45060 | 2000016051
276 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 585 | 48 | 74880 | 2000016050
277 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 785 | 51 | 36240 | 2000003302
278 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1056 | 41 | 46140 | 2000003307
279 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 716 | 45 | 61380 | 2000003309
280 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 359 | 22 | 11280 | 2000010583
281 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1237 | 13 | 16140 | 2000010585
282 | RAIPUR TOWN | 11KV CITY FEEDER | 2539 | 11 | 7980 | 2000010587
283 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1377 | 16 | 35400 | 2000010588
284 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 919 | 2 | 1200 | 2000010589
285 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 2 | 1140 | 2000010591
286 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 331 | 7 | 6120 | 2000010592
287 | RAIPUR TOWN | 11KV MLA FEEDER | 1113 | 13 | 5640 | 2000010595
288 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 40 | 20 | 17700 | 2000010596
289 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 794 | 11 | 16980 | 2000010598
290 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1032 | 6 | 6840 | 2000010603
291 | RAIPUR TOWN | 11KV ATARI FEEDER | 821 | 19 | 14340 | 2000010604
292 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 282 | 19 | 8160 | 2000010605
293 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 750 | 24 | 13260 | 2000010606
294 | RAIPUR TOWN | 11KV BANJARI FEEDER | 962 | 20 | 16020 | 2000010608
295 | RAIPUR TOWN | 11KV BASTAL FEEDER | 607 | 7 | 8400 | 2000010610
296 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1571 | 18 | 14460 | 2000010611
297 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 781 | 25 | 26340 | 2000010613
298 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 720 | 6 | 5100 | 2000010614
299 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 15 | 8040 | 2000010615
300 | RAIPUR TOWN | 11KV COLONY FEEDER | 81 | 7 | 17760 | 2000010616
301 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 155 | 3 | 3900 | 2000010617
302 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2504 | 17 | 8460 | 2000010618
303 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1660 | 7 | 88260 | 2000010622
304 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 887 | 15 | 3780 | 2000010624
305 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 93 | 9 | 15780 | 2000010625
306 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1675 | 22 | 21180 | 2000010628
307 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2368 | 29 | 140640 | 2000010631
308 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2024 | 21 | 41100 | 2000010632
309 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1694 | 23 | 17160 | 2000010634
310 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 747 | 16 | 16200 | 2000010638
311 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 86 | 22 | 9600 | 2000010641
312 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 741 | 13 | 17580 | 2000010642
313 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 502 | 13 | 9540 | 2000010647
314 | RAIPUR TOWN | 11KV KHARUN FEEDER | 986 | 14 | 14100 | 2000010649
315 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1478 | 18 | 32220 | 2000010650
316 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1222 | 14 | 14400 | 2000010653
317 | RAIPUR TOWN | 11KV MAHALAXMI | 423 | 17 | 27000 | 2000010655
318 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2014 | 10 | 12840 | 2000010656
319 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 445 | 18 | 25980 | 2000010657
320 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 521 | 20 | 30360 | 2000010658
321 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 51 | 17 | 13320 | 2000010660
322 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2432 | 11 | 8700 | 2000010662
323 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 800 | 23 | 93660 | 2000010666
324 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1749 | 11 | 4740 | 2000010668
325 | RAIPUR TOWN | 11KV MINING FEEDER | 591 | 3 | 12840 | 2000010669
326 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 527 | 25 | 36000 | 2000010670
327 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 925 | 2 | 480 | 2000010671
328 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1279 | 38 | 20400 | 2000010672
329 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5183 | 16 | 7140 | 2000010674
330 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4256 | 15 | 7560 | 2000010675
331 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 552 | 26 | 36660 | 2000010677
332 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2125 | 10 | 20220 | 2000010680
333 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1087 | 3 | 2100 | 2000010681
334 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 689 | 3 | 1680 | 2000010685
335 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 409 | 23 | 57420 | 2000010686
336 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 206 | 8 | 17520 | 2000010688
337 | RAIPUR TOWN | 11KV RDA FEEDER | 836 | 2 | 900 | 2000010689
338 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 389 | 12 | 4800 | 2000010690
339 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 15 | 6060 | 2000010694
340 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1820 | 7 | 1860 | 2000010696
341 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1316 | 10 | 8940 | 2000010699
342 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2461 | 4 | 11820 | 2000010700
343 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 797 | 14 | 19320 | 2000010701
344 | RAIPUR TOWN | 11KV RULAR FEEDER | 410 | 17 | 22860 | 2000010703
345 | RAIPUR TOWN | 11KV SAMTA FEEDER | 557 | 2 | 420 | 2000010704
346 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2697 | 18 | 36900 | 2000010705
347 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 396 | 10 | 5100 | 2000010706
348 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 497 | 9 | 6420 | 2000010707
349 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 913 | 10 | 5160 | 2000010708
350 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2508 | 12 | 8520 | 2000010709
351 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2362 | 11 | 19860 | 2000010711
352 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 946 | 11 | 20760 | 2000010712
353 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 302 | 19 | 14460 | 2000010713
354 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 985 | 35 | 29940 | 2000010714
355 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1367 | 16 | 39540 | 2000010717
356 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2686 | 14 | 19740 | 2000010722
357 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1176 | 11 | 11700 | 2000010725
358 | RAIPUR TOWN | 11KV TV FEEDER | 2946 | 22 | 26460 | 2000010728
359 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1177 | 26 | 29100 | 2000010729
360 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 11 | 6000 | 2000010733
361 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2571 | 2 | 13800 | 2000010735
362 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2261 | 1 | 300 | 2000010736
363 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 507 | 20 | 23880 | 2000010739
364 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2183 | 29 | 31500 | 2000010741
365 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 18 | 8460 | 2000010742
366 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 18 | 15180 | 2000010743
367 | RAIPUR TOWN | 11KV WALLFORT III FEEDER | 2016 | 6 | 4200 | 2000010744
368 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 901 | 25 | 10140 | 2000017256
369 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2214 | 8 | 2340 | 2000017261
370 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1066 | 24 | 26160 | 2000017508
371 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2441 | 22 | 29340 | 2000017567
372 | RAIPUR TOWN | 11KV WHITE HOUSE | 750 | 5 | 8880 | 2000017568
373 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 589 | 6 | 2460 | 2000017569
374 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 983 | 19 | 23700 | 2000017576
375 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 650 | 8 | 2400 | 2000017590
376 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2042 | 22 | 17040 | 2000017600
377 | RAIPUR TOWN | 11 KV JAINAM VIHAR FEEDER | 2448 | 2 | 300 | 2000017602
378 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 12 | 14880 | 2000017607
379 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1747 | 15 | 9420 | 2000017608
380 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1549 | 30 | 14820 | 2000017611
381 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 66 | 3 | 9420 | 2000017613
382 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 326 | 26 | 41580 | 2000017617
383 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1904 | 8 | 19560 | 2000017621
384 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 594 | 14 | 27120 | 2000017623
385 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 711 | 18 | 8280 | 2000017624
386 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 872 | 6 | 5220 | 2000017628
387 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 712 | 7 | 18420 | 2000017671
388 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1225 | 9 | 24120 | 2000017690
389 | RAIPUR TOWN | 11KV ROMAN SQUARE | 539 | 17 | 9900 | 2000017691
390 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 13 | 6720 | 2000017692
391 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1348 | 6 | 7080 | 2000017772
392 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 631 | 7 | 19200 | 2000017773
393 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2837 | 23 | 23040 | 2000017808
394 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1122 | 14 | 31560 | 2000017867
395 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1392 | 12 | 29520 | 2000017870
396 | RAIPUR TOWN | 11KV NAVEEN MARKET | 867 | 17 | 37320 | 2000017953
397 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2619 | 16 | 14820 | 2000017954
398 | RAIPUR TOWN | 11KV MG ROAD | 1606 | 18 | 15180 | 2000017955
399 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 922 | 32 | 33480 | 2000017962
400 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 313 | 15 | 13320 | 2000018004
401 | RAIPUR TOWN | 11KV SADDU FEEDER | 293 | 21 | 15900 | 2000018005
402 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1309 | 36 | 38220 | 2000018006
403 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 378 | 9 | 4500 | 2000018359
404 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 35 | 17 | 9840 | 2000018378
405 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 972 | 18 | 22320 | 2000018394
406 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 606 | 12 | 59340 | 2000018396
407 | RAIPUR TOWN | 11KV IGVP | 370 | 10 | 5580 | 2000018397
408 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 351 | 22 | 16920 | 2000018398
409 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 338 | 13 | 7260 | 2000018416
410 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2491 | 8 | 15120 | 2000018949
411 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 614 | 47 | 49080 | 2000019179
412 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3239 | 10 | 72780 | 2000019180
413 | RAIPUR TOWN | 11KV LAKDI MILL FEEDER | 594 | 9 | 28320 | 2000019181
414 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 500 | 18 | 18840 | 2000019185
415 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1954 | 22 | 20280 | 2000019186
416 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2511 | 30 | 27120 | 2000019334
417 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 429 | 21 | 17460 | 2000019340
418 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 901 | 16 | 22980 | 2000019485
419 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1191 | 26 | 23160 | 2000019530
420 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 9 | 24060 | 2000019852
421 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1699 | 16 | 6780 | 2000019857
422 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1977 | 6 | 14820 | 2000020009
423 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2685 | 19 | 21780 | 2000020119
424 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 2 | 3840 | 2000020123
425 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 309 | 7 | 3060 | 2000020130
426 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 98 | 7 | 3180 | 2000020131
427 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 1 | 720 | 2000020132
428 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 982 | 7 | 15180 | 2000020194
429 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2561 | 16 | 15540 | 2000020581
430 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1675 | 35 | 47040 | 2000021219
431 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1352 | 25 | 36360 | 2000021220
432 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1609 | 25 | 41520 | 2000021221
433 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 681 | 20 | 33300 | 2000021286
434 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1185 | 20 | 28440 | 2000021287
435 | RAIPUR TOWN | 11KV BORIYA FEEDER | 891 | 18 | 28620 | 2000021424
436 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1342 | 7 | 17100 | 2000021615
437 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1329 | 18 | 33960 | 2000022077
438 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 789 | 18 | 29400 | 2000022078
439 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1331 | 19 | 29880 | 2000022079
440 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1402 | 33 | 209340 | 2000023680
441 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1473 | 6 | 112500 | 2000023735
442 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 129 | 8 | 3960 | 2000023736
443 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1584 | 11 | 11580 | 2000023772
444 | RAIPUR TOWN | 11KV SBI FEEDER | 1224 | 9 | 6840 | 2000023790
445 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 446 | 15 | 6060 | 2000023848
446 | RAIPUR TOWN | 11KV FEEDER-1 | 1050 | 7 | 6300 | 2000024395
447 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1452 | 19 | 25020 | 2000026582
448 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 968 | 6 | 11580 | 2000026583
449 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1027 | 8 | 6240 | 2000026584
450 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 256 | 20 | 9960 | 2000026586
451 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 715 | 13 | 10860 | 2000034423
452 | RAIPUR TOWN | 11KV PRIDE FEEDER | 82 | 2 | 780 | 2000039215
453 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4326 | 24 | 8700 | 2000001956
454 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3411 | 51 | 365940 | 2000006488
455 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 487 | 3 | 660 | 2000001957
456 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 233 | 42 | 27000 | 2000001960
457 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 809 | 40 | 19020 | 2000001962
458 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2751 | 11 | 135540 | 2000001963
459 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 59 | 37620 | 2000001965
460 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2638 | 22 | 7380 | 2000001967
461 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 933 | 25 | 7440 | 2000001978
462 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2299 | 36 | 29580 | 2000001979
463 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 544 | 37 | 40260 | 2000014955
464 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 731 | 27 | 112260 | 2000015448
465 | RAJNANDGAON TOWN | 11KV R K NAGAR | 429 | 28 | 162660 | 2000015478