## Stock Materials
RATE OF STOCK MATERIALS FOR SoR 2015-16
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | Schedule of Rate for 2015-16 | New Bin Code
Rate
1 | 2 |  | 3 | 4 | 5
1 |  | CONVENTIONAL DISTRIBUTION TRANSFORMER :-
| A | 11/0.4 KV 4-STAR
| i | 16 kVA (4 Star) Aluminium Wound | Each | 44835.92 | 7132210007
| ii | 25 kVA (4 Star) Aluminium Wound | Each | 54267.8 | 7132210008
| iii | 63 kVA (4 Star) Aluminium Wound | Each | 88253.97 | 7132210009
| iv | 100 kVA (4 Star) Aluminium Wound | Each | 119053.85 | 7132210010
| v | 200 kVA (4 Star) Aluminium Wound | Each | 220747.65 | 7132210011
| vi | 315 kVA (CEA Design) (4 Star) Copper Wound | Each | 423239.3 | 7132210012
| B | 11/0.4 KV CONVENTIONAL
| i | 500 kVA (Conventional) Copper Wound | Each | 538011.79 | 7132210127
| C | 11/0.230 KV LOW CAPACITY
| i | 5 kVA Single Phase (Cu wound) | Each | 25350.9015 | 7132210077
| ii | 10 kVA Single Phase (Cu wound) | Each | 36194.3435 | 7132210078
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 146905.2288 | 7132210215
3 |  | POWER TRANSFORMERS 33/11 kV :-
| i | 1600 kVA | Each | 841136 | 7132220091
| ii | 3150 kVA | Each | 2112951.6 | 7132220095
| iii | 5000 kVA | Each | 3010758.98 | 7132220097
4 | A | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 425.2 | 7130840029
| ii | 33 kV Polymer | Each | 3483.49 | 7130840021
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 1198.88 | 7131930412
| ii | 33 kV | Each | 2917.53 | 7131930415
| B | POLYMER TYPE -
| i | 11 kV | Each | 1465.672
| ii | 33 kV | Each | 2097.599
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 77842.07 | 7132457798
| ii | In Tanker | KL | 68897.4 | 7132457798
LINE SUPPORTS :-
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 47741.148 | 7130601070
| b | 60 kgs per mtr | MT | 47741.148 | 7130601072
8 |  | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 44989.152 | 7130601958
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 44989.152 | 7130601965
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 44989.152 | 7130600675
| b | 125 x 70 mm | MT | 44989.152 | 7130600635
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 1654 | 7130800012
| ii | 200 Kg; 8.0 Mtr long | Each | 1844 | 7130800033
| iii | 200 Kg; 9.0 Mtr long | Each | 2282
| iv | 280 Kg; 9.1 Mtr long | Each | 3129 | 7130800033
| v | 350 Kg; 7.0 Mtr long | Each | 2851 | 7130800672
| vi | 365 Kg; 11 Mtr long | Each | 5022 |  | NEW ADDED
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 40213.5 | 7130600230
| b | 75x40 mm | MT | 40213.5 | 7130600166
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 40213.5 | 7130600495
| b | 50x6 mm | MT | 40213.5 | 7130600173
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 40213.5 | 7130600032
| b | 50 x 50 x 6 mm | MT | 40213.5 | 7130600023
| c | 75 x 75 x 6 mm | MT | 40213.5 | 7130600051
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 4212 | 7130200201
| ii | 1:3:6 Ratio | Cmt | 3019 | 7130200202
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 13001.85 | 7130830053
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 20280.89 | 7130830055
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 33544.32 | 7130830057
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 50001.98 | 7130830060
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 64842.31 | 7130830063
| vi | 0.2 Sq inch ( 130 Sqmm Al.Eq.)(Panther) | Km | 167935.0734 | 7130830070
16 |  | A.A.A.C. CONDUCTORS :-
| i | 0.02 Sq.inch (20/22 Sqmm Al. Eq.) (Squirrel) | Km | 11084.0797 | 7130830025
| ii | 0.03 Sq.inch (30/34 Sqmm Al. Eq.) (Weasel) | Km | 17295.4738 | 7130830026
| iii | 0.05 Sq.inch (50/55 Sqmm Al. Eq.) (Rabbit) | Km | 27240.3179 | 7130830027
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 33967.9948 | 7130830028
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 50245.8368 | 7130830084
LINE INSULATORS :-
17 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 230.53 | 7130820030
| ii | 11 kV Pin insulator | Each | 39.6048 | 7130820071
| iii | 33 kV Pin insulator | Each | 230.136 | 7130820075
| iv | 11 kV Post Insulator | Nos. | 412.104 | 7130820026
| v | 33 kV Post Insulator | Nos. | 1907.4528 | 7130820027
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 9.6336 | 7130820106
| b | 65 x 50 mm. | Each | 8.5632 | 7130820101
| vii | Stay insulator | Each | 8.5632 | 7130820117
| viii | Split insulator | Pair | 3.2112 | 7130820018
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 353.74 | 7130820011
| ii | 11 kV Disc Insulator | Each | 140.14 | 7130820010
| iii | 33 kV Pin insulator with Pin | Each | 387.74 | 7130820009
| iv | 11 kV Pin insulator with Pin | Each | 157.46 | 7130820008
| C | Silicon rubber composite insulator/11 kV 45 kN Polymeric Insulator | Nos. | 145.6
18 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 122.9508 | 7130820241
| ii | Strain H/W for Raccoon & Dog. | Each | 255.2004 | 7130820248
| iii | Suspension H/W suitable for Panther Conductor. | Set | 2183.1516 | 7130820312
| iv | Tension hardware suitable for Panther Conductor. | Set | 1003.2372 | 7130870318
19 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 34.1496 | 7130820216
| ii | For 65 x 50 mm insulators | Each | 30 | 7130820206
20 |  | GI Pin for 11 kV Pin insulator. | Each | 59.9256 | 7130820155
21 |  | GI Pin for 33 kV Pin insulator. | Each | 199.4076 | 7130820158
22 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7750 | 7131930221
| ii | 33 kV | Each | 18624 | 7131930321
| B | POLYMER TYPE -
| i | 11 kV | Each | 5538.078
| ii | 33 kV | Each | 12080.313
23 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 386.6933 | 7130860032
| ii | 20 mm (Painted) | Each | 704.5948 | 7130860033
24 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 61002.3405 | 7130860076
| ii | 7/3.15 mm (7/10 SWG) | MT | 61599.824 | 7130860077
25 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 100.4435 | 7130870013
26 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 55093.7775 | 7130870045
| ii | 4.0 mm (8 SWG) | MT | 55093.7775 | 7130870043
| iii | 3.15 mm (10 SWG) | MT | 55133.1265 | 7130870041
27 |  | Barbed wire | MT | 66528 | 7130610206
28 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 64.068 | 7130620049
| ii | 12x100 mm | Kg | 64.068 | 7130620573
| iii | 12x120 mm | Kg | 65.1358 | 7130620575
| iv | 12x140 mm | Kg | 65.1358 | 7130620577
| v | 16x40 mm | Kg | 64.068 | 7130620609
| vi | 16x65 mm | Kg | 63.0002 | 7130620614
| vii | 16x90 mm | Kg | 63.0002 | 7130620619
| viii | 16x100 mm | Kg | 61.9324 | 7130620621
| ix | 16x140 mm | Kg | 61.9324 | 7130620625
| x | 16x160 mm | Kg | 61.9324 | 7130620627
| xi | 16x200 mm | Kg | 61.9324 | 7130620631
| xii | 16x250 mm | Kg | 61.9324 | 7130620637
| xiii | 16x300 mm | Kg | 61.9324 | 7130620636
| xiv | 20x75 mm | Kg | 61.9324 | 7130620713
| xv | 20x90 mm | Kg | 61.9324 | 7130620716
| xvi | 20x110 mm | Kg | 61.9324 | 7130620719
| xvii | 24x120 mm | Kg | 61.9324 | 7130620829
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 88.6274 | 7130620133
| ii | 16x65 mm | Kg | 88.6274 | 7130620140
29 |  | G.I. Spring Washer | Kg | 127.0682 | 7130622922
30 |  | Gl Pipe 40 mm | Per Mtr | 190.2538 | 7130641396
31 |  | Danger board 33 kV & 11 kV | Each | 74.0033 | 7130880041
32 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 1930.0078 | 7130870088
33 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 680.6219 | 7131920253
| ii | 63 Amps. | Each | 1634.3264 | 7131920254 |  | 38.3421
| iii | 100 Amps. | Each | 3161.2959 | 7131920256 |  | 34.043
| iv | 200 Amps. | Each | 4438.1134 | 7131920258 |  | 38.7162
| v | 300 Amps. | Each | 6021.3671 | 7131920259 |  | 68.5505
| vi | 400 Amps. | Each | 9095.1098 | 7131920260 |  | 51.2435
34 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 25.2552 | 7131910655
| ii | 32 Amps. | Each | 44.1966 | 7131910653
| iii | 63 Amps. | Each | 87.3409 | 7131910654
| iv | 100 Amps. | Each | 268.66 | 7131910656
| v | 200 Amps. | Each | 534.29 | 7131910657
| vi | 300 Amps. | Each | 963.54 | 7131910658
35 |  | Red Oxide Paint | Ltr. | 129.984 | 7130211158
36 |  | Aluminium Paint | Ltr. | 290.433 | 7130210809
37 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 39707.88 | 7130310652
| ii | 4 Core | Km. | 67671.43 | 7130310654
| iii | 8 Core | Km. | 125718.56 | 7130310658
| iv | 10 Core | Km. | 154500.17 | 7130310660
| v | 12 Core | Km. | 173128.82 | 7130310662
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 2 Core | Km. | 78312.3437 | 7130310652
| ii | 4 Core | Km. | 112811.1151 | 7130310654
| iii | 10 Core | Km. | 172207.89 | 7130310660
38 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 15989.63 | 7130311008
| ii | 50 Sq.mm. | KM | 38685.28 | 7130311009
| iii | 70 Sq.mm | KM | 52580.59 | 7130311010
| iv | 150 Sq.mm | KM | 101586.44 | 7130311011
| v | 300 Sq.mm | KM | 198613.37 | 7130311012
| vi | 400 Sq.mm | KM | 247683.276 | 7130311013
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 6.1182 | 7130310038
| ii | 6.0 Sqmm. | Per Mtr. | 26.5122 | 7130310039
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 20.394
| ii | 4.0 Sqmm. | Per Mtr. | 24.4728
| iii | 6.0 Sqmm. | Per Mtr. | 35.6895
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 55.0638 | 7130310040
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 42.8274
| ii | 8 Sq.mm. | Per Mtr. | 52.0047
| iii | 10 Sq.mm. | Per Mtr. | 62.2017
| iv | 16 Sq.mm. | Per Mtr. | 81.576
| v | 25 Sq.mm. | Per Mtr. | 104.0094
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 23093.63 | 7130310025
| ii | 25 Sqmm. | Km. | 33797.3 | 7130310026
| iii | 35 Sqmm. | Km. | 39631.57 | 7130310021
| iv | 50 Sqmm. | Km. | 56725.95 | 7130310022
| v | 70 Sqmm. | Km. | 73879.53 | 7130310007
| vi | 120 Sqmm. | Km. | 92080.99 | 7130310008
| vii | 150 Sqmm. | Km. | 101834.4135 | 7130310041
| viii | 185 Sqmm. | Km. | 139836.97 | 7130310034
| ix | 300 Sqmm. | Km. | 213809 | 7130310035
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 66831.6702 | 7130310042
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 94952.599 | 7130310044
| ii | 16.0 Sqmm. | km | 99915.5458 | 7130311084
| iii | 25 Sq.mm. | km | 139291.2934 | 7130310048
| B4 | 3.5 Core ARMOURED CABLE :-
| i | 70 Sqmm. | km | 213717.5 | 7130311054
| ii | 120 Sq.mm. | km | 401161.9692 | 7130310049
| iii | 150 Sqmm. | km | 412458.55 | 7130311057
| iv | 300 Sqmm. | km | 784944.02 | 7130311061
| v | 400 Sqmm. | km | 1142913.72 | 7130310050
39 |  | A.B. XLPE CABLE :-
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 841556 | 7130310051
| b | 3x150 Sq.mm. | km | 1033058 | 7130310052
| c | 3x185 Sq.mm. | km | 1180744 | 7130310053
| d | 3x240 Sq.mm. | km | 1501438 | 7130310054
40 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 17335.5336 | 7130310055
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 24765.048 | 7130310056
| iii | 33 kV ABC Termination kit 35-70 sqmm | Set | 9906.0192 | 7130320037
| iv | 33 kV ABC Termination kit 95-120 sqmm | Set | 12382.524 | 7130320038
| v | 33 kV ABC Termination kit 185 sqmm | Set | 14859.0288 | 7130320039
| vi | 33 kV ABC Termination kit 240 sqmm | Set | 17335.5336 | 7130320040
| vii | 33 kV ABC Termination kit 300 sqmm | Set | 18573.786 | 7130320041
| viii | 33 kV ABC Termination kit 400 sqmm | Set | 22288.5432 | 7130320042
| ix | Straight line Suspension Assembly (Suitable for all size cable) | Each | 779.6404 | 7130320043
| x | Dead-end Assembly (Suitable for all size cable) | Each | 842.1784 | 7130320044
| xi | Cable tie for AB Cable | Each | 25.0152 | 7130320045
41 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 287006.6857 | 7130310057
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 406041.5149 | 7130310058
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 607146.0038 | 7130310059
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 572689.6504 | 7130310060
42 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 3783.549 | 7130310061
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 3981.586 | 7130310062
| iii | 11 kV ABC Termination kit 35-70 sqmm | Set | 2396.2477 | 7130320048
| iv | 11 kV ABC Termination kit 95-120 sqmm | Set | 2524.4506 | 7130320049
| v | Straight line Suspension Assembly (Suitable for all size cable) | Each | 2017.8928 | 7130877683
| vi | Dead-end Assembly (Suitable for all size cable) | Each | 2270.1294 | 7130877681
| vii | Cable tie for AB Cable | Each | 31.269 | 7130820029
43 |  | L.T. A.B. XLPE CABLE :-
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1X25+1X16+1x25 | km | 50559.8884 | 7130310063
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X16+1X16+1x25 | km | 59321.4622 | 7130310031
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X25+1X16+1x25 | km | 75463.5623 | 7130310032
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X35+1x16+1x25 | km | 93866.4111 | 7130310033
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1x16+1x35 | km | 118163.4664 | 7130310065
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1X25+1x35 | km | 129093.0242 | 7130310066
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X70+1x16+1x50 | km | 225744.4609 | 7130300025
| viii | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X16+1x25 | km | 47069.2257 | 7130310070
| ix | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X25+1x25 | km | 60003 | 7130310073
| x | LT 1 phase 2 Wire AB XLPE Cable 1x16 + 1x25 sqmm. (6% sag) | km | 40128.55
44 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 1146.53 | 7131950010
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 1354.99 | 7131950012
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 80.2571 | 7130390003
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 104.23 | 7130390004
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 144.8797 | 7130390005
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 627.4646 | 7130354442
| 7 | Straight through joints | Nos. | 171.9795 | 7130390007
| 8 | Service Ring | Nos. | 349.1705 | 7130810102
| 9 | Earthing Coil for messenger wire | Nos. | 168.8526 | 7131390014
| 10 | Anchor sleeve for messenger wire | Nos. | 31.269 | 7131390015
| 11 | Universal hook & Bolts & nuts | Nos. | 420.0469 | 7131390016
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 599.3225 | 7130797532
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 434.6391 | 7130797533
| 14 | End cap for 50/70 Sq.mm | Nos. | 28.1421 | 7130390019
| 15 | Universal distribution connector | Each | 149.0489 | 7130390006
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 5.2115 | 7130320053
| 17 | Pole Clamp | No. | 393.9894 | 7130810077
| 18 | Eye Hook | No. | 160.5142 | 7130893004
45 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 803.6133 | 7130352030
| ii | 16 Sq.mm, 4 Core | Set | 803.6133 | 7130352031
| iii | 25 Sq.mm, 4 Core | Set | 863.0244 | 7130352032
| iv | 70 Sq.mm, 3.5 Core | Set | 1213.2372 | 7130352033
| v | 150 Sq.mm, 3.5 Core | Set | 1808.3905 | 7130352034
| vi | 300 Sq.mm, 3.5 Core | Set | 2922.6092 | 7130352035
| vii | 400 Sq.mm, 3.5 Core | Set | 3734.5609 | 7130352036
46 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x240 Sq.mm. | km | 1926090.1429 | 7130310075
| ii | 3x400 Sq.mm. | km | 2104858.1428 | 7130310020
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 514014.4142 | 7130310076
| ii | 95 Sq.mm | km | 520055.585 | 7130310077
| iii | 120 Sq.mm | km | 775507.6805 | 7130310078
| iv | 240 Sq.mm | km | 939612.604 | 7130310079
| v | 400 Sq.mm | km | 1447701.5427 | 7130310080
47 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit for 240 sqmm XLPE cable | Set | 21050.2908 | 7130352037
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 35083.818 | 7130352010
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x70 Sq.mm | Set | 7879.788 | 7130352038
| ii | 3x95 Sq.mm | Set | 8701.1204 | 7130352039
| iii | 3x150 Sq.mm | Set | 10187.4402 | 7130352040
| iv | 3x240 Sq. mm | Set | 10751.3245 | 7130352041
| v | 3x400 Sq. mm | Set | 11000.4342 | 7130352042
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 2405.6284 | 7130352043
| ii | 3x240 Sq. mm | Set | 2560.9311 | 7130352044
| iii | 3x400 Sq. mm | Set | 2629.7229 | 7130352045
48 |  | 30 VOLTS 150 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 9316.395 | 7132468558
| B | Battery (Low Maintenance SAN controller) | No. | 49161.346 | 7132404366
49 |  | Marshelling Box | No. | 3095.631 | 7130352046
50 |  | LAMPS : -
| i | CFL 7 Watts | Each | 97.3298 | 7131210852
| ii | CFL 11 Watts | Each | 97.3298 | 7131280882
| iii | CFL 15 Watts | Each | 103.3502 | 7131280006
| iv | CFL 20 Watts | Each | 135.459 | 7131280007
| v | CFL 23 Watts | Each | 173.5882 | 7131280008
| vi | 125 Watt Mercury Vapour | Each | 160.544 | 7131280009
| vii | 250 Watt Mercury Vapour | Each | 370.2546 | 7131230116
| viii | 250 Watt Metal Halide | Each | 1260.2704 | 7131210881
| ix | 250 Watt Sodium Vapour | Each | 469.5912 | 7131230003
51 |  | Halogen Filament (1000 Watts) | Each | 99.3366 | 7131280010
52 |  | Tube Light Rod (T5 type) | Each | 52.1768 | 7131220182
53 | a | Search Light Unit with 1000 Watt Halogen Lamp. | Each | 6502.032 | 7131280011
| b | Street Light fitting with tube light | Each | 650.2032 | 7131280012
| c | Street Light fitting with CFL | Each | 2718.2106 | 7131280013
| d | HPSV lamp 150 watt | Each | 325.1016 | 7131280014
| e | HPSV Choke 150 watt | Each | 866.9376
| f | HPSV Choke 250 watt | Each | 1354.59 | 7131280015
| g | 150 Watt metal halide fitting / HPSV fitting | Each | 3099.5026 | 7131280016
| h | 250 Watt metal halide fitting / HPSV fitting | Each | 3874.1274 | 7131280017
| i | Mercury vapour lamp for Gate lighting 2 Nos | Each | 1966.664 | 7131230128
54 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 26.0575 | 7130830854
| ii | Raccoon Conductor. | Each | 32.3113 | 7130830050
| iii | Dog Conductor. | Each | 126.1183 | 7130830051
| iv | Panther Conductor. | Each | 194.9101 | 7130830971
55 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 190.7409 | 7130830586
| ii | Dog Conductor. | Each | 238.6867 | 7130830585
| iii | Panther Conductor. | Each | 279.3364 | 7130830586
56 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 533.6576 | 7130830052
| ii | VCB | Each | 311.6477 | 7130830054
| iii | CT-PT Unit | Each | 311.6477 | 7130830056
| iv | Distribution Transformer (HT) | Each | 158.4296 | 7130830058
| v | Distribution Transformer (LT) | Each | 232.4329 | 7130830603
57 |  | Aluminium binding wire and tape. | Kg | 138.9779 | 7130830006
58 |  | Aluminium bobbin. | Each | 31.827 | 7130820201
59 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 278.9113 | 7131900876
| ii | 250 Amps. | Each | 700.8024 | 7131900880
| iii | 400 Amps. | Each | 775.313 | 7131900881
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 108.7452 | 7131900876
| ii | 250 Amps. | Each | 282.9389 | 7131900071
| iii | 400 Amps. | Each | 434.9808 | 7131900072
60 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 975 | 7131300500
61 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 2326 | 7131300046
| ii | Three Phase, 20-100 Amps. with Meter Box with data storage. | Each | 2618 | 7131310994
| iii | CT operated electronic static meters 100/5 Amp. With data storage. | Each | 2487 | 7131310997
| iv | CT operated electronic static meters with DLMS. | Each | 2538 | 7132406721
| v | CT operated electronic static meters with AMR (Composite Unit). | Each | 11297 | 7131310015
62 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S with DLMS Protocol category A | Each | 3970 | 7131310033
| ii | 3 Ø 4 Wire 0.5S with DLMS Protocol category B | Each | 4030 | 7131310034
| iii | 3 Ø 4 Wire 0.2S Non DLMS | Each | 16362 | 7131310036
| iv | 3 Ø 3 Wire 0.2S Non DLMS | Each | 16362 | 7131310035
| v | 3 Ø 4 Wire 0.5S Non DLMS | Each | 4030 | 7131310013
| vi | 3 Ø 4 Wire 0.5S MWH Meter --- /5 Amp., non DLMS Protocol. | Each | 3700
| vii | Test terminal Box (TTB) | Each | 870.3205 | 7131310037
| viii | CMRI (Common Meter Reading Instrument) | Each | 50063 | 7131300881
| ix | Spot Billing Machine (NEW ITEM) | Each | 13295 | 7131310168 | NEW ADDED
63 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for 132 kV) | Each | 1039058 | 7131300065
64 |  | Universal Meter Box for HT meters. | Each | 2528 | 7132406425
65 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 2436.5 | 7132406420
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 3122.89 | 7132406420 | NEW ADDED
66 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 6842 | 7131329275
| ii | Set of 3 O.C. relays instantaneous high set feature | Nos. | 7850.59 | 7131334001 | Old Bin Code-7131329276
| iii | Set of 2 O.C.+ 1 earth fault relay without instantaneous high set feature | Nos. | 7277.56 | 7131334002 | Old Bin Code-7131329277
| iv | Master trip relays | Nos. | 1585.02 | 7131399007 | Old Bin Code-7131329278
67 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 334.5783 | 7132230016
| ii | 200/5 Amps. | Each | 334.5783 | 7132230019
| iii | 300/5 Amps. | Each | 267.8711 | 7132230021
| iv | 500/5 Amps. | Each | 267.8711 | 7132230024
68 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 8903 | 7132230185
| ii | 300-150/5 Amps. | Each | 8903 | 7132230188
69 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 18227 | 7132230043
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 18948 | 7132230263
| c | 33 kV CT's (200-100/5) Amps oil filled | Each | 16868 | 7132230265
| d | 33 kV CT's (100-50/5) Amps. oil filled | Each | 16543.5731 | 7132230304
70 |  | 132 kV C.T.
| i | 100-50/1 | No. | 328365.67 | 7132230330
| ii | 150-75/1 | No. | 331734.09 | 7132230075
| iii | 200-100/1 | No. | 304009.37 | 7132230332
| iv | 300-150/1 | No. | 266308.97 | 7132230336
| v | 600-300/1 | No. | 290794.81 | 7132230065
71 |  | 220 kV C.T.
| i | 150-75/1 | No. | 735217.69 | 7132230076
| ii | 300-150/1 | No. | 484140.68 | 7132230077
| iii | 600-300/1 | No. | 448513.13 | 7132230078
| iv | 800-400/1 | No. | 460043.5 | 7132230039
72 |  | 11 kV Single Phase PT's (Oil filled) | Each | 8903 | 7132230056 | Old Bin Code-7132230472
73 |  | 33 kV Single Phase PT's (Oil filled) | Each | 16371 | 7132230057 | Old Bin Code-7132230482
74 |  | 132 kV P.T. | No. | 227960.77 | 7132230501
75 |  | 220 kV P.T. | No. | 540885.63 | 7132230511
76 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 7.5/5 A | Each | 35395.24 | 7132230394
| ii | 10/5 A | Each | 31841.37 | 7132230395
| iii | 15/5 A | Each | 31130.59 | 7132230396
| iv | 25/5 A | Each | 30893.67 | 7132230401
| v | 50/5 A | Each | 30893.67 | 7132230414
| vi | 75/5 A | Each | 30893.67 | 7132230406
| vii | 300-150/5 A | Each | 30286.82 | 7132230399
| viii | 200-100/5 A | Each | 29949.24 | 7132230412
| ix | 400-200/5 A | Each | 30289.544 | 7132230088
| x | 100/5 A | Each | 30388.67 | 7132230403 | NEW ADDED
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 5/5 A | Each | 77029.11 | 7132230447
| ii | 10/5 A | Each | 64768.25 | 7132230448
| iii | 20/5 A | Each | 64768.25 | 7132230418
| iv | 30/5 A | Each | 64768.25 | 7132230449
| v | 50/5 A | Each | 66526.77 | 7132230450
| vi | 100 /5A | Each | 66526.77 | 7132230453
| vii | 200/5A | Each | 64768.25 | 7132230455
| viii | 200-100/5 A | Each | 64587.11 | 7132230427
| ix | 300-150/5 A | Each | 67155.01 | 7132230089
| x | 400-200/5 A | Each | 66145.17 | 7132230457
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 50/5 A | Each | 222385.99 | 7132230017
| ii | 100 /5A | Each | 241089.61 | 7132230015
77 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 101.4848 | 7131820031
| ii | 6 to 16 Amps. | Each | 101.4848 | 7131820032
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 430.0544 | 7131820033
| ii | 32 Amps. | Each | 430.0544 | 7131820034
78 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 2864.6848 | 7131820035
| ii | 16 Amps. (100 mA DP) | Each | 3103.8272 | 7131820036
| iii | 20 Amps. (100 mA DP) | Each | 3103.8272 | 7131820037
79 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 2267.8336 | 7131820038
| ii | 100 Amps. (10 kA TP) | Each | 2387.4048 | 7131940602
| iii | 160 Amps. (10 kA TP) | Each | 5192.8064 | 7131820039
| iv | 300 Amps. (35 kA TP) | Each | 22680.3456 | 7131940610
| v | 450 TO 500 Amps. (35 kA TP) | Each | 22680.3456 | 7131940612
80 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 13758.36 | 7131950065
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 17197.95 | 7131950105
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 34395.9 | 7131950200
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 45861.2 | 7131950207
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 57207.6778 | 7131950015
81 |  | Locally fabricated - 3 Phase fuse units (Robust fuse for circuit base). | Each | 2114.49 | 7131900005
82 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 248027.9 | 7131920112
| B | 11 kV VCB without control panel & CT's. | Each | 110736.9 | 7131941762
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 26331.03 | 7131960008
| ii | Transformer Control (Static Relays) | Each | 26995.05 | 7131960009
| iii | 2 Feeder Control (Static Relays) | Each | 39699.81 | 7131960520
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 39814.57 | 7131960522
83 |  | 33 kV VCB & CONTROL PANEL : -
|  | 33 kV VCB without control panel & CT's. | Each | 226583.8 | 7131943380
33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 39814.57 | 7131960524
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 28849.55 | 7131960007
| iii | 33 kV feeder control panel (Static Relays). | Each | 26078.19 | 7131960006
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 39983.33 | 7131960919 | NEW ADDED
84 |  | 11 kV Sectionalizer. | Each | 345600 | 7131950016
85 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 20680 | 7131930663
| ii | 33 kV ; 600 Amps with earth switch. | Each | 40392 | 7131930109
| iii | 33 kV ; 600 Amps without earth switch. | Each | 35789 | 7131930752
86 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 1627.7228 | 7132200812
| ii | 10 kVAR | Each | 3254.427 | 7132200813
| iii | 12 kVAR | Each | 3910.4054 | 7132200814
| iv | 20 kVAR | Each | 6489.5006 | 7132200815
87 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 | Each | 135369 | 7132200014
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kvar+726 kvar+726 Kvar 12.1 kv Bank shall be complete with capacitor units of 121 kVAr at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/pos | Each | 179001 | 7132200826
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 38188
88 |  | STEEL TUBULAR POLES CONFORMING TO IS : 2713 (Part-ll), 1980 WITH "ISI" CERTIFICATION MARK :-
| i | 410-SP-60, 12 Mtrs. Long. | Each | 10736.6263 | 7130800068
| ii | 410-SP-29, 9 Mtrs. Long. | Each | 6407.5852 | 7130800014
89 |  | Poly Carbonate seals for meter | Each | 4.1692 | 7132444005
90 |  | Poly Carbonate seal double anker type | Each | 5.2115 | 7132459005
91 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 4543.3857 | 7130890004
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 5732.65 | 7130890005
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 13001.6502 | 7130890006
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 13620.7764 | 7130890007
92 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 51 | 7130890008
93 |  | GSM Modem | Nos. | 4017 | 7131961526 | Old Bin Code-7130890009
94 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 2.1218 | 7130354274
| 2 | 16 Sq mm | Nos. | 2.1218 | 7130354275
| 3 | 25 Sq mm | Nos. | 4.2436 | 7130354276
| 4 | 32 Sq mm | Nos. | 5.3045 | 7130354277
| 5 | 50 Sq mm | Nos. | 8.4872 | 7130354278
| 6 | 70 Sq mm | Nos. | 12.7308 | 7130354279
| 7 | 95 Sq mm | Nos. | 15.9135 | 7130354280
| 8 | 120 Sq mm | Nos. | 22.2789 | 7130354281
| 9 | 150 Sq mm | Nos. | 25.4616 | 7130354282
| 10 | 185 Sq mm | Nos. | 40.3142 | 7130354283
| 11 | 225 Sq mm | Nos. | 45.6187 | 7130354284
| 12 | 240 Sq mm | Nos. | 65.7758 | 7130354285
| 13 | 300 Sq mm | Nos. | 77.4457 | 7130354286
| 14 | 400 Sq mm | Nos. | 99.7246 | 7130354287
95 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 216 | 7131387501
| 2 | Digital Multimeter Electronic Type | Nos. | 2700 | 7131320009
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 456.951 | 7132411894
| 4 | Thermometer (Wall Mounted) | Nos. | 427.343 | 7131387502
| 5 | Portable drilling machine | Nos. | 2700 | 7132014014
| 6 | Megger 500 V | Nos. | 3240 | 7131324780
| 7 | Megger up to 2.5 kV | Nos. | 4883.1755 | 7131324806
| 8 | Silica gel | Kg | 162.5988 | 7132438002
| 9 | Grounding Sticks (Earthing Rods) | Set. | 892.6848 | 7132444007
| 10 | Panel lndication lamps | Nos. | 106.3604 | 7131210001
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15,16x17, 18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 1430.0356 | 7132074032
| 12 | Tube Spanners | Set. | 590.9841 | 7132074033
| 13 | Pipe Wrench 24 inches size | Nos. | 1086 | 7132088614
| 14 | Pipe Wrench 18 inches size | Nos. | 596 | 7132088615
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15,16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 676.4527 | 7132074034
| 16 | Hack saw frames + B185 | Nos. | 119 | 7132004003
| 17 | Hand Torch 5 cell | Nos. | 533.844 | 7132478011
| 18 | Hand Torch 3 cell | Nos. | 363.8048 | 7132478012
| 19 | Combination Plier | Nos. | 204.2908 | 7132061858
| 20 | Discharge Rod | Nos. | 514.8962 | 7132013331
| 21 | Neon tester | Nos. | 51.0727 | 7131338025
| 22 | Screw driver Set | Nos. | 743.1599 | 7132072522
| 23 | Screw driver 250 mm | Nos. | 65.6649 | 7132072006
| 24 | Screw driver 200 mm | Nos. | 61.4957 | 7132072007
| 25 | Screw driver 150 mm | Nos. | 57.3265 | 7132072008
| 26 | Hammer 8 Lbs (3629 gm) | Nos. | 989 | 7132028159
| 27 | Hammer 2 Lbs (907 gm.) | Nos. | 306 | 7132028160
| 28 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 184.4871 | 7132002234
| 29 | Adjustable Screw Spanner 12 inches | Nos. | 438.8083 | 7132074035
| 30 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 1302.875 | 7132074036
| 31 | Transil oil Dielectric Breakdown testkit | Nos. | 64638 | 7131338004
| 32 | Tong tester | Nos. | 1350.8208 | 7132478004
| 33 | D.C.Volt meter range - 3V to + 5V | Nos. | 648 | 7131300082
| 34 | Specific gravity correction chart | Nos. | 178 | 7131300067
| 35 | Wall mounting type holder for Hydrometer | Nos. | 119 | 7130670027
| 36 | Earth resistance tester (20/200/2000 Ω) | Nos. | 3939.894 | 7131321603
| 37 | Rain Coats with Hoods | Nos. | 771 | 7132427634
| 38 | Gum Boots | Nos. | 519.0654 | 7132427635
| 39 | Files of sizes | Set. | 309.5631 | 7132475019
| 40 | Safety belts | Nos. | 549.2921 | 7132404015
| 41 | Safety helmets | Nos. | 123.204 | 7132404016
| 42 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 4619.4736 | 7132490006
| 43 | Fire fighting equipments CO2 fire extinguisher of 2 Kg Capacity) | No | 5165.6388 | 7132421002
| 44 | Electrically insulated 11 kV mats infront of electrical control panel | No | 3710 | 7132448003 | Old Bin Code-7132448851
96 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 1020.4117 | 7132461004
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 371.0588 | 7132461005
| 3 | G.I. Pipe 200 mm for 400 mm cable of dia 105 mm | RM | 928.6893 | 7130640027
| 4 | G.I. bend 200 mm | Nos. | 804.6556 | 7130640028
| 5 | G.I. bend 40 mm | Each | 89.6378
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 3219.6647 | 7130640029
| 7 | RCC Pipe Type NP-3 (2.5 mtr long)
|  | 600 mm | Each | 3856.51 | 7130640030
|  | 900 mm | Each | 7660.905 | 7130640036
| 8(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 917.6948 | 7130640037
| (ii) | M.S.Pipe 200 mm dia with collars | RM (medium) | 1175.097
| 9 | River sand | Cmt | 650 | 7132498006
| 10 | Cement in 50 kg bags | Bags | 268 | 7130200401
| 11 | Route & joint indicating stone with M.S. anchor rod | Nos. | 157.3873 | 7130200204
| 12 | Cable covering tiles 250x250x40 mm | Per 1000 | 10423 | 7130201343
| 13 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 131 | 7132475019
| 14 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 15 | 7132476007
| 15 | Grey Enamel Paint smoke/battle ship | Ltr | 223.41 | 7130211121
| 16 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 71 | 7132476008
| 17 | Cotton Waste | Kg | 65 | 7132478012
| 18 | Hack saw blade 300x12.5 mm | Nos. | 10 | 7132004004
| 19 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 274 | 7132455002
| 20 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 131 | 7132406022
| 21 | Monoplast | Kg | 59 | 7132490052
| 22 | Bitumen compound | Kg | 90 | 7132490053
| 23 | Providing, Fabricating and fixing 8 SWG Chain link fencing (TATA Make) 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. T&D/DRG/MISC/2 Revision -2 | Sq.mtr | 1130.823 | 7130650001
| 24 | Cable marker for U/G cable | No. | 112.5684 | 7130880006
97 |  | Earth spike | No. | 680.6219 | 7130870010
98 |  | Pad Connector (for Panther conductor) | No. | 124.0337 | 7130880006
99 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7.2961 | 7131900033
| ii | 33 kV (25 Amp.) | No. | 12.5076 | 7131900625
| iii | 33 kV (50 Amp.) | No. | 13.5499 | 7131900650
100 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 684.05 | 7131900969
| ii | 20 SWG | Kg | 683.02 | 7131900971
| iii | 18 SWG | Kg | 680.96 | 7131900973
| iv | 16 SWG | Kg | 673.75 | 7131900975
| v | 14 SWG | Kg | 670.66 | 7131900977
| vi | 12 SWG | Kg | 670.66 | 7131900979
| vii | 10 SWG | Kg | 671.69 | 7131900981
101 |  | Strain Plate (65x8 mm) for 33 kV | No. | 89.6378 | 7130810624
102 |  | Strain Plate (50x6 mm) for 11 kV | No. | 67.7495 | 7130810076
103 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 4169.2 | 7130642041
104 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end . | No | 820.2901 | 7130642039
105 |  | Single phase AB switch complete. | Set | 12911.0247 | 7131930221
106 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 57.3265
107 |  | Cable Cutter | No. | 479.458
NEW ITEMS
108 |  | Load Break Switches
| i | Load break switches only without panel | Unit | 41210 |  | NEW ADDED
| ii | Load break switches with panel | Unit | 89830 |  | NEW ADDED
| iii | 3 Way Load break switch | Unit | 290610 |  | NEW ADDED
109 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV ABC T Jointing Kit 95-120 sq.mm | No | 3757 |  | NEW ADDED
| ii | Surge Arrestor | No | 803 |  | NEW ADDED
| iii | Ground connection for Messenger Wire | No | 122 |  | NEW ADDED
110 |  | Prepaid Energy Meter
| i | Single Phase 10-60A | No | 10733 |  | NEW ADDED
| ii | Three Phase 10-60A | No | 13532 |  | NEW ADDED
111 |  | Numerical Over current & Earth Fault Protection Relay with accessories | No | 10126 |  | NEW ADDED
112 |  | Numerical Poly Carbonate seals | No | 8 |  | NEW ADDED
113 |  | Meter Sealing Wire | Kg | 167 |  | NEW ADDED
114 |  | 11 kV PT Station Type | No | 24110 |  | NEW ADDED
115 |  | Rechargeable LED Hand Torch | No | 681 |  | NEW ADDED
116 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7870 |  | NEW ADDED
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set | 9500 |  | NEW ADDED
117 |  | 33 kV Polymer Disc Insulator (45 kN) | No | 270 |  | NEW ADDED
118 |  | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 739453 |  | NEW ADDED
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 1050370 |  | NEW ADDED
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 1355749
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 1661128 |  | NEW ADDED
| v | 1OD for RMU | Unit | 266070 |  | NEW ADDED
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 310917 |  | NEW ADDED
119 |  | Covered Conductor (for Last span of HT Consumers)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 475.88 |  | NEW ADDED
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 573.64 |  | NEW ADDED
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 732.52 |  | NEW ADDED
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 675.6 |  | NEW ADDED
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 768.36 |  | NEW ADDED
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 1080.6 |  | NEW ADDED
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 1522.58 |  | NEW ADDED
120 |  | 11 KV Fault Passage Indicator for Overhead Line | No. | 14810 |  | NEW ADDED
ITEMS DELETED IN 2015-16
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit |  | New Bin Code
1 | 2 |  | 3 |  | 5
1 |  | CONVENTIONAL DISTRIBUTION TRANSFORMER :-
| B | 11/0.4 KV 3-STAR
| i | 16 kVA (3 Star) Copper Wound | Each | 54140.16 | 7132210076
| ii | 25 kVA (3 Star) Aluminium Wound | Each | 51208.35 | 7132210109
| iii | 63 kVA (3 Star) Aluminium Wound | Each | 88997.48 | 7132210111
| iv | 100 kVA (3 Star) Aluminium Wound | Each | 120993.53 | 7132210113
| v | 200 kVA (3 Star) Aluminium Wound | Each | 219024.79 | 7132210120
| C | 11/0.4 KV CONVENTIONAL
| i | 25 kVA (Conventional) | Each |  | 7132210109
| ii | 63 kVA (Conventional) | Each |  | 7132210231
| iii | 100 kVA (Conventional) | Each |  | 7132210234
| iv | 200 kVA (Conventional) | Each |  | 7132210118
| v | 315 kVA (Conventional) Copper Wound | Each | 335193.32 | 7132210075
| E | AMORPHOUS TRANSFORMER
| i | 63 kVA | Each |  | 7132210133
| ii | 100 kVA | Each
| iii | 200 kVA | Each
4 | A | LIGHTNING ARRESTORS :-
| i | 11 kV Gapless type | Each |  | 7130840029
| ii | 33 kV Gapless type | Each |  | 7130840021
89 |  | Single Phase transformer with protection (16 kVA) | No | 65854.5986 | 7132210107