## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | June'19
Period: |  | 1st May'19 to 31st May'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 439
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1709 | 55 | 121260 | 2000003854
2 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1620 | 42 | 125100 | 2000003850
3 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 3157 | 80 | 570300 | 2000003848
4 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 424 | 42 | 115800 | 2000003845
5 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 257 | 60 | 156300 | 2000003841
6 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1895 | 38 | 96120 | 2000003840
7 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 354 | 33 | 41940 | 2000014961
8 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1472 | 33 | 45300 | 2000014960
9 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 836 | 32 | 42420 | 2000006627
10 | AMBIKAPUR TOWN | 11 KV DC Road | 1944 | 31 | 40500 | 2000014951
11 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 171 | 43 | 120480 | 2000015334
12 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 31 | 72 | 282300 | 2000014959
13 | BHATAPARA TOWN | 11KV ATAL JYOTI | 38 | 56 | 331800 | 2000014962
14 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 255 | 30 | 38820 | 2000001013
15 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1855 | 32 | 27180 | 2000001012
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 559 | 55 | 107580 | 2000001011
17 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1242 | 29 | 45000 | 2000001009
18 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1348 | 67 | 144660 | 2000001008
19 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 936 | 51 | 112260 | 2000001006
20 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 245 | 16 | 14280 | 2000001005
21 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3446 | 45 | 49800 | 2000001004
22 | BHATAPARA TOWN | Mayur School 11KV Feeder | 399 | 23 | 22260 | 2000006377
23 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1418 | 25 | 30240 | 2000006376
24 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 183 | 31 | 67560 | 2000022031
25 | BHATAPARA TOWN | 11KV Colony Feeder | 30 | 27 | 17220 | 2000004255
26 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1528 | 40 | 68460 | 2000004868
27 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1604 | 36 | 52920 | 2000004871
28 | BILASPUR TOWN | 11KV DHEKA FEEDER | 266 | 25 | 162480 | 2000004877
29 | BILASPUR TOWN | 11KV DHUMA FEEDER | 649 | 15 | 6660 | 2000004878
30 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 364 | 34 | 125880 | 2000004879
31 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2773 | 68 | 109500 | 2000004882
32 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1284 | 47 | 102960 | 2000004883
33 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1660 | 47 | 43740 | 2000004884
34 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2558 | 64 | 135960 | 2000004889
35 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1169 | 34 | 18240 | 2000004891
36 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 580 | 23 | 35580 | 2000004892
37 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2680 | 47 | 36240 | 2000004893
38 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2072 | 46 | 259440 | 2000004896
39 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 79 | 95220 | 2000004897
40 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1204 | 46 | 130980 | 2000004898
41 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1029 | 53 | 254760 | 2000004900
42 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 138 | 17 | 30420 | 2000004903
43 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2326 | 30 | 31980 | 2000004904
44 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 759 | 13 | 22260 | 2000004908
45 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3678 | 18 | 31680 | 2000004909
46 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1059 | 41 | 35940 | 2000004911
47 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1783 | 39 | 26280 | 2000004913
48 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2369 | 47 | 60600 | 2000004914
49 | BILASPUR TOWN | 11KV RULER FEEDER | 1507 | 44 | 64560 | 2000004916
50 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2035 | 23 | 31740 | 2000004917
51 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1417 | 49 | 53280 | 2000004919
52 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 340 | 57 | 39180 | 2000004923
53 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3857 | 16 | 34980 | 2000004926
54 | BILASPUR TOWN | 11KV Imlibhata Feeder | 715 | 38 | 43800 | 2000016310
55 | BILASPUR TOWN | 11KV Birkona Feeder | 792 | 32 | 40320 | 2000016311
56 | BILASPUR TOWN | 11KV Lodhipara Feeder | 941 | 31 | 88560 | 2000016314
57 | BILASPUR TOWN | 11 KV New Mopka | 813 | 33 | 30600 | 2000017224
58 | BILASPUR TOWN | 11 KV Mahaveer City | 209 | 31 | 20760 | 2000017226
59 | BILASPUR TOWN | 11KV Lingyadih Feeder | 198 | 59 | 81960 | 2000017505
60 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 2 | 28 | 59160 | 2000017776
61 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 63 | 100260 | 2000017777
62 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 340 | 87 | 99780 | 2000017780
63 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 81 | 93600 | 2000017781
64 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 995 | 38 | 41520 | 2000018403
65 | BILASPUR TOWN | 11KV Talapara Feeder | 1807 | 20 | 34320 | 2000018405
66 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 768 | 55 | 95520 | 2000018761
67 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1675 | 24 | 49860 | 2000018762
68 | BILASPUR TOWN | 11KV Katiyapara Feeder | 442 | 55 | 84300 | 2000018763
69 | BILASPUR TOWN | 11KV Jail Road Feeder | 355 | 33 | 41220 | 2000020488
70 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1238 | 47 | 193140 | 2000020489
71 | BILASPUR TOWN | 11KV CMD College Feeder | 925 | 66 | 101700 | 2000020582
72 | BILASPUR TOWN | 11KV Agrasen Chowk Feeder | 981 | 11 | 23640 | 2000020583
73 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 335 | 13 | 32040 | 2000023801
74 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 965 | 86 | 53100 | 2000003195
75 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1982 | 32 | 62700 | 2000003196
76 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5519 | 87 | 69720 | 2000003197
77 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2548 | 65 | 32340 | 2000002579
78 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1028 | 25 | 22140 | 2000002576
79 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1000 | 59 | 32700 | 2000002574
80 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 14 | 23820 | 2000002573
81 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3940 | 29 | 27660 | 2000002570
82 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1362 | 50 | 24060 | 2000002569
83 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 28 | 135840 | 2000002567
84 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 3 | 25 | 74460 | 2000002566
85 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 2 | 19 | 57120 | 2000015505
86 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 974 | 29 | 27360 | 2000001301
87 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2445 | 11 | 24540 | 2000001302
88 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1079 | 8 | 9300 | 2000001299
89 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 739 | 29 | 39060 | 2000001298
90 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1669 | 17 | 25020 | 2000001295
91 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3465 | 15 | 4980 | 2000001303
92 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 732 | 13 | 40200 | 2000007685
93 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2342 | 22 | 54180 | 2000007686
94 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 842 | 70 | 115980 | 2000007687
95 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 50 | 659400 | 2000007688
96 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1029 | 57 | 149460 | 2000007689
97 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1761 | 21 | 61200 | 2000007694
98 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3704 | 23 | 18060 | 2000007696
99 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 847 | 13 | 19980 | 2000007697
100 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2885 | 48 | 127680 | 2000007701
101 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 986 | 14 | 36060 | 2000007702
102 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1036 | 16 | 40860 | 2000007703
103 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3929 | 58 | 147780 | 2000007705
104 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 940 | 55 | 168900 | 2000007708
105 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1555 | 63 | 173640 | 2000007709
106 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1830 | 19 | 32400 | 2000007711
107 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 463 | 14 | 50520 | 2000007712
108 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 637 | 45 | 75120 | 2000007713
109 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1333 | 44 | 222300 | 2000007714
110 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 930 | 44 | 149160 | 2000007715
111 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 660 | 59 | 164700 | 2000007716
112 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 616 | 60 | 208680 | 2000007717
113 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 816 | 22 | 32340 | 2000007720
114 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1549 | 29 | 28740 | 2000007721
115 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2023 | 18 | 28800 | 2000007723
116 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1395 | 50 | 49620 | 2000007724
117 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1138 | 63 | 90060 | 2000007728
118 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 720 | 15 | 34860 | 2000007729
119 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 499 | 48 | 161400 | 2000007731
120 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 32 | 29100 | 2000007733
121 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 387 | 41 | 41760 | 2000007735
122 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1252 | 55 | 150120 | 2000007738
123 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 740 | 79 | 49800 | 2000007739
124 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 882 | 33 | 69240 | 2000007740
125 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1467 | 11 | 29220 | 2000007741
126 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1238 | 40 | 50040 | 2000007744
127 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 500 | 39 | 131460 | 2000007747
128 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1091 | 34 | 69540 | 2000007748
129 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 517 | 16 | 40680 | 2000007749
130 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1129 | 25 | 531420 | 2000007751
131 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3208 | 49 | 127800 | 2000007752
132 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1897 | 82 | 250200 | 2000007754
133 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 263 | 39 | 72840 | 2000007755
134 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 413 | 49 | 42540 | 2000007756
135 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1698 | 23 | 22920 | 2000007757
136 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1333 | 46 | 40440 | 2000007758
137 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3774 | 34 | 39300 | 2000007759
138 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2529 | 59 | 144600 | 2000007760
139 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1346 | 78 | 162540 | 2000007762
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 222 | 14 | 9000 | 2000007763
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 364 | 11 | 7080 | 2000007764
142 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 244 | 11 | 6900 | 2000007765
143 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 266 | 10 | 6900 | 2000007766
144 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 761 | 10 | 6960 | 2000007767
145 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1425 | 12 | 7620 | 2000007768
146 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2208 | 64 | 1607400 | 2000007769
147 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1781 | 23 | 40020 | 2000007770
148 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1218 | 41 | 69240 | 2000007771
149 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1429 | 54 | 42600 | 2000007773
150 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1314 | 44 | 35220 | 2000007776
151 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1284 | 40 | 74940 | 2000007777
152 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 366 | 34 | 38340 | 2000007778
153 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 965 | 17 | 14940 | 2000007779
154 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1668 | 21 | 18480 | 2000007780
155 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1785 | 58 | 154680 | 2000007781
156 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1518 | 31 | 67320 | 2000007782
157 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 242 | 41 | 129120 | 2000007783
158 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 2572 | 57 | 162360 | 2000016998
159 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 2361 | 33 | 36240 | 2000017001
160 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 453 | 17 | 52140 | 2000017044
161 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 17 | 57240 | 2000017045
162 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 2277 | 67 | 1308900 | 2000017052
163 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1246 | 119 | 1374000 | 2000017054
164 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 1118 | 78 | 239340 | 2000017055
165 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 1056 | 39 | 151500 | 2000017056
166 | DURG BHILAI CHARODA TOWN | 11 KV SAF Batalian | 531 | 20 | 41460 | 2000017057
167 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 1069 | 18 | 60900 | 2000017058
168 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 1903 | 27 | 52260 | 2000017059
169 | DURG BHILAI CHARODA TOWN | 11 KV Green Chowk | 501 | 25 | 47700 | 2000017060
170 | DURG BHILAI CHARODA TOWN | 11 KV Titurdih | 1042 | 20 | 43260 | 2000017061
171 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 573 | 84 | 255540 | 2000017062
172 | DURG BHILAI CHARODA TOWN | 11KV Mauhari Feeder | 2251 | 12 | 45780 | 2000017064
173 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1113 | 132 | 59880 | 2000017065
174 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1079 | 72 | 277380 | 2000017066
175 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 681 | 137 | 58680 | 2000017069
176 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 1945 | 135 | 58860 | 2000017071
177 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 399 | 54 | 55980 | 2000017076
178 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 2445 | 105 | 318120 | 2000018574
179 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 296 | 65 | 149100 | 2000018704
180 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1359 | 39 | 153240 | 2000018705
181 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 50 | 51 | 422820 | 2000018987
182 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 220 | 49 | 109140 | 2000019819
183 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 970 | 28 | 91920 | 2000020519
184 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 3419 | 6 | 22140 | 2000021263
185 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 1229 | 14 | 28080 | 2000021264
186 | DURG BHILAI CHARODA TOWN | 11KV Khandelwal Feeder | 1031 | 15 | 20940 | 2000021357
187 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2766 | 26 | 72060 | 2000023773
188 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 345 | 70 | 203460 | 2000025794
189 | DURG BHILAI CHARODA TOWN | 11KV Scada Feeder | 1 | 12 | 17160 | 2000027337
190 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1654 | 117 | 351960 | 2000029193
191 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3535 | 20 | 49860 | 2000004348
192 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 160 | 12 | 30540 | 2000004347
193 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1592 | 33 | 70980 | 2000004344
194 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1036 | 63 | 100020 | 2000004339
195 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2204 | 30 | 61080 | 2000004338
196 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1354 | 22 | 113640 | 2000004336
197 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1272 | 27 | 66300 | 2000004335
198 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 2059 | 28 | 56520 | 2000017872
199 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 868 | 20 | 48000 | 2000004334
200 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 312 | 22 | 84240 | 2000004333
201 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1763 | 22 | 73080 | 2000004332
202 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 784 | 10 | 30120 | 2000004331
203 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1561 | 18 | 75360 | 2000004330
204 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 161 | 43 | 67380 | 2000004329
205 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1553 | 25 | 36900 | 2000015850
206 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2802 | 30 | 46440 | 2000002910
207 | KANKER TOWN | 11KV PATOD FEEDER | 1262 | 26 | 65400 | 2000002909
208 | KANKER TOWN | 11KV KESHKAL FEEDER | 200 | 39 | 113160 | 2000002907
209 | KAWARDHA TOWN | 11KV BARBASPUR (RURAL) FEEDER | 1 | 8 | 23400 | 2000001045
210 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1035 | 24 | 21420 | 2000001051
211 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2965 | 30 | 27060 | 2000001055
212 | KORBA TOWN | 11 KV Russian Hostel | 8 | 38 | 58560 | 2000006490
213 | KORBA TOWN | 11KV ABC FEEDER | 1530 | 2 | 15600 | 2000006759
214 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2377 | 151 | 1007940 | 2000006761
215 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 26 | 80880 | 2000006762
216 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 127 | 151200 | 2000006764
217 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 59 | 343860 | 2000006770
218 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2807 | 32 | 27180 | 2000006778
219 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 768 | 34 | 46980 | 2000006782
220 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1302 | 21 | 21360 | 2000006783
221 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 701 | 70 | 139140 | 2000006787
222 | KORBA TOWN | 11KV PARSABADA FEEDER | 1388 | 71 | 84360 | 2000006789
223 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 288 | 23 | 25080 | 2000006790
224 | KORBA TOWN | 11KV SARMANGLA FEEDER | 712 | 43 | 81600 | 2000006794
225 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1176 | 74 | 148920 | 2000006798
226 | KORBA TOWN | 11KV Town-1 Feeder | 706 | 17 | 20760 | 2000015220
227 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 68 | 27 | 65040 | 2000017790
228 | KORBA TOWN | 11KV OM SAI APPARTMENT | 223 | 1 | 3360 | 2000017791
229 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 367 | 87 | 167940 | 2000017805
230 | KORBA TOWN | 11KV Mudapar Feeder | 1040 | 22 | 72960 | 2000020065
231 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1149 | 55 | 85200 | 2000020122
232 | KORBA TOWN | 11KV Ratakhar Mission Road Feeder | 1059 | 79 | 1620900 | 2000021425
233 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2104 | 27 | 35340 | 2000001430
234 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1320 | 16 | 45600 | 2000001427
235 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 55 | 289260 | 2000001426
236 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 646 | 23 | 40020 | 2000001425
237 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2347 | 34 | 48180 | 2000001424
238 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2111 | 33 | 33420 | 2000001423
239 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 543 | 55 | 41340 | 2000002464
240 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1427 | 34 | 32220 | 2000002463
241 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2472 | 52 | 43080 | 2000002462
242 | MUNGELI TOWN | 11KV FASTERPUR FEEDER | 740 | 92 | 113280 | 2000002458
243 | MUNGELI TOWN | 11 KV Colecter Feeder | 601 | 17 | 38700 | 2000006460
244 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1850 | 55 | 53520 | 2000006458
245 | NAILA JANJGIR TOWN | 11KV PANDERI FEEDER | 43 | 1 | 4080 | 2000001630
246 | RAIGARH TOWN | 11KV Baba Dham Feeder | 864 | 59 | 49320 | 2000016052
247 | RAIGARH TOWN | 11KV Savitri Nagar Feeder | 1081 | 65 | 50520 | 2000016051
248 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 597 | 59 | 81540 | 2000016050
249 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1046 | 33 | 46380 | 2000003322
250 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1601 | 49 | 46380 | 2000003314
251 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 230 | 26 | 38940 | 2000003312
252 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1316 | 31 | 37440 | 2000003311
253 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 704 | 34 | 43440 | 2000003309
254 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1083 | 35 | 56400 | 2000003307
255 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1048 | 27 | 72480 | 2000003306
256 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 790 | 95 | 50940 | 2000003302
257 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1325 | 97 | 61740 | 2000003301
258 | RAIGARH TOWN | 11 KV Stadium feeder | 602 | 21 | 51060 | 2000022941
259 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 685 | 31 | 63840 | 2000021639
260 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 634 | 26 | 40020 | 2000020756
261 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 917 | 43 | 49320 | 2000020755
262 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 364 | 24 | 33900 | 2000020754
263 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1628 | 43 | 50760 | 2000017958
264 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 375 | 39 | 33960 | 2000017956
265 | RAIGARH TOWN | 11 KV Gerwani feeder | 1697 | 94 | 81900 | 2000016185
266 | RAIGARH TOWN | 11kv Collectred Feeder | 84 | 22 | 31920 | 2000016056
267 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 1003 | 23 | 42900 | 2000016055
268 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 102 | 42 | 66180 | 2000016054
269 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 864 | 46 | 80160 | 2000016053
270 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 279 | 33 | 40380 | 2000010583
271 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1251 | 11 | 14040 | 2000010585
272 | RAIPUR TOWN | 11KV CITY FEEDER | 2583 | 11 | 8340 | 2000010587
273 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1377 | 11 | 15240 | 2000010588
274 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 916 | 5 | 2160 | 2000010589
275 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 6 | 2880 | 2000010591
276 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 331 | 13 | 9900 | 2000010592
277 | RAIPUR TOWN | 11KV MLA FEEDER | 1116 | 9 | 9600 | 2000010595
278 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 19 | 26340 | 2000010596
279 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 799 | 13 | 16560 | 2000010598
280 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1031 | 12 | 8880 | 2000010603
281 | RAIPUR TOWN | 11KV ATARI FEEDER | 829 | 30 | 46320 | 2000010604
282 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 283 | 31 | 18780 | 2000010605
283 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 542 | 10 | 5220 | 2000010606
284 | RAIPUR TOWN | 11KV BANJARI FEEDER | 970 | 13 | 12540 | 2000010608
285 | RAIPUR TOWN | 11KV BASTAL FEEDER | 610 | 9 | 7200 | 2000010610
286 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1575 | 12 | 8700 | 2000010611
287 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 780 | 11 | 13080 | 2000010613
288 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 734 | 1 | 1500 | 2000010614
289 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 9 | 22200 | 2000010615
290 | RAIPUR TOWN | 11KV COLONY FEEDER | 80 | 8 | 3720 | 2000010616
291 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1819 | 18 | 10260 | 2000010618
292 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1681 | 21 | 25320 | 2000010622
293 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 903 | 29 | 70680 | 2000010624
294 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 94 | 11 | 16560 | 2000010625
295 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1691 | 26 | 39420 | 2000010628
296 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2514 | 18 | 28860 | 2000010631
297 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2085 | 9 | 17760 | 2000010632
298 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1722 | 11 | 18360 | 2000010634
299 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 748 | 19 | 9900 | 2000010638
300 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 8 | 7320 | 2000010641
301 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 744 | 22 | 13440 | 2000010642
302 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 593 | 10 | 13860 | 2000010647
303 | RAIPUR TOWN | 11KV KHARUN FEEDER | 989 | 19 | 19140 | 2000010649
304 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1493 | 18 | 14760 | 2000010650
305 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1233 | 10 | 7500 | 2000010653
306 | RAIPUR TOWN | 11KV MAHALAXMI | 427 | 19 | 10140 | 2000010655
307 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 453 | 13 | 22560 | 2000010657
308 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 412 | 15 | 38880 | 2000010658
309 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 59 | 7 | 4020 | 2000010660
310 | RAIPUR TOWN | 11KV Sale Tax Coloney Feeder | 2496 | 30 | 15120 | 2000010662
311 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 807 | 16 | 28560 | 2000010666
312 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1759 | 4 | 15060 | 2000010668
313 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 531 | 28 | 13920 | 2000010670
314 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1290 | 25 | 11220 | 2000010672
315 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5226 | 17 | 21840 | 2000010674
316 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4317 | 13 | 12480 | 2000010675
317 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 552 | 11 | 19140 | 2000010677
318 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2164 | 22 | 11640 | 2000010680
319 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 415 | 18 | 40380 | 2000010686
320 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 208 | 9 | 4920 | 2000010688
321 | RAIPUR TOWN | 11KV RDA FEEDER | 838 | 7 | 8160 | 2000010689
322 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 391 | 9 | 8400 | 2000010690
323 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 12 | 7320 | 2000010694
324 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1292 | 10 | 27540 | 2000010699
325 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2474 | 13 | 6840 | 2000010700
326 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 798 | 17 | 12300 | 2000010701
327 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2727 | 27 | 12600 | 2000010705
328 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1102 | 13 | 11100 | 2000010706
329 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 497 | 33 | 27420 | 2000010707
330 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 919 | 20 | 22440 | 2000010708
331 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2513 | 9 | 6480 | 2000010709
332 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2369 | 48 | 65580 | 2000010711
333 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 949 | 53 | 83160 | 2000010712
334 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 306 | 35 | 25860 | 2000010713
335 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 988 | 40 | 25380 | 2000010714
336 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1371 | 27 | 40620 | 2000010717
337 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2697 | 18 | 22800 | 2000010722
338 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1181 | 21 | 39540 | 2000010725
339 | RAIPUR TOWN | 11KV TV FEEDER | 2966 | 21 | 10140 | 2000010728
340 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1183 | 24 | 14700 | 2000010729
341 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 26 | 13 | 9660 | 2000010733
342 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 507 | 35 | 17160 | 2000010739
343 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2215 | 14 | 133740 | 2000010741
344 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 5 | 4620 | 2000010742
345 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 5 | 4560 | 2000010743
346 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2157 | 4 | 88320 | 2000017238
347 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2224 | 14 | 9360 | 2000017261
348 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1076 | 43 | 52560 | 2000017508
349 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2455 | 28 | 30180 | 2000017567
350 | RAIPUR TOWN | 11KV WHITE HOUSE | 753 | 9 | 25020 | 2000017568
351 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 592 | 6 | 5460 | 2000017569
352 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 993 | 22 | 15360 | 2000017576
353 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 666 | 17 | 7620 | 2000017590
354 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 2068 | 9 | 32700 | 2000017600
355 | RAIPUR TOWN | 11KV Medical College Feeder | 14 | 14 | 6660 | 2000017607
356 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1765 | 23 | 30720 | 2000017608
357 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1562 | 13 | 9660 | 2000017611
358 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 66 | 3 | 13320 | 2000017613
359 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 327 | 26 | 23340 | 2000017617
360 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1936 | 3 | 11340 | 2000017621
361 | RAIPUR TOWN | 11KV Chandadih Feeder | 586 | 25 | 47280 | 2000017623
362 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 728 | 17 | 16740 | 2000017624
363 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 761 | 6 | 12000 | 2000017671
364 | RAIPUR TOWN | 11KV Suraj Nagar | 1357 | 52 | 33120 | 2000017690
365 | RAIPUR TOWN | 11KV Roman Square | 546 | 66 | 139140 | 2000017691
366 | RAIPUR TOWN | 11KV Krishak Nagar | 182 | 24 | 364500 | 2000017692
367 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 1068 | 14 | 27180 | 2000017771
368 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1384 | 11 | 14460 | 2000017772
369 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 644 | 12 | 14100 | 2000017773
370 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2850 | 36 | 30480 | 2000017808
371 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 708 | 8 | 17040 | 2000017817
372 | RAIPUR TOWN | 11 KV Station Road Feeder | 1128 | 10 | 26760 | 2000017867
373 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1392 | 7 | 11580 | 2000017870
374 | RAIPUR TOWN | 11KV NAVEEN MARKET | 868 | 13 | 29640 | 2000017953
375 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2633 | 17 | 39420 | 2000017954
376 | RAIPUR TOWN | 11KV MG ROAD | 1605 | 41 | 72660 | 2000017955
377 | RAIPUR TOWN | 11KV Son Dongari Feeder | 919 | 37 | 50400 | 2000017962
378 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 324 | 18 | 20160 | 2000018004
379 | RAIPUR TOWN | 11KV Saddu Feeder | 294 | 29 | 24420 | 2000018005
380 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1332 | 21 | 51060 | 2000018006
381 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 374 | 11 | 32520 | 2000018359
382 | RAIPUR TOWN | 11KV Dental College Feeder | 35 | 17 | 25620 | 2000018378
383 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 975 | 23 | 16920 | 2000018394
384 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 607 | 14 | 10800 | 2000018396
385 | RAIPUR TOWN | 11KV IGVP | 371 | 14 | 20040 | 2000018397
386 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 348 | 16 | 19500 | 2000018398
387 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 453 | 12 | 31680 | 2000018416
388 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2496 | 21 | 14040 | 2000018949
389 | RAIPUR TOWN | 11KV Gondwara Feeder | 631 | 99 | 61020 | 2000019179
390 | RAIPUR TOWN | 11KV Lakdi Mill Feeder | 599 | 12 | 18660 | 2000019181
391 | RAIPUR TOWN | 11KV Jivnani Feeder | 506 | 10 | 69720 | 2000019185
392 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1987 | 15 | 36420 | 2000019186
393 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2574 | 30 | 79380 | 2000019334
394 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 441 | 28 | 94380 | 2000019340
395 | RAIPUR TOWN | 11KV SapreSala Feeder | 951 | 13 | 24180 | 2000019485
396 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1192 | 27 | 15720 | 2000019530
397 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 131 | 8 | 9600 | 2000019852
398 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1763 | 12 | 6960 | 2000019857
399 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 2007 | 8 | 19260 | 2000020009
400 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2717 | 32 | 18060 | 2000020119
401 | RAIPUR TOWN | 11KV Sun City Feeder | 5 | 48 | 65760 | 2000020123
402 | RAIPUR TOWN | 11KV Station Road Feeder | 317 | 26 | 41940 | 2000020130
403 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 99 | 34 | 124620 | 2000020131
404 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 44 | 570600 | 2000020132
405 | RAIPUR TOWN | 11KV Medishine Feeder | 997 | 7 | 6780 | 2000020194
406 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2585 | 21 | 15120 | 2000020581
407 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1679 | 41 | 33840 | 2000021219
408 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1354 | 38 | 39060 | 2000021220
409 | RAIPUR TOWN | 11KV Parsuram Feeder | 1643 | 37 | 30060 | 2000021221
410 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 693 | 62 | 47700 | 2000021286
411 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1240 | 48 | 45180 | 2000021287
412 | RAIPUR TOWN | 11KV BORIYA Feeder | 903 | 25 | 15780 | 2000021424
413 | RAIPUR TOWN | 11KV OM Complex Feeder | 1354 | 7 | 27360 | 2000021615
414 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 1350 | 18 | 47940 | 2000022077
415 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 806 | 27 | 44040 | 2000022078
416 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1346 | 25 | 45060 | 2000022079
417 | RAIPUR TOWN | 11KV Naharpara Feeder | 1412 | 13 | 18780 | 2000023680
418 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 130 | 7 | 21300 | 2000023736
419 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1593 | 13 | 19680 | 2000023772
420 | RAIPUR TOWN | 11KV Amar Palace Feeder | 448 | 9 | 15900 | 2000023848
421 | RAIPUR TOWN | 11KV FEEDER-1 | 1049 | 25 | 51300 | 2000024395
422 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1454 | 16 | 22140 | 2000026582
423 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 969 | 8 | 10860 | 2000026583
424 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 1032 | 12 | 23460 | 2000026584
425 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 257 | 28 | 24480 | 2000026586
426 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 727 | 38 | 64680 | 2000034423
427 | RAIPUR TOWN | 11KV Pride Feeder | 82 | 7 | 8100 | 2000039215
428 | RAJNANDGAON TOWN | 11 KV Litiya Feeder | 547 | 47 | 28380 | 2000014955
429 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 136 | 1 | 3060 | 2000015446
430 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 2604 | 63 | 89940 | 2000006488
431 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2337 | 46 | 28080 | 2000001979
432 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 944 | 20 | 6720 | 2000001978
433 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2374 | 6 | 8640 | 2000001975
434 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2678 | 14 | 5040 | 2000001967
435 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 79 | 73 | 51840 | 2000001965
436 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 825 | 41 | 33840 | 2000001962
437 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 233 | 37 | 14100 | 2000001960
438 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 498 | 16 | 9480 | 2000001957
439 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4652 | 42 | 27360 | 2000001956