## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Sep'20
Period: |  | 1st Aug'20 to 31st Aug'20
Number of Towns: |  | 627
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2944 | 15 | 24420 | 2000014963
2 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 48 | 59460 | 2000015334
3 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1671 | 16 | 47700 | 2000003853
4 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 451 | 44 | 38760 | 2000071572
5 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2489 | 5 | 7920 | 2000071573
6 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 44 | 43 | 37020 | 2000071574
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1979 | 21 | 33360 | 2000003854
8 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2763 | 15 | 23820 | 2000003855
9 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 678 | 48 | 109380 | 2000014959
10 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 19 | 42720 | 2000014957
11 | AMBIKAPUR TOWN | 11KV SONPUR | 185 | 22 | 29100 | 2000014954
12 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 1 | 22 | 28560 | 2000014952
13 | AMBIKAPUR TOWN | 11KV DCROAD | 2142 | 15 | 16200 | 2000014951
14 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1199 | 8 | 11880 | 2000003852
15 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1620 | 20 | 19560 | 2000003851
16 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2618 | 16 | 14160 | 2000003849
17 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 734 | 32 | 55200 | 2000003848
18 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 961 | 31 | 32580 | 2000003847
19 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1970 | 10 | 12780 | 2000003846
20 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 773 | 22 | 28140 | 2000003845
21 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 510 | 8 | 11820 | 2000003844
22 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 2281 | 8 | 14340 | 2000003843
23 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1473 | 9 | 21660 | 2000003842
24 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 291 | 37 | 63780 | 2000003841
25 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 2097 | 22 | 24480 | 2000003840
26 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 760 | 46 | 39720 | 2000006347
27 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 357 | 11 | 4980 | 2000001005
28 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 271 | 1 | 480 | 2000001007
29 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1396 | 57 | 54540 | 2000001009
30 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2048 | 22 | 25740 | 2000004869
31 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1914 | 24 | 33480 | 2000004870
32 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1735 | 14 | 17580 | 2000004871
33 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1970 | 21 | 14700 | 2000004874
34 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 189 | 25 | 22440 | 2000004875
35 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 868 | 13 | 12720 | 2000004876
36 | BILASPUR TOWN | 11KV DHEKA FEEDER | 353 | 39 | 57780 | 2000004877
37 | BILASPUR TOWN | 11KV DHUMA FEEDER | 990 | 18 | 13500 | 2000004878
38 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 565 | 38 | 118020 | 2000004879
39 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1256 | 25 | 25740 | 2000004881
40 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3480 | 20 | 21900 | 2000004882
41 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1368 | 26 | 28080 | 2000004883
42 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1984 | 25 | 16680 | 2000004884
43 | BILASPUR TOWN | 11KV HARDIFEEDER | 1254 | 24 | 31560 | 2000004885
44 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2114 | 23 | 28860 | 2000004886
45 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2665 | 36 | 57600 | 2000004889
46 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 22 | 25440 | 2000004890
47 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1248 | 24 | 23220 | 2000004891
48 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 601 | 17 | 37980 | 2000004892
49 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3039 | 25 | 22620 | 2000004893
50 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 3 | 25 | 34620 | 2000004894
51 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2168 | 13 | 17220 | 2000004896
52 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 836 | 61 | 76440 | 2000004897
53 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1293 | 43 | 52680 | 2000004898
54 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1261 | 22 | 471000 | 2000004900
55 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2780 | 25 | 24360 | 2000004901
56 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2964 | 25 | 34380 | 2000004904
57 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2859 | 21 | 14820 | 2000004905
58 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3077 | 22 | 25620 | 2000004906
59 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2089 | 25 | 23460 | 2000004907
60 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4755 | 36 | 53820 | 2000004909
61 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3842 | 11 | 15060 | 2000004910
62 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1261 | 25 | 24000 | 2000004911
63 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1963 | 26 | 27840 | 2000004913
64 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2555 | 22 | 22560 | 2000004914
65 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 650 | 25 | 37260 | 2000004915
66 | BILASPUR TOWN | 11KV RULER FEEDER | 1912 | 32 | 46140 | 2000004916
67 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2655 | 22 | 23040 | 2000004917
68 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1682 | 14 | 17100 | 2000004919
69 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 802 | 36 | 49800 | 2000004924
70 | BILASPUR TOWN | 11KV KONI FEEDER | 903 | 16 | 18900 | 2000006494
71 | BILASPUR TOWN | 11KV TV FEEDER | 2655 | 9 | 10260 | 2000016309
72 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1226 | 28 | 47040 | 2000016310
73 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 104 | 29 | 34140 | 2000016311
74 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 750 | 37 | 72720 | 2000016312
75 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1221 | 41 | 77520 | 2000016314
76 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 215 | 21 | 973620 | 2000016315
77 | BILASPUR TOWN | 11KV NEW MOPKA | 1452 | 28 | 37260 | 2000017224
78 | BILASPUR TOWN | 11KV SHIVAM CITY | 1915 | 15 | 17880 | 2000017225
79 | BILASPUR TOWN | 11KV MAHAVEER CITY | 315 | 15 | 25560 | 2000017226
80 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 14 | 22500 | 2000017502
81 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2458 | 22 | 49500 | 2000017505
82 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1044 | 35 | 41340 | 2000017776
83 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 29 | 39 | 39360 | 2000017777
84 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 252 | 38 | 43980 | 2000017778
85 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 410 | 49 | 80460 | 2000017780
86 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 376 | 47 | 66840 | 2000017781
87 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1146 | 5 | 2760 | 2000018403
88 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2179 | 22 | 591180 | 2000018405
89 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 824 | 17 | 366000 | 2000018761
90 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1882 | 24 | 318660 | 2000018762
91 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 485 | 15 | 363360 | 2000018763
92 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 13 | 11700 | 2000020488
93 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1315 | 10 | 9240 | 2000020489
94 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1283 | 20 | 29940 | 2000020490
95 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 954 | 34 | 45660 | 2000020582
96 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1036 | 15 | 25020 | 2000020583
97 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1768 | 18 | 13440 | 2000022059
98 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1759 | 16 | 21840 | 2000022060
99 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1494 | 19 | 26460 | 2000022061
100 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 950 | 25 | 34380 | 2000022135
101 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 457 | 35 | 45540 | 2000023801
102 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 327 | 23 | 22620 | 2000023802
103 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1043 | 37 | 64620 | 2000023803
104 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 118 | 13 | 12840 | 2000027413
105 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 277 | 56 | 155940 | 2000001804
106 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 538 | 31 | 98160 | 2000001806
107 | CHAMPA TOWN | 11KV KURDAFEEDER | 1642 | 55 | 237780 | 2000001807
108 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 18 | 103740 | 2000015492
109 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2794 | 49 | 152280 | 2000001808
110 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1302 | 2 | 2640 | 2000001813
111 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1777 | 37 | 145560 | 2000001809
112 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 969 | 36 | 137220 | 2000015251
113 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 529 | 51 | 170940 | 2000015252
114 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4400 | 21 | 31740 | 2000003144
115 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5765 | 41 | 41280 | 2000003197
116 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2094 | 10 | 7380 | 2000003196
117 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1287 | 16 | 32100 | 2000003195
118 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1688 | 28 | 36000 | 2000003194
119 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 314 | 32 | 36840 | 2000003193
120 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 357 | 11 | 39900 | 2000004308
121 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 26 | 33060 | 2000002567
122 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2109 | 9 | 8400 | 2000002571
123 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 954 | 18 | 31140 | 2000002572
124 | DHAMTARI TOWN | 11KV CHITOD1 | 4663 | 12 | 26040 | 2000004307
125 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 12 | 9480 | 2000002573
126 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 23 | 36660 | 2000002577
127 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 500 | 11 | 5640 | 2000015505
128 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 841 | 33 | 15060 | 2000007685
129 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 1925 | 23 | 61980 | 2000007686
130 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1258 | 16 | 114480 | 2000007687
131 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 514 | 8 | 10500 | 2000007689
132 | DURG BHILAI CHARODA TOWN | 11KV BAIKUNDDHAM FEEDER | 2057 | 14 | 17880 | 2000007693
133 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 2313 | 20 | 31620 | 2000007694
134 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4381 | 13 | 3600 | 2000007696
135 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1081 | 27 | 27540 | 2000007702
136 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1159 | 46 | 39480 | 2000007703
137 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3060 | 11 | 15000 | 2000007705
138 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1696 | 11 | 8940 | 2000007707
139 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1635 | 12 | 17940 | 2000007709
140 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1712 | 10 | 11820 | 2000007714
141 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1406 | 19 | 9960 | 2000007715
142 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 346 | 14 | 11940 | 2000007717
143 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1684 | 32 | 31200 | 2000007718
144 | DURG BHILAI CHARODA TOWN | 11KV ISPATNAGAR FEEDER | 1944 | 14 | 42120 | 2000007719
145 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1021 | 8 | 10680 | 2000007720
146 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1625 | 7 | 3660 | 2000007721
147 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2176 | 6 | 8220 | 2000007723
148 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1482 | 23 | 12660 | 2000007724
149 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1722 | 11 | 2700 | 2000007725
150 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2324 | 11 | 6720 | 2000007726
151 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3448 | 2 | 120 | 2000007728
152 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 741 | 4 | 4140 | 2000007729
153 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 925 | 19 | 7920 | 2000007731
154 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1069 | 30 | 21240 | 2000007732
155 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 735 | 7 | 7320 | 2000007733
156 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1882 | 33 | 42720 | 2000007734
157 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 770 | 3 | 1800 | 2000007735
158 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1618 | 22 | 7440 | 2000007737
159 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 980 | 18 | 15840 | 2000007739
160 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2449 | 18 | 23940 | 2000007742
161 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1443 | 30 | 187260 | 2000007744
162 | DURG BHILAI CHARODA TOWN | 11KV PETROLPUMP FEEDER | 1229 | 16 | 11160 | 2000007746
163 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 724 | 14 | 21360 | 2000007747
164 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 548 | 3 | 1140 | 2000007749
165 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1318 | 24 | 18480 | 2000007750
166 | DURG BHILAI CHARODA TOWN | 11KV RAMNAGAR FEEDER | 3276 | 12 | 12960 | 2000007752
167 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1958 | 12 | 8760 | 2000007754
168 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1341 | 22 | 100860 | 2000007756
169 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2193 | 7 | 8040 | 2000007757
170 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1821 | 28 | 12240 | 2000007758
171 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3636 | 23 | 26520 | 2000007759
172 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHAROAD FEEDER | 2743 | 21 | 11460 | 2000007760
173 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 766 | 5 | 4620 | 2000007761
174 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1045 | 13 | 16740 | 2000007762
175 | DURG BHILAI CHARODA TOWN | 11KV TALPURI1 FEEDER | 229 | 4 | 1320 | 2000007763
176 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2276 | 16 | 16800 | 2000007769
177 | DURG BHILAI CHARODA TOWN | 11KV SHARDAPARA FEEDER | 1794 | 16 | 16860 | 2000007770
178 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 4049 | 38 | 41460 | 2000007772
179 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1932 | 23 | 15600 | 2000007773
180 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1430 | 27 | 13140 | 2000007774
181 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 1252 | 20 | 12420 | 2000007775
182 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1222 | 7 | 8760 | 2000007776
183 | DURG BHILAI CHARODA TOWN | 11KV TRIVENINAGAR FEEDER | 1320 | 11 | 4980 | 2000007777
184 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1101 | 19 | 12360 | 2000007779
185 | DURG BHILAI CHARODA TOWN | 11KV VAISHALINAGAR FEEDER | 1759 | 1 | 600 | 2000007783
186 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7549 | 43 | 121980 | 2000016889
187 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2368 | 33 | 36540 | 2000017000
188 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2498 | 9 | 5280 | 2000017052
189 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1307 | 5 | 9300 | 2000017054
190 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1174 | 9 | 17820 | 2000017055
191 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 941 | 6 | 7080 | 2000017056
192 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 778 | 8 | 10320 | 2000017057
193 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 929 | 11 | 12180 | 2000017058
194 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2142 | 14 | 15000 | 2000017059
195 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 526 | 6 | 5340 | 2000017060
196 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1072 | 16 | 16620 | 2000017061
197 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 3 | 3240 | 2000017062
198 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1769 | 6 | 14340 | 2000017063
199 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1532 | 6 | 6300 | 2000017064
200 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1378 | 25 | 13200 | 2000017065
201 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1216 | 1 | 600 | 2000017066
202 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 562 | 4 | 1440 | 2000017067
203 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2221 | 16 | 16800 | 2000017068
204 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 922 | 25 | 13200 | 2000017069
205 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2035 | 24 | 12660 | 2000017071
206 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 268 | 9 | 5640 | 2000017072
207 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 463 | 1 | 1200 | 2000017076
208 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 493 | 26 | 18000 | 2000017080
209 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2467 | 14 | 13200 | 2000018574
210 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 304 | 20 | 24300 | 2000018704
211 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1394 | 25 | 31080 | 2000018705
212 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1839 | 18 | 27660 | 2000018706
213 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 635 | 14 | 15960 | 2000018707
214 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1742 | 13 | 9360 | 2000018723
215 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 77 | 21 | 34260 | 2000018987
216 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 697 | 8 | 12960 | 2000019819
217 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 517 | 35 | 101880 | 2000019876
218 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1093 | 10 | 19380 | 2000020519
219 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3140 | 16 | 10800 | 2000021263
220 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1339 | 18 | 12540 | 2000021264
221 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1154 | 8 | 13560 | 2000021357
222 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3316 | 19 | 25260 | 2000023773
223 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 358 | 16 | 12540 | 2000025794
224 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 17 | 18180 | 2000027337
225 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1979 | 5 | 3480 | 2000029190
226 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1188 | 30 | 171300 | 2000029191
227 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 680 | 16 | 31740 | 2000029192
228 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1663 | 19 | 41220 | 2000029193
229 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1697 | 6 | 3960 | 2000049757
230 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 9 | 9480 | 2000049820
231 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1445 | 1 | 540 | 2000067876
232 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2381 | 1 | 540 | 2000067877
233 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 1 | 960 | 2000068108
234 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 34 | 1 | 960 | 2000068109
235 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 1 | 1020 | 2000068110
236 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 160 | 6 | 6300 | 2000075565
237 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 777 | 11 | 14400 | 2000075566
238 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1475 | 24 | 32040 | 2000075806
239 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1258 | 48 | 33360 | 2000075812
240 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 357 | 32 | 116580 | 2000075949
241 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 948 | 26 | 9300 | 2000075970
242 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1211 | 4 | 660 | 2000075971
243 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 368 | 19 | 38880 | 2000075799
244 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2056 | 7 | 6420 | 2000075216
245 | JAGDALPUR TOWN | 11KV Green City Feeder | 492 | 3 | 1320 | 2000075215
246 | JAGDALPUR TOWN | 11KV Vargish Feeder | 832 | 4 | 6900 | 2000023847
247 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1395 | 7 | 9060 | 2000004349
248 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 20 | 11100 | 2000004347
249 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3676 | 5 | 5100 | 2000004346
250 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1777 | 6 | 7500 | 2000004344
251 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1847 | 20 | 60420 | 2000004342
252 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2131 | 6 | 7140 | 2000004341
253 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2121 | 39 | 49920 | 2000004340
254 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2524 | 21 | 37080 | 2000004339
255 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3576 | 11 | 16260 | 2000004338
256 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1793 | 7 | 10680 | 2000004337
257 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2415 | 9 | 61680 | 2000004336
258 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1519 | 20 | 16680 | 2000004335
259 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 926 | 22 | 19620 | 2000004334
260 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 288 | 2 | 3480 | 2000004333
261 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1241 | 12 | 14100 | 2000004332
262 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2059 | 4 | 4260 | 2000004330
263 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 337 | 5 | 4500 | 2000004329
264 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1696 | 10 | 7020 | 2000015850
265 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3283 | 8 | 9000 | 2000002910
266 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 13 | 10 | 673440 | 2000001045
267 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1249 | 16 | 23760 | 2000001047
268 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 4443 | 15 | 608940 | 2000001048
269 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 640 | 21 | 84180 | 2000001051
270 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3932 | 20 | 42960 | 2000001054
271 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 3623 | 21 | 23160 | 2000001055
272 | KORBA TOWN | 11KV SEMIPALI | 441 | 26 | 76680 | 2000015240
273 | KORBA TOWN | 11KV BULGI FEEDER | 2438 | 6 | 11280 | 2000016255
274 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1912 | 40 | 58140 | 2000016201
275 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1230 | 13 | 16500 | 2000006782
276 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 85 | 43 | 55200 | 2000075849
277 | KORBA TOWN | 11KV TINADAFAI FEEDER | 731 | 22 | 43200 | 2000075797
278 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1353 | 28 | 60420 | 2000021425
279 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 223 | 19 | 54840 | 2000021289
280 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 24 | 44820 | 2000006490
281 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3665 | 34 | 92280 | 2000006761
282 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 837 | 1 | 1980 | 2000006762
283 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1880 | 26 | 59040 | 2000006763
284 | KORBA TOWN | 11KV BULGI FEEDER | 998 | 20 | 98340 | 2000006764
285 | KORBA TOWN | 11KV DADAR FEEDER | 708 | 26 | 49680 | 2000006768
286 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 44 | 59820 | 2000006770
287 | KORBA TOWN | 11KV DARRI-1 FEEDER | 708 | 18 | 70140 | 2000006771
288 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 797 | 30 | 91680 | 2000006773
289 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 912 | 30 | 90360 | 2000006775
290 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 256 | 36 | 51900 | 2000006776
291 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 224 | 9 | 58500 | 2000006778
292 | KORBA TOWN | 11KV KOSABADI FEEDER | 1361 | 14 | 19080 | 2000006780
293 | KORBA TOWN | 11KV BUDHWARI FEEDER | 729 | 7 | 11880 | 2000015220
294 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1697 | 15 | 30300 | 2000006783
295 | KORBA TOWN | 11KV NIHARIKA FEEDER | 703 | 16 | 169380 | 2000006784
296 | KORBA TOWN | 11KV P.HROAD FEEDER | 1368 | 7 | 34980 | 2000006785
297 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1875 | 12 | 54900 | 2000006786
298 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1202 | 48 | 87060 | 2000006787
299 | KORBA TOWN | 11KV PARSABADA FEEDER | 1346 | 63 | 133860 | 2000006789
300 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 9 | 39000 | 2000006790
301 | KORBA TOWN | 11KV RAMPUR FEEDER | 802 | 10 | 448860 | 2000006791
302 | KORBA TOWN | 11KV RURAL FEEDER | 3732 | 2 | 3900 | 2000006792
303 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1036 | 14 | 53160 | 2000006794
304 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2337 | 12 | 14160 | 2000006795
305 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 933 | 12 | 14220 | 2000006796
306 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 61 | 11 | 454860 | 2000006797
307 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1492 | 27 | 39780 | 2000006798
308 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1450 | 37 | 62880 | 2000020122
309 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1959 | 25 | 56700 | 2000020065
310 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 35 | 88080 | 2000016028
311 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 23 | 46320 | 2000018988
312 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 397 | 33 | 54960 | 2000017805
313 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2113 | 35 | 59820 | 2000017804
314 | KORBA TOWN | 11KV RPNAGAR FEEDER | 847 | 15 | 21720 | 2000016912
315 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 767 | 17 | 32640 | 2000001426
316 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1781 | 33 | 51600 | 2000001427
317 | MAHASAMUND TOWN | 11KV TOWN-2 FEEDER | 4244 | 7 | 18960 | 2000001429
318 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 650 | 22 | 36300 | 2000001425
319 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 1192 | 50 | 63540 | 2000003055
320 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6154 | 49 | 76320 | 2000003057
321 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 42 | 123480 | 2000002458
322 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1846 | 22 | 24240 | 2000055675
323 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 914 | 38 | 21780 | 2000068276
324 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 160 | 27 | 58560 | 2000015467
325 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 114 | 45 | 89760 | 2000001623
326 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1555 | 43 | 111420 | 2000001628
327 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 1655 | 69 | 198180 | 2000001630
328 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 2322 | 21 | 9480 | 2000001631
329 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 1162 | 65 | 132720 | 2000001632
330 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3085 | 37 | 71940 | 2000001635
331 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 476 | 43 | 60360 | 2000001637
332 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 380 | 34 | 75480 | 2000076052
333 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 732 | 35 | 57300 | 2000076051
334 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1495 | 33 | 64500 | 2000076050
335 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 784 | 23 | 35460 | 2000016050
336 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1115 | 44 | 72780 | 2000016052
337 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1064 | 10 | 12600 | 2000016053
338 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 9 | 12720 | 2000016054
339 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1147 | 27 | 34260 | 2000016055
340 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 104 | 25 | 29400 | 2000016056
341 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 618 | 29 | 28020 | 2000016057
342 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 541 | 16 | 16500 | 2000016184
343 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1857 | 15 | 23400 | 2000016185
344 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 419 | 22 | 20940 | 2000017956
345 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 932 | 19 | 27120 | 2000020755
346 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 666 | 23 | 37500 | 2000020756
347 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1565 | 30 | 50280 | 2000021639
348 | RAIGARH TOWN | 11KV STADIUM FEEDER | 665 | 33 | 63540 | 2000022941
349 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1654 | 7 | 9960 | 2000003303
350 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 351 | 30 | 42420 | 2000029091
351 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1457 | 8 | 10200 | 2000003304
352 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1242 | 8 | 10200 | 2000003305
353 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1137 | 21 | 26880 | 2000003306
354 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3192 | 85 | 226740 | 2000003325
355 | RAIGARH TOWN | 11KV STATION FEEDER | 1572 | 28 | 20520 | 2000003324
356 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 949 | 12 | 4800 | 2000003308
357 | RAIGARH TOWN | 11KV STADIUM FEEDER | 303 | 12 | 14160 | 2000003323
358 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 839 | 23 | 22320 | 2000003321
359 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 609 | 47 | 55620 | 2000003320
360 | RAIGARH TOWN | 11KV KARIMAL SCHOOL FEEDER | 613 | 23 | 30540 | 2000003316
361 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2271 | 6 | 9840 | 2000003315
362 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1180 | 5 | 9480 | 2000003310
363 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2321 | 22 | 45300 | 2000003313
364 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 227 | 26 | 57420 | 2000018406
365 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 622 | 4 | 10980 | 2000010599
366 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 2360 | 7 | 13800 | 2000010600
367 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 835 | 6 | 3720 | 2000010598
368 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 13 | 19200 | 2000010596
369 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 976 | 6 | 3840 | 2000010601
370 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1483 | 1 | 104160 | 2000010602
371 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1037 | 9 | 8160 | 2000010603
372 | RAIPUR TOWN | 11KV ATARI FEEDER | 921 | 11 | 8700 | 2000010604
373 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 445 | 11 | 7500 | 2000010592
374 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 810 | 4 | 8940 | 2000010591
375 | RAIPUR TOWN | 11KV GAD FEEDER | 764 | 3 | 5940 | 2000010590
376 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 906 | 6 | 5340 | 2000010589
377 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1494 | 2 | 3360 | 2000010588
378 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2747 | 3 | 4260 | 2000010587
379 | RAIPUR TOWN | 11KV KARBALA TALAB | 1300 | 11 | 34620 | 2000010585
380 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1587 | 4 | 8220 | 2000010582
381 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 321 | 5 | 2100 | 2000010605
382 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 245 | 2 | 1380 | 2000010607
383 | RAIPUR TOWN | 11KV BANJARI FEEDER | 899 | 1 | 420 | 2000010608
384 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1576 | 1 | 1500 | 2000010611
385 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 793 | 8 | 6840 | 2000010613
386 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 784 | 11 | 9660 | 2000010614
387 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 157 | 4 | 18360 | 2000010615
388 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 5 | 2640 | 2000010616
389 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 178 | 3 | 8340 | 2000010617
390 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1896 | 4 | 7980 | 2000010618
391 | RAIPUR TOWN | 11KV AGRASEN CHAOK | 471 | 5 | 7140 | 2000010619
392 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1521 | 2 | 1800 | 2000010621
393 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 2993 | 4 | 3300 | 2000010622
394 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 932 | 10 | 9300 | 2000010624
395 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 517 | 1 | 360 | 2000010626
396 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1955 | 3 | 5820 | 2000010628
397 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1167 | 5 | 3600 | 2000010630
398 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2682 | 8 | 4380 | 2000010631
399 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2393 | 8 | 4380 | 2000010632
400 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEED | 1815 | 3 | 5340 | 2000010634
401 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 877 | 11 | 11400 | 2000010635
402 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1046 | 3 | 3240 | 2000010636
403 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1105 | 6 | 4020 | 2000010637
404 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1025 | 5 | 6840 | 2000010638
405 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3188 | 3 | 19560 | 2000010639
406 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 4 | 2400 | 2000010641
407 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 760 | 2 | 3660 | 2000010642
408 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1055 | 3 | 3480 | 2000010643
409 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 374 | 5 | 14760 | 2000010645
410 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1345 | 12 | 20160 | 2000010649
411 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 790 | 9 | 4320 | 2000010651
412 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2255 | 12 | 39780 | 2000010652
413 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 993 | 7 | 3060 | 2000010654
414 | RAIPUR TOWN | 11KV MAHALAXMI | 488 | 1 | 360 | 2000010655
415 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2092 | 5 | 65820 | 2000010656
416 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 413 | 5 | 15420 | 2000010658
417 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 908 | 6 | 28320 | 2000010659
418 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2275 | 17 | 28140 | 2000010662
419 | RAIPUR TOWN | 11KV LIC FEEDER | 1976 | 3 | 4560 | 2000010663
420 | RAIPUR TOWN | 11KV LALBAG FEEDER | 946 | 11 | 254820 | 2000010665
421 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 789 | 6 | 13500 | 2000010666
422 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1659 | 4 | 7980 | 2000010667
423 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1839 | 6 | 91860 | 2000010668
424 | RAIPUR TOWN | 11KV MINING FEEDER | 632 | 8 | 55920 | 2000010669
425 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 905 | 5 | 2160 | 2000010670
426 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 942 | 7 | 11160 | 2000010671
427 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1300 | 9 | 9060 | 2000010672
428 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3475 | 15 | 34560 | 2000010674
429 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1505 | 5 | 4200 | 2000010675
430 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 644 | 5 | 8880 | 2000010677
431 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 482 | 3 | 1380 | 2000010678
432 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 182 | 6 | 6660 | 2000010679
433 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2294 | 2 | 840 | 2000010680
434 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1191 | 1 | 480 | 2000010681
435 | RAIPUR TOWN | 11KV KBT FEEDER | 1246 | 8 | 4320 | 2000010682
436 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1049 | 6 | 6120 | 2000010683
437 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 717 | 1 | 480 | 2000010685
438 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 443 | 10 | 8700 | 2000010686
439 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 651 | 3 | 3360 | 2000010687
440 | RAIPUR TOWN | 11KV RDA FEEDER | 851 | 5 | 5580 | 2000010689
441 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 399 | 4 | 12840 | 2000010690
442 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1323 | 2 | 8580 | 2000010691
443 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3404 | 4 | 21360 | 2000010692
444 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2597 | 2 | 900 | 2000010693
445 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 6 | 2 | 840 | 2000010694
446 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1650 | 2 | 6180 | 2000010695
447 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1802 | 4 | 2400 | 2000010696
448 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2919 | 1 | 600 | 2000010698
449 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1317 | 6 | 310200 | 2000010699
450 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1638 | 5 | 6360 | 2000010701
451 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 109 | 6 | 8040 | 2000010702
452 | RAIPUR TOWN | 11KV RULAR FEEDER | 589 | 7 | 9960 | 2000010703
453 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 597 | 3 | 12120 | 2000010704
454 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2960 | 8 | 34680 | 2000010705
455 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 514 | 7 | 5820 | 2000010707
456 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 947 | 3 | 1020 | 2000010708
457 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2575 | 5 | 7380 | 2000010709
458 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1876 | 10 | 5940 | 2000010711
459 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 982 | 13 | 8640 | 2000010712
460 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 813 | 15 | 22560 | 2000010713
461 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1617 | 5 | 27660 | 2000010714
462 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 2089 | 3 | 4560 | 2000010716
463 | RAIPUR TOWN | 11KV RDA FEEDER | 2089 | 10 | 30180 | 2000010717
464 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 2 | 15 | 18900 | 2000010718
465 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 408 | 1 | 480 | 2000010719
466 | RAIPUR TOWN | 11KV SARORA FEEDER | 984 | 7 | 25380 | 2000010720
467 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2781 | 10 | 27600 | 2000010722
468 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3718 | 15 | 10680 | 2000010723
469 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 3338 | 6 | 4740 | 2000010724
470 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1412 | 2 | 1140 | 2000010725
471 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1310 | 4 | 4800 | 2000010726
472 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 472 | 4 | 6780 | 2000010727
473 | RAIPUR TOWN | 11KV TV FEEDER | 1675 | 10 | 11100 | 2000010728
474 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1204 | 12 | 13740 | 2000010729
475 | RAIPUR TOWN | 11KV TOWN FEEDER | 2624 | 3 | 13800 | 2000010730
476 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 30 | 10 | 8880 | 2000010733
477 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2883 | 3 | 1320 | 2000010735
478 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2200 | 6 | 3360 | 2000010736
479 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 480 | 6 | 7500 | 2000010737
480 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 63 | 6 | 2760 | 2000010738
481 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 407 | 3 | 1260 | 2000010739
482 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3039 | 3 | 4860 | 2000010740
483 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2366 | 4 | 2520 | 2000010741
484 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 70 | 2 | 1980 | 2000010742
485 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 26 | 2 | 1980 | 2000010743
486 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1766 | 4 | 20880 | 2000017238
487 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2245 | 1 | 1860 | 2000017261
488 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1250 | 19 | 21300 | 2000017508
489 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2483 | 5 | 2820 | 2000017567
490 | RAIPUR TOWN | 11KV WHITE HOUSE | 799 | 9 | 6360 | 2000017568
491 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 608 | 7 | 4560 | 2000017569
492 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 703 | 8 | 5460 | 2000017590
493 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1613 | 6 | 3600 | 2000017597
494 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 897 | 4 | 13860 | 2000017599
495 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 17 | 5 | 6180 | 2000017607
496 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1808 | 2 | 3540 | 2000017608
497 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 805 | 4 | 3420 | 2000017609
498 | RAIPUR TOWN | 11KV TURCHEGUDA FEEDER | 458 | 6 | 7020 | 2000017612
499 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 6 | 3720 | 2000017613
500 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 855 | 1 | 19320 | 2000017615
501 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 341 | 11 | 12780 | 2000017617
502 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2060 | 3 | 102900 | 2000017621
503 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 636 | 15 | 23400 | 2000017623
504 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 791 | 11 | 23760 | 2000017624
505 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 415 | 15 | 14160 | 2000017626
506 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 867 | 8 | 5400 | 2000017628
507 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 342 | 10 | 139380 | 2000017671
508 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 426 | 12 | 17400 | 2000017673
509 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 267 | 11 | 11460 | 2000017674
510 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1784 | 13 | 17460 | 2000017690
511 | RAIPUR TOWN | 11KV ROMAN SQUARE | 660 | 7 | 16620 | 2000017691
512 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 214 | 10 | 27420 | 2000017692
513 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 824 | 5 | 4680 | 2000017721
514 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1081 | 7 | 3420 | 2000017755
515 | RAIPUR TOWN | 11KV MOTHER TERESA | 818 | 7 | 3300 | 2000017756
516 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 515 | 8 | 3660 | 2000017757
517 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1182 | 2 | 6660 | 2000017768
518 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1215 | 12 | 30360 | 2000017771
519 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1473 | 14 | 15540 | 2000017772
520 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 672 | 10 | 9300 | 2000017773
521 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3309 | 1 | 360 | 2000017808
522 | RAIPUR TOWN | 11KV PURANI BASTI | 715 | 5 | 2640 | 2000017817
523 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1196 | 6 | 12960 | 2000017819
524 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1143 | 5 | 6600 | 2000017867
525 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1960 | 4 | 2640 | 2000017868
526 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1006 | 1 | 360 | 2000026583
527 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 2588 | 7 | 9240 | 2000017602
528 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1008 | 1 | 101520 | 2000018394
529 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1459 | 4 | 15480 | 2000018361
530 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1731 | 15 | 12180 | 2000018006
531 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 619 | 3 | 5700 | 2000018396
532 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 349 | 8 | 18840 | 2000018398
533 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 457 | 2 | 2940 | 2000018416
534 | RAIPUR TOWN | 11KV Umiya Market Feeder | 474 | 26 | 56460 | 2000018421
535 | RAIPUR TOWN | 11KV SADDU FEEDER | 308 | 6 | 6840 | 2000018005
536 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 336 | 4 | 3240 | 2000018004
537 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1148 | 14 | 107760 | 2000017962
538 | RAIPUR TOWN | 11KV MG ROAD | 1634 | 3 | 960 | 2000017955
539 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2779 | 2 | 660 | 2000017954
540 | RAIPUR TOWN | 11KV NAVEEN MARKET | 890 | 2 | 660 | 2000017953
541 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 259 | 5 | 12600 | 2000017871
542 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1401 | 4 | 1740 | 2000017870
543 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 776 | 11 | 10560 | 2000018783
544 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2544 | 4 | 2040 | 2000018949
545 | RAIPUR TOWN | 11KV VARUN FEEDER | 1383 | 5 | 7200 | 2000019179
546 | RAIPUR TOWN | 11KV HEERA FEEDER | 3061 | 8 | 12300 | 2000019180
547 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 485 | 8 | 6300 | 2000019181
548 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1652 | 12 | 15000 | 2000019184
549 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1264 | 3 | 7140 | 2000019334
550 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1258 | 2 | 720 | 2000019340
551 | RAIPUR TOWN | 11KV BSUP FEEDER | 56 | 11 | 21480 | 2000019341
552 | RAIPUR TOWN | 11KV CTI FEEDER | 259 | 12 | 18780 | 2000019342
553 | RAIPUR TOWN | 11KV PS CITY | 1378 | 2 | 1080 | 2000019530
554 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 715 | 3 | 1320 | 2000019697
555 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 294 | 4 | 3420 | 2000019850
556 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 128 | 4 | 37260 | 2000019851
557 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 176 | 4 | 2280 | 2000019853
558 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1840 | 2 | 2760 | 2000019857
559 | RAIPUR TOWN | 11KV GANESH MANDIR | 236 | 2 | 660 | 2000017869
560 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2154 | 2 | 720 | 2000020009
561 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1721 | 9 | 5880 | 2000020119
562 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1214 | 11 | 7500 | 2000020120
563 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 16 | 10920 | 2000020123
564 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 11 | 10020 | 2000020130
565 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 176 | 7 | 4980 | 2000020131
566 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 6 | 3540 | 2000020132
567 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1436 | 7 | 3360 | 2000020153
568 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 353 | 1 | 900 | 2000020193
569 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1053 | 8 | 13800 | 2000020194
570 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2630 | 8 | 20100 | 2000020581
571 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1724 | 6 | 8880 | 2000021219
572 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1404 | 2 | 900 | 2000021220
573 | RAIPUR TOWN | 11KV TARUN NAGAR | 1847 | 4 | 2520 | 2000021221
574 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 766 | 19 | 15120 | 2000021286
575 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1388 | 28 | 25500 | 2000021287
576 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 63 | 8 | 6720 | 2000021421
577 | RAIPUR TOWN | 11KV DUNDA FEEDER | 952 | 13 | 9000 | 2000021424
578 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1477 | 5 | 20040 | 2000021615
579 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1382 | 8 | 138360 | 2000022077
580 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 808 | 11 | 99120 | 2000022078
581 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1358 | 8 | 99660 | 2000022079
582 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1408 | 12 | 19680 | 2000023680
583 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1600 | 20 | 16440 | 2000023735
584 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 132 | 8 | 17100 | 2000023736
585 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1663 | 2 | 1260 | 2000023772
586 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 28 | 3184 | 2000018378
587 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 469 | 2 | 3540 | 2000023848
588 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1133 | 6 | 5280 | 2000024395
589 | RAIPUR TOWN | 11KV KACHNA FEEDER | 144 | 6 | 7860 | 2000026462
590 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2321 | 5 | 9480 | 2000026575
591 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2338 | 2 | 2220 | 2000017600
592 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1576 | 10 | 16800 | 2000019858
593 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1073 | 2 | 1200 | 2000026584
594 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 627 | 4 | 1740 | 2000026585
595 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1258 | 4 | 1560 | 2000026586
596 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 332 | 5 | 3480 | 2000029194
597 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 145 | 8 | 6360 | 2000029195
598 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1332 | 8 | 13080 | 2000034421
599 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 765 | 10 | 18240 | 2000034422
600 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 748 | 9 | 15000 | 2000034423
601 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2634 | 8 | 5340 | 2000034760
602 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 519 | 7 | 5100 | 2000034761
603 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1560 | 8 | 7800 | 2000034762
604 | RAIPUR TOWN | 11KV PRIDE FEEDER | 182 | 5 | 5520 | 2000039215
605 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 6 | 8880 | 2000046448
606 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 900 | 10 | 120240 | 2000046477
607 | RAIPUR TOWN | 11KV KACHNA FEEDER | 102 | 35 | 51360 | 2000063983
608 | RAIPUR TOWN | 11KV ITI FEEDER | 293 | 25 | 31260 | 2000063985
609 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 39 | 9 | 7620 | 2000064021
610 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 3 | 1260 | 2000069376
611 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 18 | 12900 | 2000070080
612 | RAIPUR TOWN | 11KV C&F FEEDER | 31 | 11 | 11880 | 2000070702
613 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 30 | 11 | 11940 | 2000070703
614 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1035 | 11 | 38760 | 2000070747
615 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2546 | 4 | 2220 | 2000071570
616 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 124 | 6 | 4200 | 2000071639
617 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2629 | 4 | 2520 | 2000072091
618 | RAIPUR TOWN | 11KV Simran City Feeder | 1129 | 5 | 5160 | 2000074141
619 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 686 | 12 | 13920 | 2000075643
620 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 950 | 4 | 3600 | 2000075796
621 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3427 | 5 | 3000 | 2000075800
622 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 43 | 12 | 17100 | 2000075801
623 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 285 | 12 | 16980 | 2000075802
624 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1545 | 3 | 4200 | 2000026582
625 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1796 | 10 | 19080 | 2000001972
626 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1541 | 7 | 3420 | 2000006488
627 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1330 | 5 | 6240 | 2000001968