## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Nov'16
Period: |  | 1st Oct'16 to 31th Oct'16
Number of Towns: |  | 20
Total nos. of Feeders: |  | 82
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1237 | 6 | 1560 | 2000014960
2 | AMBIKAPUR TOWN | 11 KV Shikari Road | 1645 | 2 | 480 | 2000014953
3 | AMBIKAPUR TOWN | 11 KV DC Road | 1527 | 2 | 1320 | 2000014951
4 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2140 | 5 | 1800 | 2000003855
5 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1245 | 5 | 1560 | 2000003854
6 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 967 | 2 | 660 | 2000003850
7 | AMBIKAPUR TOWN | 11KV GEHRA GURU FEEDER | 415 | 3 | 2700 | 2000003847
8 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1941 | 6 | 2400 | 2000003843
9 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1012 | 1 | 300 | 2000003842
10 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1242 | 10 | 4080 | 2000003840
11 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5987 | 1 | 300 | 2000003197
12 | DALLI RAJHARA TOWN | 11KV TOWN 2 FEEDER | 1438 | 1 | 300 | 2000003198
13 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1532 | 1 | 480 | 2000002569
14 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3702 | 2 | 1140 | 2000002570
15 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 10 | 3 | 6780 | 2000002575
16 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 404 | 1 | 900 | 2000002578
17 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3513 | 5 | 12480 | 2000001303
18 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2430 | 3 | 8580 | 2000001302
19 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1077 | 3 | 8640 | 2000001299
20 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1706 | 5 | 12480 | 2000001295
21 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 3096 | 1 | 1020 | 2000001048
22 | KAWARDHA TOWN | 11KV KODAR (RURAL) FEEDER | 2 | 5 | 9060 | 2000001050
23 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2849 | 1 | 1020 | 2000001055
24 | KORBA TOWN | 11KV RP Nagar Feeder | 687 | 17 | 40620 | 2000016912
25 | KORBA TOWN | 11 KV Rss Nagar Feeder | 1299 | 1 | 480 | 2000016201
26 | KORBA TOWN | 11KV Town-1 Feeder | 725 | 23 | 99240 | 2000015220
27 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1159 | 16 | 123060 | 2000006798
28 | KORBA TOWN | 11KV RAMPUR FEEDER | 899 | 6 | 10500 | 2000006791
29 | KORBA TOWN | 11KV PATRAKAR FEEDER | 539 | 17 | 29820 | 2000006790
30 | KORBA TOWN | 11KV P.H ROADFEEDER | 931 | 20 | 37020 | 2000006785
31 | KORBA TOWN | 11KV NIHARIKA FEEDER | 670 | 14 | 30720 | 2000006784
32 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1344 | 25 | 66660 | 2000006783
33 | KORBA TOWN | 11KV KOSABADI FEEDER | 736 | 9 | 29520 | 2000006780
34 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2854 | 24 | 51840 | 2000006778
35 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 214 | 5 | 32220 | 2000006776
36 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 189 | 22 | 21900 | 2000006762
37 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 4948 | 15 | 13020 | 2000003057
38 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 559 | 5 | 9420 | 2000003055
39 | MANENDRAGARH TOWN | 11KV HASDEO FEEDER | 163 | 3 | 15360 | 2000003054
40 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 847 | 1 | 360 | 2000010588
41 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 617 | 1 | 420 | 2000010589
42 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 254 | 3 | 1800 | 2000010592
43 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 934 | 6 | 3780 | 2000010603
44 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 910 | 2 | 2340 | 2000010636
45 | RAIPUR TOWN | 11KV KANCHAN GANGA FEEDER | 623 | 6 | 3780 | 2000010654
46 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3401 | 3 | 3180 | 2000010674
47 | RAIPUR TOWN | 11KV PHASE -4 FEEDER | 358 | 5 | 3480 | 2000010682
48 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 952 | 1 | 960 | 2000010687
49 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 3349 | 2 | 1080 | 2000010711
50 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 2 FEEDER | 359 | 2 | 1080 | 2000010712
51 | RAIPUR TOWN | 11KV SARORA FEEDER | 2163 | 1 | 960 | 2000010720
52 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2276 | 2 | 1140 | 2000010723
53 | RAIPUR TOWN | 11KV Dindayal New Feeder | 284 | 3 | 7980 | 2000017508
54 | RAIPUR TOWN | 11KV M.P.Dhaba (New Feeder) | 498 | 2 | 2280 | 2000017609
55 | RAIPUR TOWN | 11KV Chandadih Feeder | 2 | 24 | 17400 | 2000017623
56 | RAIPUR TOWN | 11KV Son Dongari Feeder | 735 | 3 | 1800 | 2000017962
57 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 3 | 1 | 9900 | 2000019852
58 | RAIPUR TOWN | 11KV Block No 5,6,7,8 Feeder | 5 | 1 | 9900 | 2000019853
59 | RAIPUR TOWN | 11KV Station Road Feeder | 316 | 1 | 6780 | 2000020130
60 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 1570 | 3 | 1080 | 2000001966
61 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2407 | 3 | 1080 | 2000001967
62 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 770 | 2 | 7200 | 2000001968
63 | RAJNANDGAON TOWN | 11 KV KANHARPURI FEEDER | 131 | 2 | 7140 | 2000001969
64 | RAJNANDGAON TOWN | 11KV LAL BAG FEEDER | 2328 | 9 | 32460 | 2000001970
65 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 664 | 11 | 16980 | 2000001972
66 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 193 | 10 | 9120 | 2000001973
67 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2228 | 8 | 14280 | 2000001975
68 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 444 | 3 | 1020 | 2000001976
69 | RAJNANDGAON TOWN | 11 KV HALDI FEEDER | 60 | 11 | 19200 | 2000001964
70 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2056 | 12 | 10080 | 2000001963
71 | RAJNANDGAON TOWN | 11 KV Mothipur Feeder | 1826 | 14 | 18540 | 2000014956
72 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 551 | 9 | 14640 | 2000001962
73 | RAJNANDGAON TOWN | 11 KV GATULA (RURAL) FEEDER | 11 | 12 | 10080 | 2000001961
74 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 21 | 7 | 14220 | 2000001960
75 | RAJNANDGAON TOWN | 11 KV DHABA (RURAL) FEEDER | 47 | 12 | 10200 | 2000001959
76 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 686 | 4 | 1380 | 2000001977
77 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 2798 | 8 | 28560 | 2000006488
78 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 886 | 4 | 1380 | 2000001978
79 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 1894 | 2 | 7200 | 2000001979
80 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 680 | 14 | 33600 | 2000001955
81 | RAJNANDGAON TOWN | 11KV COLLECTORED FEEDER | 1912 | 11 | 34980 | 2000001957
82 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 1998 | 11 | 29640 | 2000001958