## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Dec'19
Period: |  | 1st Nov'19 to 30th Nov'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 203
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 31 | 17 | 22440 | 2000014959
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 289 | 7 | 7980 | 2000003841
3 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 776 | 6 | 7500 | 2000006347
4 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1914 | 6 | 3600 | 2000004869
5 | BILASPUR TOWN | 11KV DHEKA FEEDER | 344 | 13 | 31140 | 2000004877
6 | BILASPUR TOWN | 11KV DHUMA FEEDER | 970 | 2 | 8040 | 2000004878
7 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3407 | 15 | 23640 | 2000004882
8 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1342 | 1 | 420 | 2000004883
9 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2649 | 3 | 3720 | 2000004889
10 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 6 | 3540 | 2000004890
11 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 605 | 3 | 2700 | 2000004892
12 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4483 | 9 | 7440 | 2000004909
13 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 380 | 7 | 6720 | 2000004923
14 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1167 | 1 | 660 | 2000016310
15 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1139 | 6 | 10200 | 2000016311
16 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1178 | 10 | 9540 | 2000016314
17 | BILASPUR TOWN | 11KV SHIVAM CITY | 1643 | 8 | 7680 | 2000017225
18 | BILASPUR TOWN | 11KV MAHAVEER CITY | 310 | 2 | 3840 | 2000017226
19 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 2 | 1680 | 2000017502
20 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2588 | 4 | 2580 | 2000017505
21 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 968 | 3 | 2700 | 2000017776
22 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 26 | 2 | 2460 | 2000017777
23 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 394 | 5 | 3960 | 2000017780
24 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 345 | 5 | 3960 | 2000017781
25 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1100 | 3 | 15660 | 2000018403
26 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2143 | 3 | 5940 | 2000018405
27 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 794 | 5 | 7560 | 2000018761
28 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1969 | 8 | 17880 | 2000018762
29 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 473 | 4 | 6540 | 2000018763
30 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 383 | 1 | 2400 | 2000020488
31 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1282 | 2 | 1800 | 2000020489
32 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1275 | 5 | 10320 | 2000020490
33 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 944 | 2 | 3480 | 2000020582
34 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 426 | 5 | 3120 | 2000022061
35 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 455 | 2 | 1380 | 2000023801
36 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 327 | 2 | 3600 | 2000023802
37 | CHIRMIRI TOWN | 11KV LOHARI | 8 | 5 | 420 | 2000026866
38 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2066 | 3 | 2040 | 2000003196
39 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 442 | 3 | 1740 | 2000015505
40 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 6 | 4860 | 2000002573
41 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1503 | 4 | 5520 | 2000007687
42 | DURG BHILAI CHARODA TOWN | 11KV JANJGIRI FEEDER | 1560 | 4 | 3360 | 2000007722
43 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 653 | 8 | 2160 | 2000007731
44 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 1211 | 2 | 2400 | 2000007739
45 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1315 | 3 | 1980 | 2000007750
46 | DURG BHILAI CHARODA TOWN | 11KV RAMNAGAR FEEDER | 3254 | 3 | 1860 | 2000007752
47 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1964 | 5 | 9480 | 2000007754
48 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1431 | 10 | 7380 | 2000007762
49 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1220 | 8 | 9060 | 2000007776
50 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1069 | 4 | 2460 | 2000007779
51 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 2741 | 1 | 780 | 2000017001
52 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1182 | 5 | 5040 | 2000017055
53 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1078 | 10 | 10080 | 2000017056
54 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 782 | 6 | 3960 | 2000017057
55 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 938 | 4 | 3180 | 2000017058
56 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2109 | 7 | 9060 | 2000017059
57 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 522 | 6 | 15060 | 2000017060
58 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1101 | 5 | 14700 | 2000017061
59 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 590 | 2 | 1080 | 2000017062
60 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2348 | 7 | 12900 | 2000017064
61 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1337 | 8 | 4740 | 2000017065
62 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1192 | 3 | 2100 | 2000017066
63 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 577 | 1 | 300 | 2000017067
64 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2187 | 4 | 2160 | 2000017068
65 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 859 | 7 | 3480 | 2000017069
66 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2006 | 8 | 4980 | 2000017071
67 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2455 | 5 | 94320 | 2000018574
68 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 304 | 1 | 900 | 2000018704
69 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3120 | 12 | 18480 | 2000021263
70 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1115 | 7 | 7080 | 2000021357
71 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 358 | 1 | 780 | 2000025794
72 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 3 | 2340 | 2000027337
73 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1970 | 3 | 21900 | 2000029190
74 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1168 | 3 | 44340 | 2000029191
75 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 689 | 3 | 21660 | 2000029192
76 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1632 | 9 | 28380 | 2000029193
77 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 71 | 3 | 2760 | 2000049820
78 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1382 | 2 | 371340 | 2000067876
79 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3502 | 2 | 371340 | 2000067877
80 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1685 | 2 | 371340 | 2000067878
81 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 12 | 5 | 29220 | 2000068108
82 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3585 | 1 | 300 | 2000004346
83 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2470 | 1 | 300 | 2000004343
84 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2285 | 1 | 360 | 2000004336
85 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1691 | 5 | 12000 | 2000015850
86 | KORBA TOWN | 11KV DADAR FEEDER | 591 | 5 | 3300 | 2000006768
87 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 881 | 9 | 13020 | 2000006775
88 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1166 | 10 | 14520 | 2000006798
89 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1844 | 5 | 3180 | 2000016201
90 | KORBA TOWN | 11KV OM SAI APPARTMENT | 222 | 1 | 8400 | 2000017791
91 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 584 | 10 | 18060 | 2000017804
92 | KORBA TOWN | 11KV MUDAPAR FEEDER | 989 | 11 | 9960 | 2000020065
93 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1075 | 13 | 14940 | 2000020122
94 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1791 | 2 | 7860 | 2000001427
95 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 774 | 4 | 21000 | 2000001426
96 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 903 | 7 | 7680 | 2000068276
97 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1845 | 27 | 45300 | 2000055675
98 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 141 | 19 | 19740 | 2000015467
99 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2092 | 2 | 6720 | 2000006458
100 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 105 | 21 | 29580 | 2000002458
101 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1117 | 11 | 11160 | 2000016055
102 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 106 | 9 | 8340 | 2000016056
103 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 614 | 10 | 8700 | 2000016057
104 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 550 | 5 | 5640 | 2000016184
105 | RAIGARH TOWN | 11KV STADIUM FEEDER | 672 | 14 | 32640 | 2000022941
106 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 516 | 2 | 5340 | 2000010626
107 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2645 | 2 | 2040 | 2000010631
108 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2274 | 3 | 3300 | 2000010632
109 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEED | 1767 | 1 | 840 | 2000010634
110 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 774 | 3 | 1380 | 2000010651
111 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2199 | 1 | 2400 | 2000010652
112 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 62 | 1 | 1620 | 2000010660
113 | RAIPUR TOWN | 11KV LALBAG FEEDER | 930 | 2 | 1560 | 2000010665
114 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3331 | 3 | 6660 | 2000010702
115 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2533 | 1 | 3480 | 2000010709
116 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 968 | 7 | 74460 | 2000010712
117 | RAIPUR TOWN | 11KV SECTOR -5 | 754 | 2 | 2640 | 2000010721
118 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2512 | 3 | 3720 | 2000017567
119 | RAIPUR TOWN | 11KV WHITE HOUSE | 797 | 3 | 3600 | 2000017568
120 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 605 | 2 | 1560 | 2000017569
121 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 706 | 2 | 2160 | 2000017590
122 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1552 | 1 | 300 | 2000017597
123 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1773 | 1 | 1620 | 2000017608
124 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 787 | 3 | 3720 | 2000017609
125 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 1 | 900 | 2000017613
126 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 803 | 7 | 5640 | 2000017671
127 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1724 | 2 | 15060 | 2000017690
128 | RAIPUR TOWN | 11KV ROMAN SQUARE | 579 | 1 | 840 | 2000017691
129 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 175 | 1 | 900 | 2000017692
130 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 792 | 6 | 19080 | 2000017721
131 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1073 | 1 | 360 | 2000017755
132 | RAIPUR TOWN | 11KV MOTHER TERESA | 818 | 1 | 360 | 2000017756
133 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 512 | 3 | 7680 | 2000017757
134 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1164 | 1 | 1440 | 2000017768
135 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1145 | 11 | 24000 | 2000017771
136 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1426 | 10 | 5940 | 2000017772
137 | RAIPUR TOWN | 11KV PURANI BASTI | 719 | 2 | 2580 | 2000017817
138 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1158 | 11 | 160740 | 2000017867
139 | RAIPUR TOWN | 11KV GANESH MANDIR | 228 | 2 | 27180 | 2000017869
140 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1399 | 1 | 360 | 2000017870
141 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 1 | 300 | 2000017871
142 | RAIPUR TOWN | 11KV NAVEEN MARKET | 881 | 1 | 360 | 2000017953
143 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2711 | 1 | 360 | 2000017954
144 | RAIPUR TOWN | 11KV MG ROAD | 1621 | 1 | 300 | 2000017955
145 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 337 | 1 | 360 | 2000018004
146 | RAIPUR TOWN | 11KV SADDU FEEDER | 302 | 3 | 4740 | 2000018005
147 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1439 | 3 | 3660 | 2000018006
148 | RAIPUR TOWN | 11KV MANDI | 646 | 1 | 1440 | 2000018020
149 | RAIPUR TOWN | 11KV VARUN FEEDER | 1121 | 8 | 42240 | 2000019179
150 | RAIPUR TOWN | 11KV HEERA FEEDER | 3015 | 2 | 22080 | 2000019180
151 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 636 | 5 | 10380 | 2000019181
152 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1590 | 9 | 5100 | 2000019184
153 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2949 | 2 | 660 | 2000019334
154 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 453 | 1 | 960 | 2000019340
155 | RAIPUR TOWN | 11KV PS CITY | 1285 | 3 | 2760 | 2000019530
156 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 720 | 2 | 4080 | 2000019697
157 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 132 | 4 | 9480 | 2000019851
158 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 168 | 2 | 780 | 2000019852
159 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1797 | 4 | 4140 | 2000019857
160 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1538 | 4 | 4080 | 2000019858
161 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 1 | 420 | 2000020123
162 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 16 | 1 | 540 | 2000020130
163 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 174 | 5 | 35100 | 2000020131
164 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3503 | 4 | 8580 | 2000020153
165 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 755 | 3 | 4140 | 2000021286
166 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1381 | 1 | 420 | 2000021287
167 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 1 | 1800 | 2000021615
168 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1377 | 1 | 780 | 2000022077
169 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 814 | 1 | 780 | 2000022078
170 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1360 | 1 | 780 | 2000022079
171 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1416 | 2 | 1380 | 2000023680
172 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1560 | 3 | 1080 | 2000023735
173 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1636 | 4 | 4500 | 2000023772
174 | RAIPUR TOWN | 11KV SBI FEEDER | 1309 | 3 | 1320 | 2000023790
175 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1114 | 1 | 480 | 2000024395
176 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2318 | 5 | 2520 | 2000026575
177 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 624 | 4 | 1440 | 2000026585
178 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 276 | 4 | 1620 | 2000026586
179 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 331 | 1 | 480 | 2000029194
180 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 138 | 5 | 5400 | 2000029195
181 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 743 | 6 | 3960 | 2000034422
182 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 743 | 4 | 3780 | 2000034423
183 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2564 | 3 | 1080 | 2000034760
184 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 337 | 3 | 1020 | 2000034761
185 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1723 | 4 | 1920 | 2000034762
186 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 897 | 1 | 840 | 2000046477
187 | RAIPUR TOWN | 11KV C&F FEEDER | 24 | 3 | 2460 | 2000070702
188 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 3 | 2460 | 2000070703
189 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1022 | 5 | 3900 | 2000070747
190 | RAIPUR TOWN | 11KV KARA FEEDER | 400 | 11 | 15360 | 2000071634
191 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 548 | 5 | 1980 | 2000001977
192 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 835 | 7 | 9300 | 2000001959
193 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3323 | 4 | 2640 | 2000001956
194 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 639 | 5 | 1980 | 2000001976
195 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2351 | 4 | 2940 | 2000001975
196 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 233 | 4 | 17880 | 2000001973
197 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1714 | 6 | 3840 | 2000001972
198 | RAJNANDGAON TOWN | 11KV MOTHIPUR FEEDER | 2742 | 3 | 1200 | 2000014956
199 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2107 | 4 | 59460 | 2000015449
200 | RAJNANDGAON TOWN | 11KV INDHAMARA(RURAL)FEEDER | 939 | 11 | 13620 | 2000001965
201 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2364 | 9 | 12840 | 2000001962
202 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2075 | 2 | 960 | 2000069535
203 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1792 | 7 | 9120 | 2000069844