## 11kv industrail feeder sep
S.No | NAME OF DC | NAME OF 33/11 KV S/s WHICH FEEDER IS EMANATING | RAPDRP/NON-RAPDRP | NAME OF 11KV IND. FEEDER | BP NO OF 11KV FEEDER | NO OF INTERRUPTION | DURATION IN MIN | INDUSTRIAL AREA COVERED | METER NO | MODEM INSTALLED/NOT INSTALLED
1 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 11 KV Timber Market | 2000027479 | 1 | 390 | Ind. Area Ring Road | EM082351 | INSTALLED
2 | AKALTARA | 33/11 KV S/s Taroud | NON RAPDRP | 11KV Indr. I | 2000024953 | 5 | 195 | Indr.+ Mixload | EM080325 | INSTALLED
3 | Baloda Bazar | 33/11 KV Semariya S/s | NON RAPDRP | 11 KV Semariya Industrial Feeder | 2000067111 | 5 | 540 | Semariya& Khokhali | S1005834 | INSTALLED
4 | URLA | 33/11 KV Sarora S/s | NON RAPDRP | 11 KV Gondwara | 2000027473 | 8 | 540 | Sarora Basti + Ind. Area Gondwara | CSP09849 | INSTALLED
5 | BAGHERA | 33/11 KV Rasmada (Borai) S/s | NON RAPDRP | 11 KV Rasmada Indr. | 2000022610 | 10 | 1455 | Rasmada (Borai) | EM081363 | INSTALLED
6 | BAGHERA | 33/11 KV Rasmada (Borai) S/s | NON RAPDRP | 11 KV BSNL Indr. | 2000022611 | 14 | 1605 | Rasmada (Borai) | EM081361 | INSTALLED
7 | FINGESHWAR | 33/11 KV Basin S/s | NON RAPDRP | Bhasera Feeder | 2000023498 | 14 | 1890 | Bhasera, | S1005935 | INSTALLED
8 | TIFRA | 33/11 kv Tifra S/s | NON RAPDRP | 11 KV Industrial -1Tifra | 2000026220 | 15 | 21150 | Industrial area tifra | CSE37911 | INSTALLED
9 | TIFRA | 33/11 kv Transport Nagar S/s | NON RAPDRP | 11 KVSector -C | 2000026234 | 15 | 780 | Sector - C Sirgitti | EM080433 | INSTALLED
10 | FINGESHWAR | 33/11 KV Basin S/s | NON RAPDRP | Basin Feeder | 2000023496 | 17 | 870 | Basin & Barbhatha | S1005937 | INSTALLED
11 | BHANPURI | 33/11KV Transport Nagar S/s | RAPDRP | 11 KV Akash | 2000027484 | 18 | 25110 | Ind. Area Rawabhata | CSE38311 | INSTALLED
12 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 11 KV 9 Block (old) | 2000027476 | 19 | 26790 | Ind. Area Bhanpuri | CSE03781 | INSTALLED
13 | BHANPURI | 33/11 KV Gaji Nagar S/s | NON RAPDRP | 11 KV Shahid Nagar | 2000027486 | 19 | 27270 | Ind. Area Birgaon | CSE18298 | INSTALLED
14 | URLA | 33/11 KV Sarora S/s | NON RAPDRP | 11 KV Sarora | 2000027471 | 19 | 27075 | Towards new Sarora | CSE39909 | INSTALLED
15 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 11 KV MPSRTC | 2000027474 | 20 | 28800 | Ind. Area Bhanpuri | CSE03787 | INSTALLED
16 | BHANPURI | 33/11KV Transport Nagar S/s | RAPDRP | 11 KV Banjari | 2000027483 | 20 | 27210 | Ind. Area Metal Park+Rawabhata Basti | CSE38310 | INSTALLED
17 | BHANPURI | 33/11 KV Gaji Nagar S/s | NON RAPDRP | 11 KV Umiya Market | 2000027489 | 20 | 27390 | Ind. Area Umiya Market | CSE38348 | INSTALLED
18 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 11 KV Jutemill | 2000027478 | 20 | 27105 | Ind. Area Urkura | CSE39956 | INSTALLED
19 | BHANPURI | 33/11 KV Gaji Nagar S/s | NON RAPDRP | 11 KV Sardar Patel | 2000027488 | 21 | 28830 | Ind.area Umiya market + birgaon | CSE18555 | INSTALLED
20 | TOKAPAL | 33/11 KV Tokapal S/s | NON RAPDRP | 11 KV Darbha | 2000024521 | 28 | 2025 | Darbha | S1003937 | INSTALLED
21 | URLA | 33/11 KV Urla S/s | NON RAPDRP | 11KV GONDWARA (BALAJI) | 2000038042 | 29 | 41760 | Ind. Area Urla | CSE03433 | INSTALLED
22 | URLA | 33/11 KV Urla S/s | NON RAPDRP | 11 KV Perfect | 2000038045 | 29 | 40890 | Ind. Area Urla | CSE03776 | INSTALLED
23 | URLA | 33/11 KV Urla S/s | NON RAPDRP | 11 KV Banshi | 2000038043 | 29 | 41760 | Towards new Sarora | CSE03827 | INSTALLED
24 | URLA | 33/11 KV Urla S/s | NON RAPDRP | 11 KV M.P. Metal | 2000038044 | 29 | 40890 | Ind. Area Urla | CSE10244 | INSTALLED
25 | SUHELA | 33/11 KV Suhela S/s | NON RAPDRP | 11 KV Suhela rural Feeder | 2000023445 | 30 | 1710 | Suhela | EM081641 | INSTALLED
26 | RAIGARH | 33/11KV Baramkela S/s | NON RAPDRP | 11 KV Baramkela | 2000025274 | 32 | 1830 | Industrial Area Baramkela | S1003263 | INSTALLED
27 | FINGESHWAR | 33/11 KV Basin S/s | NON RAPDRP | CG Black Stone Feeder | 2000023501 | 54 | 3330 | Basin | EM080978 | INSTALLED
28 | ABHANPUR | 33/11 KV Bhelwadih S/s | NON RAPDRP | Pushkarji Builder Feeder | 2000023483 | NOT AVAILABLE | NOT AVAILABLE | kurru | EM081143 | INSTALLED
29 | ADBHAR | 33/11 KV S/s Taroud | NON RAPDRP | 11KV Indr. II | 2000024934 | NOT AVAILABLE | NOT AVAILABLE | Indr.+ Mixload | EM080589 | NOT INSTALLED
30 | AMASEONI | 33/11 KV Dhansuli S/s | NON RAPDRP | 11 KV Dhansuli Ind. | 2000023274 | NOT AVAILABLE | NOT AVAILABLE | Dhansuli Crusher, Nardaha | S1002919 | INSTALLED
31 | AMBIKAPUR | 33/11KV Bario S/s | NON RAPDRP | 11 KV Dhourpur |  | NOT AVAILABLE | NOT AVAILABLE | Stone crusher of various villages of Ambikapur & Balrampur Dn. | CSP10033 | NOT INSTALLED
32 | AMBIKAPUR | 33/11KV Ambikapur Ind. Area S/s | NON RAPDRP | 11 KV Industrial Feeder | 2000026986 | NOT AVAILABLE | NOT AVAILABLE | City Ambikapur | CSP10033 | NOT INSTALLED
33 | BAGHERA | 33/11 KV Rasmada (Borai) S/s | NON RAPDRP | 11 KV Papusha Indr. | 2000022609 | NOT AVAILABLE | NOT AVAILABLE | Rasmada (Borai) | EM081365 | INSTALLED
34 | BASTAR | 33/11 KV Balenga S/s | NON RAPDRP | 11 KV Balenga (T) | 2000055563 | NOT AVAILABLE | NOT AVAILABLE | Balenga | S1003926 | INSTALLED
35 | BHANPURI | 33/11 S/s KV Bhanpuri | NON RAPDRP | 11 KV Sonarpal | 2000024516 | NOT AVAILABLE | NOT AVAILABLE | Sonarpal | CSE03679 | INSTALLED
36 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 1 KV 9 Bllock ( New) | 2000027477 | NOT AVAILABLE | NOT AVAILABLE | Ind. Area Bhanpuri | CSE10226 | NOT INSTALLED
37 | BHANPURI | 33/11 KV Bhanpuri S/s | NON RAPDRP | 11 KV Dhanlaxmi Ind. | 2000027481 | NOT AVAILABLE | NOT AVAILABLE | Ind. Area Bhanpuri | CSE09611 | NOT INSTALLED
38 | BHATAPARA | 33/11 KV Sentmarry S/s | NON RAPDRP | 11 KV Khokhali Industrial Feeder | 2000006378 | NOT AVAILABLE | NOT AVAILABLE | Khokhali | NOT AVAILABLE | NOT INSTALLED
39 | BHATAPARA (II) | 33/11 KV Surajpura S/s | NON RAPDRP | 11 KV Surajpura Industrial Feeder | 2000023411 | NOT AVAILABLE | NOT AVAILABLE | Surajpura | EM081254 | INSTALLED
40 | BILASPUR | 33/11 KV Sirgitti S/s | RAPDRP | 11 KV Industrial Sector- A |  | NOT AVAILABLE | NOT AVAILABLE | Sirgitti Sector- A area | NOT AVAILABLE | INSTALLED
41 | BILASPUR | 33/11 KV Sirgitti S/s | RAPDRP | 11 KV Industrial Sector- B |  | NOT AVAILABLE | NOT AVAILABLE | Sirgitti Sector- B area | NOT AVAILABLE | INSTALLED
42 | CHAMPA | 33/11 KV S/s Kotadhabri | NON RAPDRP | 11KV Cghatholi | 2000001804 | NOT AVAILABLE | NOT AVAILABLE | Indr.+ Mixload | NOT AVAILABLE | NOT INSTALLED
43 | CITY DURG | 33/11KV chawni S/s | RAPDRP | 11 KV Chawani Indr. 02 | 2000007715 | NOT AVAILABLE | NOT AVAILABLE | Light Indr. Area | NOT AVAILABLE | INSTALLED
44 | CITY DURG | 33/11KV chawni S/s | RAPDRP | 11 KV Chawani Indr. 03 | 2000007716 | NOT AVAILABLE | NOT AVAILABLE | Light Indr. Area & Indr. Estate | NOT AVAILABLE | INSTALLED
45 | CITY DURG | 33/11KV chawni S/s | RAPDRP | 11 KV Chawani Indr. 04 | 2000007717 | NOT AVAILABLE | NOT AVAILABLE | Light Indr. Area & Indr. Estate | NOT AVAILABLE | INSTALLED
46 | CITY DURG | 33/11 KV Hathkhoj S/s | RAPDRP | 11 KV Hathkhoj Indr. 01 | 2000017044 | NOT AVAILABLE | NOT AVAILABLE | Heavy Indr. Area | NOT AVAILABLE | INSTALLED
47 | CITY DURG | 33/11 KV Hathkhoj S/s | RAPDRP | 11 KV Hathkhoj Indr. 02 | 2000017045 | NOT AVAILABLE | NOT AVAILABLE | Heavy Indr. Area | NOT AVAILABLE | INSTALLED
48 | CITY DURG | 33/11 KV Hathkhoj S/s | RAPDRP | 11 KV Hathkhoj Indr. 03 | 2000049820 | NOT AVAILABLE | NOT AVAILABLE | Heavy Indr. Area | NOT AVAILABLE | INSTALLED
49 | DHAMTARI | 132/33 KV Chitoud S/s | NON RAPDRP | 11 KV Industrial feeder Dhamtari (T) | 2000002572 | NOT AVAILABLE | NOT AVAILABLE | Dhamtari Zone | NOT AVAILABLE | NOT INSTALLED
50 | JAGDALPUR | 33/11 KV S/s Awantika | NON RAPDRP | 11 KV Industrial-II | 2000004335 | NOT AVAILABLE | NOT AVAILABLE | Jagdalpur - Town | NOT AVAILABLE | NOT INSTALLED
51 | JAGDALPUR | 132/33/11 KV Jagdalpur S/s | RAPDRP | 11 KV Industrial | 2000004336 | NOT AVAILABLE | NOT AVAILABLE | Outerside of Jagdalpur (T) | NOT AVAILABLE | INSTALLED
52 | KATGHORA | 33/11 KV S/s Katghora | NON RAPDRP | 11 KV Katghora town-II | 2000025958 | NOT AVAILABLE | NOT AVAILABLE | Katghora Industrial Area | EM082644 | INSTALLED
53 | KORBA | 33/11 KV Industrial Substation S/s | NON RAPDRP | 11 KV Industrial feeder | 2000006776 | NOT AVAILABLE | NOT AVAILABLE | Industrial Area Korba | NOT AVAILABLE | NOT INSTALLED
54 | LOHANDIGUDA | 33/11 KV Takraguda S/s | NON RAPDRP | 11 KV Chitrakote | 2000024492 | NOT AVAILABLE | NOT AVAILABLE | Chitrakote & Takraguda | CSE03658 | NOT INSTALLED
55 | MAHASAMUND | 33/11 KV Birkoni S/s | NON RAPDRP | 11 KV Birkoni feeder |  | NOT AVAILABLE | NOT AVAILABLE |  | NOT AVAILABLE | NOT INSTALLED
56 | PENDRA -ROAD (R) | 33/11 KV Anjani S/s | NON RAPDRP | 11 KV Industrial Anjani | 2000026211 | NOT AVAILABLE | NOT AVAILABLE | Industrial area Anjani | S1003321 | NOT INSTALLED
57 | RAIGARH | 33/11 kv Salheona S/s | NON RAPDRP | 11 KV Salheona | 2000025327 | NOT AVAILABLE | NOT AVAILABLE | Industrial Area Salheona | S1005585 | INSTALLED
58 | RAIGARH | 33/11 kv Saria S/s | NON RAPDRP | 11 KV Saria | 2000025329 | NOT AVAILABLE | NOT AVAILABLE | Industrial Area Saria | G1076242 | INSTALLED
59 | RAJNANDGAON | 33/11 KV Rewadih S/s | NON RAPDRP | 11 KV Mamta Nagar | 2000001972 | NOT AVAILABLE | NOT AVAILABLE | East & west zone | NOT AVAILABLE | NOT INSTALLED
60 | RAJNANDGAON | 33/11 KV BORI S/s | NON RAPDRP | 11 KVIndustrial | 2000066608 | NOT AVAILABLE | NOT AVAILABLE | Rajnadgaon zone | S1005414 | INSTALLED
61 | SEONI | 33/11 KV S/s Birgahni | NON RAPDRP | 11KV crusher | 2000024826 | NOT AVAILABLE | NOT AVAILABLE | Crusher Indr. | 8008377 | NOT INSTALLED
62 | SILTARA | 33/11 KV Siltara S/s | NON RAPDRP | 11KV Phase -II | 2000060236 | NOT AVAILABLE | NOT AVAILABLE | 70% load on. Ind. Consumer | NOT AVAILABLE | NOT INSTALLED
63 | SUHELA | 33/11 KV Basin S/s Jaroud | NON RAPDRP | 11 KV Jaroud Industrial Feeder | 2000023440 | NOT AVAILABLE | NOT AVAILABLE | Khokhali | EM081503 | NOT INSTALLED
64 | URLA | 33/11 KV Sarora S/s | NON RAPDRP | 11 KV Krishna | 2000027472 | NOT AVAILABLE | NOT AVAILABLE | Ind. Area Sarora | CSP10107 | INSTALLED
65 | URLA | 33/11 KV GP Ispat S/s | NON RAPDRP | 11 KV Om feeder | 2000037339 | NOT AVAILABLE | NOT AVAILABLE | Ind. Area Sector-A | EM080939 | NOT INSTALLED
66 | URLA | 33/11 KV GP Ispat S/s | NON RAPDRP | 11 Metal Park | 2000038040 | NOT AVAILABLE | NOT AVAILABLE | Ind. Area Metal Park | CSE39858 | NOT INSTALLED