## Meter
Feeder Meter Commnuication Status Report
NAME OF DISCOM : CSPDCL
Date : 31/03/2017
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 22 | 22 | 20
2 | BHATAPARA TOWN | 17 | 17 | 13
3 | BILASPUR TOWN | 107 | 107 | 38
4 | CHAMPA TOWN | 16 | 16 | 0
5 | CHIRMIRI TOWN | 1 | 1 | 0
6 | DALLI RAJHARA TOWN | 6 | 6 | 5
7 | DHAMTARI TOWN | 16 | 16 | 12
8 | DONGARGARH TOWN | 9 | 9 | 5
9 | DURG BHILAI CHARODA TOWN | 144 | 144 | 98
10 | JAGDALPUR TOWN | 26 | 26 | 21
11 | KANKER TOWN | 7 | 7 | 5
12 | KAWARDHA TOWN | 12 | 12 | 9
13 | KORBA TOWN | 59 | 59 | 26
14 | MAHASAMUND TOWN | 8 | 8 | 7
15 | MANENDRAGARH TOWN | 4 | 4 | 0
16 | MUNGELI TOWN | 7 | 7 | 3
17 | NAILA-JANJGIR TOWN | 18 | 18 | 0
18 | RAIGARH TOWN | 49 | 49 | 14
19 | RAIPUR TOWN | 299 | 299 | 172
20 | RAJNANDGAON TOWN | 34 | 34 | 23
Total |  | 861 | 861 | 471

## Sheet1
Name of Town
AMBIKAPUR TOWN
BHATAPARA TOWN
BILASPUR TOWN
DALLI RAJHARA TOWN
DHAMTARI TOWN
DONGARGARH TOWN
DURG BHILAI CHARODA TOWN
JAGDALPUR TOWN
KANKER TOWN
MAHASAMUND TOWN
MUNGELI TOWN
RAIGARH TOWN
RAIPUR TOWN
RAJNANDGAON TOWN