## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….May'22
Input Energy Period: ……..Mar'21 to Feb'22
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 12 | 11KV HATARI BAZAR 11KV FEEDER | 81.06 | 58.62 | 52.48 | 11KV REST HOUSE FEDEER | 36.68 | 62.52 | 77.07
2 | KAWARDHA TOWN | 10 | 11KV VIP FEEDER | 56.12 | 28.01 | 84.28
3 | MAHASAMUND TOWN | 11 | 11KV TRIMURTI FEEDER | 14.63 | 51.1 | 92.52
4 | KANKER TOWN | 5 | 11KV COLLECTORATE FEEDER | 93.78 | 47.52 | 55.44
5 | RAJNANDGAON TOWN | 37 | 11KV BASANTPUR FEEDER | 41.72 | 59 | 75.39 | 11KV DHABA(RURAL)FEEDER | 17.19 | 53.86 | 90.74 | 11KV MOHARAFEEDER | 75.83 | 78.35 | 40.59
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 65.49 | 43.92 | 71.24
7 | MUNGELI TOWN | 8 | 11KV COLECTER FEEDER | 82.2 | 53.34 | 56.15
8 | CHAMPA TOWN | 11 | 11KV TOWN-1 FEEDER | 74.51 | 45.54 | 66.07
9 | DHAMTARI TOWN | 15 | 11KV CHITOD 2 FEEDER | 42.22 | 57.39 | 75.77 | 11KV BHATGAON FEEDER | 40.35 | 71.56 | 71.13
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 29.92 | 24.26 | 92.74
11 | MANENDRAGARH TOWN | 4 | 11KV KELHARI FEEDER | 30.71 | 40.64 | 87.52
12 | DALLI RAJHARA TOWN | 4 | 11KV MOHALLA FEEDER | 91.15 | 45.68 | 58.36
13 | AMBIKAPUR TOWN | 30 | 11KV FILTERPLANT FEEDER | 100 | 45.16 | 54.84 | 11KV KHAIRBAR | 77.73 | 2.14 | 98.34 | 11KV SHIKARIROAD | 70.52 | 44.35 | 68.72
14 | JAGDALPUR TOWN | 24 | 11KV TOWN-1 FEEDER | 43.62 | 73.4 | 67.98 | 11KV KANGOLI FEEDER | 40.71 | 73.25 | 70.18 | 11KV HOUSING BOARD FEEDER | 30.91 | 85.99 | 73.42
15 | KORBA TOWN | 67 | 11KV DADAR FEEDER | 73.12 | 22.4 | 83.62 | 11KV PARSABADA FEEDER | 25.36 | 28.29 | 92.83 | 11KV BUDHWARI FEEDER | 23.24 | 42.21 | 90.19 | 11KV IRRIGATION COLONY1 | 32.07 | 21.05 | 93.25 | 11KV KOTWALI | 47.58 | 18.76 | 91.07
16 | NAILA JANJGIR TOWN | 20 | 11KV TOWN-2 FEEDER | 100 | 77.94 | 22.06 | 11KV NAHARIYA BABA FEEDER | 30.21 | 48.78 | 85.26
17 | DURG BHILAI CHARODA TOWN | 165 | 11KV BALAJI NAGAR FEEDER | 63.54 | 45.73 | 70.94 | 11KV RUWABANDHA FEEDER | 72.26 | 73.27 | 47.06 | 11KV ITI FEEDER | 56.59 | 53.83 | 69.54 | 11KV SARASWATI KUNJ FEEDER | 10.88 | 76.68 | 91.66 | 11KV NEW KHURSIPAR FEEDER | 46.31 | 49.97 | 76.86
18 | BILASPUR TOWN | 108 | 11KV DHEKA FEEDER | 64.94 | 50.94 | 66.92 | 11KV DOMUHANI FEEDER | 69.05 | 12.84 | 91.13 | 11KV IMLIBHATA FEEDER | 96.42 | 20.3 | 80.43 | 11KV NEW MOPKA | 87.29 | 45.19 | 60.55 | 11KV BHAWANI NAGAR FEEDER | 37.7 | 48.49 | 81.72
19 | RAIGARH TOWN | 55 | 11KV GADMORIYA FEEDER | 49.25 | 27.37 | 86.52 | 11KV COLLECTRED FEEDER | 81.61 | 47.78 | 61.01 | 11KV RAJIV NAGAR FEEDER | 39.99 | 25.55 | 89.78 | 11KV KRISHNA NAGAR FEEDER | 37.16 | 75.78 | 71.84 | 11KV PARK AVENUE | 27.66 | 60.79 | 83.19
20 | RAIPUR TOWN | 327 | 11KV KK ROAD FEEDER | 57.77 | 71.03 | 58.97 | 11KV MANAVADHIKAR FEEDER | 33.18 | 100 | 66.82 | 11KV VIJAY LAXMI FEEDER | 53.71 | 81.06 | 56.46 | 11KV VRINDAVAN GARDEN FEEDER | 56.22 | 69.71 | 60.81 | 11KV GOAL BAZAR FEEDER | 68.78 | 67.77 | 53.39