## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 31/05/2020
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 30 | 30 | 30
2 | BHATAPARA TOWN | 19 | 19 | 18
3 | BILASPUR TOWN | 99 | 99 | 96
4 | CHAMPA TOWN | 13 | 13 | 11
5 | CHIRMIRI TOWN | 3 | 3 | 3
6 | DALLI RAJHARA TOWN | 7 | 7 | 7
7 | DHAMTARI TOWN | 17 | 17 | 16
8 | DONGARGARH TOWN | 9 | 9 | 9
9 | DURG BHILAI CHARODA TOWN | 164 | 164 | 159
10 | JAGDALPUR TOWN | 27 | 27 | 27
11 | KANKER TOWN | 7 | 7 | 7
12 | KAWARDHA TOWN | 12 | 12 | 6
13 | KORBA TOWN | 67 | 67 | 64
14 | MAHASAMUND TOWN | 12 | 12 | 12
15 | MANENDRAGARH TOWN | 6 | 6 | 3
16 | MUNGELI TOWN | 9 | 9 | 9
17 | NAILA JANJGIR TOWN | 18 | 18 | 17
18 | RAIGARH TOWN | 54 | 54 | 53
19 | RAIPUR TOWN | 320 | 320 | 316
20 | RAJNANDGAON TOWN | 36 | 36 | 36
Total |  | 929 | 929 | 899