## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Dec'18
Period: |  | 1st Nov18 to 30th Nov'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 418
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1223 | 12 | 23220 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 219 | 11 | 4140 | 2000003841
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 201 | 16 | 19140 | 2000003845
4 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2499 | 11 | 5100 | 2000003848
5 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1217 | 14 | 22200 | 2000003854
6 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 728 | 14 | 19080 | 2000006627
7 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1485 | 17 | 28500 | 2000014951
8 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 133 | 16 | 18780 | 2000015334
9 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 27 | 39480 | 2000014959
10 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1199 | 11 | 11160 | 2000014960
11 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 333 | 12 | 11160 | 2000014961
12 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1477 | 16 | 17160 | 2000004868
13 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1592 | 24 | 28620 | 2000004871
14 | BILASPUR TOWN | 11KV DHEKA FEEDER | 275 | 7 | 11400 | 2000004877
15 | BILASPUR TOWN | 11KV DHUMA FEEDER | 676 | 17 | 17520 | 2000004878
16 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 437 | 12 | 26580 | 2000004879
17 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2792 | 17 | 19860 | 2000004882
18 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1272 | 9 | 11640 | 2000004883
19 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1679 | 6 | 3360 | 2000004884
20 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1965 | 9 | 5340 | 2000004888
21 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2535 | 10 | 7860 | 2000004889
22 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 9 | 5580 | 2000004891
23 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 583 | 6 | 6300 | 2000004892
24 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2704 | 9 | 26700 | 2000004893
25 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2070 | 14 | 10260 | 2000004896
26 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 14 | 14160 | 2000004897
27 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 847 | 38 | 52980 | 2000004898
28 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1104 | 7 | 14100 | 2000004900
29 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 11 | 13380 | 2000004901
30 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 6 | 4500 | 2000004903
31 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2306 | 7 | 4260 | 2000004904
32 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 741 | 5 | 3480 | 2000004908
33 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1073 | 23 | 36540 | 2000004911
34 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1559 | 3 | 3780 | 2000004912
35 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1798 | 8 | 7980 | 2000004913
36 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2357 | 4 | 7260 | 2000004914
37 | BILASPUR TOWN | 11KV RULER FEEDER | 1536 | 6 | 8100 | 2000004916
38 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2025 | 10 | 11460 | 2000004917
39 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1337 | 4 | 7260 | 2000004919
40 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 18 | 4740 | 2000004923
41 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3825 | 4 | 5340 | 2000004926
42 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 717 | 14 | 11700 | 2000016310
43 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 757 | 9 | 4020 | 2000016311
44 | BILASPUR TOWN | 11 KV NEW MOPKA | 833 | 12 | 8760 | 2000017224
45 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1240 | 13 | 16320 | 2000017225
46 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 209 | 11 | 6660 | 2000017226
47 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 168 | 8 | 8580 | 2000017505
48 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 314 | 17 | 6600 | 2000017780
49 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 17 | 5940 | 2000017781
50 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1002 | 13 | 5220 | 2000018403
51 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 773 | 17 | 11280 | 2000018761
52 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 433 | 17 | 10740 | 2000018763
53 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 380 | 12 | 8640 | 2000020488
54 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1209 | 17 | 258360 | 2000020489
55 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1111 | 3 | 1560 | 2000020490
56 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 922 | 13 | 9420 | 2000020582
57 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 974 | 1 | 420 | 2000020583
58 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 337 | 10 | 11760 | 2000023801
59 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 274 | 3 | 3600 | 2000023802
60 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3184 | 5 | 10500 | 2000001004
61 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 359 | 11 | 13920 | 2000022031
62 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 1096 | 4 | 2520 | 2000001005
63 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 681 | 17 | 20160 | 2000001006
64 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1135 | 25 | 40140 | 2000001008
65 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 503 | 16 | 12840 | 2000001011
66 | BHATAPARA TOWN | 11KV COLONY FEEDER | 32 | 10 | 2520 | 2000004255
67 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 632 | 8 | 10380 | 2000006347
68 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1420 | 7 | 3960 | 2000006376
69 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 399 | 4 | 1080 | 2000006377
70 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1853 | 9 | 2940 | 2000001012
71 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 257 | 11 | 4920 | 2000001013
72 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 23 | 11700 | 2000003195
73 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1998 | 9 | 33780 | 2000003196
74 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5558 | 32 | 24240 | 2000003197
75 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 21 | 10680 | 2000002566
76 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1340 | 11 | 1380 | 2000002569
77 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3931 | 13 | 4440 | 2000002570
78 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 3 | 8940 | 2000002573
79 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 998 | 19 | 12540 | 2000002574
80 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1026 | 18 | 10620 | 2000002576
81 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3183 | 24 | 27960 | 2000002578
82 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2543 | 21 | 19140 | 2000002579
83 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 734 | 21 | 19620 | 2000001298
84 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1674 | 6 | 2220 | 2000001295
85 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1079 | 10 | 1260 | 2000001299
86 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 947 | 7 | 1920 | 2000001301
87 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2428 | 11 | 1860 | 2000001302
88 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3460 | 4 | 840 | 2000001303
89 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 708 | 4 | 1620 | 2000007685
90 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2192 | 5 | 1680 | 2000007686
91 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 664 | 11 | 32640 | 2000007687
92 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 4 | 660 | 2000007688
93 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1038 | 12 | 49200 | 2000007689
94 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1762 | 5 | 3300 | 2000007694
95 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3320 | 4 | 660 | 2000007696
96 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 855 | 4 | 6780 | 2000007697
97 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2880 | 5 | 24240 | 2000007701
98 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 985 | 6 | 13560 | 2000007702
99 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1007 | 4 | 1440 | 2000007703
100 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3945 | 9 | 25500 | 2000007705
101 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 960 | 8 | 18000 | 2000007708
102 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1547 | 5 | 1620 | 2000007709
103 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 816 | 3 | 600 | 2000007711
104 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 6 | 5820 | 2000007712
105 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 617 | 4 | 960 | 2000007713
106 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1324 | 9 | 37500 | 2000007714
107 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 975 | 13 | 26640 | 2000007715
108 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 15 | 8100 | 2000007716
109 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1446 | 14 | 4620 | 2000007718
110 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1836 | 2 | 2940 | 2000007719
111 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 825 | 5 | 11940 | 2000007720
112 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3239 | 3 | 16020 | 2000007721
113 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1877 | 20 | 25740 | 2000007723
114 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1148 | 24 | 45120 | 2000007728
115 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 610 | 4 | 120 | 2000007729
116 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 496 | 7 | 31680 | 2000007731
117 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 528 | 6 | 5820 | 2000007733
118 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 455 | 10 | 3240 | 2000007735
119 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1240 | 13 | 12420 | 2000007738
120 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 742 | 5 | 3540 | 2000007739
121 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 856 | 4 | 960 | 2000007740
122 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1484 | 5 | 1920 | 2000007741
123 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1149 | 14 | 4260 | 2000007743
124 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1084 | 8 | 960 | 2000007744
125 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 466 | 19 | 52620 | 2000007747
126 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1079 | 6 | 1440 | 2000007748
127 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 509 | 6 | 1800 | 2000007749
128 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 5 | 2820 | 2000007751
129 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3165 | 5 | 17820 | 2000007752
130 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1804 | 5 | 2340 | 2000007754
131 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 247 | 9 | 3360 | 2000007755
132 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2869 | 13 | 6720 | 2000007756
133 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1484 | 1 | 1260 | 2000007757
134 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1110 | 9 | 4140 | 2000007758
135 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3031 | 9 | 1800 | 2000007759
136 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2522 | 4 | 7200 | 2000007760
137 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1279 | 21 | 27480 | 2000007762
138 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 1 | 120 | 2000007763
139 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 308 | 1 | 120 | 2000007764
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 1 | 120 | 2000007765
141 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2196 | 4 | 3360 | 2000007769
142 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1794 | 3 | 840 | 2000007770
143 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1188 | 13 | 31020 | 2000007771
144 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1221 | 21 | 12960 | 2000007773
145 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1296 | 10 | 4260 | 2000007776
146 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1233 | 10 | 1080 | 2000007777
147 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 367 | 10 | 3060 | 2000007778
148 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 796 | 19 | 23640 | 2000007779
149 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1297 | 2 | 660 | 2000007780
150 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1789 | 12 | 19320 | 2000007781
151 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1489 | 8 | 2520 | 2000007782
152 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2597 | 7 | 2460 | 2000016998
153 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1530 | 12 | 13800 | 2000017001
154 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 459 | 5 | 1500 | 2000017044
155 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 5 | 2220 | 2000017045
156 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2056 | 1 | 26700 | 2000017052
157 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1203 | 12 | 56220 | 2000017054
158 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 949 | 21 | 28020 | 2000017055
159 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 935 | 4 | 4680 | 2000017056
160 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 443 | 5 | 5280 | 2000017057
161 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1005 | 3 | 300 | 2000017058
162 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1738 | 6 | 1560 | 2000017059
163 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 908 | 2 | 10320 | 2000017061
164 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 573 | 4 | 1800 | 2000017062
165 | DURG BHILAI CHARODA TOWN | 11KV BORSI FEEDER | 1647 | 3 | 6840 | 2000017064
166 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1052 | 34 | 9840 | 2000017065
167 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1075 | 5 | 1740 | 2000017066
168 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 416 | 6 | 1740 | 2000017069
169 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1067 | 35 | 9660 | 2000017071
170 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 336 | 10 | 4560 | 2000017076
171 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 700 | 7 | 8700 | 2000018574
172 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 283 | 10 | 5640 | 2000018704
173 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1307 | 1 | 420 | 2000018705
174 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1725 | 1 | 420 | 2000018706
175 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 2339 | 10 | 11880 | 2000018707
176 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 30 | 6 | 2640 | 2000018987
177 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 221 | 8 | 3480 | 2000019819
178 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 951 | 4 | 1440 | 2000020519
179 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3019 | 2 | 1500 | 2000021263
180 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1181 | 3 | 2940 | 2000021264
181 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2174 | 1 | 9720 | 2000023773
182 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 336 | 5 | 2760 | 2000025794
183 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1664 | 9 | 38700 | 2000029193
184 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1042 | 13 | 54900 | 2000004339
185 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2194 | 9 | 7380 | 2000004338
186 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1543 | 6 | 22560 | 2000004337
187 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1370 | 11 | 29400 | 2000004336
188 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1268 | 7 | 2100 | 2000004335
189 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 852 | 4 | 26160 | 2000004334
190 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 301 | 2 | 26280 | 2000004333
191 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1764 | 1 | 6960 | 2000004332
192 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 5 | 10440 | 2000004331
193 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1952 | 2 | 1260 | 2000017872
194 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1546 | 7 | 8160 | 2000004330
195 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1574 | 4 | 1740 | 2000004344
196 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 5 | 540 | 2000004347
197 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1208 | 7 | 5760 | 2000004349
198 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1108 | 7 | 5400 | 2000015850
199 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2834 | 13 | 5880 | 2000002910
200 | KANKER TOWN | 11KV PATOD FEEDER | 556 | 7 | 6840 | 2000002909
201 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 10 | 9540 | 2000002907
202 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2964 | 11 | 7020 | 2000001055
203 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1027 | 9 | 6120 | 2000001051
204 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 416 | 32 | 55140 | 2000001047
205 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 5 | 1860 | 2000006759
206 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 39 | 35640 | 2000006764
207 | KORBA TOWN | 11KV SARMANGLA FEEDER | 723 | 8 | 27120 | 2000006794
208 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 798 | 4 | 17280 | 2000006796
209 | KORBA TOWN | 11KV TOWN-1 FEEDER | 710 | 6 | 5220 | 2000015220
210 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1155 | 8 | 5700 | 2000020122
211 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 19 | 6240 | 2000001423
212 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 2 | 3120 | 2000001424
213 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1314 | 6 | 12660 | 2000001427
214 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2102 | 1 | 660 | 2000001430
215 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1416 | 17 | 10560 | 2000006458
216 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 442 | 4 | 1260 | 2000006460
217 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 1005 | 28 | 29400 | 2000002464
218 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1060 | 27 | 18660 | 2000002463
219 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2136 | 19 | 10620 | 2000002462
220 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1289 | 19 | 27960 | 2000003301
221 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 787 | 15 | 16380 | 2000003302
222 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1032 | 14 | 23820 | 2000003306
223 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1055 | 9 | 9480 | 2000003307
224 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 717 | 19 | 18900 | 2000003309
225 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1245 | 13 | 3420 | 2000003311
226 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 11 | 9840 | 2000003312
227 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 22 | 7560 | 2000003314
228 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1024 | 11 | 3540 | 2000003322
229 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1588 | 12 | 6060 | 2000017958
230 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 374 | 10 | 4620 | 2000017956
231 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 6 | 2580 | 2000020754
232 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 591 | 28 | 37020 | 2000022941
233 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 676 | 18 | 16560 | 2000021639
234 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 585 | 17 | 17400 | 2000016050
235 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1018 | 20 | 16500 | 2000016051
236 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 835 | 18 | 11700 | 2000016052
237 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 793 | 17 | 13380 | 2000016053
238 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 16 | 15900 | 2000016054
239 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 970 | 16 | 21540 | 2000016055
240 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 80 | 2 | 720 | 2000016056
241 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1654 | 20 | 19560 | 2000016185
242 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 620 | 8 | 3180 | 2000020756
243 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 899 | 8 | 6240 | 2000020755
244 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 354 | 21 | 11400 | 2000010583
245 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1216 | 2 | 180 | 2000010585
246 | RAIPUR TOWN | 11KV CITY FEEDER | 2469 | 10 | 5160 | 2000010587
247 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1383 | 6 | 5820 | 2000010588
248 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 936 | 4 | 1680 | 2000010589
249 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 777 | 5 | 3540 | 2000010591
250 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 333 | 6 | 4200 | 2000010592
251 | RAIPUR TOWN | 11KV MLA FEEDER | 1095 | 7 | 1260 | 2000010595
252 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 4 | 1200 | 2000010596
253 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 792 | 3 | 900 | 2000010598
254 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 871 | 6 | 22680 | 2000010601
255 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1041 | 7 | 5280 | 2000010603
256 | RAIPUR TOWN | 11KV ATARI FEEDER | 828 | 13 | 8160 | 2000010604
257 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 280 | 12 | 4740 | 2000010605
258 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 744 | 6 | 2040 | 2000010606
259 | RAIPUR TOWN | 11KV BANJARI FEEDER | 958 | 4 | 2700 | 2000010608
260 | RAIPUR TOWN | 11KV BASTAL FEEDER | 602 | 9 | 12300 | 2000010610
261 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1569 | 9 | 7680 | 2000010611
262 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 781 | 1 | 180 | 2000010613
263 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 139 | 3 | 840 | 2000010615
264 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2493 | 11 | 7260 | 2000010618
265 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1647 | 9 | 2940 | 2000010622
266 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 870 | 18 | 32640 | 2000010624
267 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 93 | 2 | 420 | 2000010625
268 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1684 | 15 | 4740 | 2000010628
269 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2373 | 11 | 4920 | 2000010631
270 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1978 | 8 | 2220 | 2000010632
271 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1687 | 9 | 10320 | 2000010634
272 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 750 | 18 | 6600 | 2000010638
273 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 1 | 360 | 2000010641
274 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 735 | 14 | 4020 | 2000010642
275 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 499 | 13 | 2460 | 2000010647
276 | RAIPUR TOWN | 11KV KHARUN FEEDER | 986 | 21 | 6240 | 2000010649
277 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1476 | 5 | 4380 | 2000010650
278 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1211 | 5 | 5100 | 2000010653
279 | RAIPUR TOWN | 11KV MAHALAXMI | 561 | 11 | 3600 | 2000010655
280 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2010 | 1 | 1380 | 2000010656
281 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 449 | 8 | 4260 | 2000010657
282 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 531 | 7 | 2940 | 2000010658
283 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 52 | 5 | 1800 | 2000010660
284 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2361 | 15 | 4380 | 2000010662
285 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 776 | 3 | 1440 | 2000010666
286 | RAIPUR TOWN | 11KV MAHADEVGHAT FEEDER | 1535 | 3 | 49920 | 2000010667
287 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1746 | 3 | 2520 | 2000010668
288 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 535 | 19 | 25560 | 2000010670
289 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 914 | 2 | 900 | 2000010671
290 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1280 | 13 | 4800 | 2000010672
291 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5181 | 5 | 13080 | 2000010674
292 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4204 | 8 | 1920 | 2000010675
293 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 544 | 8 | 3840 | 2000010677
294 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2110 | 7 | 3900 | 2000010680
295 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 410 | 9 | 6300 | 2000010686
296 | RAIPUR TOWN | 11KV RDA FEEDER | 842 | 5 | 2340 | 2000010689
297 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 379 | 1 | 240 | 2000010690
298 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 7 | 2820 | 2000010694
299 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1832 | 4 | 600 | 2000010696
300 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1288 | 2 | 4620 | 2000010699
301 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2584 | 9 | 1860 | 2000010700
302 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 801 | 15 | 4740 | 2000010701
303 | RAIPUR TOWN | 11KV SAMTA FEEDER | 552 | 2 | 720 | 2000010704
304 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2643 | 5 | 1260 | 2000010705
305 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 495 | 4 | 1320 | 2000010707
306 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 895 | 5 | 1080 | 2000010708
307 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2498 | 3 | 1380 | 2000010709
308 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2353 | 9 | 7200 | 2000010711
309 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 931 | 5 | 6840 | 2000010712
310 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 299 | 5 | 26700 | 2000010713
311 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 994 | 9 | 3540 | 2000010714
312 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1417 | 5 | 1440 | 2000010717
313 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2663 | 9 | 8520 | 2000010722
314 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 714 | 11 | 4020 | 2000010725
315 | RAIPUR TOWN | 11KV TV FEEDER | 2932 | 12 | 3480 | 2000010728
316 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1175 | 14 | 3960 | 2000010729
317 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 435 | 8 | 1800 | 2000010732
318 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 3 | 1140 | 2000010733
319 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 510 | 12 | 15900 | 2000010739
320 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2151 | 10 | 2400 | 2000010741
321 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 13 | 4740 | 2000010742
322 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 13 | 4740 | 2000010743
323 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2219 | 14 | 15900 | 2000017261
324 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1063 | 10 | 7440 | 2000017508
325 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2427 | 8 | 2700 | 2000017567
326 | RAIPUR TOWN | 11KV WHITE HOUSE | 571 | 1 | 1200 | 2000017568
327 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 590 | 1 | 360 | 2000017569
328 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 981 | 2 | 600 | 2000017576
329 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2002 | 1 | 300 | 2000017600
330 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 9 | 40740 | 2000017607
331 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1742 | 9 | 6180 | 2000017608
332 | RAIPUR TOWN | 11KV M.P.DHABA (NEW FEEDER) | 758 | 3 | 1200 | 2000017609
333 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1556 | 13 | 82860 | 2000017611
334 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 66 | 3 | 3540 | 2000017613
335 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 322 | 13 | 3900 | 2000017617
336 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1864 | 11 | 5100 | 2000017621
337 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 634 | 15 | 16140 | 2000017623
338 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 629 | 13 | 9960 | 2000017624
339 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 686 | 17 | 8160 | 2000017671
340 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1146 | 3 | 1320 | 2000017690
341 | RAIPUR TOWN | 11KV ROMAN SQUARE | 521 | 7 | 3780 | 2000017691
342 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 6 | 4860 | 2000017692
343 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1023 | 3 | 10440 | 2000017771
344 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1337 | 2 | 1200 | 2000017772
345 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 628 | 3 | 1860 | 2000017773
346 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2841 | 21 | 5640 | 2000017808
347 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 687 | 5 | 10500 | 2000017817
348 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1116 | 15 | 52380 | 2000017867
349 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1935 | 1 | 3120 | 2000017868
350 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 1 | 3120 | 2000017869
351 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1383 | 5 | 9360 | 2000017870
352 | RAIPUR TOWN | 11 KV ACRE PLOTFEEDER | 252 | 1 | 360 | 2000017871
353 | RAIPUR TOWN | 11KV NAVEEN MARKET | 860 | 5 | 30180 | 2000017953
354 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2612 | 8 | 30960 | 2000017954
355 | RAIPUR TOWN | 11KV MG ROAD | 1589 | 5 | 19020 | 2000017955
356 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 934 | 8 | 4620 | 2000017962
357 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 305 | 12 | 3000 | 2000018004
358 | RAIPUR TOWN | 11KV SADDU FEEDER | 299 | 25 | 14100 | 2000018005
359 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1284 | 19 | 6660 | 2000018006
360 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 380 | 11 | 60180 | 2000018359
361 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 5 | 2040 | 2000018378
362 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 972 | 9 | 2400 | 2000018394
363 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 604 | 9 | 30720 | 2000018396
364 | RAIPUR TOWN | 11KV IGVP | 367 | 17 | 9360 | 2000018397
365 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 348 | 5 | 4740 | 2000018398
366 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 334 | 3 | 7980 | 2000018416
367 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2503 | 10 | 2820 | 2000018949
368 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 546 | 18 | 5400 | 2000019179
369 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 498 | 10 | 3300 | 2000019185
370 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1927 | 9 | 4740 | 2000019186
371 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2346 | 15 | 15420 | 2000019334
372 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 418 | 17 | 24060 | 2000019340
373 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 899 | 4 | 1260 | 2000019485
374 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1174 | 15 | 8820 | 2000019530
375 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 656 | 2 | 1800 | 2000019697
376 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 3 | 840 | 2000019852
377 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1713 | 7 | 13620 | 2000019857
378 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1956 | 9 | 7560 | 2000020009
379 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2689 | 11 | 6420 | 2000020119
380 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 320 | 6 | 31740 | 2000020130
381 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 100 | 5 | 11460 | 2000020131
382 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 6 | 18300 | 2000020132
383 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 982 | 6 | 32280 | 2000020194
384 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2552 | 4 | 1680 | 2000020581
385 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1674 | 5 | 1380 | 2000021219
386 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1380 | 4 | 1260 | 2000021220
387 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1594 | 7 | 8580 | 2000021221
388 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 678 | 16 | 4500 | 2000021286
389 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1176 | 15 | 4200 | 2000021287
390 | RAIPUR TOWN | 11KV BORIYA FEEDER | 887 | 7 | 1920 | 2000021424
391 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1334 | 2 | 3420 | 2000021615
392 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1321 | 4 | 16740 | 2000022077
393 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 790 | 2 | 780 | 2000022078
394 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1327 | 1 | 660 | 2000022079
395 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1404 | 7 | 3540 | 2000023680
396 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1446 | 1 | 480 | 2000023735
397 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 129 | 4 | 3180 | 2000023736
398 | RAIPUR TOWN | 11KV SBI FEEDER | 1229 | 1 | 300 | 2000023790
399 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 445 | 21 | 27660 | 2000023848
400 | RAIPUR TOWN | 11KV FEEDER-1 | 1050 | 18 | 30240 | 2000024395
401 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1441 | 4 | 2340 | 2000026582
402 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 961 | 3 | 4140 | 2000026583
403 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1029 | 2 | 420 | 2000026584
404 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 253 | 12 | 6120 | 2000026586
405 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1265 | 5 | 5940 | 2000034421
406 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 707 | 13 | 12960 | 2000034423
407 | RAIPUR TOWN | 11KV PRIDE FEEDER | 81 | 4 | 2040 | 2000039215
408 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 7 | 3420 | 2000014955
409 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 729 | 9 | 101700 | 2000015448
410 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3419 | 17 | 9240 | 2000006488
411 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2288 | 23 | 12660 | 2000001979
412 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 936 | 7 | 2340 | 2000001978
413 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1018 | 6 | 1800 | 2000001968
414 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2628 | 6 | 1860 | 2000001967
415 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 22 | 9780 | 2000001965
416 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 814 | 14 | 17160 | 2000001962
417 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 23 | 7620 | 2000001960
418 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4346 | 9 | 3180 | 2000001956