## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | July'19
Period: |  | 1st Jun'19 to 30th Jun'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 457
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 170 | 67 | 150660 | 2000015334
2 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1897 | 56 | 73680 | 2000003840
3 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 257 | 35 | 30900 | 2000003841
4 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 424 | 58 | 74340 | 2000003845
5 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 3210 | 51 | 190560 | 2000003848
6 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1621 | 30 | 603300 | 2000003850
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1691 | 39 | 59520 | 2000003854
8 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 354 | 29 | 25380 | 2000014961
9 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 861 | 29 | 25800 | 2000006627
10 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1945 | 31 | 34320 | 2000014951
11 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1472 | 29 | 27060 | 2000014960
12 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 31 | 58 | 168480 | 2000014959
13 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 183 | 61 | 42840 | 2000022031
14 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3151 | 26 | 72780 | 2000001004
15 | BHATAPARA TOWN | 11KV ATAL JYOTI | 39 | 82 | 364080 | 2000014962
16 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 19 | 18420 | 2000001005
17 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 945 | 53 | 94500 | 2000001006
18 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1351 | 79 | 201420 | 2000001008
19 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1203 | 69 | 55680 | 2000001009
20 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 559 | 111 | 244440 | 2000001011
21 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1851 | 58 | 30480 | 2000001012
22 | BHATAPARA TOWN | 11KV COLONY FEEDER | 31 | 96 | 38640 | 2000004255
23 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1416 | 29 | 56880 | 2000006376
24 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 398 | 27 | 44580 | 2000006377
25 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 252 | 60 | 58620 | 2000001013
26 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1541 | 73 | 127260 | 2000004868
27 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1606 | 43 | 38340 | 2000004871
28 | BILASPUR TOWN | 11KV DHEKA FEEDER | 282 | 31 | 75000 | 2000004877
29 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 366 | 40 | 84240 | 2000004879
30 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2780 | 94 | 116880 | 2000004882
31 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1289 | 65 | 95040 | 2000004883
32 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1661 | 48 | 42900 | 2000004884
33 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2569 | 43 | 40020 | 2000004889
34 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1178 | 51 | 51000 | 2000004891
35 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 580 | 31 | 31200 | 2000004892
36 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2687 | 46 | 45480 | 2000004893
37 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2075 | 58 | 67080 | 2000004896
38 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 120 | 128700 | 2000004897
39 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1204 | 197 | 538380 | 2000004898
40 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1029 | 80 | 110580 | 2000004900
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 138 | 27 | 26220 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2370 | 65 | 41760 | 2000004904
43 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 763 | 25 | 21840 | 2000004908
44 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3865 | 15 | 19740 | 2000004909
45 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1059 | 56 | 37020 | 2000004911
46 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1785 | 47 | 119640 | 2000004913
47 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2387 | 32 | 33840 | 2000004914
48 | BILASPUR TOWN | 11KV RULER FEEDER | 1512 | 46 | 61800 | 2000004916
49 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2059 | 60 | 55620 | 2000004917
50 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1430 | 26 | 18540 | 2000004919
51 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 345 | 83 | 58260 | 2000004923
52 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3921 | 33 | 58500 | 2000004926
53 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 728 | 85 | 90960 | 2000016310
54 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 801 | 87 | 68940 | 2000016311
55 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 948 | 39 | 352740 | 2000016314
56 | BILASPUR TOWN | 11 KV NEW MOPKA | 845 | 42 | 78180 | 2000017224
57 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 219 | 42 | 63120 | 2000017226
58 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 206 | 62 | 95940 | 2000017505
59 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 2 | 44 | 61620 | 2000017776
60 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 127 | 373860 | 2000017777
61 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 322 | 149 | 139020 | 2000017780
62 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 143 | 150000 | 2000017781
63 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 995 | 31 | 30960 | 2000018403
64 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1807 | 15 | 13080 | 2000018405
65 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 771 | 80 | 69960 | 2000018761
66 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1684 | 26 | 39180 | 2000018762
67 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 440 | 72 | 64140 | 2000018763
68 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 355 | 40 | 76920 | 2000020488
69 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1237 | 54 | 175020 | 2000020489
70 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 926 | 71 | 71520 | 2000020582
71 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 982 | 15 | 21540 | 2000020583
72 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 200 | 5 | 6480 | 2000022060
73 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 318 | 4 | 5520 | 2000022061
74 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 347 | 45 | 87720 | 2000023801
75 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 168 | 3 | 39000 | 2000001804
76 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 969 | 11 | 62700 | 2000003195
77 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1981 | 37 | 65700 | 2000003196
78 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5518 | 53 | 49620 | 2000003197
79 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 3 | 57 | 498060 | 2000002566
80 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 2 | 2040 | 2000002567
81 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1368 | 68 | 45780 | 2000002569
82 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3943 | 54 | 43800 | 2000002570
83 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 17 | 38400 | 2000002573
84 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 999 | 105 | 89640 | 2000002574
85 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1028 | 53 | 892140 | 2000002576
86 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3186 | 33 | 30060 | 2000002578
87 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2551 | 98 | 89880 | 2000002579
88 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 2 | 24 | 141300 | 2000015505
89 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3464 | 28 | 13920 | 2000001303
90 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2440 | 8 | 13680 | 2000001302
91 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 969 | 56 | 52980 | 2000001301
92 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1674 | 31 | 26100 | 2000001295
93 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 743 | 54 | 57060 | 2000001298
94 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1084 | 9 | 9900 | 2000001299
95 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 733 | 17 | 25860 | 2000007685
96 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2343 | 21 | 27420 | 2000007686
97 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 843 | 66 | 49440 | 2000007687
98 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 46 | 671940 | 2000007688
99 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1029 | 51 | 128460 | 2000007689
100 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1765 | 30 | 34380 | 2000007694
101 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3716 | 18 | 11340 | 2000007696
102 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 847 | 18 | 28560 | 2000007697
103 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2886 | 62 | 106980 | 2000007701
104 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 987 | 12 | 23820 | 2000007702
105 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1036 | 16 | 27540 | 2000007703
106 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3929 | 58 | 147180 | 2000007705
107 | DURG BHILAI CHARODA TOWN | 11KV BHILAI SCAN FEEDER | 2453 | 1 | 2280 | 2000007706
108 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 944 | 54 | 133920 | 2000007708
109 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1559 | 66 | 135960 | 2000007709
110 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1836 | 31 | 29880 | 2000007711
111 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 462 | 29 | 36960 | 2000007712
112 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 637 | 47 | 37680 | 2000007713
113 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1333 | 60 | 131340 | 2000007714
114 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 930 | 26 | 61200 | 2000007715
115 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 660 | 65 | 125160 | 2000007716
116 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 616 | 77 | 131820 | 2000007717
117 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 816 | 20 | 22620 | 2000007720
118 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1551 | 29 | 21000 | 2000007721
119 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2032 | 26 | 29820 | 2000007723
120 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1399 | 33 | 105240 | 2000007724
121 | DURG BHILAI CHARODA TOWN | 11KV KALI BADI FEEDER | 2685 | 4 | 7380 | 2000007726
122 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1139 | 85 | 94080 | 2000007728
123 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 723 | 30 | 26160 | 2000007729
124 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 499 | 54 | 120120 | 2000007731
125 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 20 | 36660 | 2000007733
126 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 387 | 46 | 52260 | 2000007735
127 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1252 | 56 | 135660 | 2000007738
128 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 741 | 50 | 34740 | 2000007739
129 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 882 | 33 | 27000 | 2000007740
130 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1471 | 10 | 5760 | 2000007741
131 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1242 | 29 | 17340 | 2000007744
132 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 502 | 46 | 128520 | 2000007747
133 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1091 | 32 | 25800 | 2000007748
134 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 517 | 18 | 17280 | 2000007749
135 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1129 | 20 | 109140 | 2000007751
136 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3220 | 39 | 81720 | 2000007752
137 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1900 | 101 | 245700 | 2000007754
138 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 264 | 54 | 48720 | 2000007755
139 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 413 | 31 | 15960 | 2000007756
140 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1715 | 32 | 29460 | 2000007757
141 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1350 | 47 | 87780 | 2000007758
142 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3780 | 24 | 20460 | 2000007759
143 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2533 | 54 | 109620 | 2000007760
144 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1351 | 63 | 65820 | 2000007762
145 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 223 | 26 | 23160 | 2000007763
146 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 364 | 14 | 6540 | 2000007764
147 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 244 | 14 | 6480 | 2000007765
148 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 269 | 12 | 6120 | 2000007766
149 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 763 | 12 | 6120 | 2000007767
150 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1428 | 12 | 6120 | 2000007768
151 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2213 | 52 | 108120 | 2000007769
152 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1220 | 33 | 51240 | 2000007771
153 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1434 | 61 | 45540 | 2000007773
154 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1314 | 34 | 28140 | 2000007776
155 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1286 | 55 | 47100 | 2000007777
156 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 366 | 41 | 47400 | 2000007778
157 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 981 | 23 | 22800 | 2000007779
158 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1684 | 28 | 16200 | 2000007780
159 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1785 | 67 | 152760 | 2000007781
160 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1525 | 43 | 49380 | 2000007782
161 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 243 | 46 | 104700 | 2000007783
162 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2573 | 50 | 112620 | 2000016998
163 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 2124 | 56 | 55800 | 2000017001
164 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 452 | 55 | 51780 | 2000017044
165 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 58 | 84960 | 2000017045
166 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2281 | 30 | 132600 | 2000017052
167 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1246 | 68 | 161400 | 2000017054
168 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1118 | 84 | 190740 | 2000017055
169 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1054 | 41 | 102540 | 2000017056
170 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 544 | 42 | 66060 | 2000017057
171 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1077 | 45 | 61500 | 2000017058
172 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1923 | 53 | 56880 | 2000017059
173 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 501 | 36 | 39840 | 2000017060
174 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 1045 | 37 | 45780 | 2000017061
175 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 572 | 70 | 192960 | 2000017062
176 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1734 | 17 | 63000 | 2000017063
177 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2250 | 19 | 92760 | 2000017064
178 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1122 | 180 | 103380 | 2000017065
179 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1090 | 68 | 169860 | 2000017066
180 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 687 | 176 | 77820 | 2000017069
181 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1949 | 172 | 99060 | 2000017071
182 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 401 | 61 | 145740 | 2000017076
183 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2454 | 67 | 105060 | 2000018574
184 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 296 | 55 | 207540 | 2000018704
185 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1359 | 33 | 78600 | 2000018705
186 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 619 | 14 | 18060 | 2000018707
187 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1522 | 24 | 1344960 | 2000018723
188 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 50 | 52 | 109800 | 2000018987
189 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 220 | 27 | 14400 | 2000019819
190 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 972 | 31 | 28920 | 2000020519
191 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3429 | 20 | 27900 | 2000021263
192 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1230 | 17 | 20580 | 2000021264
193 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1040 | 10 | 30240 | 2000021357
194 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2765 | 26 | 43620 | 2000023773
195 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 346 | 72 | 137880 | 2000025794
196 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 20 | 17460 | 2000027337
197 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1654 | 122 | 294600 | 2000029193
198 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 2066 | 28 | 35520 | 2000017872
199 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3544 | 11 | 12000 | 2000004348
200 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 160 | 13 | 14880 | 2000004347
201 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 2389 | 11 | 12780 | 2000004346
202 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3011 | 2 | 1740 | 2000004345
203 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1599 | 28 | 37680 | 2000004344
204 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 1883 | 10 | 7440 | 2000004343
205 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1036 | 52 | 62520 | 2000004339
206 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2211 | 37 | 174360 | 2000004338
207 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1356 | 42 | 44340 | 2000004336
208 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1278 | 23 | 24420 | 2000004335
209 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 877 | 18 | 29400 | 2000004334
210 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 312 | 18 | 34080 | 2000004333
211 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1767 | 25 | 28140 | 2000004332
212 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 788 | 6 | 4260 | 2000004331
213 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1567 | 19 | 20820 | 2000004330
214 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 161 | 22 | 28740 | 2000004329
215 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1591 | 30 | 42540 | 2000015850
216 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2801 | 64 | 37200 | 2000002910
217 | KANKER TOWN | 11KV PATOD FEEDER | 1255 | 52 | 45720 | 2000002909
218 | KANKER TOWN | 11KV KESHKAL FEEDER | 199 | 75 | 76380 | 2000002907
219 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2968 | 57 | 88680 | 2000001055
220 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1085 | 55 | 79620 | 2000001051
221 | KAWARDHA TOWN | 11KV BARBASPUR (RURAL) FEEDER | 1 | 100 | 58440 | 2000001045
222 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 33 | 122820 | 2000006490
223 | KORBA TOWN | 11KV ABC FEEDER | 1530 | 11 | 14160 | 2000006759
224 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2377 | 172 | 808080 | 2000006761
225 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 766 | 47 | 202260 | 2000006762
226 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 174 | 316500 | 2000006764
227 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 159 | 1750260 | 2000006770
228 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2805 | 73 | 123540 | 2000006778
229 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 773 | 41 | 124920 | 2000006782
230 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1302 | 36 | 36540 | 2000006783
231 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 701 | 89 | 279360 | 2000006787
232 | KORBA TOWN | 11KV PARSABADA FEEDER | 1388 | 134 | 141240 | 2000006789
233 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 288 | 40 | 63000 | 2000006790
234 | KORBA TOWN | 11KV RAMPUR FEEDER | 810 | 13 | 12480 | 2000006791
235 | KORBA TOWN | 11KV SARMANGLA FEEDER | 720 | 91 | 200160 | 2000006794
236 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 795 | 26 | 57240 | 2000006796
237 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1176 | 53 | 114060 | 2000006798
238 | KORBA TOWN | 11KV TOWN-1 FEEDER | 706 | 32 | 67500 | 2000015220
239 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 68 | 46 | 141420 | 2000017790
240 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 367 | 131 | 310320 | 2000017805
241 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1040 | 29 | 79140 | 2000020065
242 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1150 | 102 | 457800 | 2000020122
243 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1059 | 64 | 461940 | 2000021425
244 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2111 | 32 | 50880 | 2000001430
245 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1327 | 20 | 64800 | 2000001427
246 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 67 | 331260 | 2000001426
247 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 647 | 62 | 98760 | 2000001425
248 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2357 | 40 | 91140 | 2000001424
249 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2114 | 85 | 69960 | 2000001423
250 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 549 | 79 | 57780 | 2000002464
251 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1435 | 71 | 70920 | 2000002463
252 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2489 | 90 | 78840 | 2000002462
253 | MUNGELI TOWN | 11KV FASTERPUR FEEDER | 736 | 60 | 74700 | 2000002458
254 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1864 | 71 | 75540 | 2000006458
255 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1061 | 7 | 8280 | 2000003322
256 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1637 | 122 | 95460 | 2000003314
257 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 231 | 35 | 47220 | 2000003312
258 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1316 | 39 | 70440 | 2000003311
259 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 703 | 66 | 172380 | 2000003309
260 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1184 | 59 | 64800 | 2000003307
261 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1050 | 63 | 113100 | 2000003306
262 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1445 | 7 | 9600 | 2000003304
263 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1600 | 7 | 9660 | 2000003303
264 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 795 | 89 | 69720 | 2000003302
265 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1333 | 79 | 109440 | 2000003301
266 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 611 | 15 | 59880 | 2000022941
267 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 597 | 70 | 83220 | 2000016050
268 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1083 | 84 | 75840 | 2000016051
269 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 864 | 73 | 82680 | 2000016052
270 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 865 | 33 | 36720 | 2000016053
271 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 102 | 33 | 25680 | 2000016054
272 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1011 | 63 | 67740 | 2000016055
273 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 85 | 54 | 45780 | 2000016056
274 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 686 | 35 | 56640 | 2000021639
275 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 635 | 35 | 47100 | 2000020756
276 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 955 | 22 | 33240 | 2000020755
277 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 370 | 22 | 31260 | 2000020754
278 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1634 | 46 | 48420 | 2000017958
279 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 376 | 46 | 55560 | 2000017956
280 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1657 | 87 | 88680 | 2000016185
281 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 278 | 16 | 13560 | 2000010583
282 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1266 | 12 | 8760 | 2000010585
283 | RAIPUR TOWN | 11KV CITY FEEDER | 2583 | 10 | 4920 | 2000010587
284 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1381 | 12 | 6480 | 2000010588
285 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 916 | 14 | 7080 | 2000010589
286 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 15 | 12360 | 2000010591
287 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 332 | 29 | 24420 | 2000010592
288 | RAIPUR TOWN | 11KV MLA FEEDER | 1117 | 22 | 47100 | 2000010595
289 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 34 | 51060 | 2000010596
290 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 802 | 13 | 9720 | 2000010598
291 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1031 | 24 | 26700 | 2000010603
292 | RAIPUR TOWN | 11KV ATARI FEEDER | 829 | 46 | 42180 | 2000010604
293 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 284 | 23 | 11700 | 2000010605
294 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 543 | 11 | 7440 | 2000010606
295 | RAIPUR TOWN | 11KV BANJARI FEEDER | 972 | 5 | 4620 | 2000010608
296 | RAIPUR TOWN | 11KV BASTAL FEEDER | 608 | 10 | 1920 | 2000010610
297 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1579 | 16 | 7860 | 2000010611
298 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 785 | 8 | 8700 | 2000010613
299 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 748 | 1 | 420 | 2000010614
300 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 12 | 7080 | 2000010615
301 | RAIPUR TOWN | 11KV COLONY FEEDER | 80 | 7 | 3060 | 2000010616
302 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1823 | 6 | 2820 | 2000010618
303 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1685 | 17 | 6900 | 2000010622
304 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 907 | 28 | 36240 | 2000010624
305 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 94 | 10 | 4740 | 2000010625
306 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1708 | 49 | 66120 | 2000010628
307 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2527 | 36 | 35820 | 2000010631
308 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2110 | 37 | 48360 | 2000010632
309 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1729 | 24 | 14520 | 2000010634
310 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 754 | 38 | 17040 | 2000010638
311 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 93 | 13 | 4800 | 2000010641
312 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 746 | 21 | 19920 | 2000010642
313 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 594 | 7 | 18300 | 2000010647
314 | RAIPUR TOWN | 11KV KHARUN FEEDER | 992 | 60 | 68760 | 2000010649
315 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1496 | 14 | 11640 | 2000010650
316 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1242 | 9 | 6540 | 2000010653
317 | RAIPUR TOWN | 11KV MAHALAXMI | 427 | 11 | 7680 | 2000010655
318 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2026 | 5 | 3060 | 2000010656
319 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 452 | 15 | 7140 | 2000010657
320 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 410 | 19 | 10320 | 2000010658
321 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 59 | 25 | 10920 | 2000010660
322 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2507 | 22 | 14820 | 2000010662
323 | RAIPUR TOWN | 11KV LALBAG FEEDER | 913 | 6 | 4560 | 2000010665
324 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 809 | 22 | 20640 | 2000010666
325 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1765 | 6 | 2220 | 2000010668
326 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 530 | 15 | 8820 | 2000010670
327 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1306 | 20 | 15300 | 2000010672
328 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5350 | 16 | 8820 | 2000010674
329 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4341 | 12 | 5700 | 2000010675
330 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 556 | 12 | 4260 | 2000010677
331 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2168 | 29 | 12540 | 2000010680
332 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 416 | 20 | 22800 | 2000010686
333 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 209 | 13 | 6600 | 2000010688
334 | RAIPUR TOWN | 11KV RDA FEEDER | 838 | 8 | 5640 | 2000010689
335 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 394 | 8 | 6480 | 2000010690
336 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 15 | 7020 | 2000010694
337 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1304 | 41 | 58500 | 2000010699
338 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2474 | 7 | 6540 | 2000010700
339 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 801 | 65 | 66660 | 2000010701
340 | RAIPUR TOWN | 11KV SAMTA FEEDER | 564 | 6 | 7500 | 2000010704
341 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2755 | 38 | 42120 | 2000010705
342 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1109 | 14 | 6960 | 2000010706
343 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 498 | 26 | 11700 | 2000010707
344 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 924 | 8 | 18300 | 2000010708
345 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2520 | 12 | 9780 | 2000010709
346 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2375 | 42 | 61860 | 2000010711
347 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 953 | 42 | 59520 | 2000010712
348 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 316 | 35 | 28140 | 2000010713
349 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 994 | 32 | 17700 | 2000010714
350 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1378 | 17 | 11940 | 2000010717
351 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2707 | 41 | 62100 | 2000010722
352 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1181 | 12 | 9960 | 2000010725
353 | RAIPUR TOWN | 11KV TV FEEDER | 2964 | 7 | 7980 | 2000010728
354 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1180 | 14 | 11400 | 2000010729
355 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 26 | 21 | 21660 | 2000010733
356 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 509 | 24 | 15480 | 2000010739
357 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2222 | 11 | 7200 | 2000010741
358 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 17 | 6480 | 2000010742
359 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 17 | 6420 | 2000010743
360 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2161 | 11 | 346200 | 2000017238
361 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 906 | 32 | 33180 | 2000017256
362 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2226 | 14 | 6540 | 2000017261
363 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1076 | 51 | 51060 | 2000017508
364 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2459 | 28 | 33240 | 2000017567
365 | RAIPUR TOWN | 11KV WHITE HOUSE | 754 | 12 | 23280 | 2000017568
366 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 591 | 4 | 7140 | 2000017569
367 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 996 | 15 | 13020 | 2000017576
368 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 673 | 19 | 14040 | 2000017590
369 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2098 | 26 | 34740 | 2000017600
370 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 9 | 6840 | 2000017607
371 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1783 | 22 | 23640 | 2000017608
372 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1546 | 21 | 13020 | 2000017611
373 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 328 | 11 | 10320 | 2000017617
374 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1954 | 19 | 16740 | 2000017621
375 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 586 | 38 | 26400 | 2000017623
376 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 750 | 17 | 11520 | 2000017624
377 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 768 | 14 | 10740 | 2000017671
378 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1393 | 53 | 52080 | 2000017690
379 | RAIPUR TOWN | 11KV ROMAN SQUARE | 546 | 29 | 20640 | 2000017691
380 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 178 | 26 | 25440 | 2000017692
381 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1087 | 46 | 83220 | 2000017771
382 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1398 | 24 | 27720 | 2000017772
383 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 644 | 12 | 10020 | 2000017773
384 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2884 | 60 | 138780 | 2000017808
385 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 711 | 6 | 780 | 2000017817
386 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1132 | 29 | 49140 | 2000017867
387 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1392 | 11 | 14640 | 2000017870
388 | RAIPUR TOWN | 11KV NAVEEN MARKET | 868 | 25 | 47940 | 2000017953
389 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2646 | 27 | 42300 | 2000017954
390 | RAIPUR TOWN | 11KV MG ROAD | 1605 | 33 | 48720 | 2000017955
391 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 918 | 20 | 20820 | 2000017962
392 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 328 | 38 | 21960 | 2000018004
393 | RAIPUR TOWN | 11KV SADDU FEEDER | 293 | 55 | 27480 | 2000018005
394 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1351 | 46 | 23820 | 2000018006
395 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 374 | 17 | 16020 | 2000018359
396 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 35 | 10 | 3060 | 2000018378
397 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 976 | 40 | 18060 | 2000018394
398 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 603 | 14 | 10620 | 2000018396
399 | RAIPUR TOWN | 11KV IGVP | 372 | 7 | 7500 | 2000018397
400 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 348 | 17 | 8640 | 2000018398
401 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 455 | 19 | 16860 | 2000018416
402 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2510 | 52 | 60060 | 2000018949
403 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 642 | 101 | 87780 | 2000019179
404 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 508 | 13 | 10140 | 2000019185
405 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 2004 | 24 | 38280 | 2000019186
406 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2640 | 31 | 28020 | 2000019334
407 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 443 | 41 | 50760 | 2000019340
408 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 956 | 26 | 21300 | 2000019485
409 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1199 | 85 | 107700 | 2000019530
410 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 685 | 11 | 45540 | 2000019697
411 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 8 | 5100 | 2000019852
412 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1780 | 17 | 16020 | 2000019857
413 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2736 | 26 | 14460 | 2000020119
414 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 62 | 191340 | 2000020123
415 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 321 | 11 | 10740 | 2000020130
416 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 103 | 15 | 77460 | 2000020131
417 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 6 | 296580 | 2000020132
418 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 999 | 7 | 6780 | 2000020194
419 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2598 | 44 | 66360 | 2000020581
420 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1682 | 20 | 54000 | 2000021219
421 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1363 | 70 | 112860 | 2000021220
422 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1649 | 31 | 41040 | 2000021221
423 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 699 | 68 | 49140 | 2000021286
424 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1262 | 76 | 57120 | 2000021287
425 | RAIPUR TOWN | 11KV BORIYA FEEDER | 908 | 21 | 18000 | 2000021424
426 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1356 | 5 | 7260 | 2000021615
427 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1363 | 15 | 38280 | 2000022077
428 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 809 | 8 | 27780 | 2000022078
429 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1349 | 7 | 27540 | 2000022079
430 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1418 | 24 | 12240 | 2000023680
431 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1490 | 21 | 661020 | 2000023735
432 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 130 | 10 | 5940 | 2000023736
433 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1606 | 3 | 3120 | 2000023772
434 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 448 | 16 | 14460 | 2000023848
435 | RAIPUR TOWN | 11KV FEEDER-1 | 1050 | 14 | 8280 | 2000024395
436 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1456 | 6 | 4080 | 2000026582
437 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 975 | 1 | 1080 | 2000026583
438 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1032 | 3 | 2400 | 2000026584
439 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 257 | 36 | 21060 | 2000026586
440 | RAIPUR TOWN | 11 KV FEEDER 2 | 131 | 8 | 8880 | 2000029195
441 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1292 | 14 | 429960 | 2000034421
442 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 731 | 44 | 66720 | 2000034423
443 | RAIPUR TOWN | 11KV PRIDE FEEDER | 82 | 7 | 5340 | 2000039215
444 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3194 | 61 | 14820 | 2000001956
445 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 500 | 24 | 32820 | 2000001957
446 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 392 | 60 | 94800 | 2000001960
447 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 836 | 58 | 53400 | 2000001962
448 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 146 | 74 | 109440 | 2000001965
449 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2683 | 17 | 31140 | 2000001967
450 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1067 | 2 | 6120 | 2000001968
451 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2439 | 1 | 1140 | 2000001975
452 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 945 | 26 | 39120 | 2000001978
453 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2353 | 51 | 55080 | 2000001979
454 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 51 | 50760 | 2000014955
455 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 2615 | 66 | 169200 | 2000006488
456 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 774 | 1 | 1440 | 2000015448
457 | RAJNANDGAON TOWN | 11KV R K NAGAR | 471 | 41 | 49020 | 2000015478