## Ann-3 (misc)
| Revised Rates of Miscellaneous Items for 2017-18 | [6 empty] | Annexure-3
Amt. in Rs.
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Rate in SOR 2017-18 | Revised Rate after GST
[6 empty] | Ex-works Rate including Freight Charges | Amount of GST | Total rate including GST for purpose of estimation and for drawl from Area store | GST %
1 | 2 |  | 3 |  | 5
30 |  | G.I. Spring Washer | Kg | 7130622922 | 128.2892 | 122.1802 | 21.9924 | 144.1726 | 18%
31 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 185.211 | 176.3914 | 31.7504 | 208.1418 | 18%
32 |  | G.I.Strip 25x3 mm | Kg |  | 73.944 | 70.4229 | 12.6761 | 83.099 | 18%
33 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 72.1394 | 68.7042 | 12.3667 | 81.0709 | 18%
34 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 1878.8512 | 1789.3821 | 322.0888 | 2111.4709 | 18%
35 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 680.5222 | 648.1164 | 181.4726 | 829.5889 | 28%
| ii | 63 Amps. | Each | 7131920254 | 1634.0869 | 1556.2733 | 435.7565 | 1992.0298 | 28%
| iii | 100 Amps. | Each | 7131920256 | 3160.8327 | 3010.3169 | 842.8887 | 3853.2056 | 28%
| iv | 200 Amps. | Each | 7131920258 | 4437.4631 | 4226.1554 | 1183.3235 | 5409.4789 | 28%
| v | 300 Amps. | Each | 7131920259 | 6020.4848 | 5733.7951 | 1605.4626 | 7339.2577 | 28%
| vi | 400 Amps. | Each | 7131920260 | 9093.7772 | 8660.7402 | 2425.0072 | 11085.7474 | 28%
Porcelain Kit-kat fuse unit
| i | 16 Amps. | Each | 7131910655 | 26.4184 | 25.1603 | 7.0449 | 32.2052 | 28%
| ii | 32 Amps. | Each | 7131910653 | 46.2321 | 44.0306 | 12.3286 | 56.3592 | 28%
| iii | 63 Amps. | Each | 7131910654 | 91.3635 | 87.0129 | 24.3636 | 111.3765 | 28%
37 |  | Red Oxide Paint | Ltr. | 7130211158 | 133.6747 | 127.3092 | 35.6466 | 162.9558 | 28%
38 |  | Aluminium Paint | Ltr. | 7130210809 | 298.6794 | 284.4566 | 79.6478 | 364.1044 | 28%
52 |  | LAMPS : -
| i | CFL 7 Watts | Each | 7131210852 | 98.5244 | 93.8328 | 16.8899 | 110.7227 | 18%
| ii | CFL 11 Watts | Each | 7131280882 | 98.5244 | 93.8328 | 16.8899 | 110.7227 | 18%
| iii | CFL 15 Watts | Each | 7131280006 | 104.6187 | 99.6369 | 17.9346 | 117.5715 | 18%
| iv | CFL 20 Watts | Each | 7131280007 | 137.1216 | 130.592 | 23.5066 | 154.0986 | 18%
| v | CFL 23 Watts | Each | 7131280008 | 175.7188 | 167.3512 | 30.1232 | 197.4745 | 18%
| vi | 125 Watt Mercury Vapour | Each | 7131280009 | 162.5145 | 154.7757 | 27.8596 | 182.6353 | 18%
| vii | 250 Watt Mercury Vapour | Each | 7131230116 | 374.7991 | 356.9515 | 64.2513 | 421.2028 | 18%
| viii | 250 Watt Metal Halide | Each | 7131210881 | 1275.7389 | 1214.9894 | 218.6981 | 1433.6875 | 18%
| ix | 250 Watt Sodium Vapour | Each | 7131230003 | 475.3549 | 452.719 | 81.4894 | 534.2084 | 18%
53 |  | Halogen Filament (1000 Watts) | Each | 7131280010 | 100.5558 | 95.7675 | 17.2381 | 113.0056 | 18%
54 |  | Tube Light Rod (T5 type) | Each | 7131220182 | 52.8172 | 50.3021 | 9.0544 | 59.3565 | 18%
55 | a | Search Light Unit with 1000 Watt Halogen Lamp. | Each | 7131280011 | 6581.8374 | 6268.4166 | 1128.315 | 7396.7316 | 18%
| b | Street Light fitting with tube light | Each | 7131280012 | 658.1837 | 626.8417 | 112.8315 | 739.6732 | 18%
| c | Street Light fitting with CFL | Each | 7131280013 | 2751.5737 | 2620.5464 | 471.6983 | 3092.2447 | 18%
| d | HPSV lamp 150 watt | Each | 7131280014 | 329.0919 | 313.4208 | 56.4157 | 369.8366 | 18%
| e | HPSV Choke 150 watt | Each |  | 877.5783 | 835.7889 | 150.442 | 986.2309 | 18%
| f | HPSV Choke 250 watt | Each | 7131280015 | 1371.2161 | 1305.9201 | 235.0656 | 1540.9857 | 18%
| g | 150 Watt metal halide fitting / HPSV fitting | Each | 7131280016 | 3137.5456 | 2988.1387 | 537.865 | 3526.0037 | 18%
| h | 250 Watt metal halide fitting / HPSV fitting | Each | 7131280017 | 3921.6781 | 3734.9316 | 672.2877 | 4407.2192 | 18%
| i | Mercury vapour lamp for Gate lighting 2 Nos | Each | 7131230128 | 1990.8027 | 1896.0025 | 341.2805 | 2237.283 | 18%
56 | A | LED LAMPS
| i | LED 7 Watt lamp with holder | Each |  | 220 | 209.5238 | 37.7143 | 247.2381 | 18% | SOR committee recommonded to delete hence not to be used
| ii | LED 9 Watt lamp | Each | 7131210011 | 65 | 61.9048 | 11.1429 | 73.0476 | 18%
| iii | LED 12 Watt lamp with holder | Each |  | 300 | 285.7143 | 51.4286 | 337.1429 | 18% | SOR committee recommonded to delete hence not to be used
| iv | LED 14 Watt lamp with holder | Each |  | 350 | 333.3333 | 60 | 393.3333 | 18%
| v | LED 15 Watt lamp with holder | Each |  | 360 | 342.8571 | 61.7143 | 404.5714 | 18%
| B | LED LAMPS WITH COMPLETE FITTING | [6 empty] | 18%
| i | LED Lamps with COMPLETE FITTING-15 W | Nos. |  | 3850 | 3666.6667 | 660 | 4326.6667 | 18% | SOR committee recommonded to delete hence not to be used
| ii | LED LAMPS WITH COMPLETE FITTING-20 W | Nos. |  | 4250 | 4047.619 | 728.5714 | 4776.1905 | 18%
| iii | LED LAMPS WITH COMPLETE FITTING-24 W | Nos. | 7131210023 | 2920 | 2780.9524 | 500.5714 | 3281.5238 | 18%
| iv | LED LAMPS WITH COMPLETE FITTING-48 W | Nos. | 7131210024 | 3540 | 3371.4286 | 606.8571 | 3978.2857 | 18%
| v | LED LAMPS WITH COMPLETE FITTING-60 W | Nos. | 7131210025 | 3970 | 3780.9524 | 680.5714 | 4461.5238 | 18%
57 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 25.1069 | 23.9114 | 4.304 | 28.2154 | 18%
| ii | Raccoon Conductor. | Each | 7130830050 | 31.1326 | 29.6501 | 5.337 | 34.9871 | 18%
| iii | Dog Conductor. | Each | 7130830051 | 121.5176 | 115.731 | 20.8316 | 136.5626 | 18%
| iv | Panther Conductor. | Each | 7130830971 | 187.7999 | 178.857 | 32.1943 | 211.0513 | 18%
58 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 183.7828 | 175.0312 | 31.5056 | 206.5368 | 18%
| ii | Dog Conductor. | Each | 7130830585 | 229.9795 | 219.0281 | 39.4251 | 258.4532 | 18%
| iii | Panther Conductor. | Each | 7130830586 | 269.1463 | 256.3298 | 46.1394 | 302.4692 | 18%
59 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 546.6735 | 520.6414 | 93.7155 | 614.3569 | 18%
| ii | VCB | Each | 7130830054 | 319.2488 | 304.0465 | 54.7284 | 358.7748 | 18%
| iii | CT-PT Unit | Each | 7130830056 | 319.2488 | 304.0465 | 54.7284 | 358.7748 | 18%
| iv | Distribution Transformer (HT) | Each | 7130830058 | 162.2937 | 154.5654 | 27.8218 | 182.3872 | 18%
| v | Distribution Transformer (LT) | Each | 7130830603 | 238.1019 | 226.7638 | 40.8175 | 267.5812 | 18%
60 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 133.908 | 127.5315 | 22.9557 | 150.4871 | 18%
61 |  | Aluminium bobbin. | Each | 7130820201 | 30.666 | 29.2057 | 5.257 | 34.4627 | 18%
94 |  | STEEL TUBULAR POLES CONFORMING TO IS : 2713 (Part-ll), 1980 WITH "ISI" CERTIFICATION MARK :-
| i | 410-SP-60, 12 Mtrs. Long. | Each | 7130800068 | 10452.0425 | 9954.3262 | 1791.7787 | 11746.105 | 18%
| ii | 410-SP-29, 9 Mtrs. Long. | Each | 7130800014 | 6237.7465 | 5940.711 | 1069.328 | 7010.0389 | 18%
96 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 5.2115 | 4.9633 | 0.8934 | 5.8567 | 18%
97 |  | Numerical Poly Carbonate seals | No | 7132444005 | 8 | 7.619 | 1.3714 | 8.9905 | 18%
99 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 51 | 48.5714 | 8.7429 | 57.3143 | 18%
102 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 216 | 205.7143 | 37.0286 | 242.7429 | 18%
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 2700 | 2571.4286 | 462.8571 | 3034.2857 | 18%
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 479.3025 | 456.4785 | 82.1661 | 538.6447 | 18%
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 427.343 | 406.9933 | 73.2588 | 480.2521 | 18%
| 5 | Portable drilling machine | Nos. | 7132014014 | 2700 | 2571.4286 | 462.8571 | 3034.2857 | 18%
| 6 | Megger 500 V | Nos. | 7131324780 | 3240 | 3085.7143 | 555.4286 | 3641.1429 | 18%
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 4883.1755 | 4650.6433 | 837.1158 | 5487.7591 | 18%
| 8 | Silica gel | Kg | 7132438002 | 162.5988 | 154.856 | 27.8741 | 182.7301 | 18%
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 892.6848 | 850.176 | 153.0317 | 1003.2077 | 18%
| 10 | Panel lndication lamps | Nos. | 7131210001 | 106.3604 | 101.2956 | 18.2332 | 119.5288 | 18%
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15,16x17, 18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1430.0356 | 1361.9387 | 245.149 | 1607.0876 | 18%
| 12 | Tube Spanners | Set. | 7132074033 | 590.9841 | 562.842 | 101.3116 | 664.1536 | 18%
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1086 | 1034.2857 | 186.1714 | 1220.4571 | 18%
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 596 | 567.619 | 102.1714 | 669.7905 | 18%
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15,16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 676.4527 | 644.2407 | 115.9633 | 760.204 | 18%
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 119 | 113.3333 | 20.4 | 133.7333 | 18%
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 533.844 | 508.4229 | 142.3584 | 650.7813 | 28%
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 350 | 333.3333 | 93.3333 | 426.6667 | 28%
| 19 | Rechargeable LED Hand Torch | No |  | 681 | 648.5714 | 181.6 | 830.1714 | 28%
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 204.2908 | 194.5627 | 35.0213 | 229.5839 | 18%
| 21 | Discharge Rod | Nos. | 7132013331 | 425 | 404.7619 | 72.8571 | 477.619 | 18%
| 22 | Neon tester | Nos. | 7131338025 | 51.0727 | 48.6407 | 8.7553 | 57.396 | 18%
| 23 | Screw driver Set | Nos. | 7132072522 | 743.1599 | 707.7713 | 127.3988 | 835.1702 | 18% | SOR committee recommonded to delete hence not to be used
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 65.6649 | 62.538 | 11.2568 | 73.7948 | 18%
| 25 | Screw driver 200 mm | Nos. | 7132072007 | 61.4957 | 58.5673 | 10.5421 | 69.1095 | 18%
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 57.3265 | 54.5967 | 9.8274 | 64.4241 | 18%
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 989 | 941.9048 | 169.5429 | 1111.4476 | 18%
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 306 | 291.4286 | 52.4571 | 343.8857 | 18%
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 184.4871 | 175.702 | 31.6264 | 207.3284 | 18%
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 438.8083 | 417.9127 | 75.2243 | 493.1369 | 18%
| 31 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1302.875 | 1240.8333 | 223.35 | 1464.1833 | 18%
| 32 | Transil oil Dielectric Breakdown testkit | Nos. | 7131338004 | 64638 | 61560 |  |  | As applicable
| 33 | Tong tester | Nos. | 7132478004 | 1350.8208 | 1286.496 | 231.5693 | 1518.0653 | 18%
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 648 | 617.1429 | 111.0857 | 728.2286 | 18%
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 178 | 169.5238 |  |  | As applicable
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 119 | 113.3333 | 20.4 | 133.7333 | 18%
| 37 | Earth resistance tester (20/200/2000 Ω) | Nos. | 7131321603 | 3939.894 | 3752.28 |  |  | As applicable
| 38 | Rain Coats with Hoods | Nos. | 7132427634 | 771 | 734.2857 |  |  | As applicable
| 39 | Gum Boots | Nos. | 7132427635 | 519.0654 | 494.348 |  |  | As applicable
| 40 | Files of sizes | Set. | 7132475019 | 309.5631 | 294.822 | 53.068 | 347.89 | 18%
| 41 | Safety belts | Nos. | 7132404015 | 549.2921 | 523.1353 | 94.1644 | 617.2997 | 18%
| 42 | Safety helmets | Nos. | 7132404016 | 124.2122 | 118.2974 | 21.2935 | 139.5909 | 18%
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 4619.4736 | 4399.4987 | 791.9098 | 5191.4084 | 18%
| 44 | Fire fighting equipments (CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 5165.6388 | 4919.656 | 885.5381 | 5805.1941 | 18%
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 3891.3941 | 3706.0897 | 667.0961 | 4373.1858 | 18%
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | 1020.4117 | 971.8207 | 174.9277 | 1146.7484 | 18%
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 371.0588 | 353.3893 | 63.6101 | 416.9994 | 18%
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 928.6893 | 884.466 | 159.2039 | 1043.6699 | 18%
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 804.6556 | 766.3387 | 137.941 | 904.2796 | 18%
| 5 | G.I. bend 40 mm | Each |  | 89.6378 | 85.3693 | 15.3665 | 100.7358 | 18%
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 3219.6647 | 3066.3473 | 551.9425 | 3618.2899 | 18%
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt |  | 3220 | 3066.6667 | 552 | 3618.6667 | 18%
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No |  | 495 | 471.4286 | 84.8571 | 556.2857 | 18%
| 9 | RCC Pipe Type NP-3 (2.5 mtr long)
|  | 600 mm | Each | 7130640030 | 3856.51 | 3672.8667 | 661.116 | 4333.9827 | 18%
|  | 900 mm | Each | 7130640036 | 7660.905 | 7296.1 | 1313.298 | 8609.398 | 18%
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640037 | 893.3705 | 850.829 | 153.1492 | 1003.9783 | 18%
| (ii) | M.S.Pipe 200 mm dia with collars | RM(medium) |  | 1143.95 | 1089.4762 | 196.1057 | 1285.5819 | 18%
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 157.3873 | 149.8927 | 26.9807 | 176.8733 | 18%
| 14 | Cable covering tiles 250x250x40 mm | Per 1000 | 7130201343 | 32968 | 31398.0952 | 5651.6571 | 37049.7524 | 18%
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132475019 | 131 | 124.7619 |  |  | As applicable
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 15 | 14.2857 |  |  | As applicable
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 223.41 | 212.7714 | 59.576 | 272.3474 | 28%
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 71 | 67.619 |  |  | As applicable
| 19 | Cotton Waste | Kg | 7132478012 | 65 | 61.9048 |  |  | As applicable
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 10 | 9.5238 | 1.7143 | 11.2381 | 18%
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 7132455002 | 274 | 260.9524 | 73.0667 | 334.019 | 28%
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 131 | 124.7619 | 34.9333 | 159.6952 | 28%
| 23 | Monoplast | Kg | 7132490052 | 59 | 56.1905 |  |  | As applicable
| 24 | Bitumen compound | Kg | 7132490053 | 90 | 85.7143 | 15.4286 | 101.1429 | 18%
| 25 | Providing, Fabricating and fixing 8 SWG Chain link fencing (TATA Make) 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. T&D/DRG/MISC/2 Revision -2 | Sq.mtr | 7130650001 | 1130.823 | 1076.9743 |  |  | As applicable
| 26 | Cable marker for U/G cable | No. | 7130880006 | 112.5684 | 107.208 | 19.2974 | 126.5054 | 18%
104 |  | Earth spike | No. | 7130870010 | 680.6219 | 648.2113 | 116.678 | 764.8894 | 18%
105 |  | Pad Connector (for Panther conductor) | No. | 7130880006 | 124.0337 | 118.1273 | 21.2629 | 139.3903 | 18%
115 |  | Meter Sealing Wire | Kg |  | 167 | 159.0476 | 28.6286 | 187.6762 | 18%
116 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No |  | 7870 | 7495.2381 | 1349.1429 | 8844.381 | 18%
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set |  | 9500 | 9047.619 | 1628.5714 | 10676.1905 | 18%
118 |  | 11 kV Fault Passage Indicator for Overhead Line | No. |  | 14810 | 14104.7619 |  |  | As applicable
119 |  | AC Distribution Board for AC/DC Supply | No |  | 9706 | 9243.8095 | 2588.2667 | 11832.0762 | 28%
120 |  | 33/11 kV S/S (Name Plate) Board |  |  | 6905 | 6576.1905 | 1841.3333 | 8417.5238 | 28%
121 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job |  | 9393 | 8945.7143 |  |  | As applicable
122 |  | RCC Block (with 6 mm MS Bar) | Each |  | 157.78 | 150.2667 | 42.0747 | 192.3413 | 28%
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 1638 | 1560 | 280.8 | 1840.8 | 18%
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800033 | 1758 | 1674.2857 | 301.3714 | 1975.6571 | 18%
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 2167 | 2063.8095 | 371.4857 | 2435.2952 | 18%
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 2953 | 2812.381 | 506.2286 | 3318.6095 | 18%
| v | 350 Kg; 7.0 Mtr long | Each | 7130800672 |  | 0 | 0 | 0 | 18%
| vi | 365 Kg; 11 Mtr long | Each | 7130800002 | 4454 | 4241.9048 | 763.5429 | 5005.4476 | 18%
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 3971 | 3006.29 | 541.1322 | 3547.4222 | 18%
| ii | 1:3:6 Ratio | Cmt | 7130200202 | 3112 | 2262.86 | 407.3148 | 2670.1748 | 18%
| 11 | River sand | Cmt |  | 660 | 628.5714 | 113.1429 | 741.7143 | 18%
| 12 | Cement in 50 kg bags | Bags | 7130200401 | 240 | 228.5714 | 41.1429 | 269.7143 | 18%
| 1 | Godrej make office Almirah Storwel plain with 4 shelves 78''x36''x19'' | No. | 7132401667 | 11950 | 11380.9524 | 2048.5714 | 13429.5238 | 18%
| 2 | Godrej make office Almirah Storwel minor plain 50''x30''x17'' | No. |  | 15185 | 14461.9048 | 2603.1429 | 17065.0476 | 18%
| 3 | Office Chair model CH-7 cane seat & back with full arms rest | No. | 7132409830 | 2358 | 2245.7143 | 404.2286 | 2649.9429 | 18%
| 4 | Office Table |  |  |  | 0 | 0 | 0
| i | 5'x3.5'x2.5' | No. |  | 14525 | 13833.3333 | 2490 | 16323.3333 | 18%
| ii | Model T-8 4'x2' | No. |  | 6825 | 6500 | 1170 | 7670 | 18%
| iii | Model T-9 4.5'x2.25' | No. | 7132476797 | 16500 | 15714.2857 | 2828.5714 | 18542.8571 | 18%
| iv | Ex. Table Model T-104 66''x36'' | No. | 7132476795 | 19500 | 18571.4286 | 3342.8571 | 21914.2857 | 18%
| 5 | Computer Table | No. |  | 8990 | 8561.9048 | 1541.1429 | 10103.0476 | 18%
| 6 | Computer Chair | No. |  | 4725 | 4500 | 810 | 5310 | 18%
| 7 | Small almirah 50", 20 SWG Sheet | No. |  | 4813 | 4583.8095 | 825.0857 | 5408.8952 | 18%
| 8 | Office Table 4'x2.5' |  |  | 4348 | 4140.9524 | 745.3714 | 4886.3238 | 18%
| 9 | Chair | No. |  | 3459 | 3294.2857 | 592.9714 | 3887.2571 | 18%
| 10 | Officer Chair | No. |  | 8500 | 8095.2381 | 1457.1429 | 9552.381 | 18%
| 11 | Steel Rack |  |  |  | 0 | 0 | 0
| i | 78''x36''x18'' (Heavy) | No. |  | 5795 | 5519.0476 | 993.4286 | 6512.4762 | 18%
| ii | 72''x36''x15'' (Heavy) | No. |  | 4250 | 4047.619 | 728.5714 | 4776.1905 | 18%
| iii | 59''x39''x18'' | No. |  | 2306 | 2196.1905 | 395.3143 | 2591.5048 | 18%
| 12 | PC with Monitor : i3; 4th Gen, 4 GB RAM, 1TB HDD, 18.5” Display (Monitor), Windows 8 | Set |  | 48054 | 45765.7143 | 12814.4 | 58580.1143 | 28%
| 13 | LAPTOP : i3; 4th Gen, 4 GB RAM, 1TB HDD, 14” Display, Windows 8 | No. |  | 38095 | 36280.9524 | 6530.5714 | 42811.5238 | 18%
| 14 | Laser Printer : B/W |  |  |  | 0 | 0 | 0
| i | Speed 12 PPM | No. |  | 8100 | 7714.2857 | 1388.5714 | 9102.8571 | 18%
| ii | Speed 28 PPM (Multi function) | No. |  | 14952 | 14240 | 3987.2 | 18227.2 | 28%
| 15 | Fax Machine with print and copy capabilities. | No. | 7132420412 | 7900 | 7523.8095 | 2106.6667 | 9630.4762 | 28%
| 16 | Photo copier | No. | 7132488810 | 43500 | 41428.5714 | 11600 | 53028.5714 | 28%
| 17 | Scanner : 2400 x 4800 dpi, | No. |  | 5000 | 4761.9048 | 857.1429 | 5619.0476 | 18%
| 18 | Water Purifier | No. |  | 16000 | 15238.0952 | 2742.8571 | 17980.9524 | 18%
| 19 | Water Cooler (80 Ltr) | No. | 7132486195 | 27000 | 25714.2857 | 7200 | 32914.2857 | 28%
| 20 | Air Cooler | No. |  | 8300 | 7904.7619 | 1422.8571 | 9327.619 | 18%
| 21 | Ceiling Fan (48") | No. |  | 3300 | 3142.8571 | 565.7143 | 3708.5714 | 18%
| 22 | Wall Coffer | No. | 7132486151 | 7100 | 6761.9048 | 1217.1429 | 7979.0476 | 18%
| 23 | Air Conditioner 2 Ton 4 Star (Split) | No. | 7131880133 | 60900 | 58000 | 16240 | 74240 | 28%
| 24 | Air Conditioner 1.5 Ton 4 Star (Split) | No. | 7131880134 | 33000 | 31428.5714 | 8800 | 40228.5714 | 28%
| 25 | UPS 600 VA | No. |  | 2800 | 2666.6667 | 480 | 3146.6667 | 18%
Note on C49: Author: Earlier name was - LED 9 Watt lamp with holder
Note on C92: Author: Earlier named as--Grounding Sticks (Earthing Rods)
Note on C103: Author: Earlier named as --Combination Plier
Note on C131: Author: Earlier named as--G.I. Pipe 200 mm for 400 mm cable of dia 105 mm
Note on D165: Author: Earlier unit was - Number.
Note on E170: Author: New Biin Code alloted
Note on E173: Author: New Bin Code alloted