## Abstract
S.No. | Particulars | Annaxers
1 | Rates provided by S&P | A-I
2 | Central Purchas Item but not being procured by S&P | A-2
3 | other Miscellaneous Item | A-3
4 | Fabricated Item | A-4

## Ann-1
| Revised Standard Stock Material-2017-18 | [6 empty] | Annexure-1
Amt. in Rs.
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Rate in SOR 2017-18 | Revised Rate after GST |  |  |  | GST Rate
[6 empty] | Ex-works Rate | Frieght Charges | Amount of GST | Total rate including GST for purpose of estimation and for drawl from Area store
1 | 2 |  | 3 | 6 | 5 |  |  |  |  | 7
1 | A | ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 40902.46 | 33808.72 | 1814.5 | 6412.1796 | 42035.3996 | 18% | ISI MARK
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 46928.32 | 38312.58 | 2387.5 | 7326.0144 | 48026.0944 | 18% | ISI MARK
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 83348.01 | 69473.47 | 2865 | 13020.9246 | 85359.3946 | 18% | ISI MARK
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 110201.63 | 92035.35 | 3342.5 | 17168.013 | 112545.863 | 18% | ISI MARK
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 202198.08 | 170278.12 | 4775 | 31509.5616 | 206562.6816 | 18% | ISI MARK
| B | CONVENTIONAL DISTRIBUTION TRANSFORMER 11/0.4 KV 4-STAR :-
| i | 16 kVA (4 Star) Aluminium Wound | Each | 7132210007 | 41142.99 | 34192.27 | 1432.5 | 6412.4586 | 42037.2286 | 18% | SOR committee recommonded to delete hence not to be used
| ii | 25 kVA (4 Star) Aluminium Wound | Each | 7132210008 | 49616.4 | 41503.39 | 1432.5 | 7728.4602 | 50664.3502 | 18%
| iii | 63 kVA (4 Star) Aluminium Wound | Each | 7132210009 | 83079.76 | 69940.9 | 1910 | 12933.162 | 84784.062 | 18%
| iv | 100 kVA (4 Star) Aluminium Wound | Each | 7132210010 | 115374 | 97369.66 | 2387.5 | 17956.2888 | 117713.4488 | 18%
| v | 200 kVA (4 Star) Aluminium Wound | Each | 7132210011 | 202287.3 | 171489.73 | 3342.5 | 31469.8014 | 206302.0314 | 18%
| vi | 315 kVA (CEA Design) (4 Star) Copper Wound | Each | 7132210012 | 375354.78 | 321253.51 | 2865 | 58341.3318 | 382459.8418 | 18% | ISI MARK
| vii | 500 kVA (CEA Design) (4 Star) Copper Wound | Each | 7132210015 | 625974.9 | 535753.49 | 4775 | 97295.1282 | 637823.6182 | 18% | ISI MARK
3 |  | POWER TRANSFORMERS 33/11 kV :-
| ii | 3150 kVA | Each | 7132220095 | 1930557.73 | 1622172.8 | 47750 | 300586.104 | 1970508.904 | 18%
| iii | 5000 kVA | Each | 7132220097 | 2763567.92 | 2340920.14 | 47750 | 429960.6252 | 2818630.7652 | 18%
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 406.95 | 351.13 | 0 | 63.2034 | 414.3334 | 18%
| ii | 33 kV Polymer | Each | 7130840021 | 3633.73 | 3135.3 | 0 | 564.354 | 3699.654 | 18%
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 1054.95 | 866.67 | 47.75 | 164.5956 | 1079.0156 | 18%
| ii | 33 kV | Each | 7131930415 | 2918 | 2160 | 286.5 | 440.37 | 2886.87 | 18%
| B | POLYMER TYPE -
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457798 | 47405.73 | 37751.2 | 3724.5 | 7465.626 | 48941.326 | 18%
| ii | In Tanker | KL | 7132457798 | 40612.45 | 31851.2 | 3724.5 | 6403.626 | 41979.326 | 18%
LINE SUPPORTS :-
8 |  | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 32561.65 | 26429 | 974.1 | 4932.558 | 32335.658 | 18% | ISI MARK
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 32561.65 | 26429 | 974.1 | 4932.558 | 32335.658 | 18% | ISI MARK
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 12057.02 | 9850 | 171.9 | 1803.942 | 11825.842 | 18% | ISI MARK
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 17529.25 | 14759.15 | 90.73 | 2672.9784 | 17522.8584 | 18% | ISI MARK
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 28862.72 | 23480 | 520.48 | 4320.0864 | 28320.5664 | 18% | ISI MARK
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 42614.38 | 34950 | 458.4 | 6373.512 | 41781.912 | 18% | ISI MARK
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 56519.68 | 46395 | 563.45 | 8452.521 | 55410.971 | 18% | ISI MARK
| vi | 0.2 Sq inch ( 130 Sqmm Al.Eq.)(Panther) | Km | 7130830070 | 125541.63 | 105855.4 | 477.5 | 19139.922 | 125472.822 | 18% | ISI MARK
LINE INSULATORS :-
18 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 253.45 | 201.25 | 19.1 | 39.663 | 260.013 | 18%
| iii | 33 kV Pin insulator | Each | 7130820075 | 239.9 | 182.46 | 21.01 | 36.6246 | 240.0946 | 18%
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 11.39 | 8.13 | 1.86 | 1.7982 | 11.7882 | 18%
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 242.1 | 201.05 | 6.35 | 37.332 | 244.732 | 18%
| iii | 11 kV Disc Insulator | Each | 7130820010 | 139.63 | 114.94 | 4.78 | 21.5496 | 141.2696 | 18%
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 359.08 | 300.98 | 9.69 | 55.9206 | 366.5906 | 18%
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 143.39 | 119.36 | 4.78 | 22.3452 | 146.4852 | 18%
23 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 8674.89 | 7288.889 | 214.88 | 1350.6784 | 8854.4474 | 18%
| ii | 33 kV | Each | 7131930321 | 19384.85 | 15640.89 | 1188.98 | 3029.3766 | 19859.2466 | 18%
36 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| iv | 100 Amps. | Each | 7131910656 | 281.29 | 224 | 20.49 | 44.0082 | 288.4982 | 18%
| v | 200 Amps. | Each | 7131910657 | 561.56 | 462.22 | 24.45 | 87.6006 | 574.2706 | 18%
| vi | 300 Amps. | Each | 7131910658 | 987.78 | 833.78 | 20.28 | 153.7308 | 1007.7908 | 18%
39 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 33335.67 | 28009.04 | 826.31 | 8073.898 | 36909.248 | 28%
| ii | 4 Core | Km. | 7130310654 | 57998.26 | 48718.1 | 1451.6 | 14047.516 | 64217.216 | 28%
| iii | 8 Core | Km. | 7130310658 | 111800.9 | 93909.63 | 2800.69 | 27078.8896 | 123789.2096 | 28%
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| iii | 10 Core | Km. | 7130310660 | 164987.52 | 139829.2 | 2769.5 | 39927.636 | 182526.336 | 28%
40 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 16028.47 | 13576.27 | 277.91 | 3879.1704 | 17733.3504 | 28%
| ii | 50 Sq.mm. | KM | 7130311009 | 37321.97 | 31491.46 | 779.28 | 9035.8072 | 41306.5472 | 28%
| iii | 70 Sq.mm | KM | 7130311010 | 50162.34 | 42296.02 | 1080.11 | 12145.3164 | 55521.4464 | 28%
| iv | 150 Sq.mm | KM | 7130311011 | 95199.13 | 80083.28 | 2254.76 | 23054.6512 | 105392.6912 | 28%
| v | 300 Sq.mm | KM | 7130311012 | 184835.31 | 155493.03 | 4371.04 | 44761.9396 | 204626.0096 | 28%
| vi | 400 Sq.mm | KM | 7130311013 | 228667.06 | 192017.46 | 5790.17 | 55386.1364 | 253193.7664 | 28%
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 13923.61 | 11700 | 343.8 | 3372.264 | 15416.064 | 28% | ISI MARK
| ii | 25 Sqmm. | Km. | 7130310026 | 19751.44 | 16650 | 429.75 | 4782.33 | 21862.08 | 28% | ISI MARK
| iii | 35 Sqmm. | Km. | 7130310021 | 25579.26 | 21600 | 515.7 | 6192.396 | 28308.096 | 28% | ISI MARK
| iv | 50 Sqmm. | Km. | 7130310022 | 33017.15 | 27900 | 644.63 | 7992.4964 | 36537.1264 | 28% | ISI MARK
| v | 70 Sqmm. | Km. | 7130310007 | 44718.26 | 37800 | 859.5 | 10824.66 | 49484.16 | 28% | ISI MARK
| vi | 120 Sqmm. | Km. | 7130310008 | 80901.12 | 64226.68 | 6112 | 19694.8304 | 90033.5104 | 28% | ISI MARK
| vii | 150 Sqmm. | Km. | 7130310041 | 89436.51 | 75600 | 1719 | 21649.32 | 98968.32 | 28% | ISI MARK
| viii | 185 Sqmm. | Km. | 7130310034 | 122506.27 | 97238.64 | 9274.96 | 29823.808 | 136337.408 | 28% | ISI MARK
| ix | 300 Sqmm. | Km. | 7130310035 | 184621.36 | 146412.57 | 14119.68 | 44949.03 | 205481.28 | 28% | ISI MARK
MULTICORE CABLE
41 |  | A.B. XLPE CABLE :-
45 |  | L.T. A.B. XLPE CABLE :-
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X16+1X16+1x25 | km | 7130310031 | 58927.06 | 49279.85 | 1714.23 | 14278.3424 | 65272.4224 | 28% | ISI MARK
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X25+1X16+1x25 | km | 7130310032 | 68381.41 | 57668.29 | 1461.15 | 16556.2432 | 75685.6832 | 28% | ISI MARK
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X35+1x16+1x25 | km | 7130310033 | 83216.49 | 70058.88 | 1910 | 20151.2864 | 92120.1664 | 28% | ISI MARK
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1x16+1x35 | km | 7130310065 | 108131.45 | 89185.92 | 4507.6 | 26234.1856 | 119927.7056 | 28% | ISI MARK
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X70+1x16+1x50 | km | 7130300025 | 155895.43 | 132426.06 | 2285.32 | 37719.1864 | 172430.5664 | 28% | ISI MARK
| viii | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X16+1x25 | km | 7130310070 | 45159.12 | 38070.91 | 1031.4 | 10948.6468 | 50050.9568 | 28% | ISI MARK
| ix | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X25+1x25 | km | 7130310073 | 60003.09 | 50584.95 | 1370.43 | 14547.5064 | 66502.8864 | 28% | ISI MARK
46 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 903.95 | 727.93 | 58.01 | 141.4692 | 927.4092 | 18%
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 1091.12 | 899 | 47.75 | 170.415 | 1117.165 | 18%
50 |  | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 8314.39 | 6651.04 | 573 | 2022.7312 | 9246.7712 | 28%
| B | Battery (Low Maintenance SAN container) | No. | 7132404366 | 46938.49 | 40500 | 0 | 11340 | 51840 | 28%
63 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 899 | 767 | 9.43 | 139.7574 | 916.1874 | 18% | ISI MARK
64 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 2000 | 1697.4 | 30.79 | 311.0742 | 2039.2642 | 18% | ISI MARK
| ii | CT operated electronic static meters 100/5 Amp. With data storage. | Each | 7131310997 | 2027 | 1735.2 | 15.15 | 315.063 | 2065.413 | 18% | ISI MARK
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 2538 | 2160 | 35.46 | 395.1828 | 2590.6428 | 18% | ISI MARK
| iv | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 11297 | 10062.97 | 71.63 | 1824.228 | 11958.828 | 18% | ISI MARK
65 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S with DLMS Protocol category A | Each | 7131310033 | 3434 | 2928.1 | 38.2 | 533.934 | 3500.234 | 18% | ISI MARK
| ii | 3 Ø 4 Wire 0.5S with DLMS Protocol category B | Each | 7131310034 | 3737 | 3189.54 | 38.2 | 580.9932 | 3808.7332 | 18% | ISI MARK
| iii | 3 Ø 4 Wire 0.2S bulk consumer meter | Each | 7131310036 | 16160 | 13908.5 | 38.2 | 2510.406 | 16457.106 | 18% | ISI MARK
| iv | 3 Ø 3 Wire 0.2S bulk consumer meter | Each | 7131310035 | 16782 | 14479.34 | 0.76 | 2606.418 | 17086.518 | 18% | ISI MARK
| v | 3 Ø 4 Wire 0.5S consumer meter | Each | 7131310013 | 3434 | 2928.1 | 38.2 | 533.934 | 3500.234 | 18% | ISI MARK
| vi | 3 Ø 4 Wire 0.2S 5A bulk consumer meter | Each | 7131310042 | 16160 | 13908.5 | 38.2 | 2510.406 | 16457.106 | 18% | ISI MARK
| vii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 25739.6 | 22100 | 119.38 | 3999.4884 | 26218.8684 | 18%
| viii | Spot Billing Machine | Each | 7131310168 | 11363 | 9804.35 | 0 | 1764.783 | 11569.133 | 18%
66 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 1060500 | 911635.57 | 4966 | 164988.2826 | 1081589.8526 | 18%
68 |  | Universal Meter Box for HT meters. | Each | 7132406425 | 2553 | 2100 | 115.4 | 398.772 | 2614.172 | 18%
69 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 2437 | 2043.5 | 143.25 | 393.615 | 2580.365 | 18%
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 7132406420 | 3123 | 2574 | 187.25 | 497.025 | 3258.275 | 18%
70 |  | RELAYS :-
| ii | Set of 3 O.C. relays instantaneous high set feature numerical | Nos. | 7131334001 | 7296.88 | 6250 | 119.38 | 1783.4264 | 8152.8064 | 28%
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 5933.95 | 6300 | 120.33 | 1797.6924 | 8218.0224 | 28%
| iv | Master trip relays | Nos. | 7131399007 | 936.09 | 1234 | 120.33 | 379.2124 | 1733.5424 | 28%
72 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 14868.37 | 12608.6 | 382 | 2338.308 | 15328.908 | 18%
| ii | 300-150/5 Amps. | Each | 7132230188 | 8940.72 | 7875.09 | 382 | 1486.2762 | 9743.3662 | 18%
73 |  | 33 kV OIL FILLED CT's :-
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 15798.08 | 13505.95 | 286.5 | 2482.641 | 16275.091 | 18%
74 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 351279.38 | 298737.57 | 4775 | 54632.2626 | 358144.8326 | 18%
| ii | 150-75/1-1A | No. | 7132230075 | 354909.19 | 301869.49 | 4775 | 55196.0082 | 361840.4982 | 18%
| iii | 200-100/1-1A | No. | 7132230332 | 325032.96 | 276091.33 | 4775 | 50555.9394 | 331422.2694 | 18%
| iv | 300-150/1-1A | No. | 7132230336 | 284406.84 | 241037.85 | 4775 | 44246.313 | 290059.163 | 18%
| v | 600-300/1-1A | No. | 7132230065 | 310792.88 | 263804.55 | 4775 | 48344.319 | 316923.869 | 18%
75 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 782904.45 | 674207.33 | 1432.5 | 121615.1694 | 797254.9994 | 18%
| ii | 300-150/1-1A | No. | 7132230077 | 512342.93 | 440758.37 | 1432.5 | 79594.3566 | 521785.2266 | 18%
| iii | 600-300/1-1A | No. | 7132230078 | 473950.57 | 407632.23 | 1432.5 | 73631.6514 | 482696.3814 | 18%
| iv | 800-400/1-1A | No. | 7132230039 | 486375.72 | 418353.05 | 1432.5 | 75561.399 | 495346.949 | 18%
77 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 12345.55 | 10410.06 | 382 | 1942.5708 | 12734.6308 | 18%
78 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 17052.95 | 14338.09 | 573 | 2683.9962 | 17595.0862 | 18%
79 |  | 132 kV P.T. | No. | 7132230501 | 243082.7 | 205382.08 | 4775 | 37828.2744 | 247985.3544 | 18%
80 |  | 220 kV P.T. | No. | 7132230511 | 573491.5 | 493519.28 | 1432.5 | 89091.3204 | 584043.1004 | 18%
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| ii | 10/5 A | Each | 7132230395 | 35120.9 | 29431.95 | 955 | 5469.651 | 35856.601 | 18%
| iv | 25/5 A | Each | 7132230401 | 34563.42 | 28950.94 | 955 | 5383.0692 | 35289.0092 | 18%
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| ii | 10/5 A | Each | 7132230448 | 80276.32 | 66912 | 2578.5 | 12508.29 | 81998.79 | 18%
| iii | 20/5 A | Each | 7132230418 | 76262.5 | 63448.74 | 2578.5 | 11884.9032 | 77912.1432 | 18%
| v | 50/5 A | Each | 7132230450 | 74144.1 | 61620.91 | 2578.5 | 11555.8938 | 75755.3038 | 18%
| vi | 100 /5A | Each | 7132230453 | 74751.75 | 62145.21 | 2578.5 | 11650.2678 | 76373.9778 | 18%
| vii | 200/5A | Each | 7132230455 | 74144.1 | 61620.91 | 2578.5 | 11555.8938 | 75755.3038 | 18%
87 |  | 11 kV VCB & CONTROL PANEL : -
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 115339.7 | 97463.79 | 3342.5 | 18145.1322 | 118951.4222 | 18%
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 24968.9258 | 21870 | 119.38 | 6157.0264 | 28146.4064 | 28%
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 25598.5961 | 22900 | 120.33 | 6445.6924 | 29466.0224 | 28%
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 37646.25 | 31500 | 1432.5 | 9221.1 | 42153.6 | 28%
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 37646.25 | 31500 | 1432.5 | 9221.1 | 42153.6 | 28%
88 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 231517.9 | 196529.76 | 5730 | 36406.7568 | 238666.5168 | 18%
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 37646.25 | 31500 | 1432.5 | 9221.1 | 42153.6 | 28%
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 27163.2938 | 24300 | 120.33 | 6837.6924 | 31258.0224 | 28%
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 24553.9198 | 22100 | 120.33 | 6221.6924 | 28442.0224 | 28%
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 37646.25 | 31500 | 1432.5 | 9221.1 | 42153.6 | 28%
100 |  | GSM Modem | Nos. | 7131961526 | 3632 | 3133 | 0 | 563.94 | 3696.94 | 18%
107 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| ii | 20 SWG | Kg | 7131900971 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| iii | 18 SWG | Kg | 7131900973 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| iv | 16 SWG | Kg | 7131900975 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| v | 14 SWG | Kg | 7131900977 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| vi | 12 SWG | Kg | 7131900979 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| vii | 10 SWG | Kg | 7131900981 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
| viii | 8 SWG | Kg | 7131900974 | 566.8 | 483.75 | 5.44 | 88.0542 | 577.2442 | 18%
95 |  | Poly Carbonate seals for meter | Each | 7132444005 | 4.1692 | 5.37 | 0.33 | 1.026 | 6.726 | 18%
NEW MATERIAL ADDED
122 |  | ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 40902.46
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 46928.32
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 83348.01
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 110201.63
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 202198.08
Note on C119: 89326879: NEW ADDED IN 2017-18
Note on F129: 89326879: L-1 rates.
Note on F130: 89326879: L-1 rates

## Ann-2
| Revised Standard Stock Material-2017-18 | [6 empty] | Annexure-2
Amt. in Rs.
Sl.No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | New Bin Code | Previous Rate in SOR 2017-18 | Revised Rate after GST
[6 empty] | Ex-works Rate including Freight charges | Amount of GST | Total rate including GST for purpose of estimation and for drawl from Area store | GST %
1 | 2 |  | 3 | 6 | 5
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 32561.65 | 28376.1656 | 5107.7098 | 33483.8754 | 18% | ISI MARK
| b | 125 x 70 mm | MT | 7130600635 | 28639.5396 | 24958.2044 | 4492.4768 | 29450.6812 | 18%
| B | POLYMER INSULATOR :-
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820011 | 309.06 | 269.3333 | 48.48 | 317.8133 | 18%
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820010 | 142.41 | 124.1046 | 22.3388 | 146.4434 | 18%
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| iv | 10 Core | Km. | 7130310660 | 138875.2194 | 121024.1564 | 33886.7638 | 154910.9202 | 28%
| v | 12 Core | Km. | 7130310662 | 150899.3428 | 131502.6953 | 36820.7547 | 168323.45 | 28%
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 6.0922 | 5.3091 | 1.4866 | 6.7957 | 28%
46 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 76.76 | 66.8932 | 18.7301 | 85.6234 | 28%
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 99.99 | 87.1373 | 24.3984 | 111.5357 | 28%
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 139.38 | 121.4641 | 34.0099 | 155.474 | 28%
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 601.96 | 524.5839 | 146.8835 | 671.4674 | 28%
| 7 | Straight through joints | Nos. | 7130390007 | 164.63 | 143.4684 | 40.1712 | 183.6396 | 28%
| 8 | Service Ring | Nos. | 7130810102 | 335.32 | 292.2179 | 81.821 | 374.0389 | 28%
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 574.69 | 500.8192 | 140.2294 | 641.0485 | 28%
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 417.13 | 363.512 | 101.7834 | 465.2953 | 28%
| 15 | Universal distribution connector | Each | 7130390006 | 109.08 | 95.0588 | 26.6165 | 121.6753 | 28%
70 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 5989.95 | 5220 | 1461.6 | 6681.6 | 28%
73 |  | 33 kV OIL FILLED CT's :-
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 20340.5123 | 17725.9367 | 3190.6686 | 20916.6053 | 18%
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 7.5/5 A | Each | 7132230394 | 39049.032 | 34029.6576 | 6125.3384 | 40154.9959 | 18% | SOR committee recommonded to delete hence not to be used
| iii | 15/5 A | Each | 7132230396 | 35904.0666 | 31288.947 | 5632.0105 | 36920.9574 | 18%
| v | 50/5 A | Each | 7132230414 | 34563.5275 | 30120.7211 | 5421.7298 | 35542.4509 | 18%
| vi | 75/5 A | Each | 7132230406 | 34563.5275 | 30120.7211 | 5421.7298 | 35542.4509 | 18% | SOR committee recommonded to delete hence not to be used
| viii | 200/5 A | Each | 7132230410 | 35840.6025 | 31233.6406 | 5622.0553 | 36855.6959 | 18%
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 5/5 A | Each | 7132230447 | 95522.0486 | 83243.6154 | 14983.8508 | 98227.4661 | 18%
| iv | 30/5 A | Each | 7132230449 | 74144.1 | 64613.5948 | 11630.4471 | 76244.0418 | 18%
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| iii | 50/5 A | Each | 7132230017 | 194952.29 | 169893.0632 | 30580.7514 | 200473.8146 | 18%
| iv | 100/5 A | Each | 7132230015 | 211215.63 | 184065.9085 | 33131.8635 | 217197.772 | 18%
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each |  | 63840 | 55633.9869 | 10014.1176 | 65648.1046 | 18%
| ii | 25/5 A | Each |  | 63840 | 55633.9869 | 10014.1176 | 65648.1046 | 18%
86 |  | Locally fabricated - 3 Phase fuse units (Robust fuse for circuit base). | Each | 7131900005 | 787.2228 | 686.0329 | 123.4859 | 809.5189 | 18%
87 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 310226.654 | 270350.0253 | 48663.0045 | 319013.0298 | 18%
| C | 11 kV CONTROL PANEL : -
93 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set |  | 6609.23 | 5759.6776 | 1036.742 | 6796.4195 | 18%
| ii | 0.2% Reactor suitable for 726 kVAR step | Set |  | 8068.68 | 7031.5294 | 1265.6753 | 8297.2047 | 18%
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. |  | 65219.24 | 56835.939 | 10230.469 | 67066.408 | 18%
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set |  | 26773 | 23331.5904 | 4199.6863 | 27531.2767 | 18%
| v | Mounting GI structure for above isolator | Set |  | 13379.1 | 11659.3464 | 2098.6824 | 13758.0288 | 18%
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. |  | 44956.81 | 39178.0479 | 7052.0486 | 46230.0966 | 18%
| vii | GI Structure for complete Equipment | Kgs. |  | 77.35 | 67.4074 | 12.1333 | 79.5407 | 18%
103 |  | MISCELLANEOUS MATERIALS :-
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 130292.3766 | 113544.5548 | 20438.0199 | 133982.5746 | 18%
Power Transformer 33/11 KV
| i | 1600 kVA | Each | 7132220091 | 768546.3576 | 669757.1744 | 120556.2914 | 790313.4658 | 18%
D.O. Fuse unit polymer type
| i | 11 kV | Each | 7131930110 | 1465.672 | 1277.2741 | 229.9093 | 1507.1834 | 18%
| ii | 33 kV | Each | 7131930111 | 2097.599 | 1827.973 | 329.0351 | 2157.0081 | 18%
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 47797 | 41653.159 | 7497.5686 | 49150.7277 | 18%
| b | 60 kgs per mtr | MT | 7130601072 | 47797 | 41653.159 | 7497.5686 | 49150.7277 | 18%
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 33501.888 | 29195.5451 | 5255.1981 | 34450.7432 | 18%
| b | 75x40 mm | MT | 7130600166 | 33501.888 | 29195.5451 | 5255.1981 | 34450.7432 | 18%
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 38724.966 | 33747.2471 | 6074.5045 | 39821.7515 | 18%
| b | 50x6 mm | MT | 7130600173 | 38724.966 | 33747.2471 | 6074.5045 | 39821.7515 | 18%
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 33501.888 | 29195.5451 | 5255.1981 | 34450.7432 | 18%
| b | 50 x 50 x 6 mm | MT | 7130600023 | 33501.888 | 29195.5451 | 5255.1981 | 34450.7432 | 18%
| c | 75 x 75 x 6 mm | MT | 7130600051 | 33501.888 | 29195.5451 | 5255.1981 | 34450.7432 | 18%
2.5 Sqmm Armoured Cable
| i | 2 Core | Km. | 7130310652 | 75031.4042 | 65386.8446 | 18308.3165 | 83695.1611 | 28% | SOR committee recommonded to delete hence not to be used
| ii | 4 Core | Km. | 7130310654 | 108084.8303 | 94191.5732 | 26373.6405 | 120565.2137 | 28%
Twin core single phase unarmoured Service Cable
| ii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 26.3984 | 23.0051 | 4.1409 | 27.146 | 18%
16 |  | A.A.A.C. CONDUCTORS :-
| i | 0.02 Sq.inch (20/22 Sqmm Al. Eq.) (Squirrel) | Km | 7130830025 | 10663.245 | 9292.5882 | 1672.6659 | 10965.2541 | 18% | SOR committee recommonded to delete hence not to be used
| ii | 0.03 Sq.inch (30/34 Sqmm Al. Eq.) (Weasel) | Km | 7130830026 | 16639.137 | 14500.3373 | 2610.0607 | 17110.398 | 18%
| iii | 0.05 Sq.inch (50/55 Sqmm Al. Eq.) (Rabbit) | Km | 7130830027 | 26206.056 | 22837.5216 | 4110.7539 | 26948.2755 | 18%
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830028 | 32678.244 | 28477.7725 | 5125.9991 | 33603.7716 | 18%
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830084 | 48338.01 | 42124.6275 | 7582.4329 | 49707.0604 | 18%
17 |  | COVERED CONDUCTOR (FOR LAST SPAN OF HT CONSUMERS)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 475.88 | 414.7102 | 74.6478 | 489.3581 | 18%
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 573.64 | 499.9041 | 89.9827 | 589.8869 | 18%
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310043 | 732.52 | 638.3617 | 114.9051 | 753.2668 | 18%
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 675.6 | 588.7582 | 105.9765 | 694.7346 | 18%
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 768.36 | 669.5948 | 120.5271 | 790.1218 | 18%
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 1080.6 | 941.6993 | 169.5059 | 1111.2052 | 18%
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 1522.58 | 1326.8671 | 238.8361 | 1565.7032 | 18%
porcelain insulator
| ii | 11 kV Pin insulator | Each | 7130820071 | 40.7775 | 35.5359 | 6.3965 | 41.9324 | 18%
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 424.576 | 370.0009 | 66.6002 | 436.601 | 18%
| v | 33 kV Post Insulator | Nos. | 7130820027 | 1965.152 | 1712.5508 | 308.2591 | 2020.8099 | 18%
shackle insulator
| b | 65 x 50 mm. | Each | 7130820101 | 10.1241 | 8.8227 | 1.5881 | 10.4108 | 18%
| vii | Stay insulator | Each | 7130820117 | 10.1241 | 8.8227 | 1.5881 | 10.4108 | 18%
| viii | Split insulator | Pair | 7130820018 | 3.7965 | 3.3085 | 0.59553 | 3.904 | 18%
| C | Post Insulator
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 257 | 223.9651 | 40.3137 | 264.2789 | 18%
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 1050 | 915.0327 | 164.7059 | 1079.7386 | 18%
19 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 117.972 | 102.8078 | 18.5054 | 121.3133 | 18%
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 245.097 | 213.5922 | 38.4466 | 252.0387 | 18%
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 2100.105 | 1830.1569 | 329.4282 | 2159.5851 | 18%
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 965.133 | 841.0745 | 151.3934 | 992.4679 | 18%
20 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 38.2228 | 33.3097 | 5.9957 | 39.3054 | 18%
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 33.5783 | 29.2621 | 5.2672 | 34.5293 | 18%
21 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 67.0733 | 58.4517 | 10.5213 | 68.973 | 18%
22 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 223.1923 | 194.5031 | 35.0106 | 229.5136 | 18%
| B | A.B. switch with complete fiting POLYMER TYPE -
| i | 11 kV | Each | 7131930107 | 5537.06 | 4825.3246 | 868.5584 | 5693.8831 | 18%
| ii | 33 kV | Each | 7131930108 | 12078.12 | 10525.5948 | 1894.6071 | 12420.2018 | 18%
24 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 388.6614 | 338.7028 | 60.9665 | 399.6693 | 18%
| ii | 20 mm (Painted) | Each | 7130860033 | 708.1813 | 617.1514 | 111.0873 | 728.2387 | 18%
25 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 58884.6904 | 51315.6343 | 9236.8142 | 60552.4485 | 18%
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 59461.4281 | 51818.238 | 9327.2828 | 61145.5209 | 18%
26 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 96.9563 | 84.4935 | 15.2088 | 99.7023 | 18%
27 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 53181.2389 | 46345.3062 | 8342.1551 | 54687.4613 | 18%
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 53181.2389 | 46345.3062 | 8342.1551 | 54687.4613 | 18%
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 53219.2219 | 46378.4069 | 8348.1132 | 54726.5201 | 18%
28 |  | Barbed wire | MT | 7130610206 | 64218.531 | 55963.8615 | 10073.4951 | 66037.3565 | 18%
29 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 64.6836 | 56.3692 | 10.1465 | 66.5156 | 18%
| ii | 12x100 mm | Kg | 7130620573 | 64.6836 | 56.3692 | 10.1465 | 66.5156 | 18%
| iii | 12x120 mm | Kg | 7130620575 | 65.7617 | 57.3087 | 10.3156 | 67.6242 | 18%
| iv | 12x140 mm | Kg | 7130620577 | 65.7617 | 57.3087 | 10.3156 | 67.6242 | 18%
| v | 16x40 mm | Kg | 7130620609 | 64.6836 | 56.3692 | 10.1465 | 66.5156 | 18%
| vi | 16x65 mm | Kg | 7130620614 | 63.6056 | 55.4297 | 9.9773 | 65.407 | 18%
| vii | 16x90 mm | Kg | 7130620619 | 63.6056 | 55.4297 | 9.9773 | 65.407 | 18%
| viii | 16x100 mm | Kg | 7130620621 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| ix | 16x140 mm | Kg | 7130620625 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| x | 16x160 mm | Kg | 7130620627 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xi | 16x200 mm | Kg | 7130620631 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xii | 16x250 mm | Kg | 7130620637 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xiii | 16x300 mm | Kg | 7130620636 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xiv | 20x75 mm | Kg | 7130620713 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xv | 20x90 mm | Kg | 7130620716 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xvi | 20x110 mm | Kg | 7130620719 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| xvii | 24x120 mm | Kg | 7130620829 | 62.5275 | 54.4902 | 9.8082 | 64.2984 | 18%
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 89.479 | 77.9774 | 14.0359 | 92.0133 | 18%
| ii | 16x65 mm | Kg | 7130620140 | 89.479 | 77.9774 | 14.0359 | 92.0133 | 18%
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 20.2635 | 17.6588 | 4.9445 | 22.6033 | 28%
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 24.3162 | 21.1906 | 5.9334 | 27.124 | 28%
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 35.4612 | 30.903 | 8.6528 | 39.5558 | 28%
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 54.7115 | 47.6789 | 13.3501 | 61.0289 | 28%
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 42.5534 | 37.0836 | 10.3834 | 47.467 | 28%
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 51.672 | 45.03 | 12.6084 | 57.6384 | 28%
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 61.8037 | 53.8595 | 15.0806 | 68.9401 | 28%
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 81.0541 | 70.6353 | 19.7779 | 90.4132 | 28%
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 103.3439 | 90.0601 | 25.2168 | 115.2769 | 28%
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 40290.6914 | 35111.7136 | 9831.2798 | 44942.9934 | 28%
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 57243.9062 | 49885.7571 | 13968.012 | 63853.7691 | 28%
| ii | 16.0 Sqmm. | km | 7130311084 | 60235.9092 | 52493.1671 | 14698.0868 | 67191.2539 | 28%
| iii | 25 Sq.mm. | km | 7130310048 | 81405.8007 | 70941.8742 | 19863.7248 | 90805.599 | 28%
| B4 | 3.5 Core ARMOURED CABLE :-
| i | 70 Sqmm. | km | 7130311054 | 129368.3025 | 112739.2614 | 31566.9932 | 144306.2546 | 28%
| ii | 120 Sqmm. | km | 7130310049 | 352477.6135 | 307170.0335 | 86007.6094 | 393177.6429 | 28%
| iii | 150 Sqmm. | km | 7130311057 | 361336.6423 | 314890.3201 | 88169.2896 | 403059.6097 | 28%
| iv | 300 Sqmm. | km | 7130311061 | 677766.9315 | 590646.5634 | 165381.0377 | 756027.6011 | 28%
| v | 400 Sqmm. | km | 7130310050 | 986859.0692 | 860007.9034 | 240802.213 | 1100810.1164 | 28%
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 836171.5901 | 728689.8388 | 204033.1549 | 932722.9937 | 28%
| b | 3x150 Sq.mm. | km | 7130310052 | 1026448.3296 | 894508.3483 | 250462.3375 | 1144970.6858 | 28%
| c | 3x185 Sq.mm. | km | 7130310053 | 1173189.411 | 1022387.2862 | 286268.4401 | 1308655.7264 | 28%
| d | 3x240 Sq.mm. | km | 7130310054 | 1491831.5594 | 1300071.0758 | 364019.9012 | 1664090.977 | 28%
42 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 17335.5336 | 15107.2188 | 2719.2994 | 17826.5182 | 18%
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 24765.048 | 21581.7412 | 3884.7134 | 25466.4546 | 18%
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set |  | 32929 | 28696.2963 | 5165.3333 | 33861.6296 | 18%
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 9906.0192 | 8632.6965 | 1553.8854 | 10186.5818 | 18%
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 12382.524 | 10790.8706 | 1942.3567 | 12733.2273 | 18%
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 14859.0288 | 12949.0447 | 2330.828 | 15279.8728 | 18%
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 17335.5336 | 15107.2188 | 2719.2994 | 17826.5182 | 18%
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 18573.786 | 16186.3059 | 2913.5351 | 19099.8409 | 18%
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 22288.5432 | 19423.5671 | 3496.2421 | 22919.8091 | 18%
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 779.6404 | 679.4252 | 122.2965 | 801.7217 | 18%
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 842.1784 | 733.9245 | 132.1064 | 866.0309 | 18%
| xii | Cable tie for AB Cable | Each | 7130320045 | 25.0152 | 21.7997 | 3.924 | 25.7237 | 18%
43 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 285170.371 | 248514.4845 | 69584.0557 | 318098.5402 | 28%
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 403443.5963 | 351584.8334 | 98443.7534 | 450028.5867 | 28%
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 603261.3865 | 525717.9839 | 147201.0355 | 672919.0194 | 28%
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 569025.4904 | 495882.7803 | 138847.1785 | 634729.9588 | 28%
44 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 3783.549 | 3297.2105 | 593.4979 | 3890.7083 | 18%
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 3981.586 | 3469.7917 | 624.5625 | 4094.3542 | 18%
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 3757 | 3274.0741 | 589.3333 | 3863.4074 | 18%
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 2396.2477 | 2088.2333 | 375.882 | 2464.1153 | 18%
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 2524.4506 | 2199.9569 | 395.9923 | 2595.9492 | 18%
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 2017.8928 | 1758.5122 | 316.5322 | 2075.0444 | 18%
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 2270.1294 | 1978.3263 | 356.0987 | 2334.425 | 18%
| viii | Cable tie for AB Cable | Each | 7130820029 | 31.269 | 27.2497 | 4.9049 | 32.1546 | 18%
| ix | Surge Arrestor | No |  | 803 | 699.7821 | 125.9608 | 825.7429 | 18%
| x | Ground connection for Messenger Wire | No |  | 122 | 106.3181 | 19.1373 | 125.4553 | 18%
LT A.B XLPE Cable
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1X25+1X16+1x25 | km | 7130310063 | 50223.7248 | 43767.9519 | 12255.0265 | 56022.9785 | 28%
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1X25+1x35 | km | 7130310066 | 118133.4693 | 102948.5572 | 28825.596 | 131774.1532 | 28% | SOR committee recommonded to delete hence not to be used
| x | LT 1 phase 2 Wire AB XLPE Cable 1x16 + 1x25 sqmm. (6% sag) | km |  | 38500.1334 | 33551.3145 | 9394.3681 | 42945.6826 | 28%
ACCESSORIES FOR LT AB XLPE CABLES :-
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 168.8526 | 147.1482 | 26.4867 | 173.6349 | 18%
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 31.269 | 27.2497 | 4.9049 | 32.1546 | 18%
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 420.0469 | 366.0539 | 65.8897 | 431.9437 | 18%
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 28.1421 | 24.5247 | 4.4144 | 28.9392 | 18%
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 5.2115 | 4.5416 | 0.81749 | 5.3591 | 18%
| 17 | Pole Clamp | No. | 7130810077 | 393.9894 | 343.3459 | 61.8023 | 405.1481 | 18%
| 18 | Eye Hook | No. | 7130893004 | 160.5142 | 139.8817 | 25.1787 | 165.0604 | 18%
47 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 803.6133 | 700.3166 | 126.057 | 826.3736 | 18%
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 803.6133 | 700.3166 | 126.057 | 826.3736 | 18%
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 863.0244 | 752.091 | 135.3764 | 887.4674 | 18%
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1213.2372 | 1057.2873 | 190.3117 | 1247.599 | 18%
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 1808.3905 | 1575.9394 | 283.6691 | 1859.6085 | 18%
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 2922.6092 | 2546.9361 | 458.4485 | 3005.3846 | 18%
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 3734.5609 | 3254.5193 | 585.8135 | 3840.3328 | 18%
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x240 Sq.mm. | km | 7130310075 | 1913766.71 | 1667770.5534 | 466975.7549 | 2134746.3083 | 28%
| ii | 3x400 Sq.mm. | km | 7130310020 | 2091390.9236 | 1822562.8964 | 510317.611 | 2332880.5074 | 28%
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 510725.6677 | 445076.8346 | 124621.5137 | 569698.3483 | 28%
| ii | 95 Sq.mm | km | 7130310077 | 516728.1862 | 450307.7875 | 126086.1805 | 576393.968 | 28%
| iii | 120 Sq.mm | km | 7130310078 | 770545.8583 | 671499.6586 | 188019.9044 | 859519.563 | 28%
| iv | 240 Sq.mm | km | 7130310079 | 933600.8122 | 813595.4791 | 227806.7341 | 1041402.2132 | 28%
| v | 400 Sq.mm | km | 7130310080 | 1438438.9166 | 1253541.5395 | 350991.6311 | 1604533.1706 | 28%
49 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 21050.2908 | 18344.48 | 3302.0064 | 21646.4864 | 18%
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 35083.818 | 30574.1333 | 5503.344 | 36077.4773 | 18%
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x70 Sq.mm | Set | 7130352038 | 7879.788 | 6866.9176 | 1236.0452 | 8102.9628 | 18%
| ii | 3x95 Sq.mm | Set | 7130352039 | 8701.1204 | 7582.6757 | 1364.8816 | 8947.5574 | 18%
| iii | 3x150 Sq.mm | Set | 7130352040 | 10187.4402 | 8877.9435 | 1598.0298 | 10475.9734 | 18%
| iv | 3x240 Sq. mm | Set | 7130352041 | 10751.3245 | 9369.346 | 1686.4823 | 11055.8282 | 18%
| v | 3x400 Sq. mm | Set | 7130352042 | 11000.4342 | 9586.435 | 1725.5583 | 11311.9933 | 18%
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 2405.6284 | 2096.4082 | 377.3535 | 2473.7617 | 18%
| ii | 3x240 Sq. mm | Set | 7130352044 | 2560.9311 | 2231.7482 | 401.7147 | 2633.4629 | 18%
| iii | 3x400 Sq. mm | Set | 7130352045 | 2629.7229 | 2291.6975 | 412.5056 | 2704.2031 | 18%
51 |  | Marshelling Box | No. | 7130352046 | 2952.7063 | 2573.1646 | 463.1696 | 3036.3342 | 18%
62 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 288.973 | 251.8284 | 70.5119 | 322.3403 | 28%
| ii | 250 Amps. | Each | 7131900880 | 726.0839 | 632.7528 | 177.1708 | 809.9236 | 28%
| iii | 400 Amps. | Each | 7131900881 | 803.2824 | 700.0283 | 196.0079 | 896.0362 | 28%
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900876 | 112.6682 | 98.1858 | 27.492 | 125.6778 | 28%
| ii | 250 Amps. | Each | 7131900071 | 293.1459 | 255.4649 | 71.5302 | 326.995 | 28%
| iii | 400 Amps. | Each | 7131900072 | 450.6727 | 392.7431 | 109.9681 | 502.7112 | 28%
| vi | Test terminal Box (TTB) | Each | 7131310037 | 870.3205 | 758.4492 | 212.3658 | 970.815 | 28%
67 |  | Prepaid smart Energy Meter with all accessories :-
| i | Single Phase 10-60A | No |  | 10733 | 9353.3769 | 1683.6078 | 11036.9847 | 18% | SOR committee recommonded to delete hence not to be used
| ii | Three Phase 10-60A | No |  | 13532 | 11792.5926 | 2122.6667 | 13915.2593 | 18%
RELAYS :-
| v | Numerical Over current & Earth Fault Protection Relay with accessories | Nos. |  | 10126 | 8824.4009 | 1588.3922 | 10412.793 | 18%
71 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 335.5641 | 292.4306 | 52.6375 | 345.0681 | 18%
| ii | 200/5 Amps. | Each | 7132230019 | 335.5641 | 292.4306 | 52.6375 | 345.0681 | 18%
| iii | 300/5 Amps. | Each | 7132230021 | 268.6604 | 234.1267 | 42.1428 | 276.2695 | 18%
| iv | 500/5 Amps. | Each | 7132230024 | 268.6604 | 234.1267 | 42.1428 | 276.2695 | 18%
33 KV CT's oil filled
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 19565.6808 | 17050.7023 | 3069.1264 | 20119.8287 | 18%
| d | 33 kV CT's (100-50/5) Amps. oil filled | Each | 7132230304 | 15494.2738 | 13502.6351 | 2430.4743 | 15933.1094 | 18% | SOR committee recommonded to delete hence not to be used
76 |  | 11 kV PT Station Type | No |  | 24110 | 21010.8932 | 3781.9608 | 24792.854 | 18%
11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| vii | 300-150/5 A | Each | 7132230399 | 33884.6233 | 29529.0834 | 5315.235 | 34844.3185 | 18%
| ix | 200-100/5 A | Each | 7132230412 | 33506.9418 | 29199.9493 | 5255.9909 | 34455.9401 | 18%
| x | 400-200/5 A | Each | 7132230088 | 33887.6708 | 29531.7393 | 5315.7131 | 34847.4524 | 18%
| xi | 100/5 A | Each | 7132230403 | 33998.5721 | 29628.3853 | 5333.1094 | 34961.4946 | 18% | SOR committee recommonded to delete hence not to be used
33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| viii | 200-100/5 A | Each | 7132230427 | 73936.8941 | 64433.0232 | 11597.9442 | 76030.9673 | 18%
| ix | 300-150/5 A | Each | 7132230089 | 76876.5294 | 66994.7969 | 12059.0634 | 79053.8603 | 18%
| x | 400-200/5 A | Each | 7132230457 | 75720.5026 | 65987.3661 | 11877.7259 | 77865.092 | 18%
INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each |  | 194952.29 | 169893.0632 | 30580.7514 | 200473.8146 | 18%
| ii | 25/5 A | Each |  | 194952.29 | 169893.0632 | 30580.7514 | 200473.8146 | 18%
| v | 200/5 A | Each |  | 211215.63 | 184065.9085 | 33131.8635 | 217197.772 | 18%
82 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 101.4651 | 88.4228 | 15.9161 | 104.3389 | 18%
| ii | 6 to 16 Amps. | Each | 7131820032 | 101.4651 | 88.4228 | 15.9161 | 104.3389 | 18%
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 429.9914 | 374.7202 | 67.4496 | 442.1698 | 18%
| ii | 32 Amps. | Each | 7131820034 | 429.9914 | 374.7202 | 67.4496 | 442.1698 | 18%
83 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 2864.2651 | 2496.0916 | 449.2965 | 2945.388 | 18%
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 3103.3724 | 2704.464 | 486.8035 | 3191.2675 | 18%
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 3103.3724 | 2704.464 | 486.8035 | 3191.2675 | 18%
84 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 2267.5013 | 1976.036 | 355.6865 | 2331.7225 | 18%
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 2387.055 | 2080.2222 | 374.44 | 2454.6622 | 18%
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 5192.0456 | 4524.6584 | 814.4385 | 5339.0969 | 18%
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 22677.0225 | 19762.1111 | 3557.18 | 23319.2911 | 18%
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 22677.0225 | 19762.1111 | 3557.18 | 23319.2911 | 18%
85 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 13689.5682 | 11929.9069 | 2147.3832 | 14077.2902 | 18%
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 17111.9603 | 14912.3837 | 2684.2291 | 17596.6127 | 18%
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 34223.9205 | 29824.7673 | 5368.4581 | 35193.2254 | 18%
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 45631.894 | 39766.3564 | 7157.9442 | 46924.3006 | 18%
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 56921.6394 | 49604.9145 | 8928.8846 | 58533.7991 | 18%
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each |  | 81179 | 70744.2266 | 12733.9608 | 83478.1874 | 18%
89 |  | 11 kV Sectionalizer. | Each | 7131950016 | 345549.3627 | 301132.3422 | 54203.8216 | 355336.1638 | 18%
90 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 20676.97 | 18019.1459 | 3243.4463 | 21262.5922 | 18%
| ii | 33 kV ; 600 Amps with earth switch. | Each | 7131930109 | 40386.0818 | 35194.8425 | 6335.0716 | 41529.9141 | 18%
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 35783.7562 | 31184.1013 | 5613.1382 | 36797.2395 | 18%
91 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 1636.5288 | 1426.1689 | 256.7104 | 1682.8793 | 18%
| ii | 10 kVAR | Each | 7132200813 | 3272.0335 | 2851.4453 | 513.2601 | 3364.7054 | 18%
| iii | 12 kVAR | Each | 7132200814 | 3931.5607 | 3426.1967 | 616.7154 | 4042.9121 | 18%
| iv | 20 kVAR | Each | 7132200815 | 6524.6088 | 5685.9336 | 1023.468 | 6709.4016 | 18%
92 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin/Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 136101.3463 | 118606.8377 | 21349.2308 | 139956.0685 | 18%
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 179969.3954 | 156836.0744 | 28230.4934 | 185066.5678 | 18%
| iii | 11 kV 3 PH Residual Voltage Transformer | Each |  | 32406 | 28240.5229 | 5083.2941 | 33323.817 | 18%
98 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 4348.496 | 3789.539 | 682.117 | 4471.6561 | 18%
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 5486.7465 | 4781.4785 | 860.6661 | 5642.1446 | 18%
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 12443.9412 | 10844.3932 | 1951.9908 | 12796.3839 | 18%
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 13036.5098 | 11360.7928 | 2044.9427 | 13405.7356 | 18%
101 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 2.0444 | 1.7816 | 0.32069 | 2.1023 | 18%
| 2 | 16 Sq mm | Nos. | 7130354275 | 2.0444 | 1.7816 | 0.32069 | 2.1023 | 18%
| 3 | 25 Sq mm | Nos. | 7130354276 | 4.0888 | 3.5632 | 0.64138 | 4.2046 | 18%
| 4 | 32 Sq mm | Nos. | 7130354277 | 5.111 | 4.454 | 0.80172 | 5.2557 | 18%
| 5 | 50 Sq mm | Nos. | 7130354278 | 8.1776 | 7.1264 | 1.2828 | 8.4092 | 18%
| 6 | 70 Sq mm | Nos. | 7130354279 | 12.2664 | 10.6897 | 1.9241 | 12.6138 | 18%
| 7 | 95 Sq mm | Nos. | 7130354280 | 15.333 | 13.3621 | 2.4052 | 15.7672 | 18%
| 8 | 120 Sq mm | Nos. | 7130354281 | 21.4662 | 18.7069 | 3.3672 | 22.0741 | 18%
| 9 | 150 Sq mm | Nos. | 7130354282 | 24.5328 | 21.3793 | 3.8483 | 25.2276 | 18%
| 10 | 185 Sq mm | Nos. | 7130354283 | 38.8436 | 33.8506 | 6.0931 | 39.9437 | 18%
| 11 | 225 Sq mm | Nos. | 7130354284 | 43.9545 | 38.3046 | 6.8948 | 45.1994 | 18%
| 12 | 240 Sq mm | Nos. | 7130354285 | 63.3763 | 55.2299 | 9.9414 | 65.1713 | 18%
| 13 | 300 Sq mm | Nos. | 7130354286 | 74.6205 | 65.0288 | 11.7052 | 76.7339 | 18%
| 14 | 400 Sq mm | Nos. | 7130354287 | 96.0867 | 83.7357 | 15.0724 | 98.8081 | 18%
106 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 7.2961 | 6.3583 | 1.1445 | 7.5027 | 18%
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 12.5076 | 10.8999 | 1.962 | 12.8618 | 18%
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 13.5499 | 11.8082 | 2.1255 | 13.9337 | 18%
108 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 87.3801 | 76.1482 | 13.7067 | 89.8549 | 18%
109 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 66.0431 | 57.5539 | 10.3597 | 67.9136 | 18%
110 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 4058.6917 | 3536.9862 | 636.6575 | 4173.6437 | 18%
111 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end . | No | 7130642039 | 798.5476 | 695.902 | 125.2624 | 821.1644 | 18%
112 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set |  | 57.3265 | 49.9577 | 8.9924 | 58.9501 | 18%
113 |  | Cable Cutter | No. |  | 479.458 | 417.8283 | 116.9919 | 534.8203 | 28%
114 |  | Load Break Switches
| i | Load break switches only without panel | Unit |  | 41210 | 35912.854 | 6464.3137 | 42377.1678 | 18%
| ii | Load break switches with panel | Unit |  | 89830 | 78283.2244 | 14090.9804 | 92374.2048 | 18%
| iii | 3 Way Load break switch | Unit |  | 290610 | 253254.902 | 45585.8824 | 298840.7843 | 18%
117 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type]
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 739453 | 644403.4858 | 115992.6275 | 760396.1133 | 18%
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 1050370 | 915355.1198 | 164763.9216 | 1080119.0414 | 18%
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1355749 | 1181480.61 | 212666.5098 | 1394147.1198 | 18%
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 1661128 | 1447606.1002 | 260569.098 | 1708175.1983 | 18%
| v | 1OD for RMU | Unit | 7131941767 | 266070 | 231869.281 | 41736.4706 | 273605.7516 | 18%
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 310917 | 270951.634 | 48771.2941 | 319722.9281 | 18%
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 224731.89 | 195844.7843 | 35252.0612 | 231096.8455 | 18%
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 415558.95 | 362142.8758 | 65185.7176 | 427328.5935 | 18%
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 504187.46 | 439379.0501 | 79088.229 | 518467.2791 | 18%
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 803418.39 | 700146.7451 | 126026.4141 | 826173.1592 | 18%
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1270584.8 | 1107263.4423 | 199307.4196 | 1306570.8619 | 18%
Note on C246: 89326879: Earlier name was - End terminating jointing kit for 240 sqmm XLPE cable
Note on C366: 89326879: Earlier name was - 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar