## D5 17 Towns (2)
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jun'20
Period: |  | 1st May'20 to 31st May'20
Number of Towns: |  | 448
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV DCROAD | 2121 | 41 | 57900 | 2000014951
2 | AMBIKAPUR TOWN | 11KV SONPUR | 180 | 46 | 108420 | 2000014954
3 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 54 | 71220 | 2000014957
4 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 51 | 96780 | 2000014959
5 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 741 | 46 | 65520 | 2000003848
6 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2613 | 38 | 70500 | 2000003849
7 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2625 | 39 | 165420 | 2000003850
8 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2944 | 24 | 62040 | 2000014963
9 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1195 | 33 | 72000 | 2000003852
10 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1668 | 29 | 89700 | 2000003853
11 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 177 | 71 | 145020 | 2000015334
12 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 969 | 21 | 48720 | 2000003847
13 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 450 | 10 | 39480 | 2000071572
14 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2492 | 52 | 137700 | 2000071573
15 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 33 | 72960 | 2000071574
16 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 510 | 27 | 64080 | 2000003844
17 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 294 | 54 | 86520 | 2000003841
18 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 358 | 41 | 23340 | 2000001005
19 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 273 | 58 | 36900 | 2000001007
20 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1391 | 3 | 11220 | 2000001009
21 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 556 | 15 | 30480 | 2000001011
22 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 730 | 17 | 25740 | 2000006377
23 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 763 | 30 | 65640 | 2000006347
24 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1940 | 14 | 38400 | 2000004868
25 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1984 | 7 | 5760 | 2000004869
26 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1913 | 22 | 34380 | 2000004870
27 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1713 | 26 | 26580 | 2000004871
28 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1944 | 19 | 34200 | 2000004874
29 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 188 | 26 | 43380 | 2000004875
30 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 1944 | 13 | 19740 | 2000004876
31 | BILASPUR TOWN | 11KV DHEKA FEEDER | 351 | 28 | 48780 | 2000004877
32 | BILASPUR TOWN | 11KV DHUMA FEEDER | 994 | 13 | 33180 | 2000004878
33 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 562 | 30 | 58620 | 2000004879
34 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1254 | 18 | 44220 | 2000004881
35 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3506 | 20 | 25800 | 2000004882
36 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1354 | 24 | 30660 | 2000004883
37 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1940 | 23 | 36900 | 2000004884
38 | BILASPUR TOWN | 11KV HARDIFEEDER | 1244 | 25 | 38820 | 2000004885
39 | BILASPUR TOWN | 11KV HEMUN FEEDER | 3054 | 26 | 43980 | 2000004886
40 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2037 | 25 | 61920 | 2000004888
41 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2646 | 25 | 46560 | 2000004889
42 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 7 | 5520 | 2000004890
43 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1247 | 15 | 23640 | 2000004891
44 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 602 | 8 | 29280 | 2000004892
45 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3025 | 18 | 20040 | 2000004893
46 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 2 | 28 | 29340 | 2000004894
47 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2160 | 26 | 26580 | 2000004896
48 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 827 | 36 | 70560 | 2000004897
49 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1285 | 37 | 55440 | 2000004898
50 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1179 | 22 | 32220 | 2000004899
51 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1253 | 32 | 60480 | 2000004900
52 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2747 | 26 | 38640 | 2000004901
53 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 159 | 13 | 19320 | 2000004903
54 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2970 | 20 | 31320 | 2000004904
55 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2786 | 18 | 33840 | 2000004905
56 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3072 | 7 | 5640 | 2000004906
57 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2086 | 16 | 26700 | 2000004907
58 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 823 | 11 | 16920 | 2000004908
59 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4623 | 20 | 42600 | 2000004909
60 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3844 | 9 | 13500 | 2000004910
61 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1250 | 17 | 27000 | 2000004911
62 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1764 | 17 | 15180 | 2000004912
63 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1959 | 23 | 27600 | 2000004913
64 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2542 | 26 | 44340 | 2000004914
65 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 652 | 24 | 34800 | 2000004915
66 | BILASPUR TOWN | 11KV RULER FEEDER | 1901 | 26 | 63780 | 2000004916
67 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2633 | 14 | 29280 | 2000004917
68 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1686 | 17 | 17340 | 2000004919
69 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3415 | 14 | 77040 | 2000004920
70 | BILASPUR TOWN | 11KV TORWA FEEDER | 2409 | 25 | 46200 | 2000004921
71 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 796 | 29 | 48180 | 2000004924
72 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2408 | 24 | 30180 | 2000004925
73 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2753 | 18 | 16440 | 2000004926
74 | BILASPUR TOWN | 11KV TV FEEDER | 2637 | 19 | 32940 | 2000016309
75 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1205 | 20 | 35160 | 2000016310
76 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1111 | 21 | 32520 | 2000016311
77 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 633 | 28 | 34380 | 2000016312
78 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1199 | 27 | 34200 | 2000016314
79 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 197 | 25 | 42480 | 2000016315
80 | BILASPUR TOWN | 11KV NEW MOPKA | 1444 | 25 | 38160 | 2000017224
81 | BILASPUR TOWN | 11KV SHIVAM CITY | 1794 | 15 | 24960 | 2000017225
82 | BILASPUR TOWN | 11KV MAHAVEER CITY | 313 | 20 | 27420 | 2000017226
83 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 12 | 15060 | 2000017502
84 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2467 | 16 | 29520 | 2000017505
85 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1030 | 31 | 50460 | 2000017776
86 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 37 | 49440 | 2000017777
87 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 244 | 32 | 42960 | 2000017778
88 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 407 | 33 | 63060 | 2000017780
89 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 363 | 34 | 59640 | 2000017781
90 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1130 | 23 | 26580 | 2000018403
91 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2181 | 16 | 21300 | 2000018405
92 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 812 | 16 | 15120 | 2000018761
93 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1860 | 21 | 22440 | 2000018762
94 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 478 | 22 | 27660 | 2000018763
95 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 18 | 33540 | 2000020488
96 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1304 | 12 | 22620 | 2000020489
97 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1281 | 17 | 14280 | 2000020490
98 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 15 | 31140 | 2000020582
99 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1027 | 13 | 21120 | 2000020583
100 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 134 | 24 | 35820 | 2000022056
101 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1749 | 14 | 33420 | 2000022059
102 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1767 | 16 | 29220 | 2000022060
103 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1497 | 24 | 34860 | 2000022061
104 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 936 | 39 | 47040 | 2000022135
105 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 458 | 31 | 55320 | 2000023801
106 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 328 | 37 | 51600 | 2000023802
107 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1024 | 34 | 37560 | 2000023803
108 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 120 | 13 | 19680 | 2000027413
109 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1252 | 14 | 16380 | 2000001813
110 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1759 | 9 | 20340 | 2000001809
111 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2432 | 25 | 44760 | 2000001808
112 | CHAMPA TOWN | 11KV KURDAFEEDER | 1638 | 49 | 90720 | 2000001807
113 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 270 | 6 | 5160 | 2000001804
114 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 732 | 47 | 141240 | 2000015251
115 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 218 | 36 | 124440 | 2000015252
116 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2067 | 16 | 46740 | 2000003196
117 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 193 | 20 | 102660 | 2000006348
118 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 500 | 12 | 9720 | 2000015505
119 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 40 | 65940 | 2000002577
120 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 19 | 13200 | 2000002573
121 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 958 | 26 | 41880 | 2000002572
122 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2113 | 24 | 33060 | 2000002571
123 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 19 | 43680 | 2000002567
124 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 357 | 19 | 37620 | 2000004308
125 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 815 | 12 | 42840 | 2000007685
126 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3320 | 9 | 22500 | 2000007692
127 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 2546 | 7 | 22740 | 2000007706
128 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1625 | 2 | 4140 | 2000007709
129 | DURG BHILAI CHARODA TOWN | 11KV HANUMANNAGAR FEEDER | 1086 | 11 | 29460 | 2000007713
130 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1407 | 28 | 81300 | 2000007715
131 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1705 | 16 | 20040 | 2000007725
132 | DURG BHILAI CHARODA TOWN | 11KV KAILASHNAGAR FEEDER | 1434 | 6 | 22140 | 2000007727
133 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3419 | 1 | 660 | 2000007728
134 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 944 | 61 | 121800 | 2000007731
135 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1058 | 21 | 27660 | 2000007732
136 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 741 | 15 | 13200 | 2000007735
137 | DURG BHILAI CHARODA TOWN | 11KV NEHRUNAGAR FEEDER | 891 | 7 | 22800 | 2000007740
138 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2431 | 29 | 84840 | 2000007742
139 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1159 | 30 | 82380 | 2000007743
140 | DURG BHILAI CHARODA TOWN | 11KV BHILAI SCAN FEEDER | 870 | 8 | 23400 | 2000007748
141 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1950 | 22 | 41520 | 2000007754
142 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUMPARK FEEDER | 537 | 10 | 30720 | 2000007755
143 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1038 | 42 | 118680 | 2000007762
144 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1221 | 8 | 11940 | 2000007776
145 | DURG BHILAI CHARODA TOWN | 11KV TRIVENINAGAR FEEDER | 1316 | 13 | 59460 | 2000007777
146 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 647 | 18 | 40680 | 2000007778
147 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1081 | 10 | 15900 | 2000007779
148 | DURG BHILAI CHARODA TOWN | 11KV VAISHALINAGAR FEEDER | 1766 | 8 | 39840 | 2000007783
149 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7514 | 44 | 85320 | 2000016889
150 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2350 | 20 | 33720 | 2000017000
151 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2465 | 29 | 219900 | 2000017052
152 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1295 | 54 | 168540 | 2000017054
153 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1172 | 10 | 31320 | 2000017055
154 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 934 | 19 | 44940 | 2000017056
155 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 775 | 10 | 14640 | 2000017057
156 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 920 | 10 | 20640 | 2000017058
157 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2107 | 9 | 9180 | 2000017059
158 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 522 | 11 | 39780 | 2000017060
159 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1062 | 8 | 14220 | 2000017061
160 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 17 | 54540 | 2000017062
161 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1767 | 17 | 54420 | 2000017063
162 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1531 | 7 | 5460 | 2000017064
163 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1360 | 24 | 27420 | 2000017065
164 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1203 | 50 | 135720 | 2000017066
165 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 564 | 12 | 13080 | 2000017067
166 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2202 | 16 | 17040 | 2000017068
167 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 899 | 23 | 27540 | 2000017069
168 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2019 | 24 | 27180 | 2000017071
169 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 32 | 73860 | 2000017072
170 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 486 | 20 | 33900 | 2000017080
171 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2427 | 51 | 145080 | 2000018574
172 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 300 | 48 | 124020 | 2000018704
173 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1391 | 48 | 137160 | 2000018705
174 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1827 | 42 | 105480 | 2000018706
175 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 645 | 14 | 10800 | 2000018707
176 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1732 | 27 | 50880 | 2000018723
177 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 73 | 3 | 21180 | 2000018987
178 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 726 | 8 | 7260 | 2000019819
179 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1080 | 15 | 33360 | 2000020519
180 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3120 | 21 | 37560 | 2000021263
181 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1333 | 22 | 24240 | 2000021264
182 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1136 | 12 | 14280 | 2000021357
183 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3204 | 21 | 53940 | 2000023773
184 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 12 | 19860 | 2000025794
185 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 6 | 12900 | 2000027337
186 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1178 | 51 | 298440 | 2000029191
187 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 676 | 23 | 208500 | 2000029192
188 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1642 | 59 | 214200 | 2000029193
189 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1672 | 26 | 61020 | 2000049757
190 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 24 | 49680 | 2000049820
191 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1428 | 6 | 4320 | 2000067876
192 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2355 | 6 | 4320 | 2000067877
193 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1703 | 4 | 3420 | 2000067878
194 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 7 | 9120 | 2000068108
195 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 36 | 8 | 11220 | 2000068109
196 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 8 | 11100 | 2000068110
197 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 150 | 7 | 5400 | 2000075565
198 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1467 | 61 | 147000 | 2000075806
199 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1244 | 40 | 47040 | 2000075812
200 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1193 | 7 | 3840 | 2000075971
201 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3533 | 3 | 3300 | 2000004338
202 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2381 | 8 | 7440 | 2000004336
203 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1397 | 4 | 9120 | 2000004331
204 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2088 | 1 | 420 | 2000004341
205 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2473 | 10 | 3900 | 2000004343
206 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1736 | 2 | 1680 | 2000004344
207 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3643 | 8 | 5040 | 2000004346
208 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3843 | 10 | 6960 | 2000004348
209 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2040 | 11 | 37200 | 2000075216
210 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 367 | 22 | 19260 | 2000075799
211 | KANKER TOWN | 11KV PATOD FEEDER | 1278 | 24 | 25740 | 2000002909
212 | KANKER TOWN | 11KV KESHKAL FEEDER | 203 | 23 | 23760 | 2000002907
213 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 3130 | 20 | 50520 | 2000002906
214 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 2382 | 1 | 540 | 2000002905
215 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1699 | 28 | 37320 | 2000015850
216 | KORBA TOWN | 11KV ABC FEEDER | 1534 | 16 | 21600 | 2000006759
217 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 7 | 16380 | 2000075797
218 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 25 | 75900 | 2000021425
219 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 220 | 19 | 44100 | 2000021289
220 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1450 | 29 | 62100 | 2000020122
221 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 26 | 52980 | 2000020121
222 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1965 | 28 | 40440 | 2000020065
223 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 21 | 45000 | 2000018988
224 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 399 | 36 | 56040 | 2000017805
225 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2124 | 41 | 96480 | 2000017804
226 | KORBA TOWN | 11KV BULGI FEEDER | 2447 | 10 | 10680 | 2000016255
227 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1918 | 21 | 27480 | 2000016201
228 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 78 | 122640 | 2000016028
229 | KORBA TOWN | 11KV SEMIPALI | 444 | 24 | 80280 | 2000015240
230 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1500 | 14 | 19560 | 2000006798
231 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 24 | 85500 | 2000006796
232 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2345 | 24 | 85500 | 2000006795
233 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 22 | 35880 | 2000006790
234 | KORBA TOWN | 11KV PARSABADA FEEDER | 1376 | 51 | 104640 | 2000006789
235 | KORBA TOWN | 11KV POWERCITY FEEDER | 1925 | 10 | 10560 | 2000006788
236 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1205 | 30 | 93960 | 2000006787
237 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1880 | 35 | 66240 | 2000006786
238 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 255 | 42 | 118440 | 2000006776
239 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 915 | 31 | 43680 | 2000006775
240 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 794 | 55 | 118320 | 2000006773
241 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 34 | 129960 | 2000006770
242 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 25 | 68340 | 2000006768
243 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1893 | 38 | 54840 | 2000006763
244 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3668 | 16 | 34980 | 2000006761
245 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 3150 | 2 | 1980 | 2000001424
246 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 35 | 109920 | 2000001425
247 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 768 | 17 | 40980 | 2000001426
248 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1766 | 20 | 46500 | 2000001427
249 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6053 | 46 | 76140 | 2000003057
250 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 908 | 32 | 54180 | 2000068276
251 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1835 | 40 | 48720 | 2000055675
252 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 103 | 39 | 120960 | 2000002458
253 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 160 | 33 | 50700 | 2000015467
254 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 109 | 18 | 16560 | 2000001623
255 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 53 | 2 | 2160 | 2000001626
256 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 226 | 17 | 26880 | 2000001637
257 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 584 | 81 | 97200 | 2000001632
258 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 1508 | 24 | 37560 | 2000001631
259 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 2182 | 22 | 42840 | 2000001630
260 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 949 | 28 | 23220 | 2000003308
261 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1566 | 31 | 55560 | 2000021639
262 | RAIGARH TOWN | 11KV STADIUM FEEDER | 668 | 28 | 57900 | 2000022941
263 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 350 | 31 | 39300 | 2000029091
264 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1248 | 8 | 5280 | 2000003305
265 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1384 | 12 | 15840 | 2000003301
266 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1654 | 7 | 4980 | 2000003303
267 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1461 | 8 | 5100 | 2000003304
268 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3177 | 30 | 81120 | 2000003325
269 | RAIGARH TOWN | 11KV STATION FEEDER | 1577 | 30 | 31380 | 2000003324
270 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1299 | 25 | 33480 | 2000016051
271 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1120 | 31 | 54600 | 2000016052
272 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1066 | 17 | 24780 | 2000016053
273 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 18 | 25620 | 2000016054
274 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1149 | 20 | 53580 | 2000016055
275 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 620 | 22 | 52620 | 2000016057
276 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 547 | 26 | 31740 | 2000016184
277 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1860 | 26 | 30300 | 2000016185
278 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 24 | 34500 | 2000003323
279 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1084 | 22 | 78360 | 2000003322
280 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 841 | 43 | 186720 | 2000003321
281 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 19 | 46800 | 2000016056
282 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 612 | 35 | 94680 | 2000003320
283 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 421 | 11 | 21120 | 2000017956
284 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2267 | 7 | 4980 | 2000003315
285 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2321 | 37 | 43740 | 2000003313
286 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1327 | 24 | 32640 | 2000003311
287 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 665 | 21 | 49200 | 2000020756
288 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1184 | 7 | 4680 | 2000003310
289 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1473 | 8 | 8280 | 2000010588
290 | RAIPUR TOWN | 11KV ATARI FEEDER | 912 | 19 | 21240 | 2000010604
291 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 320 | 9 | 16320 | 2000010605
292 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 149 | 16 | 29880 | 2000010615
293 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2633 | 7 | 4800 | 2000010631
294 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2344 | 7 | 4800 | 2000010632
295 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2300 | 10 | 36420 | 2000010640
296 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 778 | 10 | 19200 | 2000010651
297 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 410 | 13 | 109140 | 2000010658
298 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 7 | 11580 | 2000010660
299 | RAIPUR TOWN | 11KV LALBAG FEEDER | 936 | 13 | 21660 | 2000010665
300 | RAIPUR TOWN | 11KV MINING FEEDER | 613 | 6 | 8040 | 2000010669
301 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1322 | 6 | 20160 | 2000010691
302 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3389 | 9 | 20940 | 2000010692
303 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2605 | 4 | 3120 | 2000010693
304 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 6 | 5 | 3000 | 2000010694
305 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2888 | 13 | 46680 | 2000010698
306 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1315 | 9 | 36240 | 2000010699
307 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 105 | 19 | 30840 | 2000010702
308 | RAIPUR TOWN | 11KV RULAR FEEDER | 580 | 20 | 53160 | 2000010703
309 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 512 | 11 | 24960 | 2000010707
310 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 973 | 43 | 112860 | 2000010712
311 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1570 | 24 | 38520 | 2000010714
312 | RAIPUR TOWN | 11KV SARORA FEEDER | 979 | 10 | 10560 | 2000010720
313 | RAIPUR TOWN | 11KV SECTOR -5 | 758 | 4 | 11400 | 2000010721
314 | RAIPUR TOWN | 11KV TOWN FEEDER | 2492 | 3 | 3240 | 2000010730
315 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2960 | 19 | 26220 | 2000010740
316 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1241 | 23 | 34800 | 2000017508
317 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2486 | 5 | 15300 | 2000017567
318 | RAIPUR TOWN | 11KV WHITE HOUSE | 796 | 8 | 7320 | 2000017568
319 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 606 | 4 | 4260 | 2000017569
320 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 703 | 10 | 32040 | 2000017590
321 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1584 | 14 | 29160 | 2000017597
322 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2293 | 19 | 33060 | 2000017600
323 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1798 | 10 | 34440 | 2000017608
324 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 804 | 9 | 6900 | 2000017609
325 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 5 | 3720 | 2000017613
326 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 854 | 7 | 15480 | 2000017615
327 | RAIPUR TOWN | 11KV COLONY FEEDER | 29 | 2 | 1620 | 2000017619
328 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2048 | 7 | 18900 | 2000017621
329 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCON | 784 | 21 | 31380 | 2000017624
330 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 852 | 11 | 7020 | 2000017628
331 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1744 | 11 | 22320 | 2000017690
332 | RAIPUR TOWN | 11KV ROMAN SQUARE | 654 | 7 | 30780 | 2000017691
333 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 213 | 8 | 23160 | 2000017692
334 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 809 | 3 | 17460 | 2000017721
335 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1075 | 15 | 25920 | 2000017755
336 | RAIPUR TOWN | 11KV MOTHER TERESA | 822 | 15 | 40380 | 2000017756
337 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 511 | 14 | 23160 | 2000017757
338 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1180 | 26 | 82380 | 2000017768
339 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1197 | 21 | 42720 | 2000017771
340 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1457 | 17 | 40200 | 2000017772
341 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 669 | 20 | 39720 | 2000017773
342 | RAIPUR TOWN | 11KV PURANI BASTI | 712 | 8 | 13500 | 2000017817
343 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1152 | 20 | 36060 | 2000017867
344 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1950 | 10 | 28980 | 2000017868
345 | RAIPUR TOWN | 11KV GANESH MANDIR | 234 | 8 | 11580 | 2000017869
346 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1405 | 6 | 20820 | 2000017870
347 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 27 | 88500 | 2000017871
348 | RAIPUR TOWN | 11KV NAVEEN MARKET | 889 | 25 | 75540 | 2000017953
349 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2722 | 9 | 27600 | 2000017954
350 | RAIPUR TOWN | 11KV MG ROAD | 1622 | 29 | 81960 | 2000017955
351 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 333 | 13 | 10980 | 2000018004
352 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 19 | 35280 | 2000018005
353 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1618 | 14 | 27240 | 2000018006
354 | RAIPUR TOWN | 11KV MANDI | 665 | 4 | 11400 | 2000018020
355 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 368 | 12 | 23040 | 2000018359
356 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 10 | 19920 | 2000018378
357 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 989 | 6 | 19200 | 2000018394
358 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 227 | 19 | 39480 | 2000018406
359 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 18 | 43500 | 2000018416
360 | RAIPUR TOWN | 11KV Umiya Market Feeder | 473 | 25 | 70080 | 2000018421
361 | RAIPUR TOWN | 11KV VARUN FEEDER | 1139 | 10 | 10320 | 2000019179
362 | RAIPUR TOWN | 11KV HEERA FEEDER | 3042 | 7 | 7860 | 2000019180
363 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 486 | 17 | 32460 | 2000019181
364 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1641 | 16 | 45120 | 2000019184
365 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1218 | 18 | 29880 | 2000019334
366 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1249 | 1 | 780 | 2000019340
367 | RAIPUR TOWN | 11KV CTI FEEDER | 258 | 5 | 51960 | 2000019342
368 | RAIPUR TOWN | 11KV PS CITY | 1349 | 18 | 32340 | 2000019530
369 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 191 | 9 | 9120 | 2000019850
370 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 129 | 9 | 9360 | 2000019851
371 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 176 | 6 | 5820 | 2000019853
372 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1826 | 11 | 25200 | 2000019857
373 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1560 | 11 | 12480 | 2000019858
374 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2121 | 13 | 11820 | 2000020009
375 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1704 | 8 | 22500 | 2000020119
376 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1211 | 11 | 12600 | 2000020120
377 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 9 | 5160 | 2000020123
378 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 8 | 20820 | 2000020130
379 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 175 | 6 | 6600 | 2000020131
380 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3310 | 27 | 60180 | 2000020153
381 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 356 | 11 | 26220 | 2000020193
382 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1037 | 9 | 24000 | 2000020194
383 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1714 | 11 | 27000 | 2000021219
384 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1400 | 25 | 70800 | 2000021220
385 | RAIPUR TOWN | 11KV TARUN NAGAR | 1830 | 12 | 26160 | 2000021221
386 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 746 | 33 | 85860 | 2000021286
387 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1396 | 14 | 23520 | 2000021287
388 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 8 | 18780 | 2000021615
389 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1367 | 25 | 76860 | 2000022077
390 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 804 | 6 | 5040 | 2000022078
391 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1349 | 22 | 69960 | 2000022079
392 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1407 | 13 | 25320 | 2000023680
393 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1583 | 11 | 7440 | 2000023735
394 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 134 | 15 | 25200 | 2000023736
395 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1650 | 11 | 13620 | 2000023772
396 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1117 | 10 | 16860 | 2000024395
397 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 3 | 1320 | 2000026462
398 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2322 | 17 | 26400 | 2000026575
399 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1539 | 12 | 12240 | 2000026582
400 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 999 | 6 | 14580 | 2000026583
401 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1068 | 7 | 7080 | 2000026584
402 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 630 | 20 | 32520 | 2000026585
403 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1264 | 16 | 28920 | 2000026586
404 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 328 | 12 | 15360 | 2000029194
405 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 140 | 6 | 9120 | 2000029195
406 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1319 | 44 | 131820 | 2000034421
407 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 761 | 11 | 7440 | 2000034422
408 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 743 | 16 | 18180 | 2000034423
409 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2609 | 7 | 6540 | 2000034760
410 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 401 | 6 | 4560 | 2000034761
411 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1688 | 6 | 4680 | 2000034762
412 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 11 | 11640 | 2000046448
413 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 902 | 12 | 13440 | 2000046477
414 | RAIPUR TOWN | 11KV KACHNA FEEDER | 102 | 37 | 52980 | 2000063983
415 | RAIPUR TOWN | 11KV ITI FEEDER | 295 | 22 | 25260 | 2000063985
416 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 1664 | 3 | 2640 | 2000068159
417 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 8 | 14460 | 2000069376
418 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 20 | 28500 | 2000070080
419 | RAIPUR TOWN | 11KV C&F FEEDER | 29 | 11 | 18660 | 2000070702
420 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 27 | 11 | 18780 | 2000070703
421 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1031 | 13 | 35040 | 2000070747
422 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2520 | 13 | 14460 | 2000071570
423 | RAIPUR TOWN | 11KV KARA FEEDER | 406 | 25 | 26040 | 2000071634
424 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 124 | 9 | 11400 | 2000071639
425 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2596 | 16 | 28860 | 2000072091
426 | RAIPUR TOWN | 11KV Simran City Feeder | 1069 | 19 | 92460 | 2000074141
427 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 941 | 16 | 28620 | 2000075796
428 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3370 | 20 | 26340 | 2000075800
429 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 41 | 8 | 9840 | 2000075801
430 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 261 | 8 | 9720 | 2000075802
431 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2141 | 14 | 20340 | 2000015449
432 | RAJNANDGAON TOWN | 11KV MAHESHWARI | 899 | 12 | 15660 | 2000015448
433 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3268 | 27 | 88320 | 2000001956
434 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1695 | 26 | 56220 | 2000001957
435 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2143 | 11 | 13380 | 2000001958
436 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 841 | 1 | 660 | 2000001959
437 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2875 | 1 | 780 | 2000001979
438 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 648 | 15 | 19380 | 2000001977
439 | RAJNANDGAON TOWN | 11KV PST FEEDER | 1941 | 26 | 71700 | 2000001975
440 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 229 | 24 | 24720 | 2000001973
441 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1756 | 24 | 46320 | 2000001972
442 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1767 | 18 | 21600 | 2000069844
443 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 2506 | 19 | 21060 | 2000001970
444 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3417 | 14 | 12540 | 2000001969
445 | RAJNANDGAON TOWN | 11KV INDHAMARA(RURAL)FEEDER | 1077 | 23 | 45660 | 2000001965
446 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2917 | 1 | 600 | 2000001963
447 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2310 | 25 | 43440 | 2000001962
448 | RAJNANDGAON TOWN | 11KV FARHAD(RURAL)FEEDER | 591 | 22 | 44100 | 2000001960